## RSB
RSB - William Sanders
QA
B05
Main Switchboard
|  |  |  | MSB |  |  | pre-populate | Distribution Board checklist
Distribution Boards
|  |  |  | Essential Distribution Board checklist |  |  | pre-populate | Distribution Board checklist
|  |  |  | Distribution Board 1.1 checklist |  |  | pre-populate | Distribution Board checklist
|  |  |  | Distribution Board 1.2 checklist |  |  | pre-populate | Distribution Board checklist
|  |  |  | Distribution Board 2.1 checklist |  |  | pre-populate | Distribution Board checklist
|  |  |  | Distribution Board 2.2 checklist |  |  | pre-populate | Distribution Board checklist
|  |  |  | Distribution Board 2.3 checklist |  |  | pre-populate | Distribution Board checklist
|  |  |  | Distribution Board 2.4 checklist |  |  | pre-populate | Distribution Board checklist
Cable Ducts & Trays
|  |  |  | Cable tray checklist |  |  | pre-populate | Cable tray checklist
|  |  |  | Cable tray checklist |  |  | pre-populate | Cable tray checklist
|  |  |  | Cable tray checklist |  |  | pre-populate | Cable tray checklist
|  |  |  | Cable tray checklist |  |  | pre-populate | Cable tray checklist
Power
First Fix
Ground Level
[6 empty] | Carpark | pre-populate | First Fix QA
[6 empty] | Lobby | pre-populate | First Fix QA
[6 empty] | Corridor | pre-populate | First Fix QA
[6 empty] | Apartment A54 | pre-populate | First Fix QA
[6 empty] | Apartment A55 | pre-populate | First Fix QA
Level 1
[6 empty] | Lobby | pre-populate | First Fix QA
[6 empty] | Corridor | pre-populate | First Fix QA
[6 empty] | Apartment B54 | pre-populate | First Fix QA
[6 empty] | Apartment B55 | pre-populate | First Fix QA
[6 empty] | Apartment B56 | pre-populate | First Fix QA
[6 empty] | Apartment B57 | pre-populate | First Fix QA
[5 empty] | Lift |  | pre-populate | First Fix QA
[5 empty] | Stairs |  | pre-populate | First Fix QA
Second Fix
Ground Level
[6 empty] | Carpark | pre-populate | Second Fix
[6 empty] | Lobby | pre-populate | Second Fix
[6 empty] | Corridor | pre-populate | Second Fix
[6 empty] | Apartment A54 | pre-populate | Second Fix
[6 empty] | Apartment A55 | pre-populate | Second Fix
Level 1
[6 empty] | Lobby | pre-populate | Second Fix
[6 empty] | Corridor | pre-populate | Second Fix
[6 empty] | Apartment B54 | pre-populate | Second Fix
[6 empty] | Apartment B55 | pre-populate | Second Fix
[6 empty] | Apartment B56 | pre-populate | Second Fix
[6 empty] | Apartment B57 | pre-populate | Second Fix
[5 empty] | Lift |  | pre-populate | Second Fix
[5 empty] | Stairs |  | pre-populate | Second Fix
Lighting
First Fix
Ground Level
[6 empty] | Carpark | pre-populate | First Fix QA
[6 empty] | Lobby | pre-populate | First Fix QA
[6 empty] | Corridor | pre-populate | First Fix QA
[6 empty] | Apartment A54 | pre-populate | First Fix QA
[6 empty] | Apartment A55 | pre-populate | First Fix QA
Level 1
[6 empty] | Lobby | pre-populate | First Fix QA
[6 empty] | Corridor | pre-populate | First Fix QA
[6 empty] | Apartment B54 | pre-populate | First Fix QA
[6 empty] | Apartment B55 | pre-populate | First Fix QA
[6 empty] | Apartment B56 | pre-populate | First Fix QA
[6 empty] | Apartment B57 | pre-populate | First Fix QA
[5 empty] | Lift |  | pre-populate | First Fix QA
[5 empty] | Stairs |  | pre-populate | First Fix QA
Second Fix
Ground Level
[6 empty] | Carpark | pre-populate | Second Fix
[6 empty] | Lobby | pre-populate | Second Fix
[6 empty] | Corridor | pre-populate | Second Fix
[6 empty] | Apartment A54 | pre-populate | Second Fix
[6 empty] | Apartment A55 | pre-populate | Second Fix
Level 1
[6 empty] | Lobby | pre-populate | Second Fix
[6 empty] | Corridor | pre-populate | Second Fix
[6 empty] | Apartment B54 | pre-populate | Second Fix
[6 empty] | Apartment B55 | pre-populate | Second Fix
[6 empty] | Apartment B56 | pre-populate | Second Fix
[6 empty] | Apartment B57 | pre-populate | Second Fix
[5 empty] | Lift |  | pre-populate | Second Fix
[5 empty] | Stairs |  | pre-populate | Second Fix
Equipotential Bonding
Ground Level
[6 empty] | All Area | pre-populate | Equipotential Bonding
Level 1
[6 empty] | All Area | pre-populate | Equipotential Bonding
|  |  | Completion documents - BCO10332878 |  |  |  | pre-populate | Completion documents

## Checklist - RSB
checklist | First Fix QA
section | Pre Start
checkpoint | Area tidy and accessible
section | First Fix QA
checkpoint | Handover Accepted/Nogs Installed and area clean and tidy before starting
checkpoint | Check all drawings, plan symbols are identified and wired for, raise any anomalies
checkpoint | Check wall and ceiling outlets and fitting positions against Architectural/ Electrical drawings and acceptable
checkpoint | Check for any purchaser variations/ client extras
checkpoint | Check all power & light feeds present and acceptable
checkpoint | Check loop wires installed and acceptable
checkpoint | All joinery plans are followed and correct position of outlets installed and acceptable
checkpoint | Flush boxes straight and level and acceptable
checkpoint | Fire rated flush boxes where required + fire pads installed and acceptable
checkpoint | Lights are marked out on plans or floor ready for cut out
checkpoint | Electrical First Fix completed and acceptable and area clean and tidy for next trade
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
section | Handover
checkpoint | All works completed
checkpoint | Area left tidy and accessible
type | name | values
checklist | Second Fix
section | Pre Start
checkpoint | Area tidy and accessible
section | Second Fix QA
checkpoint | All cover plates in place & fitted correctly and straight
checkpoint | All light fittings tight & secure and acceptable
checkpoint | All cables are tied up
checkpoint | Switch board fit off is completed and acceptable
checkpoint | Test sheet for insulation Resistance are completed and acceptable
checkpoint | Fixtures level & in place and acceptable
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
section | Handover
checkpoint | All works completed
checkpoint | Area left tidy and accessible
type | name | values
checklist | Distribution Board checklist
checkpoint | DB details
text | Engineer
text | Test Instrument
text | Cable Size/Type
text | Main SW Size (A)
text | Submain Insulation Resistance
select | Polarity | pass, fail
text | Main SW Voltage E-N (V)
text | Main SW Voltage R-E/N (V)
text | Main Sw Fault Loop Impedance (Z)
checkpoint | DB completed as per spec 100%
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
type | name | values
checklist | Cable tray checklist
checkpoint | Tray ready to start
checkpoint | Building to correct Drawings (BIM model)
checkpoint | Correct Tray / Basket size used
checkpoint | Tray height correct of RL
checkpoint | Tray position as per BIM model measurements
checkpoint | Tray level
checkpoint | Tray locked down
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
type | name | values
Checklist | Equipotential Bonding
checkpoint | Bonding to main earth - Specify location
select | Bonding to below ground concrete footing reinforcement | Yes/No
select | Bonding to above ground slab reinforcement | Yes/No
checkpoint | Type of Connectr used
select | Continuity Test | Yes/No
checkpoint | Readings
Checkpoint | Adequate signage provided
type | name | values
Checklist | Completion documentation
checkpoint | All relevant Compliance Documentation completed and attached above
bool | Any Additional Compliance Documentation (Required under Section C and by Consultants) - Completed and Attached
label | Do not select "Pass" HERE until all requirements have been marked as "Yes" & attached or you have selected "N/A"
holdpoint | Request Signoff
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS