## Sheet1
Tier 1 | Tier 2 | Tier 3 | Instruction to CONQA | Checklist Name
33kV Cable Install
Switchroom One
|  | P0011R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0011W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0011B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0012R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0012W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0012B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0013R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0013W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0013B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0014R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0014W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0014B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0015R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0015W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0015B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0016R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0016W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0016B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0017R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0017W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0017B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
Switchroom Two
|  | P0021R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0021W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0021B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0022R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0022W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0022B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0023R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0023W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0023B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0024R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0024W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0024B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0025R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0025W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0025B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0026R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0026W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0026B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0027R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0027W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0027B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
Switchroom Three
|  | P0031R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0031W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0031B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0032R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0032W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0032B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0033R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0033W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0033B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0034R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0034W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0034B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0035R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0035W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0035B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0036R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0036W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0036B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0037R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0037W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0037B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0038R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0038W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0038B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
Switchroom Four
|  | P0041R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0041W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0041B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0042R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0042W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0042B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0043R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0043W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0043B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0044R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0044W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0044B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0045R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0045W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0045B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0046R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0046W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0046B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0047R - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0047W - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install
|  | P0047B - 1C 185mm2 Al SCXLPE/TR-XLPE/SCXLPE/CWS/PVC MDPE | please add: | ITR-E-19 HV Cable Install

## Sheet2
Type | Name | Values | Prefix | Postfix | Usage Count | User Addable | Template Name
checklist | Toolbox Meeting
checkpoint-no-status | Toolbox meeting
date | Date:
textbox | Meeting location:
textbox | Meeting conducted by:
textbox | Meeting attendees:
textbox | Today's work scope/Hazards
textbox | Hazard controls:
signoff | PICWS Signoff
checklist | Entec Daily Report
checkpoint-no-status | Daily Report
date | Date:
textbox | Site:
textbox | Work completed:
textbox | Issues:
textbox | Weather:
textbox | Labour:
textbox | Plant & Equipment used:
signoff | Signed/Approved:
checklist | ITR-E-19 HV Cable Install
checkpoint | HV Cable Install
button | Verify cable type, size, colour code and tags are in accordance with the Cable Schedule. | Yes,N/A
button | Check dressing / cleating, cable undamaged | Yes,N/A
button | Check cable cores correctly identified and labelled. | Yes,N/A
button | Check cable is terminated correctly | Yes,N/A
button | Cable has been installed as per client specification | Yes,N/A
button | No visible damage to sheath | PASS,FAIL
dropdown | Cable Voltage | 11kV,33kV
textbox | Temperature:
textbox | Cable Point to Point:
checkpoint - mandatory photo | Electrical Tests
note | Testing for the below should be done at 5kV for 10 minutes. If result is below 1.25GΩ this indicates a low test and will need to be re tested. A brand new cable should have a result above 2GΩ. Please insert photo of test results.
textbox | R-WBE |  |  | GΩ
textbox | W-RBE |  |  | GΩ
textbox | B-RWE |  |  | GΩ
textbox | One Core |  |  | GΩ
checkpoint-no-value | Sheath Integrity Test
textbox | Test Duration:
textbox | Test Voltage: |  |  | GΩ
textbox | Result (GΩ):
checkpoint-no-value | Test Equipment Details
dropdown | Make | PHENIX
dropdown | Model | PM10A
dropdown | Serial No | 20-4331
textbox | Calibration Expiry Date
checkpoint-no-value | Installer Sign-off
signoff | Installed by: