## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Pour Schedule
section | Details
checkpoint | Upload PDF
checklist | Stormwater Pump Station
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Drainage Pump Station
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Sewer Pump Station
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Rainwater Re-Use System
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Cold Water Booster System
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Tank Full Diverson System
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Hot Water Circulator Pumps
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Rainwater Re-Use Tank
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Break Tank
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | GIT
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Stormwater Filtraction
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Gas Solenoid Valve
section | Details
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Penetrations
section | Details
checkpoint | Slab Penetrations (All slab penetations installed as per Plan)
checklist | Rough In
section | Details
checkpoint | DRAIN COMPLETE
checkpoint | OVERFLOW EXPOSED AND CHOPPED DOWN
checkpoint | UN-USED PENO'S SEALED
checkpoint | ROUGH IN COMPLETE
checkpoint | HEADER PIPES FIRE CAULKED
checkpoint | TMV ACCESSIBLE TO A/P
checkpoint | HOT WATER METERS INSTALLED
checkpoint | CROSS CONNECTIONS
checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint | WATER PRESSURE TESTED
checkpoint | ROLL OVERS COMPLETE AND SECURE
checkpoint | APARTMENT CLEAN OF MATERIALS
checkpoint | FW CLEANNED, COVERED AND CLEAR OF DEBRIS
checkpoint | AAV REQUIRED?
checkpoint | FIXTURE SET OUT CORRECT
checkpoint | CLIENT VARIATION CHECKED AGAINST SCHEDULE
checklist | Drains
section | Details
checkpoint | All drains installed as per Plan referenced on spreadsheet
checkpoint | Caulking Complete
checkpoint | Photos must be attached
checklist | Lagging
section | Details
checkpoint | Lagging Complete
checkpoint | Photos must be attached
checklist | Kitchen Fit Off
section | SINK
checkpoint | JOINERY
checkpoint | STONE
checkpoint | MIXER
checkpoint | WASTE
checkpoint | DW CONNECT
section | COOKTOP
checkpoint | STONE/ SPLASH
checkpoint | COOKTOP
checkpoint | CONNECTION
checklist | BATHROOM 1 & 2 Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checkpoint | BATH
checklist | ENSUITE Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checkpoint | BATH
checklist | LAUNDRY Fit Off
checkpoint | TILE
checkpoint | TROUGH
checkpoint | MINI STOP
checkpoint | STAND PIPE
checklist | POWDER ROOM Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
checklist | DDA Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checklist | Residential Amenities Fit Off
section | SINK
checkpoint | JOINERY
checkpoint | STONE
checkpoint | MIXER
checkpoint | WASTE
checkpoint | DW CONNECT
section | COOKTOP
checkpoint | STONE/ SPLASH
checkpoint | COOKTOP
checkpoint | CONNECTION
checklist | Male WC Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
checkpoint | Urinal
checklist | Female WC Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
checklist | Cleaners Fit Off
section | Details
checkpoint | SINK
checkpoint | MIXER
checkpoint | WASTE
checklist | Male Locker Amenities Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checklist | Female Locker Amenities Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checklist | Corridors
section | Details
checkpoint | Hot Water
checkpoint | Cold Water
checkpoint | Hot Water Lagging
checkpoint | Testing
checkpoint | Pipes clipped
checkpoint | Valves Tagged
checkpoint | Door Headers (Fire rated with Hilti 611A)
checkpoint | Hot Water Meters Installed
checkpoint | Photos must be attached
checklist | Meter Assemblies & Risers
section | Details
checkpoint | Valves Tagged
checkpoint | Meters on
checkpoint | Assembly Complete
checkpoint | Pipe Support
checklist | KITCHEN Commissioning
section | Details
checkpoint | KITCHEN SINK
checkpoint | SINK MIXER
checkpoint | DISHWASHER
checkpoint | DISHWASHER RAN
checkpoint | HOT PLATE
checkpoint | SINK WASTE
checkpoint | COVERPLATES
checklist | BATHROOM 1 & 2 Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checkpoint | BATH MIXER
checkpoint | BATH OUTLET
checkpoint | AAV
checkpoint | BATH
checklist | ENSUITE Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checkpoint | BATH MIXER
checkpoint | BATH OUTLET
checkpoint | AAV
checkpoint | BATH
checklist | LAUNDRY Commissioning
section | Details
checkpoint | W.M STOPS
checkpoint | TROUGH
checkpoint | TROUGH MIXER
checkpoint | TROUGH WASTE
checkpoint | STAND PIPE
checkpoint | FLOOR WASTE
checklist | DDA Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checkpoint | AAV
checklist | Residential Amenities Commissioning
section | Details
checkpoint | KITCHEN SINK
checkpoint | SINK MIXER
checkpoint | DISHWASHER
checkpoint | DISHWASHER RAN
checkpoint | HOT PLATE
checkpoint | SINK WASTE
checkpoint | COVERPLATES
checklist | Male WC Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | TEMP VALVE
checklist | Female WC Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | TEMP VALVE
checklist | Male Locker Amenities Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checklist | Female Locker Amenities Commissioning
section | Details
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checklist | Clearners Commissioning
section | Details
checkpoint | SINK
checkpoint | SINK MIXER
checkpoint | CHECK SINK OVERFLOWS FOR LEAKS