## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Rough In + Fit Off |  |  |  |  | Yes | Rough In + Fit Off Checklist | 0e26c301-f58a-4a89-a685-3ae153ac817e
checkpoint-status |  |  | checkpoint | Rough In: All Mains, range pipes & sprinklers installed?
checkpoint-status |  |  | checkpoint | Air Test: Pressurized air test for a period of 30 mins (if applicable)
text | 3ecd60c9-0ec7-511c-a579-de9b68e04e50 |  | textbox | Start time:
text | d5aacccd-c20b-5d0b-8c95-1708afa95257 |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | Water Test: Pressure test to 1200Kpa for duration of 1.5 hours
text | 98497c32-3bd8-582d-8b64-92495e4e681d |  | textbox | Start time:
text | c7bab04b-af75-5411-98a3-59a2c93b3526 |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | Fit Off: Check all sprinklers have been fitted off
checkpoint-status |  |  | checkpoint | Plates & heights check: Escuteon plates & heights of sprinklers are all ok
checkpoint-status |  |  | checkpoint | PFP Foreman signature
checkpoint-status |  |  | checkpoint | Site Foreman signature
checklist-flat |  |  | checklist | Hydrant Main / Riser |  |  |  |  | Yes | Hydrant Main / Riser Checklist | 6e1ff9d9-359f-4969-8dec-128cfc6300b7
checkpoint-status |  |  | checkpoint | Rough In: All Mains & isolation valves?
checkpoint-status |  |  | checkpoint | Fit Off: Check all milcoks / FHR ball valves are installed
checkpoint-status |  |  | checkpoint | Air Test: Pressurized air test for a period of 30 mins (if applicable)
text | b68d42c5-3f0b-5ca3-ba17-5cf323bebeee |  | textbox | Start time:
text | 78c55ffd-dd1c-5a73-8d2f-a5d949b760fe |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | Water Test: Pressure test to 1200Kpa for duration of 1.5 hours
text | 68a63a9f-3527-5de3-88fe-640e98bb2626 |  | textbox | Start time:
text | ad599667-21cc-542b-8267-6bfd7bf5b4c3 |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | FHR: All FHR been bled from excess air & proof of water
checkpoint-status |  |  | checkpoint | PFP Foreman signature
checkpoint-status |  |  | checkpoint | Site Foreman signature