## matrix_quality
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Communications - Horizontal Cable (Terminal - Basement/L0-Ground)
| Scope |  |  | Communications | Terminal
Rows
|  | Terminal - Copper - Basement - BDR2-4B40.16 | dynamic | Communications | Terminal | Copper | Basement | BDR2-4B40.16
|  | Terminal - Copper - Basement - FDR-4B42.18 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B42.18
|  | Terminal - Copper - Basement - FDR-4B43.06 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B43.06
|  | Terminal - Copper - Basement - FDR-4B43.01 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B43.01
|  | Terminal - Copper - Basement - BDR1-4B44.01 | dynamic | Communications | Terminal | Copper | Basement | BDR1-4B44.01
|  | Terminal - Copper - Basement - FDR-4B44.02 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B44.02
|  | Terminal - Copper - Basement - FDR-4B44.03 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B44.03
|  | Terminal - Copper - Basement - FDR-4B44.04 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B44.04
|  | Terminal - Copper - Basement - FDR-4B44.05 | dynamic | Communications | Terminal | Copper | Basement | FDR-4B44.05
|  | Terminal - Copper - L0-Ground - FDR-4044.04 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.04
|  | Terminal - Copper - L0-Ground - FDR-4044.05 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.05
|  | Terminal - Copper - L0-Ground - FDR-4044.07 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.07
|  | Terminal - Copper - L0-Ground - FDR-4044.08 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.08
|  | Terminal - Copper - L0-Ground - FDR-4044.09 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.09
|  | Terminal - Copper - L0-Ground - FDR-4044.14 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.14
|  | Terminal - Copper - L0-Ground - FDR-4044.15 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.15
|  | Terminal - Copper - L0-Ground - FDR-4044.16 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.16
|  | Terminal - Copper - L0-Ground - FDR-4044.17 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.17
|  | Terminal - Copper - L0-Ground - FDR-4044.18 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.18
|  | Terminal - Copper - L0-Ground - FDR-4044.19 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.19
|  | Terminal - Copper - L0-Ground - FDR-4044.20 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.20
|  | Terminal - Copper - L0-Ground - FDR-4044.21 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.21
|  | Terminal - Copper - L0-Ground - FDR-4044.22 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.22
|  | Terminal - Copper - L0-Ground - FDR-4044.23 | dynamic | Communications | Terminal | Copper | L0-Ground | FDR-4044.23
Columns
|  | Cabling is not susceptible to mechanical damage |  | Cabling is not susceptible to mechanical damage.
|  | Cable is dressed on cable pathways with velcro |  | Cable is dressed on the cable pathways with velcro.
|  | Apply a plastic wrap printed label to each end of the cable |  | Apply a plastic wrap printed label to each end of the cable.
|  | Cable terminated into a faceplate or surface mount block |  | Cable is terminated into a faceplate or surface mount block.
|  | Cable terminated into correct patch panel reflected in communication cabinet elevations |  | Cable is terminated into the correct patch panel reflected in the communication cabinet elevations.
|  | Patch panel, faceplate/surface mount block are labelled correctly with a traffolyte |  | The patch panel, faceplate/surface mount block are labelled correctly with a traffolyte.
Communications - Horizontal Cable (Terminal - Level 2/Level 3)
| Scope |  |  | Communications | Terminal
Rows
|  | Terminal - Copper - Level 2 - FDR-4244.01 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.01
|  | Terminal - Copper - Level 2 - FDR-4244.02 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.02
|  | Terminal - Copper - Level 2 - FDR-4244.03 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.03
|  | Terminal - Copper - Level 2 - FDR-4244.04 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.04
|  | Terminal - Copper - Level 2 - FDR-4244.12 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.12
|  | Terminal - Copper - Level 2 - FDR-4244.13 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.13
|  | Terminal - Copper - Level 2 - FDR-4244.14 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.14
|  | Terminal - Copper - Level 2 - FDR-4244.15 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.15
|  | Terminal - Copper - Level 2 - FDR-4244.16 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.16
|  | Terminal - Copper - Level 2 - FDR-4244.17 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.17
|  | Terminal - Copper - Level 2 - FDR-4244.18 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.18
|  | Terminal - Copper - Level 2 - FDR-4244.19 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.19
|  | Terminal - Copper - Level 2 - FDR-4244.20 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.20
|  | Terminal - Copper - Level 2 - FDR-4244.23 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4244.23
|  | Terminal - Copper - Level 2 - FDR-4201.12 | dynamic | Communications | Terminal | Copper | Level 2 | FDR-4201.12
|  | Terminal - Copper - Level 3 - FDR-4344.01 | dynamic | Communications | Terminal | Copper | Level 3 | FDR-4344.01
|  | Terminal - Copper - Level 3 - FDR-4344.02 | dynamic | Communications | Terminal | Copper | Level 3 | FDR-4344.02
|  | Terminal - Copper - Level 3 - FDR-4344.03 | dynamic | Communications | Terminal | Copper | Level 3 | FDR-4344.03
|  | Terminal - Copper - Level 3 - FDR-4344.06 | dynamic | Communications | Terminal | Copper | Level 3 | FDR-4344.06
|  | Terminal - Copper - Level 3 - FDR-4344.09 | dynamic | Communications | Terminal | Copper | Level 3 | FDR-4344.09
|  | Terminal - Copper - Level 3 - FDR-4344.10 | dynamic | Communications | Terminal | Copper | Level 3 | FDR-4344.10
Columns
|  | Cabling is not susceptible to mechanical damage |  | Cabling is not susceptible to mechanical damage.
|  | Cable is dressed on cable pathways with velcro |  | Cable is dressed on the cable pathways with velcro.
|  | Apply a plastic wrap printed label to each end of the cable |  | Apply a plastic wrap printed label to each end of the cable.
|  | Cable terminated into a faceplate or surface mount block |  | Cable is terminated into a faceplate or surface mount block.
|  | Cable terminated into correct patch panel reflected in communication cabinet elevations |  | Cable is terminated into the correct patch panel reflected in the communication cabinet elevations.
|  | Patch panel, faceplate/surface mount block are labelled correctly with a traffolyte |  | The patch panel, faceplate/surface mount block are labelled correctly with a traffolyte.
Communications - Horizontal Cable (Terminal - FLB/Plaza/CarPark/NCS)
| Scope |  |  | Communications | Terminal
Rows
|  | Terminal - Copper - FLB - FLB-4044.10 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.10
|  | Terminal - Copper - FLB - FLB-4044.13 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.13
|  | Terminal - Copper - FLB - FLB-4044.11 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.11
|  | Terminal - Copper - FLB - FLB-4044.12 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.12
|  | Terminal - Copper - FLB - FLB-4044.01 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.01
|  | Terminal - Copper - FLB - FLB-4044.02 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.02
|  | Terminal - Copper - FLB - FLB-4044.03 | dynamic | Communications | Terminal | Copper | FLB | FLB-4044.03
|  | Terminal - Copper - Terminal Plaza - Landside | dynamic | Communications | Terminal | Copper | Terminal Plaza | Landside
|  | Terminal - Copper - CarPark 1-2 Arrivals - Landside Arrivals | dynamic | Communications | Terminal | Copper | CarPark 1-2 Arrivals | Landside Arrivals
|  | Terminal - Copper - CarPark 3-4 Departures - Landside Departures | dynamic | Communications | Terminal | Copper | CarPark 3-4 Departures | Landside Departures
|  | Terminal - Copper - NCS - Airside Apron West | dynamic | Communications | Terminal | Copper | NCS | Airside Apron West
|  | Terminal - Copper - NCS - Airside Apron East | dynamic | Communications | Terminal | Copper | NCS | Airside Apron East
Columns
|  | Cabling is not susceptible to mechanical damage |  | Cabling is not susceptible to mechanical damage.
|  | Cable is dressed on cable pathways with velcro |  | Cable is dressed on the cable pathways with velcro.
|  | Apply a plastic wrap printed label to each end of the cable |  | Apply a plastic wrap printed label to each end of the cable.
|  | Cable terminated into a faceplate or surface mount block |  | Cable is terminated into a faceplate or surface mount block.
|  | Cable terminated into correct patch panel reflected in communication cabinet elevations |  | Cable is terminated into the correct patch panel reflected in the communication cabinet elevations.
|  | Patch panel, faceplate/surface mount block are labelled correctly with a traffolyte |  | The patch panel, faceplate/surface mount block are labelled correctly with a traffolyte.