## matrix_quality
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Quality - Electrical Equipment/Accessory Installation
| Scope |  |  | Site QA | Quality - Electrical Equipment/Accessory Installation
Rows
|  | Terminal - Switchboards - Distribution Boards - CDBU | dynamic | Site QA | Terminal | Switchboards | Distribution Boards | CDBU
|  | Terminal - Switchboards - Distribution Boards - HOUSE DB - E | dynamic | Site QA | Terminal | Switchboards | Distribution Boards | HOUSE DB - E
|  | Terminal - Switchboards - Distribution Boards - HOUSE DB - N | dynamic | Site QA | Terminal | Switchboards | Distribution Boards | HOUSE DB - N
Columns
|  | Installed Correct Type/Colour of Equipment or Accessory |  | Installed Correct Type/Colour of Equipment or Accessory
|  | Installed to correct location as per drawings |  | Installed to the correct location as per drawings
|  | Installed with correct fixings & made safe |  | Installed with correct fixings and made safe
|  | Installed to correct Circuit & DB Destination |  | Installed to the correct Circuit & DB Destination
|  | Installed correct labelling |  | Installed correct labelling
|  | Final Check & No Damage to item |  | Final Check and No Damage to item
Quality - Light Fitting Installation
| Scope |  |  | Site QA | Quality - Light Fitting Installation
Rows
|  | Terminal - Switchboards - Distribution Boards - HOUSE DB - E | dynamic | Site QA | Terminal | Switchboards | Distribution Boards | HOUSE DB - E
|  | Terminal - Switchboards - Distribution Boards - HOUSE DB - N | dynamic | Site QA | Terminal | Switchboards | Distribution Boards | HOUSE DB - N
Columns
|  | Installed to correct location as per drawings |  | Installed to the correct location as per drawings
|  | Installed correct size & light fitting type |  | Installed correct size and light fitting type
|  | Correct Operation |  | Correct Operation
|  | Installed to correct Circuit & DB Destination |  | Installed to the correct Circuit & DB Destination
|  | Correct labelling of light fitting (if required) |  | Correct labelling of light fitting (if required)