## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 0668f013-1d12-4c3c-9caa-8666e276187a |  | checklist | Walls Checklist |  |  |  |  | Yes | Walls Checklist | 03586c4f-89a2-4d1d-b5f0-17a9a9aeb808
checkpoint-status | 68ac17f8-7bc2-446c-a9f5-1129ff083720 |  | checkpoint | Area accessible & ready
checkpoint-status | 49274075-b68f-40b6-a331-05eee12caea1 |  | checkpoint | Drawing references entered
text | f658da17-42ee-5ee3-8aaa-e94c46f28a8e |  | textbox | Architectural
text | 40c6f97f-5b2d-5fbf-896f-54711d300fb9 |  | textbox | Structural
text | 5ef5ea05-6a59-56f4-bbbf-67d36d031c2e |  | textbox | Other
checkpoint-status | 92d71a44-1fc3-4e2e-932f-936e810b395c |  | checkpoint | Current plans in use
checkpoint-status | 9bffb577-19c6-40b3-827f-2a9191b836f4 |  | checkpoint | Survey points given for 2 points
checkpoint-status | 5672f364-d4eb-435e-9bf6-65ccdf786c0b |  | checkpoint | Land shutter bracing props secured plumb shutter
checkpoint-status | 56ff3e0f-f6e7-46a1-905c-9d7f5cf1da2e |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 7422e76c-b62c-452b-917e-bb85ad3b6e8f |  | checkpoint | Blockouts steps penetrations marked & installed
checkpoint-status | 01cff6ee-53e0-4ef0-8f19-48c1f30caa28 |  | checkpoint | Steel tied & clear from Z bar holes
checkpoint-status | 6ed33192-5e9e-4af2-9771-9a21c2f27291 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 453f2228-3bef-467f-8806-c630cfe5a716 |  | checkpoint | Base of walls cleaned
holdpoint | 88963b50-ec3f-48e1-8b4a-2fe7e5e551f8 |  | signoff | Inspection by site engineer
checkpoint-status | b4a8200d-608c-4b58-b4f2-7ad47ff5e333 |  | checkpoint | Closing shutter installed
checkpoint-status | 5e0716f1-6334-42ec-8fb1-994e38bf5b79 |  | checkpoint | Z bars secured wall straight & plumbed
checkpoint-status | 07dc0fab-48ef-4c84-ac18-82d6b2623405 |  | checkpoint | Correct Class of Finish
checklist-flat | 5d4d4794-ae1a-4436-ac82-1978ffeb3604 |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Toolbox Meeting | 0c92dd14-593a-45ae-a87f-06687b2df3de
checkpoint-status | 4c2f37aa-d5c5-43c5-944f-d59580dd9ed6 |  | checkpoint | Toolbox signed off - Attach an forms
text | 39656db8-408b-55e8-af2e-d514e0e47def |  | textbox | Work area
text | 2dd1f3f7-c971-5cfe-980d-2066a5afd060 |  | textbox | Supervisor
text | d29811b2-4540-5463-b297-77c675556467 |  | textbox | Date
text | d1e311ff-8dbf-5c81-b686-a1d32a14f041 |  | textbox | Time am / pm
text | 381901fd-3fa4-598e-8c28-a91a5c300294 |  | textbox | Actions from last meeting
text | f60d8fb3-645f-5eb7-af42-07c558fd9105 |  | textbox | Injuries last week
text | 6910b566-b9ae-5115-9f43-4837633aae31 |  | textbox | Near misses last week
text | 1408bccc-67a7-5bf6-8bce-1e90970a16bd |  | textbox | Safety Items discussed
text | a683742e-f810-5706-b04f-02f758966f92 |  | textbox | Comments from the floor
text | 18115801-de10-5a4c-8bac-06cd8ea93082 |  | textbox | New business
text | 54286dd3-c55a-5405-abd2-6603895400ad |  | textbox | Attendees
checkpoint-status | f0322b8a-e231-44dc-b55d-557be0f048ba |  | checkpoint | Attendance verified
checklist-flat | df24e492-ab05-4529-87f9-37ef67e15577 |  | checklist | Variation / Site Instruction |  |  |  |  | Yes | Variation / Site Instruction | 0ea17e8b-8df7-40ac-9b91-7b063887f795
checkpoint-status | 05e820ce-1212-4bfe-8ca5-b7e10c3b4d1f |  | checkpoint | Variation / SI Details Entered
label | baf5e875-c932-5906-902d-9a6e2e40d21a |  | note | Please take before photos
radio | 66a1d019-c801-5a59-b28d-a0be49b3f76b |  | radio | Work type: | Site Instruction, Variation Work
text | d5b786f1-c296-54ca-a1fd-fc07d890ee97 |  | textbox | Attention:
text | 77ccd2eb-903c-5e5d-a893-f54423ff90a6 |  | textbox | Area/Location
text | c8f62263-4a4d-515b-92fb-15e14fe7f729 |  | textbox | Date
text | e9ec3e39-0615-5fce-b44f-f11187f5a6ef |  | textbox | Scope of work
text | 3841b7de-9abd-594c-9ff9-5e20f0abc3e5 |  | textbox | Normal Hours
text | a0ae756d-17bb-5498-b517-1c0ad8eac173 |  | textbox | Overtime Hours
text | f40d89bc-164b-5163-b506-08c09631351d |  | textbox | Material to complete task
checkpoint-status | fa4cb16c-457f-40c5-865c-fb26042f188a |  | checkpoint | Reference/SI Number Entered
text | e418b123-2d5d-5291-ac01-c55139300368 |  | textbox | Reference/SI Number
checkpoint-status | d985aeb6-ed1b-4ef4-afc9-fce8cbf5cfba |  | checkpoint | Variation / SI Work Completed
checkpoint-status | 9d36a2d8-31a7-411b-91aa-190ec4039c05 |  | checkpoint | Values added (Office use only)
text | e15bd9ef-d907-5970-ac7e-ad5703c6444b |  | textbox | Labour Value
text | d3b491e5-bb30-56f2-bac0-ca61932ad882 |  | textbox | Material Value
text | 32facfdd-26fb-5ca1-b781-4ff03126b5c0 |  | textbox | Measured Items
text | ae2f1227-814d-5637-8b1c-10c753f3a4d6 |  | textbox | Total Variation Value
checklist-flat | fc6ee55b-4c0d-4c5b-8af5-207f8e46bc91 |  | checklist | Columns Checklist |  |  |  |  | Yes | Columns Checklist | 18df5fca-ffd2-4c3c-990b-0f5192c0ab8a
checkpoint-status | be7b7229-4e28-450b-b9a1-3f9a11bab49f |  | checkpoint | Area accessible & ready
checkpoint-status | f131a7eb-b1f5-47bd-b692-21fb16594987 |  | checkpoint | Drawing references entered
text | 26a76dd9-efde-5fc3-a7bc-0695f59460fc |  | textbox | Architectural
text | 4b2a3f0b-e5dc-55bc-8124-1456f74f1512 |  | textbox | Structural
text | 3ded4540-67fa-5b9c-9d95-7f2ea02d9509 |  | textbox | Other
text | 38d41396-dd15-5fa7-b368-80686f9cd0e9 |  | textbox | Column No
checkpoint-status | 383da0e9-56c5-4b2c-aa90-4b228a9e3d5f |  | checkpoint | Current plans in use / Latest drawings checked and referenced
checkpoint-status | 1f2926e2-97be-4565-81bf-31b094826e8d |  | checkpoint | Survey points given for 2 points
checkpoint-status | 2e504aea-425a-401b-98d6-fa8dda215f83 |  | checkpoint | Datum RL supplied by surveyor, pour height marked
checkpoint-status | fc873a22-1ecb-4d32-9edf-a0cc15e56241 |  | checkpoint | Blockouts, couplers, cast-in elements installed
holdpoint | 14646ba6-5c28-4c54-b18f-59207ef1b56c |  | signoff | Inspection from site engineer
checkpoint-status | 1d9ff4c1-d9f2-43a8-bc20-e6df3f2ff6c7 |  | checkpoint | Column box cleaned & oiled
checkpoint-status | 7e9eb498-1442-447f-a35b-edc09a08999a |  | checkpoint | Placement of column box over cage
checkpoint-status | cca2ce78-35cc-44d1-8c61-d7fb113ae75c |  | checkpoint | Bracing props secured
checkpoint-status | 40412b25-497e-4735-a5c6-9bb111167e65 |  | checkpoint | Column plumbed
checkpoint-status | 9e4b6d79-f5e8-4a91-a144-0b7a7e5e5507 |  | checkpoint | Correct class of finish
checklist-sectioned | 3a1ac152-b760-4127-a83c-5dc68a8f6a62 |  | checklist | Core Lids Checklist |  |  |  |  | Yes | Core Lids Checklist | 21bc7f82-341d-45ac-8b12-4ef5672dedfe
checkpoint-group | 6e770ca6-9d57-4e5d-b330-50cce9875cff |  | section | Phase 1
checkpoint-status | 87d77c8d-f8a2-4d38-b752-ddf6a14fa13a |  | checkpoint | Area accessible & ready
checkpoint-status | 61440fac-3b5d-4529-b986-d48f5531045b |  | checkpoint | Drawing references entered
text | 6286b412-b607-5953-97a1-90c93510f23d |  | textbox | Architectural
text | 48c119f0-d16d-55e8-8840-59e88390c0bc |  | textbox | Structural
text | 4f7d1302-0d25-51ef-b834-c7d4ec1d2f6b |  | textbox | Other
checkpoint-status | 11716226-4a28-494e-b882-c9c53bd817d7 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 84694ece-148d-4b6c-a790-37ee7853b570 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 67ac12cd-cf7c-4ca8-8a12-eebcc6bea802 |  | checkpoint | Grids marked by builder
checkpoint-status | a73e20b6-1f1a-4bb5-b3ff-49f6bcb2d041 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | b13ccd0d-c7fa-4f89-9821-5877f757683f |  | checkpoint | Fillet & drip mould installed
checkpoint-status | 229f2760-26ca-4148-a668-1919a9f99aef |  | checkpoint | Check set down position & RL
checkpoint-status | 0e60fbd1-ae36-4918-a63c-38c74dd3a50f |  | checkpoint | Check penetrations installed
checkpoint-status | d9059d45-c991-4049-b15d-dcf8a8d4663d |  | checkpoint | Column blockouts installed
checkpoint-group | 9d39a422-0eee-4ee5-88a4-e63f3508b02a |  | section | Phase 2
checkpoint-status | 777e0d0a-3c8d-4c28-8c64-60ae35750096 |  | checkpoint | Check back propping as per design
checkpoint-status | 84e2e013-651e-4d22-aa19-6caf979eb855 |  | checkpoint | Blow off deck
holdpoint | 670d10fe-acaf-42f7-b04c-67927f1722a7 |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 4ec2e837-b413-4d21-8a52-956ba640fbe6 |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | f1d26c48-05b5-48ec-a856-ce7ba2fbbf3f |  | checkpoint | Correct Class of Finish
checkpoint-status | 69345483-ef52-4ccf-8ac6-4dae03f97ccb |  | checkpoint | Stripping, cleaning & materials removed
checklist-flat | 436d2601-c01a-4d0f-94c4-196528fac240 |  | checklist | S.O.G Checklist |  |  |  |  | Yes | S.O.G Checklist | 2875f20d-3d1a-49c5-8c1e-0da1ff70ff38
checkpoint-status | 8cbda83f-5c19-4ea2-a7ac-660dadbe4626 |  | checkpoint | Area accessible & ready
checkpoint-status | 53fde6f7-bf03-41d7-a274-f82678258888 |  | checkpoint | Drawing references entered
text | 807c8e3b-acd7-5153-9635-e65719ccbf47 |  | textbox | Architectural
text | c5ff36d4-782d-5b3c-85b2-80faf47163a4 |  | textbox | Structural
text | ed257f78-476b-57e3-9b5a-31350dd0d9e4 |  | textbox | Other
checkpoint-status | a7667e8c-dd3d-4d21-8b3a-b9c8acc18ee6 |  | checkpoint | Current plans in use
checkpoint-status | 9a2fd7ee-3a70-43c4-9db1-47b3aae34ae9 |  | checkpoint | Survey points give for grids
checkpoint-status | 92551279-c714-4ea7-8de5-e10d829456d0 |  | checkpoint | Surveyors points given for edge boards
checkpoint-status | d5a73411-4049-49ba-b44e-9c4db5f8c7b2 |  | checkpoint | Datum RL supplied by surveyor
checkpoint-status | 439ae03a-a917-42e8-99c8-3abdf82abcee |  | checkpoint | Edge boards plumb & straight
checkpoint-status | 6313511a-fc7a-4db9-96fb-ada700d18b62 |  | checkpoint | Step downs secure & correct RL
checkpoint-status | 844d8dd8-cda1-493c-bfb3-476848d1b1e6 |  | checkpoint | Dowels installed on pour joins
checkpoint-status | 4a2f7ca6-aa88-4674-9de6-2552bf817682 |  | checkpoint | Column blockouts installed
checkpoint-status | aeb9ddc5-e3f0-4af8-a713-62689d864679 |  | checkpoint | Correct Class of Finish
checklist-flat | 72aa97c3-e086-45d1-a2b1-c755cbe3581a |  | checklist | Progress Claim |  |  |  |  | Yes | zSYS - Progress Claim Checklist (old version, 19-06-23) | 39647904-f652-4067-9d00-f9e967a3607b
checkpoint-status | c93591ce-382d-47c8-a6bf-b23b1d051174 |  | checkpoint | Please add Comments / Photos
select | 44c569fd-24c4-5f6f-bf88-5bbb000068f3 |  | dropdown | General | Site Establishment / Prefab, Systems, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning.
select | bbd99438-1297-52cf-892d-0e95fcbe5787 |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 9f2a01bf-c7ae-5ade-8e0f-4644eb8657ac |  | textbox | General Notes
checkpoint-status | 2e4556d9-99f1-4aa1-90de-3f0e770f831b |  | checkpoint | Please add Comments / Photos
select | 75eaf903-0ae8-5226-97f6-4ba6a7c68aea |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | f8a60aec-87bf-526a-be0e-a89f4b7f53ab |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | ad8a4bf7-bebf-5582-b30c-fb0b713f2c30 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | d6c46464-9554-5e8f-9c34-e35f781c741b |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 25b580cc-d5d7-55e5-ac0a-eafb6bdf7fa5 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 6513893b-2843-58a5-b754-217975d5e0a9 |  | textbox | General Notes
checkpoint-status | d30325bb-132e-446b-9848-44b5637d42c4 |  | checkpoint | Please add Comments / Photos
select | 2e0402f1-669f-5be3-a2d6-12a1991036f1 |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | 8a17cb25-e4ce-5c3c-9b6c-efbdacd8e1a3 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens
select | 75cbd6be-1262-5a85-a358-5987ddad8272 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | ab9ae6d8-c114-5147-8cf3-5ef16d38264a |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 4c431afd-672d-5edd-b13d-5ad9ea2b768f |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | d4cd9f7f-a8c3-5f05-8635-fea61628b81c |  | textbox | General Notes
checkpoint-status | a9ca57d2-f935-4772-bab2-3f090f39ebc3 |  | checkpoint | Please add Comments / Photos
select | 94f64572-5fd3-5262-8ab5-2c2f8ed7e9cd |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | 8562f348-f2e5-5fd5-924b-e52979f0834d |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens
select | c0356135-f13e-5272-9122-3befc459aa4c |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | b2fd15c8-23bc-5a1d-9d4c-d0dafcc12ee1 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | a4311d06-2f1d-5a53-b5ad-97497310db7f |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | c1a462f0-fb3a-5a82-8063-73c1d79e146e |  | textbox | General Notes
checkpoint-status | 5018ecca-d76e-444f-8eba-5630d6527248 |  | checkpoint | Please add Comments / Photos
select | 72ee96bd-f59b-5659-933a-a9f81faea51e |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | b0a59574-feab-5a76-8af6-00e07c25192d |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens
select | 54237632-4d09-581b-9722-6910d7c69f58 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | fccb098e-1162-552e-88c9-d3cfdcef2585 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 336d09e0-9feb-56c8-a4ec-c62de81d5a2c |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | f70a2b29-c74b-58bf-87d8-891fb6db702e |  | textbox | General Notes
checkpoint-status | 1ee65089-9809-4442-9498-b71bd6b932ba |  | checkpoint | Please add Comments / Photos
select | 717aaf63-e84a-53df-abec-cd486ab63299 |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | 56915cb0-db6e-5f7c-9650-b32da8743943 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens
select | df68d582-b035-5d4c-b3f5-cf48c7bafc4b |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 4a147097-fc4b-5521-9e56-e6ea55805664 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 357a8b4d-cf85-5878-bd08-60182d39f707 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 5fc260ef-100d-5aa9-8642-92c763cc4103 |  | textbox | General Notes
checkpoint-status | 2782c8b6-1cec-45c3-8b60-493d849da794 |  | checkpoint | Please add Comments / Photos
select | 9660d163-0281-512a-9c78-7fe307dad937 |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | ff465036-784f-5042-b125-a0c3e2270bcd |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens
select | 25c9deb0-b59a-5f98-b3c8-bb7ecccca262 |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 4253e419-7927-597b-9d2b-6772b9f8ac91 |  | textbox | General Notes
checkpoint-status | 1f41f093-f116-4e0a-9cc1-2722ba541dc3 |  | checkpoint | Please add Comments / Photos
select | d4a06dd5-70cf-52aa-9188-dc08ae64d67a |  | dropdown | Level | Below SOG, SOG Voids, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 42, Roof Plant Deck
select | 9969d00b-6710-5e27-9436-490bae6b8a3d |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens
select | c46a6ba0-5562-5867-8f8f-4322f7de44ec |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 2a65fab0-9740-51fd-9ff4-49227ca46051 |  | textbox | General Notes
checklist-sectioned | d482d684-851d-417b-b46a-a4174201786a |  | checklist | Stairs Checklist |  |  |  |  | Yes | Stairs Checklist | 410f5762-da6d-48f0-b247-45464dbe6626
checkpoint-group | 2ef78d34-f7d5-4dec-804b-456fc697ba87 |  | section | Phase 1
checkpoint-status | c472c8f4-42a0-47f4-94db-1b6995ddd829 |  | checkpoint | Area accessible & ready
checkpoint-status | 5dc8db8e-e90f-4d45-942b-10e8363f87e6 |  | checkpoint | Drawing references entered
text | a62d91da-488b-59b5-b525-e1c0ee684935 |  | textbox | Architectural
text | d03fdad1-2b1d-5477-8b06-a347ab7097f9 |  | textbox | Structural
text | 744382d2-3a16-5dc3-b3f0-f546ba2dd70e |  | textbox | Other
checkpoint-status | ee77d60d-78b9-4f47-814b-8bc94735bb88 |  | checkpoint | Current plans in use
checkpoint-status | f9038797-c4f9-4c45-928c-566fd7bdeaf2 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | 2fa13a09-25b1-4d79-9bac-30d9d1d0a609 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | d1a98b37-dfd8-4814-b758-7c2055dedb04 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 74365a15-c830-455c-bcb2-c90c73cde074 |  | checkpoint | Base of stairs cleaned
checkpoint-status | b87e2215-fc17-4900-a584-d477fd2e8253 |  | checkpoint | Riser heights confirmed
checkpoint-status | a5510fa0-1dcd-4c27-874e-fcac65599e7f |  | checkpoint | Going lengths confirmed
checkpoint-status | 9fc10f19-7e0b-4a9d-a2d4-9c8b764011ed |  | checkpoint | Correct Class of Finish
checkpoint-group | 65238168-1004-4246-8d85-cfee90513436 |  | section | Phase 2
checkpoint-status | effe8f1f-f16b-481c-84d3-7d6b83231a46 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 1f64a4c5-5b32-4443-83d4-3ebe743c0806 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 3d5b5ded-f474-464f-a08d-eb1832440631 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 8abdf094-b542-4b51-b78b-da2fd60ee7d4 |  | checkpoint | Riser heights confirmed
checkpoint-status | f66219c4-0d26-4cf0-b09b-ee0150e0f543 |  | checkpoint | Going lengths confirmed
checkpoint-status | 7cd9a88a-2c79-4ae9-92fa-0f0cd1155e1d |  | checkpoint | Correct Class of Finish
checklist-sectioned | babb47be-da9f-41d2-9cdc-8482750243c0 |  | checklist | Hoist |  |  |  |  | Yes | Hoist | 41e2da51-eb6f-4c3e-8a68-fbe72c54031e
checkpoint-group | 6af22e1d-10af-4a57-9530-96138e4c7136 |  | section | Install
checkpoint-status | ce5ad5fb-0619-44bd-aa90-1f2025aad3f4 |  | checkpoint | Area accessible & ready to receive hoist
text | b7cbcc8a-3b14-558b-850b-3ea1ed8f612f |  | textbox | Hoist ID. Number
checkpoint-status | c3f50f6b-d5c9-4b26-8203-aabf749e8105 |  | checkpoint | Adequate Crane or Franna to install (heaviest lift required 4.5 tonne)
button | 20ffc79c-9505-50bf-865b-01012817252b |  | button | Copy the Certificate of service and service history onsite | Yes, No
text | ce05f824-4278-5f85-b447-ac2b53f783f0 |  | textbox | Name and Number of Rigger
checkpoint-status | 992bff41-86b2-4ae0-8855-9ca405450fec |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
holdpoint | 3f4adf6d-f74d-4ec5-911e-2e1cecac7677 |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 5c310eb8-71c4-4d85-b8e9-aef9dcf17c0f |  | checkpoint | Scaffolder on site to assist in edge protection if required
checkpoint-status | aa70edd0-b2cf-4a4c-97cb-83f83e0ca59a |  | checkpoint | Signage in place
button | f273bc2e-c2c7-5cb3-bdcb-25449569afef |  | button | 3 Phase power accessible and adequate circuit breaker 75 start Amps at power sorce | Yes, No
checkpoint-status | b725000b-7eb1-4f45-8495-5a08010b5a13 |  | checkpoint | Exclusion Zone around required area
checkpoint-status | eca3c69d-cb1e-4840-b4c1-9322c3b2d260 |  | checkpoint | WMS ready and signed on to
checkpoint-status | 658b124e-5bde-4087-be09-a1d6748e2721 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | aec06ca8-5769-4afd-8829-e945add8fac2 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 98f82ec6-fcaa-48bd-92c1-5872d0a67bb9 |  | checkpoint | Gates installed
holdpoint | 28d9ceb2-4ce6-4c5f-ae8b-5a63bffea2e9 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 957ce645-a0d4-44bb-a60d-038de496183b |  | checkpoint | Log book for hoist is onsite and in good condition
button | 5cbf6998-e2d3-5bb1-a6db-01a8114b4b72 |  | button | Copy of Bosform commissioning sheet on site and completed | Yes, No
checkpoint-group | e9d2e637-db26-498c-8482-b1494f1b996c |  | section | Hoist Jump and Dismantle
checkpoint-status | 6e7451af-4897-4afc-892a-bb2452758a79 |  | checkpoint | Ensure exclusion zones are in place
checkpoint-status | d984c84a-f55f-4bed-9b1d-c17023ccf4e0 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | d9f931e2-f8a9-4b78-8919-2292223db3e0 |  | checkpoint | All loose materials removed from edge
text | 186622b4-4a6f-511b-b6af-529a49255c38 |  | textbox | Name and Number of Rigger
checkpoint-status | 3cf242b3-32ec-4dc7-90af-0deaa6aecf27 |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
checkpoint-status | 65e19061-5348-4bd7-92f5-83ea9f407bce |  | checkpoint | Scaffolder on site to assist in edge protection if required
text | 2c6daa98-21ad-5ef2-b3d8-ceb264fc52be |  | textbox | Level Number to be Jumped to
checkpoint-status | 30423386-9094-403e-90da-af6757dd5c37 |  | checkpoint | Gates installed on Level/s to be exposed once lifted
holdpoint | 7e6cf3e8-f3ca-4718-a5c8-557467db2c82 |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | cd833294-f0d0-48fe-9160-e6408c2f31c9 |  | checkpoint | Signage in place
button | 9606000e-6a5a-559e-952d-6b9944d9ca17 |  | button | Hoist Screen installed if required | Yes, No
holdpoint | 3e753b9a-7d86-4cf1-98e7-542dc1e1af80 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 73f83a46-5c02-454e-8cdb-449c284c74ea |  | checkpoint | Remove exclusion zones and barricades
checklist-flat | 67453cbf-0183-414d-8b8a-f58188bc96f1 |  | checklist | Deck Handover |  |  |  |  | Yes | Deck Handover | 427e629b-3649-4c18-b880-b9a450ca4b2c
checkpoint-status | 7402c88a-5f88-4522-83de-cb35f3757f0c |  | checkpoint | Communication between all trades
checkpoint-status | 4f86ac37-a9ed-48b0-ae54-e9207742c6a8 |  | checkpoint | Signage and barricades in place
checkpoint-status | e8bdcbd8-d69f-45b6-a220-37c9850bf36e |  | checkpoint | Deck clean and clear of materials
checkpoint-status | 547f5c3e-dfe3-4875-afd6-b6770f30b7d9 |  | checkpoint | Loose materials are stacked and secure
checkpoint-status | 99216888-260c-4ec6-af8f-76c2a62041e5 |  | checkpoint | Any backpropping required to handle loads of reo and other equipment
checkpoint-status | 36b54280-a7bc-46f6-85b1-c6f9190a990b |  | checkpoint | Designated walkways established
checkpoint-status | 62063a6e-d6e1-4067-b3e0-760803dc1dda |  | checkpoint | All loose materials removed from edge
checkpoint-status | e1869359-3aba-48dd-909f-ff5d3be8c8bd |  | checkpoint | Are all penetrations covered and secured
checkpoint-status | ab679ee4-80a9-4624-b169-e1391b7168df |  | checkpoint | Rubbish bin on Deck
checkpoint-status | 39950745-8e89-43af-8b3f-dd47e687e61f |  | checkpoint | Perimeter Screens / Edge protection installed
checkpoint-status | bc9071aa-b6dd-4d13-8c8d-80b13e7bb4ee |  | checkpoint | Correct spacing of frames, props and timbers
checkpoint-status | c32755bf-7f48-4ffd-aff4-8b531033dd4d |  | checkpoint | Correct joist and bearer sizes
checkpoint-status | c8052b93-86b6-439a-b84c-9dcdb5215760 |  | checkpoint | Acceptable jack extensions
checkpoint-status | 6c520559-e000-4933-9425-78a00436485e |  | checkpoint | Quality of materials
checkpoint-status | 3ba21612-4f72-4010-900d-ab328b6b2b79 |  | checkpoint | Adequate bracing to ensure stability
holdpoint | b2423011-c532-49fb-8059-feddda956e90 |  | signoff | Deck Handover signed off
checklist-flat | 59503d13-647b-499b-bf63-661d4f1e8599 |  | checklist | Progress Claim Checklists |  |  |  |  | Yes | ZSYS - Progress Claim Checklist (old) | 5d89bb76-07a8-46a8-ae16-30eda60325a9
checkpoint-status | 2abcac4c-8269-4334-a76f-04f99ee653e1 |  | checkpoint | Please add Comments / Photos
select | e1910a0e-89c6-58d3-a6d9-2d94edd3abe1 |  | dropdown | General | Site Establishment / Prefab, Systems
select | 9ff6c571-8283-5eee-84c8-4faeb5d209ba |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | b766e07a-3c31-51f3-a510-8d415bc99df7 |  | textbox | General Notes
checkpoint-status | e5f6affd-6840-4536-8654-0fc6aafc90ec |  | checkpoint | Please add Comments / Photos
select | b1e67c9a-7224-5932-bcbc-fc2c23e9d61f |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | 5bcebf32-242c-5fb6-82aa-3260dbd95085 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | 10ee1dad-df75-5beb-b0e5-dfe1018c9037 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | e88b9f91-5485-5405-bc46-213dc663b198 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 38613f4b-9217-546b-9689-eda8f475987d |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 590bc17b-1357-5639-9822-c3825fceb441 |  | textbox | General Notes
checkpoint-status | 8a2bb26e-50fd-46ed-875c-3da9808cba45 |  | checkpoint | Please add Comments / Photos
select | a153212b-209a-5b63-9abb-52cf830b8ca7 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | 3a2f0b8d-04ce-56f2-8940-e27deda0d214 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | c5ff7767-f307-53b2-a4df-b4e1fe0367b9 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 3655b06c-f966-5058-97a3-6b9a0702a814 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 8e3ffb8f-b857-5f58-8f57-dc5a3dc4aa56 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 3b5c8bc3-23cd-52c2-bbaf-7cd3d3b72d45 |  | textbox | General Notes
checkpoint-status | 719d5cbf-6b2f-41b7-b0dc-8ee4946d9a1d |  | checkpoint | Please add Comments / Photos
select | 63b64f4b-b757-5a44-b16a-cfc58ddd5636 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | 3dc5c09a-409e-5e99-8e7c-3cef7486215a |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | 155e2e61-ef6c-56f3-b309-ff606ec46e05 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 1beba1de-8c43-5be4-b578-9f5b6f9efe2e |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 01d8386e-f850-5f90-b559-fe68dcb3782a |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 7dff6ba0-f34f-5fec-8660-04716dc07271 |  | textbox | General Notes
checkpoint-status | df8a0dc1-7ce9-425a-b6dd-30c510017c82 |  | checkpoint | Please add Comments / Photos
select | d585a9ad-b0e9-5365-a50f-5d35053b1998 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | 5327267c-db9c-5f16-bc60-ba05540f3afa |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | 4b9e227a-fbdb-5788-b7f8-d9892a39b88c |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 57d9b36a-3b5d-511e-872f-03c6af872379 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 5d266cd2-21b2-5545-b9a7-617ae6e9b8e6 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 34d938d2-8782-5f5d-9549-b3571395a858 |  | textbox | General Notes
checkpoint-status | 01302c7c-8a37-49bc-9f8b-54919d8e6b21 |  | checkpoint | Please add Comments / Photos
select | 816bfa43-e8c6-5fef-bda4-49d9374a0b36 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | 19ed082a-1078-5276-a356-ffdf52107375 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | 9db93084-f4e3-51fb-b82c-a9748501a7f9 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 08214dc8-b51e-5652-9e17-47710eac3a29 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | d9f1e7fa-1fba-5943-95ff-c5e535ee931d |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 823898ce-671a-5e96-a467-f70ade33734d |  | textbox | General Notes
checkpoint-status | 6b5d78e0-a8b0-44b8-bee4-9172bea0b22a |  | checkpoint | Please add Comments / Photos
select | 0f80351c-6be1-5d1e-b51d-2c3a3ffbd6cc |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | 6747e90b-3509-51e0-b0b3-bc4bfa7bd6cb |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | ea5574dc-e530-5141-abb4-509ad3d323fd |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 66462486-8df4-5616-9515-09d2a3646669 |  | textbox | General Notes
checkpoint-status | c4322ad8-1a36-4a9e-bd25-67daff77b032 |  | checkpoint | Please add Comments / Photos
select | a839faf8-91a2-5789-b0d2-78a6c1bd603f |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4 - 17, Roof Plant Deck
select | af7792a9-7c31-5dd0-a948-245799b6cbf2 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems.
select | 12c4ca6c-f897-5211-be6d-19e56cc329fe |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 7f9120c1-d4a1-5f4c-bdee-7620a9cd3cc5 |  | textbox | General Notes
checklist-flat | 5dd8bbda-3805-4714-a9cd-3741b931fb2e |  | checklist | Site Diary |  |  |  |  | Yes | Site Diary | 7311f04f-d8ac-44ba-bd59-4c9ea4adb956
checkpoint-status | d73db167-a13d-4205-8409-fcaf0f1c831a |  | checkpoint | Areas of work accessible for the day
select | 13b98cec-e9dc-5f20-a095-87f07308e965 |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | 29bc8f12-09f5-5554-ab6b-48d7671f50f3 |  | textbox | Date
text | 2637f63b-ff90-5451-97a3-f085f2b72746 |  | textbox | Year
text | 6730a2cc-c8aa-5eed-81ab-669f677e91ee |  | textbox | Number of workers on site
text | 44024e74-b98d-5ae1-8c36-e9b3cf690ac5 |  | textbox | HSR on site today enter name
text | 2cea7ba6-3f28-5b4e-802b-e77387be2d66 |  | textbox | First Aider on site today enter name
text | 631aff90-76a9-516f-8df8-8b4d78eef7f1 |  | textbox | Injury on site today enter name
checkpoint-no-status | 0cf2517b-4a99-4ce5-a000-ef940a231893 |  | checkpoint | Work area 1 details entered
text | cd27db9d-2f92-56d9-8f6e-778a6cd56b74 |  | textbox | Area
select | 6dfd41a8-133f-5781-b6c4-dc6814705353 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | f0126ad1-5e3c-595f-a013-442424f249d2 |  | textbox | Comments
checkpoint-no-status | 702429a8-e1e3-45c8-9504-4ad16e948959 |  | checkpoint | Work area 2 details entered
text | 24c5a8bc-9025-5404-b328-c9a504c3e598 |  | textbox | Area
select | 0e842426-b251-5c1e-8c55-0f1e631175f9 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 4bc3cd36-49b4-5c5b-97c4-cbebe0dafa4b |  | textbox | Comments
checkpoint-no-status | 24691d61-aba3-4274-9034-738b09a15bcf |  | checkpoint | Work area 3 details entered
text | 882a87ed-70de-5fa0-8399-7be554649804 |  | textbox | Area
select | c36bc376-3ac2-5dc5-960b-a4354e10fb74 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 791fba00-f59c-5f0f-b9e5-2aa175e5191e |  | textbox | Comments
checkpoint-no-status | 86e714d5-8b64-40c2-a25b-1ca13272a3e7 |  | checkpoint | Work area 4 details entered
text | 51646e55-8679-5511-b7a8-460bf140b66d |  | textbox | Area
select | cf34686c-717d-5770-80aa-aca6a2cdbd3e |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 1b55eb8f-1c25-5460-9cdd-87895c98fa7d |  | textbox | Comments
checkpoint-no-status | 8b58a3e5-6a90-446d-988a-429bc8c0fe11 |  | checkpoint | Work area 5 details entered
text | ab8557b0-1867-587e-8560-e7c7ee40e6dd |  | textbox | Area
select | 872b220e-0db9-50a4-b5ca-6dbea834cb01 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | b995275d-f853-5de9-9a78-6be2e7dd45ab |  | textbox | Comments
checkpoint-no-status | faf6fee2-276e-4c05-b81d-2891b6216fd0 |  | checkpoint | Work area 6 details entered
text | 3b2952e1-c301-5106-a92a-b2c15755e405 |  | textbox | Area
select | 7bec1f8e-bd06-5998-ac92-00999ae832f7 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 1d856687-8e5a-5b94-8ef3-797aee835c87 |  | textbox | Comments
checkpoint-no-status | b88c8c42-a6f5-4b30-a871-52548882b85f |  | checkpoint | Work area 7 details entered
text | c8d01204-a578-5122-bd70-1534d0e14d24 |  | textbox | Area
select | 5929c113-ab35-5e22-9195-5feda469a068 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 0bfc177e-afd2-5ff6-9cb2-e51b55238679 |  | textbox | Other
checkpoint-no-status | d4eab76a-8979-48c3-acd5-dc797e0987e6 |  | checkpoint | Work area 8 details entered
text | 5e7ee3eb-d08f-586c-896a-f8afa458cc68 |  | textbox | Area
select | 89ebfdf2-c2f9-5aa1-badb-98d9570a91d3 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | ab1920e0-837f-54c1-8de5-92c43a051bd8 |  | textbox | Comments
checkpoint-no-status | fdefaa52-6995-4d9f-baeb-b3770477832e |  | checkpoint | Weather conditions entered
select | 1524b2a3-9ba1-5002-a11a-cc1d06c0793d |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | 54087dc7-6e99-511a-9270-82a778f8e884 |  | textbox | Min temp predicted
text | 6384f1a7-1bd0-5293-bd2d-6379d56bd8f7 |  | textbox | Max temp predicted
checkpoint-no-status | f190e383-924f-46e4-ba2f-2ed1b2dae965 |  | checkpoint | Delays from inclemency
text | 5ddb22be-aab5-5fbf-bba0-db2191012339 |  | textbox | Total Hours of delay
select | 8d7f5ab6-0302-5d19-a1f7-8b607b67b5ef |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | 888bb1b0-f415-4dfa-a421-7a98bd27eccb |  | checkpoint | Delays from Builders or Others
text | d36f2870-eff1-5bc0-be43-2873f02cd223 |  | textbox | Total Hours of delay
select | c314a8da-0d8f-5cce-950f-30f5bbfc0249 |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checklist-flat | 800ac3ce-344c-4324-b806-e913f7a48444 |  | checklist | Suspended Slab Checklist |  |  |  |  | Yes | Suspended Slab Checklist | 81466ecf-96f4-4dd0-8f0f-eb23e5116adc
checkpoint-status | 5dfe9e05-ff5a-40a4-8797-c7837e9ed2ed |  | checkpoint | Area accessible & ready
checkpoint-status | 2dd1f183-ee8c-45aa-9f23-1b5ab8f9f1ea |  | checkpoint | Drawing references entered
checkpoint-status | b9023eb6-ffb7-48ee-aa01-9e361e15911a |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 3395a8c8-14a7-4d0e-a85e-1c86656cb191 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | e6e439b8-5962-474d-8839-f7a6f7837a89 |  | checkpoint | Grids marked by builder
checkpoint-status | 0ad84961-b81e-469d-87f4-8b912310c492 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | fd28429c-6b2d-4706-b745-f1f557e3b767 |  | checkpoint | Fillet & drip mould installed
checkpoint-status | 633c4b00-6ffa-482e-974a-431d35a47f73 |  | checkpoint | Check set down position & RL
checkpoint-status | 5e3a2f7e-87b5-481b-899d-8c42835dffd0 |  | checkpoint | Check penetrations installed
checkpoint-status | 5dcc5c57-d562-427d-a511-f28cc8d9b98a |  | checkpoint | Prop drop head wedges are secure
checkpoint-status | 3ced48ae-4654-4400-8e34-3e53cee86aaa |  | checkpoint | Column blockouts installed
holdpoint | 676b7b05-2317-449a-9da5-89ad42eb917c |  | signoff | Inspection by site engineer
checkpoint-status | ea5394cd-3dd0-46d7-b4f8-299819ac69b4 |  | checkpoint | check back propping as per design
checkpoint-status | 665966ae-9a25-44cc-bc21-b85d3b59c2be |  | checkpoint | Blow off deck
holdpoint | 5805ed65-8008-42ea-8cf4-4856925a03b0 |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | b6265055-8b94-4764-8f92-0a08a421c587 |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | 16949961-f797-42e9-b8f1-7ae6036ea5de |  | checkpoint | Correct Class of Finish
checkpoint-status | a4fd9e38-a60f-40cb-8d3f-46cbb7d267af |  | checkpoint | Stripping, cleaning & materials removed
checklist-flat | bb2fd26b-db18-4a18-b55c-724a2d3f9b90 |  | checklist | Daily Pre Start |  |  |  |  | Yes | Daily Pre Start | 87b255bc-a186-4f3d-8be0-47773a379aed
checkpoint-status | 8fc526f0-a80b-4d66-86f9-af863d5ac23a |  | checkpoint | Daily pre start meeting completed
text | 9fb8bad1-4513-5449-96b5-f8a94ec8aa0b |  | textbox | Date
text | 6434db86-574f-5ce4-8ddf-59ea64f5807a |  | textbox | Time
text | a0d464a0-667a-5ad8-a1b9-ee6369647519 |  | textbox | Location
text | e8408c19-a560-5286-8b48-d37551547c03 |  | textbox | Supervisor / meeting leader
text | 9f131381-05d8-5cf8-83b3-e05458a185dd |  | textbox | Project Manager & Construction Supervisor attending
select | 9e3173c5-bc20-5fbc-b0ef-13947a315341 |  | dropdown | Current weather | Rain, Wind
text | 74da68b9-3efe-5fe7-950d-6ae334011238 |  | textbox | Temp
select | 0171dba1-ef4f-5e54-a19b-6777ca7ddec4 |  | dropdown | Forecast | Rain, Wind
text | 2288e1b9-554e-5109-a525-7f68bbc17c06 |  | textbox | Temp
button | d64f5a37-826d-55ff-83e6-9f27dd8fe66c |  | button | Is everyone fit, well & healthy, not showing any flu like symptoms | Yes, No
button | 66f4d135-6455-5ad6-ab22-4e1e24f324e6 |  | button | Have any workers travelled interstate or been in close contact with anyone with a positive COVID 19 test | Yes, No
text | f31197db-14f5-5598-8878-abfa1f67e10d |  | textbox | Any issues from the previous day
button | 9c7eb7f4-8ac2-5203-b1cd-f3dffdf29abe |  | button | Do you need to change SWMS | Yes, No
text | d8239816-5257-58ef-b10b-806320ce024d |  | textbox | First aiders on site today
text | 203f3837-ff72-580d-9f9d-19d4053d6502 |  | textbox | Apprentice & who are they assigned to
text | 588ffdf3-b595-5d02-98eb-261c6d3f4493 |  | textbox | Apprentice & who are they assigned to
text | 659818cc-380c-59cb-b5d7-52efdc6f6fa5 |  | textbox | Apprentice & who are they assigned to
text | ae2afde2-b145-5957-9c69-0e461010b3ef |  | textbox | Todays tasks / jobs
select | e7ca74d3-5963-5a6f-919d-b47353981c7d |  | dropdown | SWMS name & number | 02 Ground works, 03, Hand & power tools, 04 Operating generator, 05 Compressor, 06 Columns, 07 Walls, 09 EWP, 10 Loading / unloading trucks, 11 Manitou forklift, 12 Weld oxy, 13 Patching, 15 Stair / lift core, 17 Meva system, 18 Faresin system, 19 Conventional formwork, 21 Peri system, 23 Catch deck, 24 Pallet trolley
button | a00acf3a-1202-567d-9754-110751a8fb2b |  | button | SWMS in place for all activities | Yes, No
button | 58a19523-c350-501b-8885-cf08b7557b13 |  | button | Hot works | Yes, No
button | 3d11f8ba-2905-5b5f-a026-ce43e26f07ee |  | button | Excavation | Yes, No
button | 37c2d234-201c-510b-9e06-9a24e0d58be2 |  | button | Ladder | Yes, No
button | 9958c09a-dcf6-5269-94b7-5d39ba7945f8 |  | button | Core | Yes, No
button | 19d90e06-9cd9-507f-91e0-5c4cf2eb3ede |  | button | Are any hazardous substances being used or will be brought to / or stored on site today | Yes, No
text | c25dbb29-88ca-5262-9868-2cb8b6c279b2 |  | textbox | If yes, list the substances
text | 4706eb75-08cb-531c-b1af-17f448fe028e |  | textbox | Attendees
checklist-flat | 9b6cd2d7-d75c-4b5f-8b40-cf7ffb4968bf |  | checklist | Injury Form |  |  |  |  | Yes | Injury Form | b2b1763e-d728-4055-b0b4-74f018c42e01
checkpoint-status | 7d86b858-7254-4047-890b-942d13a01776 |  | checkpoint | Injury form completed
text | 507ae423-868a-52bc-beae-7210e7452076 |  | textbox | Date of incident
text | 4575cbc7-9513-55c6-8eac-a447875008ee |  | textbox | Time
text | 028f3d0c-ca91-54d9-b561-47012e87d423 |  | textbox | Site location of the accident / incident
text | 8b8a8296-8306-50a7-84c5-4c7263a55cd4 |  | textbox | Detail of how the accident / incident happened
label | 50c32814-a13e-5634-a266-5d90d154d84c |  | note | Details of injured person
text | fdd0c874-4caa-5204-b6c5-0c542dba943f |  | textbox | First name
text | c1a706b8-6932-5300-bf3e-f24fbbb8c2bf |  | textbox | Last name
text | 1da1e5b2-5009-5a9a-91f8-2d6bbc663cb8 |  | textbox | DOB
text | 9351e6ef-cb86-57bb-b1c1-79d51be56457 |  | textbox | Contact No
text | d2aa977f-313d-5c34-8cd7-46bd315d9e07 |  | textbox | Address
text | 07570a81-4d19-504d-b991-4fdce217fa52 |  | textbox | Company
text | 1ae642a9-bcf0-5167-9145-f236760b9df7 |  | textbox | Trade
text | e80fe3af-f1ba-597a-82fb-4d24e299faf9 |  | textbox | Date Inducted
select | da48345e-0e2e-570d-8d83-b35d16a96f9e |  | dropdown | Location of injury | Amputation, Bruise, Burn, Concussion, Deafness, Dislocation, Foreign Body, Fracture, Hernia, Inflammation / Infection, Internal Injury, Laceration / Cut, Occupational Illness, Open Wound, Poisoning / Toxic Effect, Strain / Sprain Twist
select | 883324cd-1246-5924-a086-2f57ba33851b |  | dropdown | Location on body | Front, Back, Head, Neck, Torso, Left Hand, Left Arm, Right Hand, Right Arm, Left Leg, Left Foot, Right Leg, Right Foot, Other
select | f440fa61-f485-5d82-a3d2-5f75d83d77e0 |  | dropdown | Treatment | No First Aid Treatment, First Aid Treatment, Medical Treatment , Lost Time Injury, Fatal Injury
text | 8f21c866-429f-501c-b369-d7ce2ad8afb4 |  | textbox | Initial treatment given
text | f02afe4d-4638-5436-b503-6b2ca843aeed |  | textbox | Was follow up treatment provided
text | 2638af36-50c4-5dec-b48f-6417f5471b7a |  | textbox | Medical centre / Doctor / Hospital attended
text | 127072e6-4b3a-59e6-9897-e13f291e8983 |  | textbox | Date / time attended
button | 64a60042-1b9e-572c-a548-5a98cd23475e |  | button | Regulator notified | Yes, No
label | 3e68e6fa-b0f6-5e9b-9903-b3a72c5ab37c |  | note | Witness details
text | 285ccc44-a2ce-518a-824f-546f636ab6d2 |  | textbox | Witness name & contact details
text | 5432b475-869d-529f-a600-1fe16bae90d4 |  | textbox | Witness name & contact details
select | 494ec49f-fa82-52f8-882f-97386fa5e16b |  | dropdown | Event details / cause | Falls from height, Fall from same level, Hitting objects with body part, Exposure to mechanical vibration, Being hit by moving objects, Exposure to sharp sudden noise / long term noise, Exposure to extreme temps, Exposure to radiation, Exposure to biological factors, Exposure to mental stress factors, Vehicle accident, Muscular single / repetitive movement, Contact with electricity, Contact with toxic chemicals / substance, Other & multiple mechanisms of injury
text | 4483a479-2335-5135-8c68-bd75c36eba42 |  | textbox | Other
label | 87bc99f7-9945-5ed5-b7f4-1de167703dea |  | note | Injured worker: I confirm the information recorded in this register is to the best of my knowledge true & correct & I give consent for this information to be provided to Bosform for my incident investigation & reporting purposes
checkpoint-status | 3eb0e05f-dd3d-4267-a58f-ec2d5e2bb1b0 |  | checkpoint | Signature of injured worker
checkpoint-status | 0be60766-d25c-475a-855d-0e36d5d73059 |  | checkpoint | Person completing this form
checklist-sectioned | ed7578fc-9b98-402c-bb22-f57e327a7762 |  | checklist | Jump System / Climb Track Checklist |  |  |  |  | Yes | Jump System / Climb Track Checklist | bd2bb4c9-2183-4519-8d3c-8be1c3fee3f0
checkpoint-group | 6f292e3e-4da6-48a2-987a-4f173af7de48 |  | section | Pre Lift
checkpoint-status | 9cafb139-ba54-4b96-b8b6-92ef8065583c |  | checkpoint | Confirm concrete strength MPA 15 has been reached at connection points (Builder to supply)
checkpoint-status | edc2decf-54f4-4f77-978f-e125e9ebb1ef |  | checkpoint | Signage in place (Stripping in progress/Jumping in progress/ No access)
checkpoint-status | 6e70875e-2bc0-42ad-8eda-ead7c91f2cd6 |  | checkpoint | Exclusion Zone in place
checkpoint-status | 4970614b-2e22-4c73-bda0-786bd2399152 |  | checkpoint | Spotters in place on slab below jump (outside exclusion zone)
checkpoint-status | 5b26f3fa-1e3c-4b85-a9d2-4c5ec14f1063 |  | checkpoint | All Platforms cleaned and clear from rubbish
checkpoint-status | 0f135e82-edb0-421a-bb7b-f586d78fd765 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 12d946da-02e1-4499-b67c-0e5e40f589a3 |  | checkpoint | Clear communication between team leaders and Crane crew (toolbox talk)
checkpoint-status | 4e247ecc-8f05-4712-87ec-7bdb0b4860e4 |  | checkpoint | Ladders available and secured
checkpoint-status | dd17c943-17de-4ff0-9120-e76d3f6f08aa |  | checkpoint | Flipper systems lubricated
checkpoint-status | 4e5b1332-80af-4cbc-832c-4e7d8d9303de |  | checkpoint | Trailing Decks clean of debris
checkpoint-status | 823717d8-6ca4-409a-baae-30ff919c6c5a |  | checkpoint | Trailing decks clear of protruding ferrals in walls above
checkpoint-status | 88167e2d-8504-424a-b409-a2ba40dd53e6 |  | checkpoint | Check exclusion zones in pit below are in place
checkpoint-status | da69d98f-cf34-41e8-8a8d-441198099de8 |  | checkpoint | Plumber to check pipes to water cooler
checkpoint-status | a2d9844e-7116-40de-9023-f74eafe3cb9c |  | checkpoint | Transfer RL heights
checkpoint-group | 9ba62fe3-123d-4d58-b503-6d9a4efa6037 |  | section | Post Lift
checkpoint-status | 82402b5b-8b01-4c64-81ef-8e5d058b2b00 |  | checkpoint | Confirm connection points are secure and all engaged
checkpoint-status | 88b24bc5-6fa0-4360-ac6a-bd4ddcad3c24 |  | checkpoint | Confirm mesh secured to doors and penetrations
checkpoint-status | 17a442cf-2d48-4035-9e18-cc886ea0da05 |  | checkpoint | Signage in place
checkpoint-status | 2348d717-49a7-4100-8c7c-a0953cfc7d31 |  | checkpoint | Screens and mesh infills are in place and secure
checkpoint-status | 81c4316e-82c2-4acf-b3e0-926034a9d5b9 |  | checkpoint | Loose materials are stacked and secure each day
checkpoint-status | 14574cbf-b752-4312-b84c-d3420f5b31bb |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 39d97747-8032-4df7-914e-c6996bc8f326 |  | checkpoint | All loose materials removed from edge
checkpoint-status | c2b0e702-25f7-425c-879d-17b9b73bd921 |  | checkpoint | Loads on platforms not exceeded
checkpoint-status | 3a327c17-13e5-48b0-bb0f-8fdb0f8d6b30 |  | checkpoint | Ladders available and secured
checkpoint-status | f7306a31-b356-4f76-80cb-0cc2bd960025 |  | checkpoint | Access is clear and marked
checkpoint-status | aa961808-bab7-4bb1-a0ba-c9ca8a03d3f5 |  | checkpoint | Power Board connected
checkpoint-status | b6c23a36-0cf9-4f51-a3a0-f026993d230c |  | checkpoint | Confirm ready for lift with all involved - Team Leaders
checklist-sectioned | 2087b9eb-5613-4f97-be92-505ed4dbb4c0 |  | checklist | Stairs (in-situ) Checklist |  |  |  |  | Yes | Stairs (in-situ) Checklist | eb192d1c-5f75-44b9-9f86-038c98430972
checkpoint-group | 88b7f28e-2b1b-429c-95a3-68533706b6dd |  | section | Phase 1
checkpoint-status | 4028cbc3-616e-4f78-a453-5f447a216e67 |  | checkpoint | Area accessible & ready
checkpoint-status | e75b0a01-ec10-414e-b4aa-24e1cb7d1dc2 |  | checkpoint | Drawing references entered
text | 65d2551a-d42c-587e-8565-e6606518fe81 |  | textbox | Architectural
text | d004e6c5-8c95-54f1-b54c-1c3626d0ac86 |  | textbox | Structural
text | 57368d88-54d4-5459-af35-532d52c69ea0 |  | textbox | Other
checkpoint-status | 936718f3-c550-479b-81a5-a0d174ea3746 |  | checkpoint | Current plans in use
checkpoint-status | 69134a0e-d8bc-42cb-913d-9cdd35700729 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | def1cd7b-9b88-4ffc-8f58-6e7b1d6c7027 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 9022589d-2fb7-4bfc-8664-a440895cdb38 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | a0b8c83c-84ca-4821-ac16-e2a91ab7d126 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 258afcb6-e944-4037-90ea-8f53a778c569 |  | checkpoint | Riser heights confirmed
checkpoint-status | e77e342e-2b12-4f2d-b401-feb008a0b23c |  | checkpoint | Going lengths confirmed
checkpoint-status | 1c0cc371-68b8-4b98-8277-4696bea1eb5c |  | checkpoint | Correct Class of Finish
checkpoint-group | 461772ab-9df6-441c-a217-2612c8a90b07 |  | section | Phase 2
checkpoint-status | d51554a0-e3bc-4263-b1b9-4a48217d708b |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | f8d55d22-e2e4-4d7c-9db5-58c583f7c2f6 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 514632d4-e3f8-4812-a245-504529e3a39d |  | checkpoint | Base of stairs cleaned
checkpoint-status | 27133c9e-00e8-43fa-a177-146de6970dbc |  | checkpoint | Riser heights confirmed
checkpoint-status | c2f73bfa-17f2-45d1-8c1b-492a4794a77f |  | checkpoint | Going lengths confirmed
checkpoint-status | e6377cbc-083b-4aa7-baed-17d7ba485fb7 |  | checkpoint | Correct Class of Finish
checklist-flat | ef2986b0-459f-4cb6-952e-05ca60bb16d8 |  | checklist | Weekly Labour Hire Control |  |  |  |  | Yes | Weekly Labour Hire Control | f3c7113c-d7e6-43d9-845a-8e1b60fe7c91
checkpoint-status | 42e90e9c-44e6-4df5-a8d2-79867a65ccb3 |  | checkpoint | Tuesday
text | ac2d8920-6922-566f-8601-23345a3c5870 |  | textbox | Date
text | 5eeb6b90-ea1a-565a-b28c-cf9c23412226 |  | textbox | General Comments
checkpoint-status | ed0afe4b-0d95-4551-b762-ee1666acd7b3 |  | checkpoint | Wednesday
text | f10c70c6-cdfe-55d1-9c6c-8be6c3415a28 |  | textbox | Date
text | 32c24427-c391-5df1-b4ea-13ea9ed332d1 |  | textbox | General Comments
checkpoint-status | d806aad8-f305-475c-b455-11db428d599d |  | checkpoint | Thursday
text | ba323a2b-b976-5430-b321-eeb9c43f4194 |  | textbox | Date
text | 4db3f6e5-97c5-5602-bc98-1eb79d368c6c |  | textbox | General Comments
checkpoint-status | f954c2b8-8926-4440-89a5-46a5adb08d10 |  | checkpoint | Friday
text | 08b708a9-ce44-555b-8270-de5a67ac17de |  | textbox | Date
text | 191f998b-e40f-5e7d-979f-ad322748f74e |  | textbox | General Comments
checkpoint-status | 093fd156-22f0-49d7-8c04-dfcbfe7a3308 |  | checkpoint | Saturday
text | f3fee7ea-2091-5ecb-ba78-f26a6cc1211e |  | textbox | Date
text | c24a9874-fa13-59ad-b48f-e2a990e18757 |  | textbox | General Comments
checkpoint-status | 7e39abc3-cbf1-4de9-a9d1-57ab02399a42 |  | checkpoint | Monday
text | e7dfc8bb-5eae-54f0-b9e1-4deca5e59f91 |  | textbox | Date
text | 7eed0be9-5869-5fb0-b146-386cd5563f06 |  | textbox | General Comments
checkpoint-status | 1cec762e-86d8-41fe-ae4d-20a9405bfe4c |  | checkpoint | Tuesday
text | 5a788c6f-11b4-5baf-a814-a881f61f3546 |  | textbox | Date
text | 0c69c2b2-1947-5c49-9049-0127c0180d00 |  | textbox | General Comments
checkpoint-status | 90a7bab7-e486-4491-8345-12ddc1992156 |  | checkpoint | Please Attach Time Sheet
holdpoint | 9fad0e86-0809-47b3-9373-806fc6d39808 |  | signoff | Client Confirmation Signature
checklist-sectioned | cf745adf-43b7-46c9-84b4-62c84b8668ec |  | checklist | Screens |  |  |  |  | Yes | Screens | f62c561d-a97e-4a0a-90fc-969249116515
checkpoint-group | cb23e7ea-7440-4e5c-9a60-0f70690f2f3e |  | section | Pre Lift
checkpoint-status | c55e1488-4cf6-4bb6-a178-0220c92107e7 |  | checkpoint | Area accessible & ready
text | 508ee853-d9e4-5892-a301-d1139030f6f2 |  | textbox | Screen number
checkpoint-status | 86ecb1ce-1e04-449c-8df5-36153f028693 |  | checkpoint | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | f78a0ff9-0985-4fbe-8890-ba81a2fb7451 |  | checkpoint | Signage in place
checkpoint-status | a60d8cb5-e359-484e-a0cf-f04485b0ca9a |  | checkpoint | Exclusion Zone with name and number of supervisor– Ground level and Slab level
checkpoint-status | 59e654ee-2047-4833-8a3f-a36675804bfa |  | checkpoint | Spotters in place
checkpoint-status | 3ad6603a-5d05-4259-8163-036faafa55a1 |  | checkpoint | WMS ready and signed on to
checkpoint-status | ed66ad4d-e868-4607-88e5-39f844b892ef |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | d40a0bfa-f6d0-41ae-b082-d3770d070683 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 06a30d37-6a97-4991-abbb-67641f75db9e |  | checkpoint | Edge protection installed on Level/s to be exposed once lifted
checkpoint-status | 8ae0f1c6-f312-482a-b0e7-c79e0c3b22c6 |  | checkpoint | Deflector shields removed
checkpoint-status | 9af798e7-36f7-4b4a-b1e5-9c89493a0079 |  | checkpoint | Radio communication woking between screen crew
checkpoint-status | 070a568e-2b09-41be-b9c4-071839dfede4 |  | checkpoint | Hydraulic lifting Apparatus installed correctly if using lifter
checkpoint-status | cdc67ed3-aeac-40dc-906f-95d3bcfda951 |  | checkpoint | Screen Free from Debris
checkpoint-status | c062298b-4f10-4272-80a7-bfdc5fb44dc7 |  | checkpoint | All wire infills detached
checkpoint-status | 25961679-369a-4fda-8fff-9d2ffb5b3056 |  | checkpoint | Confirm ready for lift with all involved - Team Leader
checkpoint-status | 57e7bf5c-8ee0-4366-b48a-751945168558 |  | checkpoint | Work at heights permit completed - attach or take photo of permit
checkpoint-group | 5216b9cc-a270-410e-9d1d-7e6005aadc58 |  | section | Post Lift
checkpoint-status | cccb2554-eb20-4ac5-8faa-4bd2f5ea4eaf |  | checkpoint | Ensure all gaps are closed
checkpoint-status | b01539c2-64c6-427d-9cd9-a6d3a90c6c27 |  | checkpoint | Mesh to be install where required
checkpoint-status | b7052fe2-2230-4967-93aa-70d8eb4cfada |  | checkpoint | Double check all needles are secure and double nuts in place
checkpoint-status | c49c21f8-2eb5-4f07-95bb-c836ab6d6b86 |  | checkpoint | Clean and clear area
checkpoint-status | da5780f0-9c54-4de4-9a85-7406cc482303 |  | checkpoint | Remove exclusion zones and barricades
checkpoint-status | 5ba59c5d-98ef-42e0-9004-f8073817c592 |  | checkpoint | Bar caps for protruding z bars