## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 36a8b254-119b-4e85-9121-640590e46405 |  | checklist | Walls Checklist |  |  |  |  | Yes | Walls Checklist | 1915f16e-8cec-4b41-9b2e-b276b6341f6b
checkpoint-status | 7de36ae3-7048-4447-8948-13f462a76262 |  | checkpoint | Area accessible & ready
checkpoint-status | 9568a4cd-2f2e-446b-b66c-45208049844b |  | checkpoint | Drawing references entered
text | c2ea8a90-b17e-5446-b1b8-7a3dcab2d78f |  | textbox | Architectural
text | e62198e7-4999-54e1-ad54-eb12fad63c87 |  | textbox | Structural
text | 75624e69-9e1b-520d-8460-462bb05449cc |  | textbox | Other
checkpoint-status | 185d3ca7-eb4d-4062-b1f3-a0283ab7b197 |  | checkpoint | Current plans in use
checkpoint-status | c6e328e0-633e-4793-ae61-9c93e8dfde8f |  | checkpoint | Survey points given for 2 points
checkpoint-status | d1b74062-e47d-4d1c-adc9-bdfdea2d368d |  | checkpoint | Land shutter bracing props secured plumb shutter
checkpoint-status | 3c9043b5-bbad-4afc-8c16-a2fdbd410a66 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 02da5a34-ffa1-4514-a643-108edd082d12 |  | checkpoint | Blockouts steps penetrations marked & installed
checkpoint-status | 8207710c-042f-4a91-96e0-9ad1b4f70f69 |  | checkpoint | Steel tied & clear from Z bar holes
checkpoint-status | e7d86674-8334-4a2b-a508-1857626ea1a3 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 0b001188-4564-4d7a-8108-c41b891e4baa |  | checkpoint | Base of walls cleaned
holdpoint | 9856aece-114e-41dd-b238-d245dbda9d9b |  | signoff | Inspection by site engineer
checkpoint-status | b2a9278c-6b36-4418-bee2-44f1d6533f64 |  | checkpoint | Closing shutter installed
checkpoint-status | 08316857-0052-41b6-84a0-98fa924d5e12 |  | checkpoint | Z bars secured wall straight & plumbed
checkpoint-status | 9504d1d9-d472-44bd-a746-b6046f529b57 |  | checkpoint | Correct Class of Finish
checklist-sectioned | 75f276a3-fe43-4b8b-a7c7-4cf875d5b245 |  | checklist | Core Lids Checklist |  |  |  |  | Yes | Core Lids Checklist | 1f40c000-4415-4265-95d8-30127318df76
checkpoint-group | e1437c91-b21e-4830-a4ca-690c5728a665 |  | section | Phase 1
checkpoint-status | 16b23cc0-b6f5-4a27-aba4-69acad490c3e |  | checkpoint | Area accessible & ready
checkpoint-status | 289cc7a7-301e-4f74-b86a-4145fc51f09f |  | checkpoint | Drawing references entered
text | d18088e8-937d-50de-8e68-115b94cff6d3 |  | textbox | Architectural
text | 9db2caa7-de8a-5dbd-be3d-093620dce160 |  | textbox | Structural
text | 811af5dd-116b-5d78-aff5-51f2154f85b0 |  | textbox | Other
checkpoint-status | c8dee57d-9288-46b4-b5c9-9017ad3d6366 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | ff3c2d65-3254-42c9-9a46-144c21e0d1c4 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 88b42ed3-0cf9-4405-963c-ebe8418e89b0 |  | checkpoint | Grids marked by builder
checkpoint-status | e4227bc6-893f-4ea7-89d9-331c8290a590 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 2494b5c9-63c0-4b1a-a07b-df96b6d2dae8 |  | checkpoint | Fillet & drip mould installed
checkpoint-status | f4647c91-353f-4065-b857-57a31a264d3c |  | checkpoint | Check set down position & RL
checkpoint-status | bc6a8a17-292e-45d0-b17b-1e3f8d28b869 |  | checkpoint | Check penetrations installed
checkpoint-status | f2718a6e-db02-49da-b5ac-69d409c72659 |  | checkpoint | Column blockouts installed
checkpoint-group | 635350c4-f214-4cf1-81a6-14ac3f9a694f |  | section | Phase 2
checkpoint-status | 8d5dbabb-83f2-460f-b667-7aff71b7a4f5 |  | checkpoint | Check back propping as per design
checkpoint-status | 6c763532-8ec6-4b3c-b4ff-0d1cc4c36e63 |  | checkpoint | Blow off deck
holdpoint | 3bac06ca-d078-4424-b5ad-2ffc4a51c956 |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 30a52fd0-03cf-4f2d-8854-3356f21420af |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | 9947ca4a-cfc9-4bab-9786-fa187a270698 |  | checkpoint | Correct Class of Finish
checkpoint-status | f560f306-a53d-4109-ab45-78c1693f8f14 |  | checkpoint | Stripping, cleaning & materials removed
checklist-flat | 70fb8bdf-f960-4b4d-928e-4f1299d07f19 |  | checklist | Variation / Site Instruction |  |  |  |  | Yes | Variation / Site Instruction | 3de5906b-1a15-4e5a-b1de-f021da20e8ee
checkpoint-status | eab2d7f6-9e37-486c-8fe0-422df75856b5 |  | checkpoint | Variation / SI Details Entered
label | 2f44facc-087b-5200-b7b7-c8f2c8d18d2f |  | note | Please take before photos
radio | 1f0b754c-1802-53bc-8911-165083e5c09b |  | radio | Work type: | Site Instruction, Variation Work
text | 301f5f9e-61b2-5557-b62f-d633e22c7174 |  | textbox | Attention:
text | 46087d8a-49af-58ed-937b-79a064dc6f77 |  | textbox | Area/Location
text | 156423f2-bde8-5cb9-b08f-dc05df46eb85 |  | textbox | Date
text | f91b0b50-f60e-5d52-b95c-35a4c7970ee3 |  | textbox | Scope of work
text | cd521e10-35cd-5611-8c71-cddb4237dcf4 |  | textbox | Normal Hours
text | 726c9457-1566-51c5-812b-44c012ac9fa0 |  | textbox | Overtime Hours
text | 0cd26e99-0627-5956-bd7a-3efe51166324 |  | textbox | Material to complete task
checkpoint-status | 6351e522-055e-4381-b774-160fbe6b1944 |  | checkpoint | Reference/SI Number Entered
text | ffe1aac8-a389-565a-a69c-fde5968293e9 |  | textbox | Reference/SI Number
checkpoint-status | b4469862-66df-42f4-b052-71fded653e82 |  | checkpoint | Variation / SI Work Completed
checkpoint-status | 83195641-ee19-4dda-ad8d-4bf9f2c16c9c |  | checkpoint | Values added (Office use only)
text | a7cfa7f3-1854-567c-8895-49969ab88754 |  | textbox | Labour Value
text | 1ea7dbb1-25ec-5a45-a55e-c28383823bb3 |  | textbox | Material Value
text | 8221bb91-008b-541b-971f-0b98d86d9572 |  | textbox | Measured Items
text | 701c78ec-c5e2-5607-a624-03244ccbeb1b |  | textbox | Total Variation Value
checklist-sectioned | 1c53a586-47df-437b-b0f6-caf584ee95bc |  | checklist | Jump System / Climb Track Checklist |  |  |  |  | Yes | Jump System / Climb Track Checklist | 7007d2a8-b7c7-473f-ad63-9f976b15deb5
checkpoint-group | 4d13416e-6508-4132-92d8-87e38ccab1b2 |  | section | Pre Lift
checkpoint-status | 63f65b61-8dd7-4ae4-a9c6-fae9d7372eac |  | checkpoint | Confirm concrete strength MPA 15 has been reached at connection points (Builder to supply)
checkpoint-status | 91e36f74-9921-4d66-9f69-4d8489b9e8e9 |  | checkpoint | Signage in place (Stripping in progress/Jumping in progress/ No access)
checkpoint-status | 36ed3f33-ae1d-49fb-b42a-a9998d0f5d56 |  | checkpoint | Exclusion Zone in place
checkpoint-status | 90440ad1-7884-4bfc-b467-2de0facad7c6 |  | checkpoint | Spotters in place on slab below jump (outside exclusion zone)
checkpoint-status | fa24d88d-ea42-4348-8b5f-6725fe77dfd8 |  | checkpoint | All Platforms cleaned and clear from rubbish
checkpoint-status | 3628ff6a-d179-4f0d-a360-8fcc29b469fe |  | checkpoint | All loose materials removed from edge
checkpoint-status | ae7ad434-9b99-41ff-a9bc-e8e4a1b1cc59 |  | checkpoint | Clear communication between team leaders and Crane crew (toolbox talk)
checkpoint-status | 5261193c-fbe3-4240-8b2d-5be2a15854fa |  | checkpoint | Ladders available and secured
checkpoint-status | be472e4f-64db-4f9d-9c29-82a85d9dbe3c |  | checkpoint | Flipper systems lubricated
checkpoint-status | f48a4077-64c8-410f-b140-028254b6047d |  | checkpoint | Trailing Decks clean of debris
checkpoint-status | 0652d9bb-9166-4af2-9934-5ba86c01b142 |  | checkpoint | Trailing decks clear of protruding ferrals in walls above
checkpoint-status | abf2fe32-54ff-4ff6-850f-464eb182090a |  | checkpoint | Check exclusion zones in pit below are in place
checkpoint-status | 8ff88dc4-1b7f-443d-93b6-5db8f096bbdd |  | checkpoint | Plumber to check pipes to water cooler
checkpoint-status | 5f36e108-e546-4396-8faf-96d69c2fb950 |  | checkpoint | Transfer RL heights
checkpoint-group | e4426452-2aa9-458f-bbbe-35d013d16633 |  | section | Post Lift
checkpoint-status | 8c2fde06-4679-4244-a96b-bb0e36163fbc |  | checkpoint | Confirm connection points are secure and all engaged
checkpoint-status | 6761a909-9ea4-4c9e-ace0-9a32da8ad797 |  | checkpoint | Confirm mesh secured to doors and penetrations
checkpoint-status | d386a687-f7e6-407b-8e16-abf2cc906f2e |  | checkpoint | Signage in place
checkpoint-status | 9a264949-c52b-4676-9506-94c056bddc59 |  | checkpoint | Screens and mesh infills are in place and secure
checkpoint-status | 0d0af420-118f-48f3-9b6e-a82835080d9e |  | checkpoint | Loose materials are stacked and secure each day
checkpoint-status | 65902217-14f9-43ad-8466-1aa5f75ce5cb |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 1fb29dc4-9e0a-404d-9102-f89c4cf307a4 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 66ed34ed-0c1a-4230-8d54-a6f26b6559ac |  | checkpoint | Loads on platforms not exceeded
checkpoint-status | d9a5775f-8e78-4681-a175-97275a1b92cc |  | checkpoint | Ladders available and secured
checkpoint-status | 5af4afab-ed45-4153-acb1-00b3f8ca80a2 |  | checkpoint | Access is clear and marked
checkpoint-status | c19b0157-c052-48fa-b845-93f6525718d1 |  | checkpoint | Power Board connected
checkpoint-status | a86e2254-7978-4a9c-9f76-9e4ace6c28bf |  | checkpoint | Confirm ready for lift with all involved - Team Leaders
checklist-flat | 22ec71c8-8016-4005-9c1d-c053df81abf8 |  | checklist | Site Diary |  |  |  |  | Yes | Site Diary | 720db1cd-76e8-433e-a25e-47dfc7586330
checkpoint-status | 0b319f80-b291-434f-97c1-9c850118c9e9 |  | checkpoint | Areas of work accessible for the day
select | 2dce83e9-b740-5cf7-8051-df59b7f0de1b |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | 30ffb36d-6638-5b23-9515-3452a85a0c26 |  | textbox | Date
text | b55a602a-d348-55b6-9031-1feb20a3e23f |  | textbox | Year
text | e4b46c34-813c-52f6-b9f3-71a19d094413 |  | textbox | Number of workers on site
text | 531bd2b9-d7af-533b-92b4-b8712af6dfda |  | textbox | HSR on site today enter name
text | 8047bbe7-2609-5b56-a5dd-3eed4f46fe29 |  | textbox | First Aider on site today enter name
text | e9a7dc66-4a0e-57ab-a289-a41397e34b68 |  | textbox | Injury on site today enter name
checkpoint-no-status | 00cb0d4e-548f-4917-8b64-556ee91d78f7 |  | checkpoint | Work area 1 details entered
text | 21c4159b-1f93-5910-a292-7ca814bb8e9f |  | textbox | Area
select | 4a408184-46d4-5b9c-9575-98fc83f2fbfb |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | e9ecd956-46f8-5a0e-8702-3b9e48ed7019 |  | textbox | Comments
checkpoint-no-status | 3ece48b7-71e7-45c4-ac6f-abc41cdcf4ed |  | checkpoint | Work area 2 details entered
text | a875a934-461d-5e3f-8039-4fdcc8fd49c4 |  | textbox | Area
select | 6462e432-7449-5f3b-9770-38d234df9db4 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 239e10c1-919d-5999-9502-8fe47887a818 |  | textbox | Comments
checkpoint-no-status | 2b32f2b5-0e89-4df3-953f-b2bc14a78e00 |  | checkpoint | Work area 3 details entered
text | 1fef9246-8840-5d94-867f-792febe2ca64 |  | textbox | Area
select | 0bdfa59b-73c0-5cbb-bf38-67c50b74415c |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 5687dc45-e8bb-5056-9822-51a355492830 |  | textbox | Comments
checkpoint-no-status | 16985b0c-fe7b-4ad8-9ea8-a0e7100351ea |  | checkpoint | Work area 4 details entered
text | 8424f111-322f-5390-b382-e10c98f2a641 |  | textbox | Area
select | 75a4e248-39aa-534e-a69c-cddd929146da |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 6813cdb2-9d5b-575d-942e-7a54f4d35bd0 |  | textbox | Comments
checkpoint-no-status | 5c6010ea-fcdd-4b1e-a46c-8d169f300f59 |  | checkpoint | Work area 5 details entered
text | 4574663a-b0b8-5178-8f96-31854fb5bee0 |  | textbox | Area
select | d6f89c11-c853-53c5-bf7d-f2c854b4d6f9 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 52079a76-c7b3-56c6-a2b8-59136464da90 |  | textbox | Comments
checkpoint-no-status | a2e5765c-3efe-478e-9682-4c2ee5035e18 |  | checkpoint | Work area 6 details entered
text | 927021d5-45e2-5dc5-a8fb-9ad5e6990c7c |  | textbox | Area
select | e2661be2-c628-5d14-bad4-b5955d4018fe |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 284dd10b-023e-59d7-9ef1-f64bd3649967 |  | textbox | Comments
checkpoint-no-status | 1a30b323-1ace-4c9c-9b1e-b9402675cb5e |  | checkpoint | Work area 7 details entered
text | e69b7f6d-0079-5b41-8ce5-2a5fbad15d59 |  | textbox | Area
select | 42d0ced7-70a7-59a3-9a58-9c56fce73704 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 4a987487-c7ad-5a38-a64a-009560e3ca00 |  | textbox | Other
checkpoint-no-status | ade0b546-ae55-4624-a05a-9064f1fa6601 |  | checkpoint | Work area 8 details entered
text | b64e70cf-eb26-543c-ba8e-a8759645f9a7 |  | textbox | Area
select | 980542c0-6e92-5095-b513-58399a3e03bc |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | a1aaa48c-676e-5583-8985-c4f75919460a |  | textbox | Comments
checkpoint-no-status | f6e0b515-e0d7-47f5-858d-b6c49d01d4aa |  | checkpoint | Weather conditions entered
select | 55941ec6-e13c-5c0c-9735-8915b6fafdc0 |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | 36e48fd3-d919-5a32-b92f-2cc000ccbf9c |  | textbox | Min temp predicted
text | 7b789a33-28a0-50e6-bb2b-e733f83f3925 |  | textbox | Max temp predicted
checkpoint-no-status | 6f9153f0-d226-4b8a-b50b-c737b823fc04 |  | checkpoint | Delays from inclemency
text | da3aa58b-75ba-5a49-9747-a6c253f3931c |  | textbox | Total Hours of delay
select | fe9828f4-8e6c-594d-97f7-14b4e697c867 |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | d0fd62dc-15b4-440f-b983-d343ca32e733 |  | checkpoint | Delays from Builders or Others
text | 5a2d947f-2fe0-5413-9a44-a3f2fe294670 |  | textbox | Total Hours of delay
select | ae6b557d-b602-5f3e-a22f-bd087e84ba83 |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checklist-sectioned | e9d85f89-5be9-4dcf-afa1-f0356fe34af4 |  | checklist | Stairs Checklist |  |  |  |  | Yes | Stairs Checklist | 863b0c1a-d25e-48a7-95ca-f7635450df42
checkpoint-group | 9526760d-f475-477b-823e-dc97796d340f |  | section | Phase 1
checkpoint-status | 3d802931-8400-4756-ab12-f2596602e361 |  | checkpoint | Area accessible & ready
checkpoint-status | 7bee6dcb-9f60-4b8a-a179-998a83aa2812 |  | checkpoint | Drawing references entered
text | 21178208-31a1-5450-af0a-c70c0e8b8aa5 |  | textbox | Architectural
text | 96068c47-df2b-5a99-b286-ac53af84b80e |  | textbox | Structural
text | 714b629f-a49a-54f4-8384-0f24a3296bd1 |  | textbox | Other
checkpoint-status | 70787d6a-1220-4430-b158-9f7be8f2a317 |  | checkpoint | Current plans in use
checkpoint-status | fdee0cab-663d-4360-9c6b-6dddabfb69d1 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | 24ed8557-2d6d-44a5-ba46-7924d0790692 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | c7a3c32a-4950-458f-b31c-cac21935fa07 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | f03a72cb-9835-48a2-b1f2-78268b8e8084 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 199a31d5-afcd-4bea-9ff6-692e2736a918 |  | checkpoint | Riser heights confirmed
checkpoint-status | 1000f4f2-c19c-4990-af94-4b3cba554e8e |  | checkpoint | Going lengths confirmed
checkpoint-status | f8d784e0-5135-4c56-99f2-97e823cc1fe5 |  | checkpoint | Correct Class of Finish
checkpoint-group | b79daba9-858b-488d-aa82-c7c2df0a9a80 |  | section | Phase 2
checkpoint-status | 96412f95-2976-4f71-a1bf-b46ac6101092 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 5df9b7b4-3b6a-4859-9b63-b857bad57c13 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 28fe05b2-b5fd-4e5d-be35-0359f07bff42 |  | checkpoint | Base of stairs cleaned
checkpoint-status | c7817aa3-2024-4ca3-94b9-b6723951a89b |  | checkpoint | Riser heights confirmed
checkpoint-status | d141b237-6e03-416d-b1f2-bb018c60ea30 |  | checkpoint | Going lengths confirmed
checkpoint-status | c71c403a-1392-42a2-88fd-aa3c5eb6eb43 |  | checkpoint | Correct Class of Finish
checklist-flat | 675111ed-eaa5-480f-87dd-e60af981d2c5 |  | checklist | Deck Handover |  |  |  |  | Yes | Deck Handover | 86fc179c-3ee3-46e5-9041-05782ca3eb7c
checkpoint-status | 2577f5e0-99f9-4908-837e-50204414176e |  | checkpoint | Communication between all trades
checkpoint-status | f20187e4-ce93-4f51-adb5-e9a7b087ce02 |  | checkpoint | Signage and barricades in place
checkpoint-status | d6380be0-c84a-475d-bc04-4a234c09a769 |  | checkpoint | Deck clean and clear of materials
checkpoint-status | 4c0279f5-3bb2-487a-858e-95131ec7cc6a |  | checkpoint | Loose materials are stacked and secure
checkpoint-status | 0d62a172-69f8-49dc-afa1-27176855acb9 |  | checkpoint | Any backpropping required to handle loads of reo and other equipment
checkpoint-status | 2ab003e2-f300-4ed6-98bc-34a682af66cc |  | checkpoint | Designated walkways established
checkpoint-status | 1b091790-3849-445d-9461-987c27566e75 |  | checkpoint | All loose materials removed from edge
checkpoint-status | defdb8b1-a9e4-4d19-8e19-0390de00e52e |  | checkpoint | Are all penetrations covered and secured
checkpoint-status | 52b7e8b6-5364-4878-b3e2-ff03e46bc50d |  | checkpoint | Rubbish bin on Deck
checkpoint-status | 1499a077-97e7-4619-9ba4-d32455662766 |  | checkpoint | Perimeter Screens / Edge protection installed
checkpoint-status | 58855826-b0bd-47f2-823f-412b80ed205b |  | checkpoint | Correct spacing of frames, props and timbers
checkpoint-status | 08fe6bb3-1980-4e3f-8d15-b6ffe7718be7 |  | checkpoint | Correct joist and bearer sizes
checkpoint-status | 69f3ddcb-1dd9-4bac-909d-090b43ff2807 |  | checkpoint | Acceptable jack extensions
checkpoint-status | 2659c834-1c05-454d-90a3-0b9b8e7a4303 |  | checkpoint | Quality of materials
checkpoint-status | 95ed7241-1a0e-4c84-a65c-34afdf78595e |  | checkpoint | Adequate bracing to ensure stability
holdpoint | 412daa33-959f-495a-8c0c-2386b853e8cd |  | signoff | Deck Handover signed off
checklist-sectioned | c1285aad-f470-465a-bf9b-d9ef6f9b0ab1 |  | checklist | Hoist |  |  |  |  | Yes | Hoist | 927913b9-770e-4ca3-92a7-f8eacb89ee93
checkpoint-group | c473124e-f915-43a4-9e99-8a577215fe94 |  | section | Install
checkpoint-status | 48cf7576-e356-4c90-8423-cd0575b36771 |  | checkpoint | Area accessible & ready to receive hoist
text | f19ea604-4d8e-5090-92a8-eaf99e9e1a3b |  | textbox | Hoist ID. Number
checkpoint-status | d38a663e-1833-4912-b85d-9f71becae0b1 |  | checkpoint | Adequate Crane or Franna to install (heaviest lift required 4.5 tonne)
button | 74f93ede-44ce-581b-b575-5b9c52a80e10 |  | button | Copy the Certificate of service and service history onsite | Yes, No
text | fb5b9212-4393-5a43-acee-93d7ed0d307a |  | textbox | Name and Number of Rigger
checkpoint-status | 2a9132e6-3829-4bbf-aba0-eaefadf8fc2a |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
holdpoint | 922e9f27-7cc3-4fd2-a77c-0c9c566ac581 |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 5e69426a-d110-49c9-a05b-077d80463ef1 |  | checkpoint | Scaffolder on site to assist in edge protection if required
checkpoint-status | 3e05e4fc-ee21-4215-8fa9-46da0c239fdb |  | checkpoint | Signage in place
button | 49138700-81d5-54fb-b770-2d85cb7101de |  | button | 3 Phase power accessible and adequate circuit breaker 75 start Amps at power sorce | Yes, No
checkpoint-status | 7dccb03c-9fee-4ad2-82bc-e9f30dc67bb1 |  | checkpoint | Exclusion Zone around required area
checkpoint-status | f00ce062-9d8f-4645-9a45-caa5662d3111 |  | checkpoint | WMS ready and signed on to
checkpoint-status | 2db22f15-b9d2-420b-954c-00191cb45f84 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | fdf377e4-4f1c-4829-81a5-3aafced3331a |  | checkpoint | All loose materials removed from edge
checkpoint-status | 80e71e13-6325-4d24-9fde-f1510c259df0 |  | checkpoint | Gates installed
holdpoint | 3e4e814c-ae1b-43ab-944b-904a1e51b0a5 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 01d156c4-58b0-4ffe-96cb-bf7044d168e2 |  | checkpoint | Log book for hoist is onsite and in good condition
button | d9c679b5-1cc6-5b3e-a506-7a2912fa8fa5 |  | button | Copy of Bosform commissioning sheet on site and completed | Yes, No
checkpoint-group | 2557edce-5a8c-42b9-9fdf-016de864db89 |  | section | Hoist Jump and Dismantle
checkpoint-status | 0e69a33e-3653-4e49-b5d9-89b39d513179 |  | checkpoint | Ensure exclusion zones are in place
checkpoint-status | 57b8a75f-cf93-4dd6-ab54-688720f05a73 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 80af45ca-9ada-4447-b891-0811b996ad91 |  | checkpoint | All loose materials removed from edge
text | d44c6984-7de0-5041-8587-c5eeafc96a59 |  | textbox | Name and Number of Rigger
checkpoint-status | fbf57ab9-7f55-491b-9f53-09389a508f72 |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
checkpoint-status | 3f4e99b9-ab40-4e23-b009-8dcc9ae23699 |  | checkpoint | Scaffolder on site to assist in edge protection if required
text | 5785c48a-d82d-5fc8-9fe4-127970514478 |  | textbox | Level Number to be Jumped to
checkpoint-status | f4a3f0d5-0acf-468a-bd5a-81278239ba4b |  | checkpoint | Gates installed on Level/s to be exposed once lifted
holdpoint | ae5ca375-6183-4d10-875e-c89f54fd0e6c |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 9158411b-2807-4b14-a1da-39f96ecc2764 |  | checkpoint | Signage in place
button | c5633868-b79f-538f-9214-be0ed9bec964 |  | button | Hoist Screen installed if required | Yes, No
holdpoint | aa422e1d-b89f-4dc7-b3b6-6067e51acd04 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | a52de99f-0963-4db1-a700-db02761be9ab |  | checkpoint | Remove exclusion zones and barricades
checklist-flat | f06428d0-d2d0-4ee9-9186-ae11be43e6d4 |  | checklist | Suspended Slab Checklist |  |  |  |  | Yes | Suspended Slab Checklist | 95c5a3f0-ad2d-4a0d-a32e-45b19cbf91e0
checkpoint-status | e387e332-10b1-4ef0-846a-cb5474ea40c8 |  | checkpoint | Area accessible & ready
checkpoint-status | 7348afc4-10da-474c-9529-afb2dd803f39 |  | checkpoint | Drawing references entered
checkpoint-status | 813f2234-ee43-40a3-ba31-1aaca308cb9d |  | checkpoint | Materials used complies with design documentation
checkpoint-status | ddd72ff0-f687-4ac2-9801-83b3f20011c6 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | b876b41d-6876-45e4-8a83-a7a87a3c1a92 |  | checkpoint | Grids marked by builder
checkpoint-status | f62fb83e-e4ea-4366-b499-136bf76a0f4f |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 1f176019-d9b7-4dc5-b13c-99dda35a5948 |  | checkpoint | Fillet & drip mould installed
checkpoint-status | 158ec1fc-aa66-4bfa-99f2-4f6d1b231e50 |  | checkpoint | Check set down position & RL
checkpoint-status | 4fc767b1-6c29-4be1-b7c6-31c782811acb |  | checkpoint | Check penetrations installed
checkpoint-status | e87c60a5-0175-4dca-8484-af1dd041d568 |  | checkpoint | Prop drop head wedges are secure
checkpoint-status | 6c52b7a3-e2f1-49e7-a853-4133b06b88ba |  | checkpoint | Column blockouts installed
holdpoint | 726d5a6d-b2f8-4366-87b3-83273020e609 |  | signoff | Inspection by site engineer
checkpoint-status | e1af9cdc-1b4d-4714-a2b7-1ed2eb76bb71 |  | checkpoint | check back propping as per design
checkpoint-status | 8c6bc659-96c7-49ab-8f84-12bfe29c022e |  | checkpoint | Blow off deck
holdpoint | 9ed54d23-daf1-498d-87d3-f55fc33df3ad |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 9eef9091-f811-4c3c-992b-0117182528d9 |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | 93faf213-1152-4f19-97fc-14fa5901c6b0 |  | checkpoint | Correct Class of Finish
checkpoint-status | 954988f3-4df0-47cc-9c07-789836279282 |  | checkpoint | Stripping, cleaning & materials removed
checklist-flat | 5088f74a-be5e-4269-9111-1087769a1acb |  | checklist | Injury Form |  |  |  |  | Yes | Injury Form | ae48062a-5c31-4532-9ad1-44e2a2692338
checkpoint-status | 10e74c4d-50aa-4c58-8f62-91cd7de23a49 |  | checkpoint | Injury form completed
text | 58c9b2f0-2204-527a-af33-fab6248a7865 |  | textbox | Date of incident
text | 6bbfa121-6d4b-5c78-aeaf-a6e79afbbd1a |  | textbox | Time
text | fe9ba794-3328-5910-89cf-35b6479a1e71 |  | textbox | Site location of the accident / incident
text | 126f4649-f848-5be5-b442-4dcd090e1db8 |  | textbox | Detail of how the accident / incident happened
label | 0e0cd3f2-240d-563f-ad66-ee5e3aa9d1ea |  | note | Details of injured person
text | 775b57a2-93b6-508b-8d1e-effd50908203 |  | textbox | First name
text | 21e13a42-44fc-524f-a8c6-73831b997c85 |  | textbox | Last name
text | 7005d1a8-6b25-54a5-a7ec-f647a6e3daec |  | textbox | DOB
text | ab579a4c-5258-58af-ae33-5c4f82ad3827 |  | textbox | Contact No
text | a2115dd3-d7c3-521c-a57e-4f9a581bbf79 |  | textbox | Address
text | f012f3fa-3562-5c06-953f-f0eedc9cd77a |  | textbox | Company
text | 5279b6c1-c129-5677-b9ce-f414d6ff94c8 |  | textbox | Trade
text | 240d1ceb-ba93-56ea-b886-259132961cfa |  | textbox | Date Inducted
select | 44348b4f-f2b1-59e2-a3e4-3103059cee01 |  | dropdown | Location of injury | Amputation, Bruise, Burn, Concussion, Deafness, Dislocation, Foreign Body, Fracture, Hernia, Inflammation / Infection, Internal Injury, Laceration / Cut, Occupational Illness, Open Wound, Poisoning / Toxic Effect, Strain / Sprain Twist
select | 4fd30ce9-af7d-587e-99ca-fb5c2f91fb9d |  | dropdown | Location on body | Front, Back, Head, Neck, Torso, Left Hand, Left Arm, Right Hand, Right Arm, Left Leg, Left Foot, Right Leg, Right Foot, Other
select | 2f5ac1c1-330e-5900-a0d6-db0ebd1b3e34 |  | dropdown | Treatment | No First Aid Treatment, First Aid Treatment, Medical Treatment , Lost Time Injury, Fatal Injury
text | ebdbda4e-fe0c-55f5-a12d-c01895482818 |  | textbox | Initial treatment given
text | 357c4bc3-e614-5601-a250-312b41b237aa |  | textbox | Was follow up treatment provided
text | 24862914-f31b-511e-846d-9e1b26d19262 |  | textbox | Medical centre / Doctor / Hospital attended
text | 9686e0b6-8ca8-5310-8e05-1264fdceadf4 |  | textbox | Date / time attended
button | 6b390084-5f78-557e-86c1-9675d7c8c9f3 |  | button | Regulator notified | Yes, No
label | f4d36f91-68a1-5325-ba66-a90fa437b35d |  | note | Witness details
text | 6c76d057-1688-5f63-ab4c-4671a6b7d786 |  | textbox | Witness name & contact details
text | 4540cc37-f1e3-5aee-9cae-1c2fd392953a |  | textbox | Witness name & contact details
select | 5f076f7b-409a-519a-a2db-15c5dcdd9728 |  | dropdown | Event details / cause | Falls from height, Fall from same level, Hitting objects with body part, Exposure to mechanical vibration, Being hit by moving objects, Exposure to sharp sudden noise / long term noise, Exposure to extreme temps, Exposure to radiation, Exposure to biological factors, Exposure to mental stress factors, Vehicle accident, Muscular single / repetitive movement, Contact with electricity, Contact with toxic chemicals / substance, Other & multiple mechanisms of injury
text | cd7fc06a-8900-5d9e-b7a3-441d7b8b8ddb |  | textbox | Other
label | 83e8a940-41a4-5a5e-a560-c9e2988f0ad3 |  | note | Injured worker: I confirm the information recorded in this register is to the best of my knowledge true & correct & I give consent for this information to be provided to Bosform for my incident investigation & reporting purposes
checkpoint-status | 0a2b6ce4-d6a1-4fc3-a921-bbf8040da35e |  | checkpoint | Signature of injured worker
checkpoint-status | 43955ef1-0e0f-4876-8541-32a10f93b289 |  | checkpoint | Person completing this form
checklist-flat | fce9ef41-6b7c-493f-92a3-3bee57c0e035 |  | checklist | Weekly Labour Hire Control |  |  |  |  | Yes | Weekly Labour Hire Control | b5d7ff1b-a8f4-47a3-9535-6ee90d2cff0a
checkpoint-status | 66861c2f-7e63-47f0-8c89-eaba30d09c75 |  | checkpoint | Tuesday
text | 370cf14b-43c4-5214-9c22-f811d4b25b4d |  | textbox | Date
text | 5dbce1bf-e643-5c69-bbce-b3dd4ccb4236 |  | textbox | General Comments
checkpoint-status | f3ae08bc-a426-4de4-958a-f068f1d3cef0 |  | checkpoint | Wednesday
text | 46f4bbb2-0429-5488-9271-5a988a4f0f73 |  | textbox | Date
text | d51687c7-6b60-53d1-b8ac-4e699d337e41 |  | textbox | General Comments
checkpoint-status | 1a16dd97-4392-4069-9bda-f36012b2dc5f |  | checkpoint | Thursday
text | 55624f35-ff05-59a8-ba2a-bf595b8061f0 |  | textbox | Date
text | 4a13a51e-4974-5fc7-b633-c30640877431 |  | textbox | General Comments
checkpoint-status | 4b945602-7892-4dbb-a66e-213901c7a739 |  | checkpoint | Friday
text | 0a5b8ac2-b26d-55bb-9c12-2ea8f9f2731e |  | textbox | Date
text | da3c4086-4b67-5d6b-a273-21e804dca158 |  | textbox | General Comments
checkpoint-status | 8fba5008-a84e-4c42-ae94-7bc1b9d4df59 |  | checkpoint | Saturday
text | fbebe18a-d014-5b16-b5f9-4f2f6e14f0d6 |  | textbox | Date
text | 58fa12cf-fa79-56cb-b5e8-1f66b2097e24 |  | textbox | General Comments
checkpoint-status | b4647370-7381-4836-be03-635db94b281d |  | checkpoint | Monday
text | 9dd0d2f7-fada-5a94-af02-7a796b86b691 |  | textbox | Date
text | 5620eec4-b647-5965-9baa-fd1a903744fc |  | textbox | General Comments
checkpoint-status | 6b5d63e8-44d0-4300-8747-e81274d2176f |  | checkpoint | Tuesday
text | c373bc63-8202-5c80-96a8-e9c63eb69105 |  | textbox | Date
text | 67c1dc8c-772a-53c6-b711-bac8d3f612f6 |  | textbox | General Comments
checkpoint-status | c0a3c77a-7c86-459a-9aee-5ab5dbb63b6e |  | checkpoint | Please Attach Time Sheet
holdpoint | e19c7c2c-a1d7-4e00-b42d-185855b754ad |  | signoff | Client Confirmation Signature
checklist-flat | 14e5b173-645e-4d95-8926-2208e4378cd0 |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Toolbox Meeting | b6c61435-e3ff-4e4f-b3b1-861664673c27
checkpoint-status | de564a32-475c-4d8a-9ebd-10ae00a2b515 |  | checkpoint | Toolbox signed off - Attach an forms
text | f3791640-315d-5bf6-a7a4-b76c5969f381 |  | textbox | Work area
text | c803bd72-811b-5168-b58f-84dbb9288f7f |  | textbox | Supervisor
text | 04df374f-e16b-5f86-b182-4cd19a25b208 |  | textbox | Date
text | 305cdbc9-de45-5d42-b724-5a78bc67c645 |  | textbox | Time am / pm
text | 9d75712c-4440-50c6-85b8-d007392e9071 |  | textbox | Actions from last meeting
text | 0ce7d98a-632f-5ae1-a3ac-2c688d192fc9 |  | textbox | Injuries last week
text | 7022b759-a9c1-52ba-85b4-c593fd394f3d |  | textbox | Near misses last week
text | 79c0074e-328d-5d6a-8b1c-fe074cd1ce18 |  | textbox | Safety Items discussed
text | 867cd5af-eec7-57ba-85a7-a75808ee03dd |  | textbox | Comments from the floor
text | faf61a46-1ca2-50f0-8d7a-0c14955e6922 |  | textbox | New business
text | 820a2dd1-e732-5240-a773-a88a0783a1ef |  | textbox | Attendees
checkpoint-status | 3deaf92c-4831-4861-adba-a7cda10bdb68 |  | checkpoint | Attendance verified
checklist-flat | 3b4d29d2-95ac-4733-826a-0e22d76dd3c3 |  | checklist | Columns Checklist |  |  |  |  | Yes | Columns Checklist | c15a0349-91e9-47e4-b871-b0aff2e41a43
checkpoint-status | c5390929-38e4-4dc9-aa8e-9fbf2fce28ac |  | checkpoint | Area accessible & ready
checkpoint-status | efd7146d-aaff-4448-9fc7-d66bbdac0775 |  | checkpoint | Drawing references entered
text | 29a2158d-aa3c-58a8-8255-9c11324d796d |  | textbox | Architectural
text | b8234225-04f2-5989-aed6-5f2bfbc7ce1f |  | textbox | Structural
text | b7caf928-0811-596b-9c3c-25493dcfe9db |  | textbox | Other
text | 5ceed26f-662b-506e-a4bc-be495218b5db |  | textbox | Column No
checkpoint-status | e7aef054-1ffa-4425-aed8-50341a74a97e |  | checkpoint | Current plans in use / Latest drawings checked and referenced
checkpoint-status | eaf7c892-c1ef-439a-bc89-9029efd12f92 |  | checkpoint | Survey points given for 2 points
checkpoint-status | 39a0d164-1a8a-4fa0-af78-2744b98efbe7 |  | checkpoint | Datum RL supplied by surveyor, pour height marked
checkpoint-status | 401c09cf-d200-4a1d-b514-f179a317d5fc |  | checkpoint | Blockouts, couplers, cast-in elements installed
holdpoint | 05fa2ab1-c366-41dc-b983-bcb0057424fb |  | signoff | Inspection from site engineer
checkpoint-status | 311f184f-fbb9-40d6-ad1f-0fa025e18f18 |  | checkpoint | Column box cleaned & oiled
checkpoint-status | 0fdd162d-ed8d-4850-9117-0e7ebd21aeb0 |  | checkpoint | Placement of column box over cage
checkpoint-status | 53392b27-1e02-4e53-9f81-986d106ebd0f |  | checkpoint | Bracing props secured
checkpoint-status | 9c7d162f-2a5c-43f0-8034-3c863e058af4 |  | checkpoint | Column plumbed
checkpoint-status | c41d025e-6dac-4066-86df-62fc1eda9791 |  | checkpoint | Correct class of finish
checklist-sectioned | a169af83-2450-4808-a1cd-b14e73700dcf |  | checklist | Stairs (in-situ) Checklist |  |  |  |  | Yes | Stairs (in-situ) Checklist | d1d8b676-8153-4944-aab6-5d06c04486ca
checkpoint-group | 7d916aa8-72c9-4cab-86d2-08e63cabaa5f |  | section | Phase 1
checkpoint-status | 88f47f61-60ff-4f45-b26b-ca3adc5d180d |  | checkpoint | Area accessible & ready
checkpoint-status | 72d526ef-b9b0-4e11-b175-429492c38140 |  | checkpoint | Drawing references entered
text | 1e5170d3-9997-5ef8-b038-408664a511e9 |  | textbox | Architectural
text | 7000a4ea-3e65-544c-a3aa-7cf587a6d85d |  | textbox | Structural
text | 5c09a399-cc4d-578b-a8fa-c7e9d6c21db1 |  | textbox | Other
checkpoint-status | ae5d5c94-996b-4118-bb2a-3022da6e85e7 |  | checkpoint | Current plans in use
checkpoint-status | 390631eb-9bb0-44d3-a48b-426e0ad4aa48 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | a71b3c00-d658-440c-8dbd-dd920fb440dc |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 02dc2980-ecba-43b4-a903-a8a8f70c6654 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 95076e6d-5947-40ae-954e-76ef45145d50 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 48d3143d-b43b-457c-81b4-60e276817245 |  | checkpoint | Riser heights confirmed
checkpoint-status | 14252055-8a5e-4851-ae33-9abdb5c40797 |  | checkpoint | Going lengths confirmed
checkpoint-status | 12edce6f-97e8-43b6-adb1-2b4968d9cf19 |  | checkpoint | Correct Class of Finish
checkpoint-group | 0b9f6a55-fb3c-487b-aba5-9911d76f6746 |  | section | Phase 2
checkpoint-status | 27ba92db-c1f9-4deb-a208-0839c8d65381 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 5b45477d-a3c6-4d86-9ba3-061769daf02e |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | de45e7fa-3986-411f-b267-a0fa8cc1d250 |  | checkpoint | Base of stairs cleaned
checkpoint-status | ff075718-7be1-4c58-88a5-701fd722a97b |  | checkpoint | Riser heights confirmed
checkpoint-status | a80a3fc7-d945-465f-9f6a-b90b57ef062d |  | checkpoint | Going lengths confirmed
checkpoint-status | 4113e4b9-26f1-4f5c-89ed-bd8917225328 |  | checkpoint | Correct Class of Finish
checklist-flat | 96f3bbb3-5744-402a-867e-969e2569a93d |  | checklist | Daily Pre Start |  |  |  |  | Yes | Daily Pre Start | e2b9d870-3871-43d9-989e-333f6fafe648
checkpoint-status | 211483d0-27b8-40d8-9e67-1ac53f7dcb2b |  | checkpoint | Daily pre start meeting completed
text | 508b9b6a-5c50-5918-bffc-94901b22a161 |  | textbox | Date
text | 570f2a6a-f713-5698-824d-7f4d321b5fa9 |  | textbox | Time
text | 4741fca9-b043-5120-9d76-d92fb4aa06aa |  | textbox | Location
text | cf05d11e-6d7a-516b-8572-2993d0b379bd |  | textbox | Supervisor / meeting leader
text | e72121c6-56af-51bb-b722-02447604d03f |  | textbox | Project Manager & Construction Supervisor attending
select | ee62714e-78f7-5405-8a7b-5ae3fab544b3 |  | dropdown | Current weather | Rain, Wind
text | e3201333-5e63-59ed-aa13-5b36099d6b9a |  | textbox | Temp
select | b0bb82ef-6828-54ae-96bd-a39c4a9f8c16 |  | dropdown | Forecast | Rain, Wind
text | b6dc3836-a1b5-59e6-9d5d-fe1eec907332 |  | textbox | Temp
button | 5ccd141e-65d4-524b-a72f-d26fb5f0573f |  | button | Is everyone fit, well & healthy, not showing any flu like symptoms | Yes, No
button | 22bf511a-0a7a-5356-941e-28c0246860d7 |  | button | Have any workers travelled interstate or been in close contact with anyone with a positive COVID 19 test | Yes, No
text | 7eb70248-d95c-5b91-9f46-72c7ba86eeeb |  | textbox | Any issues from the previous day
button | 581f77c7-5d03-546c-a4e2-d45477e79de0 |  | button | Do you need to change SWMS | Yes, No
text | a56a96d2-3bfe-5680-9965-55ee679acea1 |  | textbox | First aiders on site today
text | 8ca34cee-b2c9-5208-a247-f425cb55d578 |  | textbox | Apprentice & who are they assigned to
text | 5eb76c0f-ee7e-5b8a-9c9a-b7001aacc27b |  | textbox | Apprentice & who are they assigned to
text | 12ba3c9c-c31c-59bd-ba9d-f76aae0d3187 |  | textbox | Apprentice & who are they assigned to
text | f07b9292-7aaf-58d7-a4bc-76caa2f90a86 |  | textbox | Todays tasks / jobs
select | bf98c294-aced-568a-97d6-707d054b8547 |  | dropdown | SWMS name & number | 02 Ground works, 03, Hand & power tools, 04 Operating generator, 05 Compressor, 06 Columns, 07 Walls, 09 EWP, 10 Loading / unloading trucks, 11 Manitou forklift, 12 Weld oxy, 13 Patching, 15 Stair / lift core, 17 Meva system, 18 Faresin system, 19 Conventional formwork, 21 Peri system, 23 Catch deck, 24 Pallet trolley
button | cbf026ee-6dbe-5de0-803b-c9e98a96a5cc |  | button | SWMS in place for all activities | Yes, No
button | effb12d0-6277-5996-8d53-fd90102e962f |  | button | Hot works | Yes, No
button | 421a9338-5e1c-537e-aa01-3d0157385019 |  | button | Excavation | Yes, No
button | 03866064-7dfa-52aa-a2cb-3d3288b5463e |  | button | Ladder | Yes, No
button | 26b02961-3ae0-5796-8a67-716a5cc85df7 |  | button | Core | Yes, No
button | 4c0aef3c-dfe9-5f16-80c4-b4b6347b940d |  | button | Are any hazardous substances being used or will be brought to / or stored on site today | Yes, No
text | be327999-7865-5a81-8c47-ddf0ea467132 |  | textbox | If yes, list the substances
text | 4afd488c-d1e7-59f4-9fca-f03ec48dcf58 |  | textbox | Attendees
checklist-flat | 637f085a-3d36-4cc5-a996-c2c6c3c3a1aa |  | checklist | S.O.G Checklist |  |  |  |  | Yes | S.O.G Checklist | e4940d10-febe-4a82-a243-c3d393d93c9c
checkpoint-status | 346f3354-49e5-4f81-ae06-d2eb8b8b3c49 |  | checkpoint | Area accessible & ready
checkpoint-status | 4d149ff1-9d83-4b54-9d64-58b3de94e1f2 |  | checkpoint | Drawing references entered
text | 3768c935-5eed-5b9a-b340-e65344a056a2 |  | textbox | Architectural
text | ecb11d88-02d1-5037-985b-8f1791ff61b2 |  | textbox | Structural
text | be9d1fd5-f823-5353-afb5-012533341e4d |  | textbox | Other
checkpoint-status | a88a4844-9865-4efe-a5f7-774b97598c36 |  | checkpoint | Current plans in use
checkpoint-status | 6b08a912-e483-47d2-b307-a9e3f60673ee |  | checkpoint | Survey points give for grids
checkpoint-status | dce442aa-b3db-4228-a1c3-2fc466f7bfdd |  | checkpoint | Surveyors points given for edge boards
checkpoint-status | b81d29b0-75a0-4284-9e50-da055422dba0 |  | checkpoint | Datum RL supplied by surveyor
checkpoint-status | 1a8d30b6-ad66-4f3b-ad87-08141367c3ee |  | checkpoint | Edge boards plumb & straight
checkpoint-status | 8714c482-b0eb-46e6-a29c-f5209b8d4b3f |  | checkpoint | Step downs secure & correct RL
checkpoint-status | bb5ccd23-f903-404d-b69e-72484b6aa504 |  | checkpoint | Dowels installed on pour joins
checkpoint-status | 7fab23a7-2587-4c29-ac56-884f79a20630 |  | checkpoint | Column blockouts installed
checkpoint-status | 819e997c-5ef4-443a-871d-abe5f13212c5 |  | checkpoint | Correct Class of Finish
checklist-flat | e387ea9d-7d4a-4c75-a0d9-f06508477c39 |  | checklist | Progress Claim Checklists |  |  |  |  | Yes | zSYS - Progress Claim Checklists (old version) | ead51f44-7df0-41d0-bbb4-a0d409d8a557
checkpoint-status | dddfed3b-9471-42fe-99e6-b2296ff7abfb |  | checkpoint | Please add Comments / Photos
select | 9ef82709-91ef-57b8-a05b-6da779b396a1 |  | dropdown | General | Site Establishment / Prefab, Systems, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning.
select | 2af4792d-b763-5175-b73b-0619c83dec40 |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | d852cd27-3019-5863-8181-11ff3eee852a |  | textbox | General Notes
checkpoint-status | 73a38ecf-3113-454b-b955-75ad64c57e0a |  | checkpoint | Please add Comments / Photos
select | fcfe39eb-286a-53fb-9a08-bbecdc6ceb82 |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | 75435df2-a245-56b8-8d8c-1841a8e61a03 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | cd0686ca-d325-5599-90ff-7196c43265da |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 9945b480-75a4-5dbb-83ad-59935f00acef |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | b03229e4-fb8c-5a64-9355-dc1bbd6101b0 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 5879e481-fd8d-5d7d-b943-b0120fb78a0c |  | textbox | General Notes
checkpoint-status | b1790320-2faf-4cca-a5ea-9bfe999d9877 |  | checkpoint | Please add Comments / Photos
select | c5515b27-9245-52ee-a557-40b809fac79b |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | 9accfe6a-816c-575f-a495-aad535721ab3 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | d306ce2e-1ff0-562e-9c18-12f5c48dd223 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 1e02ed3f-ca16-5156-8be3-4b1bfeeca3c0 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 7a836816-b497-540f-ba2d-7ca3b4e2be5b |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 75f71df4-4116-5261-86f3-52f159d5eb8a |  | textbox | General Notes
checkpoint-status | 500b9e05-50d9-4b34-af0d-4f2e89e162e1 |  | checkpoint | Please add Comments / Photos
select | 2e031f43-d989-5e38-b84f-a996018ea7c3 |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | ac41141f-8ef2-5423-939b-d10b881a43af |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | 67c74218-8857-5364-ac5a-824c86f50def |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 6ecc1338-6733-5ecb-8dd5-e322f58ea2a8 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 92557324-7065-5c14-8463-faec8ecf41cf |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 64869887-6ef7-5493-ab17-5ca9892d9e61 |  | textbox | General Notes
checkpoint-status | abde05e7-acfd-430d-bb60-40c960474050 |  | checkpoint | Please add Comments / Photos
select | 18bb3160-d1f9-595a-8dfe-ea6960aa2342 |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | 9eb74493-9903-5497-be3f-5edcab2282ae |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | 3ce68923-952b-5cb1-a2e3-affce632bff8 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 99d29075-87ed-55b1-a610-5aecd40d3bcb |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 0578a86e-436c-551f-b757-4da568ece6f4 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | a71c3eaa-18a9-508a-9b33-d0db13bbd72a |  | textbox | General Notes
checkpoint-status | f89a6737-42e8-4e42-981d-62e17612a5ea |  | checkpoint | Please add Comments / Photos
select | 639452b3-7363-5971-8e7b-eb8df57872eb |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | 18f95ca0-d980-5e0e-a6d1-531f3d48e6e7 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | 4727106d-6751-543c-9bca-006c15fc92fe |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 68dfb0e3-6f76-5461-b4af-780bedaa0597 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | cf6ab974-a7d9-5a8d-9c25-4e35ef8d17d4 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | f45e1db6-4de7-5dd2-8bb0-e3ad08eeb36b |  | textbox | General Notes
checkpoint-status | cb0efff4-bf7a-48ef-886d-5b95a5856d2c |  | checkpoint | Please add Comments / Photos
select | 5dc6e17a-9b77-566f-9a19-11ca03c5c709 |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | acb230ae-4fe3-5ef4-ab25-d6a2a2a879a4 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | d51eb075-a566-5ec3-ac9f-3416fb07e1f4 |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 193af544-e6cf-5e7f-8bf7-f26982fdd2cb |  | textbox | General Notes
checkpoint-status | b9bae22d-d31c-454e-859c-13f2a1e96fa0 |  | checkpoint | Please add Comments / Photos
select | 772dec56-f033-5957-ba9c-6f988a5048ea |  | dropdown | Level | Below SOG, Basement 4, Basement 3, Basement 2, Basement 1, Ground, 1, 2, 3, 4 - 38, Roof Plant Deck
select | 96c18939-cdc5-55bd-9368-2b8c1677d749 |  | dropdown | Description of Works | General, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to CJ'S, Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab,Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist, Supply of Climb Trac / Climb System , Install & Removal of Systems. Supply of Screens, Install Jumping & Removal of Screens.
select | 371adc3d-8294-59e0-bd7c-5e747d58729f |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 50347e16-e6f2-51d2-87c5-546442fed136 |  | textbox | General Notes
checklist-sectioned | ed884bd0-16c9-4a1c-87cb-dba53d1206e8 |  | checklist | Screens |  |  |  |  | Yes | Screens | f4953b48-9075-47de-ae26-19f95ceb6ff4
checkpoint-group | 9b0da3d7-7442-4606-bfe4-9dc7997c9290 |  | section | Pre Lift
checkpoint-status | 43b51497-8f7f-443e-8d38-ffa42ddc0fc2 |  | checkpoint | Area accessible & ready
text | c4b1181e-f22a-58c9-9f6d-f4a695b6aed9 |  | textbox | Screen number
checkpoint-status | c0de3178-3900-444e-885f-8dd7119507bf |  | checkpoint | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 1a43e01b-6ad1-4bdc-86d7-17b4d9fb899e |  | checkpoint | Signage in place
checkpoint-status | 7dade778-1ded-49ef-bcc3-72425e876e70 |  | checkpoint | Exclusion Zone with name and number of supervisor– Ground level and Slab level
checkpoint-status | 08de97a0-40b4-4a19-b14a-decf4ebfc3b6 |  | checkpoint | Spotters in place
checkpoint-status | b3ae9d10-ebfb-46f4-9bf4-86b82b484111 |  | checkpoint | WMS ready and signed on to
checkpoint-status | 90daa002-78d1-4ce7-8df4-f8d218df6e69 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | ebd651f3-4772-461d-a74e-a2daddbe051d |  | checkpoint | All loose materials removed from edge
checkpoint-status | b6e93928-c0ad-4b1b-afc1-77f22db0272d |  | checkpoint | Edge protection installed on Level/s to be exposed once lifted
checkpoint-status | 711a5ab4-7276-4945-abbd-351984bbf6a8 |  | checkpoint | Deflector shields removed
checkpoint-status | 2d98184a-77bd-4003-bc39-7dcfdd05edab |  | checkpoint | Radio communication woking between screen crew
checkpoint-status | b2b03014-0e63-4521-ac83-d4f0b9caa96e |  | checkpoint | Hydraulic lifting Apparatus installed correctly if using lifter
checkpoint-status | 1998cafc-7197-452f-8ae7-b3bca7b2af88 |  | checkpoint | Screen Free from Debris
checkpoint-status | 47a54892-96ed-441d-ad06-65f873093c8a |  | checkpoint | All wire infills detached
checkpoint-status | 6ebed16c-71f8-4aa1-b355-c52ca8f6b0ab |  | checkpoint | Confirm ready for lift with all involved - Team Leader
checkpoint-status | 32668cff-e1b0-46d8-8d37-f4c2fcb0d5d2 |  | checkpoint | Work at heights permit completed - attach or take photo of permit
checkpoint-group | 1df63c26-e2d7-41e3-8417-2c70298d66fb |  | section | Post Lift
checkpoint-status | a27970e2-f1d7-44b0-a98b-6f1057c28239 |  | checkpoint | Ensure all gaps are closed
checkpoint-status | 825a9cbf-040e-4499-bbbe-f1f1a1e8e17b |  | checkpoint | Mesh to be install where required
checkpoint-status | 3b4d6aa5-645f-458e-a9d1-8f86797cb5da |  | checkpoint | Double check all needles are secure and double nuts in place
checkpoint-status | d9433cb6-b912-4f67-ae6a-9ec630e001c0 |  | checkpoint | Clean and clear area
checkpoint-status | ae011efe-47bd-4f6a-b423-e40094002609 |  | checkpoint | Remove exclusion zones and barricades
checkpoint-status | 2ecf0a27-999c-4271-9c80-5e51819a0cd2 |  | checkpoint | Bar caps for protruding z bars