## Project Structure
Folder Structure |  |  |  |  | Checklists
Site QA
Rough In
Basement 2
|  |  | Internal Drainage |  | Internal Drainage
|  |  | Internal Stormwater |  | Internal Stormwater
|  |  | Sewer Stacks / Storm water stacks |  | Sewer Stacks / Storm water stacks
Basement 1
|  |  | Internal Drainage |  | Internal Drainage
|  |  | Internal Stormwater |  | Internal Stormwater
|  |  | Sewer Stacks / Storm water stacks |  | Sewer Stacks / Storm water stacks
Building A
Ground Floor
|  |  |  | Internal Drainage | Internal Drainage
|  |  |  | Internal Stormwater | Internal Stormwater
|  |  |  | Sewer Stacks / Storm water stacks | Sewer Stacks / Storm water stacks
|  |  |  | Lobby | Meter Cupboard / Copper Riser
|  |  |  | AG.01 | Plumbing Rough-In Water/Gas/Sewer Checklist
AG.02
AG.03
AG.04
AG.05
AG.06
AG.07
AG.08
AG.09
AG.10
AG.11
AG.12
Level 1
|  |  |  | Corridor | Meter Cupboard / Copper Riser
A1.01
A1.02
A1.03
A1.04
A1.05
A1.06
A1.07
A1.08
A1.09
A1.10
A1.11
A1.12
Level 2
Corridor
A2.01
A2.02
A2.03
A2.04
A2.05
A2.06
A2.07
A2.08
A2.09
A2.10
A2.11
A2.12
Level 3
Corridor
A3.01
A3.02
A3.03
A3.04
A3.05
A3.06
A3.07
A3.08
A3.09
A3.10
Level 4
Corridor
A4.01
A4.02
A4.03
A4.04
A4.05
A4.06
A4.07
A4.08
A4.09
A4.10
Level 5
Corridor
A5.01
A5.02
A5.03
A5.04
A5.05
A5.06
A5.07
A5.08
A5.09
A5.10
Level 6
Corridor
A6.01
A6.02
A6.03
A6.04
A6.05
A6.06
A6.07
A6.08
A6.09
A6.10
Level 7
Corridor
A7.01
A7.02
A7.03
A7.04
A7.05
A7.06
A7.07
Building B
Ground Floor
Corridor
Communal Area
FS04
FS17
FS18
BG.01
BG.02
BG.03
BG.04
BG.05
BG.06
BG.07
Caretaker Room
Level 1
Corridor
B1.01
B1.02
B1.03
B1.04
B1.05
B1.06
B1.07
B1.08
B1.09
Level 2
Corridor
B2.01
B2.02
B2.03
B2.04
B2.05
B2.06
B2.07
B2.08
B2.09
Level 3
Corridor
B3.01
B3.02
B3.03
B3.04
B3.05
B3.06
B3.07
B3.08
Level 4
Corridor
B4.01
B4.02
B4.03
B4.04
B4.05
B4.06
B4.07
B4.08
Level 5
Corridor
B5.01
B5.02
B5.03
B5.04
B5.05
B5.06
B5.07
B5.08
Level 6
Corridor
B6.01
B6.02
B6.03
B6.04
B6.05
B6.06
B6.07
B6.08
Level 7
Corridor
B7.01
B7.02
B7.03
B7.04
B7.05
Building C
Ground Floor
Corridor
Communal Area
FS05
FS13
FS14
CG.01
CG.02
CG.03
CG.04
CG.05
CG.06
CG.07
CG.08
CG.09
CG.10
CG.11
Level 1
Corridor
C1.01
C1.02
C1.03
C1.04
C1.05
C1.06
C1.07
C1.08
C1.09
C1.10
C1.11
C1.12
Level 2
Corridor
C2.01
C2.02
C2.03
C2.04
C2.05
C2.06
C2.07
C2.08
C2.09
C2.10
C2.11
Level 3
Corridor
C3.01
C3.02
C3.03
C3.04
C3.05
C3.06
C3.07
C3.08
C3.09
Level 4
Corridor
C4.01
C4.02
C4.03
C4.04
C4.05
C4.06
C4.07
C4.08
C4.09
Level 5
Corridor
C5.01
C5.02
C5.03
C5.04
C5.05
C5.06
C5.07
C5.08
C5.09
Level 6
Corridor
C6.01
C6.02
C6.03
C6.04
C6.05
C6.06
C6.07
C6.08
C6.09
Level 7
Corridor
C7.01
C7.02
C7.03
C7.04
C7.05
C7.06
Building D
Ground Floor
Corridor
Communal Area
FS07
FS08
FS15
FS16
DG.01
DG.02
DG.03
DG.04
DG.05
DG.06
DG.07
DG.08
DG.09
DG.10
Level 1
Corridor
D1.01
D1.02
D1.03
D1.04
D1.05
D1.06
D1.07
D1.08
D1.09
D1.10
Level 2
Corridor
D2.01
D2.02
D2.03
D2.04
D2.05
D2.06
D2.07
D2.08
D2.09
D2.10
Level 3
Corridor
D3.01
D3.02
D3.03
D3.04
D3.05
D3.06
D3.07
D3.08
Level 4
Corridor
D4.01
D4.02
D4.03
D4.04
D4.05
D4.06
D4.07
D4.08
Level 5
Corridor
D5.01
D5.02
D5.03
D5.04
D5.05
D5.06
D5.07
D5.08
Level 6
Corridor
D6.01
D6.02
D6.03
D6.04
D6.05
D6.06
D6.07
D6.08
Level 7
Corridor
D7.01
D7.02
D7.03
D7.04
Fit Off
Building A
Ground Floor
|  |  |  | AG.01 | Fit Off Checklist
AG.02
AG.03
AG.04
AG.05
AG.06
AG.07
AG.08
AG.09
AG.10
AG.11
AG.12
Level 1
A1.01
A1.02
A1.03
A1.04
A1.05
A1.06
A1.07
A1.08
A1.09
A1.10
A1.11
A1.12
Level 2
A2.01
A2.02
A2.03
A2.04
A2.05
A2.06
A2.07
A2.08
A2.09
A2.10
A2.11
A2.12
Level 3
A3.01
A3.02
A3.03
A3.04
A3.05
A3.06
A3.07
A3.08
A3.09
A3.10
Level 4
A4.01
A4.02
A4.03
A4.04
A4.05
A4.06
A4.07
A4.08
A4.09
A4.10
Level 5
A5.01
A5.02
A5.03
A5.04
A5.05
A5.06
A5.07
A5.08
A5.09
A5.10
Level 6
A6.01
A6.02
A6.03
A6.04
A6.05
A6.06
A6.07
A6.08
A6.09
A6.10
Level 7
A7.01
A7.02
A7.03
A7.04
A7.05
A7.06
A7.07
Building B
Ground Floor
BG.01
BG.02
BG.03
BG.04
BG.05
BG.06
BG.07
Caretaker Room
Level 1
B1.01
B1.02
B1.03
B1.04
B1.05
B1.06
B1.07
B1.08
B1.09
Level 2
B2.01
B2.02
B2.03
B2.04
B2.05
B2.06
B2.07
B2.08
B2.09
Level 3
B3.01
B3.02
B3.03
B3.04
B3.05
B3.06
B3.07
B3.08
Level 4
B4.01
B4.02
B4.03
B4.04
B4.05
B4.06
B4.07
B4.08
Level 5
B5.01
B5.02
B5.03
B5.04
B5.05
B5.06
B5.07
B5.08
Level 6
B6.01
B6.02
B6.03
B6.04
B6.05
B6.06
B6.07
B6.08
Level 7
B7.01
B7.02
B7.03
B7.04
B7.05
Building C
Ground Floor
CG.01
CG.02
CG.03
CG.04
CG.05
CG.06
CG.07
CG.08
CG.09
CG.10
CG.11
Level 1
C1.01
C1.02
C1.03
C1.04
C1.05
C1.06
C1.07
C1.08
C1.09
C1.10
C1.11
C1.12
Level 2
C2.01
C2.02
C2.03
C2.04
C2.05
C2.06
C2.07
C2.08
C2.09
C2.10
C2.11
Level 3
C3.01
C3.02
C3.03
C3.04
C3.05
C3.06
C3.07
C3.08
C3.09
Level 4
C4.01
C4.02
C4.03
C4.04
C4.05
C4.06
C4.07
C4.08
C4.09
Level 5
C5.01
C5.02
C5.03
C5.04
C5.05
C5.06
C5.07
C5.08
C5.09
Level 6
C6.01
C6.02
C6.03
C6.04
C6.05
C6.06
C6.07
C6.08
C6.09
Level 7
C7.01
C7.02
C7.03
C7.04
C7.05
C7.06
Building D
Ground Floor
DG.01
DG.02
DG.03
DG.04
DG.05
DG.06
DG.07
DG.08
DG.09
DG.10
Level 1
D1.01
D1.02
D1.03
D1.04
D1.05
D1.06
D1.07
D1.08
D1.09
D1.10
Level 2
D2.01
D2.02
D2.03
D2.04
D2.05
D2.06
D2.07
D2.08
D2.09
D2.10
Level 3
D3.01
D3.02
D3.03
D3.04
D3.05
D3.06
D3.07
D3.08
Level 4
D4.01
D4.02
D4.03
D4.04
D4.05
D4.06
D4.07
D4.08
Level 5
D5.01
D5.02
D5.03
D5.04
D5.05
D5.06
D5.07
D5.08
Level 6
D6.01
D6.02
D6.03
D6.04
D6.05
D6.06
D6.07
D6.08
Level 7
D7.01
D7.02
D7.03
D7.04
Commissioning
Building A
Ground Floor
|  |  |  | AG.01 | Commissioning/Handover & Testing Checklist
AG.02
AG.03
AG.04
AG.05
AG.06
AG.07
AG.08
AG.09
AG.10
AG.11
AG.12
Level 1
A1.01
A1.02
A1.03
A1.04
A1.05
A1.06
A1.07
A1.08
A1.09
A1.10
A1.11
A1.12
Level 2
A2.01
A2.02
A2.03
A2.04
A2.05
A2.06
A2.07
A2.08
A2.09
A2.10
A2.11
A2.12
Level 3
A3.01
A3.02
A3.03
A3.04
A3.05
A3.06
A3.07
A3.08
A3.09
A3.10
Level 4
A4.01
A4.02
A4.03
A4.04
A4.05
A4.06
A4.07
A4.08
A4.09
A4.10
Level 5
A5.01
A5.02
A5.03
A5.04
A5.05
A5.06
A5.07
A5.08
A5.09
A5.10
Level 6
A6.01
A6.02
A6.03
A6.04
A6.05
A6.06
A6.07
A6.08
A6.09
A6.10
Level 7
A7.01
A7.02
A7.03
A7.04
A7.05
A7.06
A7.07
Building B
Ground Floor
BG.01
BG.02
BG.03
BG.04
BG.05
BG.06
BG.07
Caretaker Room
Level 1
B1.01
B1.02
B1.03
B1.04
B1.05
B1.06
B1.07
B1.08
B1.09
Level 2
B2.01
B2.02
B2.03
B2.04
B2.05
B2.06
B2.07
B2.08
B2.09
Level 3
B3.01
B3.02
B3.03
B3.04
B3.05
B3.06
B3.07
B3.08
Level 4
B4.01
B4.02
B4.03
B4.04
B4.05
B4.06
B4.07
B4.08
Level 5
B5.01
B5.02
B5.03
B5.04
B5.05
B5.06
B5.07
B5.08
Level 6
B6.01
B6.02
B6.03
B6.04
B6.05
B6.06
B6.07
B6.08
Level 7
B7.01
B7.02
B7.03
B7.04
B7.05
Building C
Ground Floor
CG.01
CG.02
CG.03
CG.04
CG.05
CG.06
CG.07
CG.08
CG.09
CG.10
CG.11
Level 1
C1.01
C1.02
C1.03
C1.04
C1.05
C1.06
C1.07
C1.08
C1.09
C1.10
C1.11
C1.12
Level 2
C2.01
C2.02
C2.03
C2.04
C2.05
C2.06
C2.07
C2.08
C2.09
C2.10
C2.11
Level 3
C3.01
C3.02
C3.03
C3.04
C3.05
C3.06
C3.07
C3.08
C3.09
Level 4
C4.01
C4.02
C4.03
C4.04
C4.05
C4.06
C4.07
C4.08
C4.09
Level 5
C5.01
C5.02
C5.03
C5.04
C5.05
C5.06
C5.07
C5.08
C5.09
Level 6
C6.01
C6.02
C6.03
C6.04
C6.05
C6.06
C6.07
C6.08
C6.09
Level 7
C7.01
C7.02
C7.03
C7.04
C7.05
C7.06
Building D
Ground Floor
DG.01
DG.02
DG.03
DG.04
DG.05
DG.06
DG.07
DG.08
DG.09
DG.10
Level 1
D1.01
D1.02
D1.03
D1.04
D1.05
D1.06
D1.07
D1.08
D1.09
D1.10
Level 2
D2.01
D2.02
D2.03
D2.04
D2.05
D2.06
D2.07
D2.08
D2.09
D2.10
Level 3
D3.01
D3.02
D3.03
D3.04
D3.05
D3.06
D3.07
D3.08
Level 4
D4.01
D4.02
D4.03
D4.04
D4.05
D4.06
D4.07
D4.08
Level 5
D5.01
D5.02
D5.03
D5.04
D5.05
D5.06
D5.07
D5.08
Level 6
D6.01
D6.02
D6.03
D6.04
D6.05
D6.06
D6.07
D6.08
Level 7
D7.01
D7.02
D7.03
D7.04
D2.10
Level 3
Corridor
D3.01
D3.02
D3.03
D3.04
D3.05
D3.06
D3.07
D3.08
Level 4
Corridor
D4.01
D4.02
D4.03
D4.04
D4.05
D4.06
D4.07
D4.08
Level 5
Corridor
D5.01
D5.02
D5.03
D5.04
D5.05
D5.06
D5.07
D5.08
Level 6
Corridor
D6.01
D6.02
D6.03
D6.04
D6.05
D6.06
D6.07
D6.08
Level 7
Corridor
D7.01
D7.02
D7.03
D7.04

## Checklists
type | name | values
checklist | Plumbing Rough-In Water/Gas/Sewer Checklist
section | Sewer Stacks
checkpoint | Pipework fastened, fixed, supported & secured (clipped) correct spacings
checkpoint | Pipework connection points at fixtures & fittings installed at correct height & fall
label | Consider ceiling height
checkpoint | Correct invert level (As per Standards)
checkpoint | Pipework fixture connections capped & secure
checkpoint | General photos, comments & observations during Sewer Rough-In (Add below)
checkpoint | Passive Fire collars/Sealant(s) for all pipework completed (Any issues comment below)
checkpoint | Drainage flood tested
section | Water & Gas Rough-In
checkpoint | Pipework run to the correct points & there are no cross connections
checkpoint | Pipework fastened, fixed, supported & secured (clipped) correct spacings
label | Make sure no water hammer on Water pipes
checkpoint | Pipework connection points at fixtures & fittings installed at correct height
label | Consider ceiling height
checkpoint | Pipework fittings capped, connection loops joined & secure
checkpoint | Leak test piping before proceeding to 1500KPA
checkpoint | Gas test pressure holding point 14KPA
checkpoint | Isolation valves installed & located readily accessible for maintenance
checkpoint | TMV/Tempering valve installed
checkpoint | All rough in fire rated
checkpoint | Ensure all drainage is capped
checkpoint | General photos, comments & observations during Rough-In (Add below)
checkpoint | Rough-In completed to specification/drawings
checkpoint | Final test completed
checklist | Fit Off Checklist
checkpoint | Fixtures installed at correct height/clearance
checkpoint | Appliances installed at correct location
checkpoint | Dishwasher installed & tested
checkpoint | Correct clearance between appliance & walls, fixtures/equipment
checkpoint | Correct clearance for connections & maintenance
checkpoint | Ensure bath is installed as per specifications
checkpoint | Final test completed & hot water tempered
checkpoint | Valves Installed/Completed (As Per Below) - Any issues comment below
checklist | Commissioning/Handover & Testing Checklist
checkpoint | Check for no cross connections / leaks / access to isolation valves
checkpoint | Final test complete
checkpoint | Service Stickers & tags
checkpoint | Final completed for fire hydrant
checkpoint | General photos, comments & observations during Commissioning, Handover & Testing (Add below)
checkpoint | Final sign off - Pass when happy to proceed (Any issues please comment & Add photos below)
checklist | Meter Cupboard / Copper Riser
checkpoint | All copper piping installed & pressure tested to AS/NZS3500:2018
checkpoint | Valves Installed/Completed (As Per Below) - Any issues comment below
checkpoint | Tempering valves installed
checkpoint | Air admittance valves installed & connected as specified & readily accessible
checkpoint | Pressure regulating valve assembles fitted, connected & pipework flushed prior to install
checkpoint | Tempering valve tested ready for temperature setting
checkpoint | General photos, comments & observations during Sewer Rough-In (Add below)
checklist | Sewer Stacks / Storm water stacks
checkpoint | Pipework fastened, fixed, supported & secured (clipped) correct spacings
checkpoint | Pipework connection points at fixtures & fittings installed at correct height
label | Consider ceiling height
checkpoint | Correct invert level (As per Standards)
checkpoint | Pipework fixture connections capped & secure
checkpoint | General photos, comments & observations during Sewer Rough-In (Add below)
checkpoint | Passive Fire collars/Sealant(s) for all pipework completed (Any issues comment below)
checklist | Passive Fire Penetration
checkpoint | Confirm area of work is accessible & acceptable to commence (If not comment below)
text | Penetration identification
text | Penetration Location - Area (please identify)
text | Size W x H
text | Penetration Thickness (mm)
checkpoint | Please attach copy of test report / certificate
checkpoint | Please take detail photos of penetration & labelling
checklist | Internal Drainage
checkpoint | Ensure pipes are at correct fall as per AS3500
checkpoint | Backfilling material has been backfilled & compacted as per AS3500
checkpoint | Pipes are clear of debris
checkpoint | Jump ups at floor waste gulleys
checkpoint | Direct rotting to WC's
checkpoint | Vents installed on main lines
checkpoint | Chamber vent installed
checkpoint | General photos, comments & observations during internal drainage
checkpoint | Pipework fixture connections capped & secure
checklist | Internal Stormwater
checkpoint | Ensure pipes are at correct fall as per AS3500
checkpoint | Backfilling material has been backfilled & compacted as per AS3500
checkpoint | Pipes are clear of debris
checkpoint | Pit invert levels & RL's are per plan
checkpoint | General photos, comments & observations during internal drainage
checkpoint | Pipework fixture connections capped & secure