## Table 1
ITC – Cast-in conduit installation
DOC No: WSA81-CPB-05250-EL-ITC-0000014-A
Location: |  |  |  | ITP doc No: WSA81-CPB-05250-EL-ITP-000014-A
Lot: |  |  |  | Description: Cast-in conduit installation
Item |  | Description |  |  |  | Inspection Results (initial)
[6 empty] | HEYDAY | CPB/WSA |  | Date
1 |  | Receipt of conduit delivery to site & storage. (ITP Reference Item 1)
2 |  | Set out. (ITP Reference Item 2)
3 |  | Conduit Installation. (ITP Reference Item 3)
4 |  | Change of direction/bend Installation, correct bending radius used as per drawing. (ITP Reference Item 4)
5 |  | Bell mouths are installed within the slab. (ITP Reference Item 5)
6 |  | Glue Conduits together. (ITP Reference Item 6)
7 |  | Rope & pathway test. (ITP Reference Item 7) HOLD POINT
8 |  | Sealing of conduits. (ITP Reference Item 8)
9 |  | Record photo evidence. (ITP Reference Item 9)
COMMENTS:
COMPLETED BY |  |  | SUPERVISOR |  | REVIEWED BY |  |  | OTHERS (if applicable)
NAME |  |  | Geoff Summers
SIGNATURE |  |  | G. Summers
COMPANY |  |  | HEYDAY |  | CPB
DATE |  |  | 2025-06-25
*Photos to be attached below.
This document is uncontrolled when printed Page 1 of 1 Heyday5 Pty Ltd Electrical Licence 249908C