## Table 1
|  |  | ASM-FRM-A3541693 |  |  |  |  | Version: 3.0
Civil ITR 2. Concrete Pour
Project Details
Contractor |  | Consolidated Power Projects |  |  |  | Structure/Lot Identifier |  |  |  | BLD
Project Title and Number: |  | PP230174-13297 Ulinda BESS GC |  |  |  | Drawing Reference |  |  |  | H-138263-515, 516, 574, 575
Instruction to Contractor seeking hold point release and/or approval to proceed with work
Contractors shall have all relevant supporting evidence on file with all ITR check items verified and completed where required, prior to site inspection by a Powerlink Representative and/or request of hold point release. All activities listed are to be undertaken in accordance with the relevant specifications/design where applicable.
Item | Work activity/item to be validated or verified |  |  | Evidence or Record | Acceptance Criteria |  | Contractor Rep |  |  |  | Powerlink Rep
[7 empty] | Initial |  | Date |  | Initial | Date
1 | Concrete mix design submitted |  |  | Mix Design Code | GSC-010.1 Cl. 4.3
2 | Placement method submitted |  |  | Email Reference | GSC-010.1 Section 9.2
3 | Curing methods submitted |  |  | Email Reference | GSC-010.1 Section 12.1
4 | Approval for earlier stripping or loading |  |  |  | GSC-010.1 Section 11.2
5 | Spare Compaction equipment on site suitable for the proposed task. |  |  | Visual | GSC-010.1 Section 9.3
| Hold Point Release required |  |  |  | PLQ Representative
6 | Details of supplied concrete (Actual)  Batched time  Arrival time on site  Slump  Concrete temp  Ambient temp |  |  | Load No | Docket No
7 | Time of last load placed
| Test cylinders taken, placed and protected on site by testing authority |  |  | Print Name and Company: |  |  | Sign:
8 | Final check of formwork and cast in items, such as hold down bolts. |  |  | Visual | GSC-010.1 Section 7.1
9 | Approved curing agents applied |  |  | Visual | GSC-010.1 Section 12.2
10 | New concrete protected from inclement weather |  |  | Visual / Photo | GSC-010.1 Section 9.4
11 | Level checks undertaken prior to concrete set stage |  |  | Visual | AFC Drawing
| Final Hold Point Release |  |  |  | PLQ Representative