## Breakdown
William Sanders
B05
Fitout
Ground Floor
Common Areas
Corridor
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Smoke Lobby
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
MSB/COMMS
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Lift
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Stair
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Apartments
A54
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
A55
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Level 1
Common Areas
Corridor/Cable Riser
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Lobby
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Lift
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Stair
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
Apartments
B54
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
B55
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
B56
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
B57
Pre-line
[7 empty] | Insulation | Prepopulate | Insulation checklist
Post-line
[7 empty] | Internal Lining - Ceilings | Prepopulate | Internal Lining - Ceilings Checklist
[7 empty] | Internal Lining - Walls | Prepopulate | Internal Lining - Walls Checklist
|  |  | Completion documents-BCO10332878 |  |  |  |  | pre-populate | Completion documents

## Checklist
Type | Name
checklist | Pre - S - Insulation
checkpoint | All materials checked & aligning with consented design & specifications prior to install
checkpoint | Correct product & R value as per specification
checkpoint | All Insulation completed correctly to specification & within tolerance in respective area(s)
checklist | Post - S - Internal Lining - Ceilings
checkpoint | All preline services & passive fire (where required) completed, area accessible and substrate acceptable
checkpoint | Consider bracing, adhesive/sealant & lining layer(s) requirements (consider fire stopping between layers)
checkpoint | Services/Penetrations, correctly formed & located (consider cutout tolerances and access hatches (location & size) where applicable)
checkpoint | Correct fixing pattern/sealant (consider fire)/adhesive/layers installed to align with consented design and specifications
checkpoint | Any bracing elements completed to design specification
checkpoint | All lining(s) completed correctly to specification & level of finish acceptable in respective area(s)
checklist | Post - S - Internal Lining - Walls
checkpoint | All preline services & passive fire (where required) completed, area accessible and substrate acceptable
checkpoint | Consider bracing, adhesive/sealant & lining layer(s) requirements (consider fire stopping between layers)
checkpoint | Services/penetrations, correctly formed & located (consider cut-out tolerances where applicable)
checkpoint | Correct fixing pattern/sealant (consider fire)/adhesive/layers installed to align with consented design and specifications
checkpoint | Any bracing elements completed to design specification
checkpoint | All lining(s) completed correctly to specification & level of finish acceptable in respective area(s)
checklist | Completion Documents
checkpoint | PS3s(BCO10332878), warranties, user manuals and any other documents attached
checkpoint | All relevant Compliance Documentation completed and attached above
bool | Any Additional Compliance Documentation (Required under Section C and by Consultants) - Completed and Attached
label | Do not select "Pass" HERE until all requirements have been marked as "Yes" & attached or you have selected "N/A"
holdpoint | Request Signoff
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS