## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | QA - Panel Fabrication |  |  |  |  | Yes | QA - Panel Fabrication | 3f2bd67b-62d8-4e94-bb9a-1b79baf77831
checkpoint-group |  |  | section | PRE-START
checkpoint-status |  |  | checkpoint | Check panel delivered is in accordance with dimensions related to fabrication drawings
checkpoint-status |  |  | checkpoint | Check fold locations are correct to Symonite Shop Drawings and existing structure
checkpoint-status |  |  | checkpoint | Ensure correct tooling method used as detailed within fabrication drawings
checkpoint-group |  |  | section | PANEL FABRICATION
checkpoint-status |  |  | checkpoint | Panel cut to match existing structure / symonite shop drawing
checkpoint-status |  |  | checkpoint | Stiffeners cut to correct length
checkpoint-status |  |  | checkpoint | Panel cleaned / prepared using Aktivator 205 for Sika 522 Adhesive
checkpoint-status |  |  | checkpoint | Stiffeners bonded at correct centres (based on fabrication drawings)
checkpoint-status |  |  | checkpoint | Time taken to allow stiffener bonding to cure as per manufacturer's specification (24hrs)
checkpoint-status |  |  | checkpoint | Gusset installation as per fabrication drawings
checklist-sectioned |  |  | checklist | QA - Panel Installation |  |  |  |  | Yes | QA - Panel Installation | 43b79a58-528a-4155-bced-5ad31b6e850c
checkpoint-group |  |  | section | PRE-START
checkpoint-status |  |  | checkpoint | Check structure/frame is constructed in accordance with Symonite shop drawings. Ensure set out centres are correct (1465mm East and West, 1415mm North and South)
checkpoint-status |  |  | checkpoint | Check joinery (by others) and abutments for aligment
checkpoint-status |  |  | checkpoint | Check all flashings (if applicable) installed and fitted as per shop drawings
checkpoint-status |  |  | checkpoint | Check building wrap/RAB/insulation/tenmat fitted as required and defect free
checkpoint-status |  |  | checkpoint | Check presence and correct fitment of any other critical elements
checkpoint-group |  |  | section | PRE-CLADDING INSTALLATION
checkpoint-status |  |  | checkpoint | Install base / break flashings as detailed in shop drawings (if required)
checkpoint-status |  |  | checkpoint | Install Naideck Tape at weather line penetrations
checkpoint-status |  |  | checkpoint | Install top hat brackets as detailed plumb and level, use correct fixing as per drawings (ensuring embendment within structure as per shop drawings - note this varies per elevation)
checkpoint-status |  |  | checkpoint | Vertical Fixing rails installed as detailed plumb and level, use correct fixing as per drawings
checkpoint-group |  |  | section | PANEL INSTALLATION
checkpoint-status |  |  | checkpoint | Check panel size and identification is correct for location, no defects
checkpoint-status |  |  | checkpoint | Fix off panels to rails, use correct fixing as per drawings
checkpoint-status |  |  | checkpoint | Install closer / vermin flashings as required
checkpoint-status |  |  | checkpoint | Install sill flashings below windows, with stabiliser brackets
checkpoint-status |  |  | checkpoint | Install stabiliser brackets to window head flashings where required
checkpoint-status |  |  | checkpoint | Install Sealant and backing rod as per shop drawings (ensuring joints do not exceed 20mm)