## Cambridge Stage 2
Cambridge
Stage 2 (B39 & B40, B43, B49, B56)
|  | B39 |  | Pre Wire | Area is left clean and tidy, and approval to start work is obtained
|  |  | Townhouse Unit 01 |  | Internal cabling complete
|  |  | Townhouse Unit 03 |  | Main cabling complete (Photos Attached)
|  |  | Townhouse Unit 05 |  | Building entry point (Photos Attached)
Fire boxes installed (Photos Attached)
|  | B40 |  |  | Flush boxes installed
|  |  | Townhouse Unit 15 |  | Sub-reticulation installed (Attach Photos)
Townhouse Unit 17
Townhouse Unit 19
|  |  | Townhouse Unit 21 | Termination and Testing | Area is left clean and tidy, and approval to start work is obtained
|  |  | Plinth 1 Commissioning |  | Install DB
Fit off DB (Photos Attached)
|  | B43 |  |  | LAN test internals (Add signature)
Townhouse Unit 07
Townhouse Unit 09
|  |  | Townhouse Unit 11 | Fit Off | Area is left clean and tidy, and approval to start work is obtained
|  |  | Townhouse Unit 13 |  | TV/DATA Fit Off (Photos Attached)
Nurse Call Fit Off (Photos Attached)
|  | B49 |  |  | Smoke Alarms and CO detectors (Photos Attached)
|  |  | Townhouse Unit 01 |  | 6 core Fibre spliced (Photos Attached)
Townhouse Unit 03
Townhouse Unit 05
|  |  | Plinth 6 Commissioning | Plinth Commissioning | Nurse Call Terminated (Photos Attached)
MATV Terminated (Photos Attached)
|  | B56 |  |  | Fibre spliced (Photos Attached)
|  |  | Townhouse Unit 07 |  | Power Supply installed (Photos Attached)
|  |  | Townhouse Unit 09 |  | Krone module terminated (Photos Attached)
Townhouse Unit 11
Townhouse Unit 13