## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 1eb921b3-51f6-4c10-b0bb-a7204b3a37a1 |  | checklist | QA - Main Water Reticulation |  |  |  |  | Yes | QA - Main Water Reticulation | 11f18c2a-8e98-48c7-8b27-15f972bcc21a
checkpoint-group | c0eb910d-cc4e-48dc-9fc6-92f94b3aeb8b |  | section | Cold Water Main
checkpoint-no-status | 37b7829d-bdab-43bc-bcab-537dad377259 |  | checkpoint | Zone / Area
text | 93da604f-c383-5bde-a485-5944027c1974 |  | textbox | Zone / Area
checkpoint-status | 9e37ae8f-11d5-4046-96c6-e98640c32e8e |  | checkpoint | Connections welded/crimped correctly
checkpoint-status | f5e4c4fb-0a5e-4c7c-ab3c-12681393dce9 |  | checkpoint | Clip spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 141cdf0f-58c2-4787-b21d-4d14f99a10bf |  | checkpoint | Lagging installed and neat
checkpoint-status | 9880dea5-96a6-4f71-b582-79bef3ec33d0 |  | checkpoint | Labels installed
checkpoint-status | 78ddb5de-66ed-4036-b4e8-8f94533dec53 |  | checkpoint | Correct valves fitted correctly
checkpoint-status | e0c2a435-61de-4318-b11d-89593d603b25 |  | checkpoint | Seismic bracing completed
checkpoint-status | 616ee188-fc68-46d0-8aca-769109997504 |  | checkpoint | Tested
checkpoint-group | 5101d3dd-4d67-4988-b250-462ed8e647fa |  | section | Hot Water Main
checkpoint-no-status | b9138fc3-80e6-4276-9392-f8d079a95c64 |  | checkpoint | Zone / Area
text | 0a480e56-d442-55ee-9467-0bf065d96774 |  | textbox | Zone / Area
checkpoint-status | 55b64b7e-cc04-493d-89c0-862f17dd2806 |  | checkpoint | Connections welded/crimped correctly
checkpoint-status | 163f7165-55c6-49d1-b467-83178cf407ad |  | checkpoint | Clip spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | ef4623b2-9a39-4454-9d9a-a95c41cfb7e5 |  | checkpoint | Lagging installed and neat
checkpoint-status | cbf6c82b-38a1-40a8-902f-760ac9d6ae54 |  | checkpoint | Labels installed
checkpoint-status | cb4e0ab2-e248-4fd8-97d9-ae6bde141506 |  | checkpoint | Correct valves fitted correctly
checkpoint-status | 1634aeee-684c-4b5d-a98d-0797690de3fa |  | checkpoint | Seismic bracing completed
checkpoint-status | 033fa9dc-246a-4738-81f3-acec8ab6826a |  | checkpoint | Tested
checklist-flat | 36f37311-3217-4c68-a255-127138a4d247 |  | checklist | Testing - Sump Pump |  |  |  |  | Yes | Testing - Sump Pump | 19cee1a0-0cd6-4cea-9c1d-6f174e1becd1
checkpoint-no-status | 2fbd1098-30ec-4082-bfb6-1dd15223f134 |  | checkpoint | Installer Details
text | de641e05-02ee-5d43-88a7-cd188c768a25 |  | textbox | Installers name
text | 6394f476-7652-51cf-b4ab-e7bca886bfa8 |  | textbox | Date:
checkpoint-status | 5431ef64-91c2-4c18-889e-4fe231c07b5f |  | checkpoint | Tested by & date
text | 0b9ebc6a-84ed-5772-ba3f-af508fdf510c |  | textbox | Tested by:
text | e8f679ce-6296-52fd-b96a-201731236236 |  | textbox | Date tested:
checkpoint-status | c9144ec3-519d-453c-87bf-826d1817a756 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | b62c94dc-55d3-4d9b-b983-c98a9b4cc46d |  | checklist | QA - Waste / Stacks |  |  |  |  | Yes | QA - Waste / Stacks | 29eed4ea-ca5e-4e7c-8cd5-709e1d40e5f3
checkpoint-group | d9ea1acb-9282-4e8e-8c29-810e3045e1eb |  | section | Area Prestart / Acceptance & Drawings
checkpoint-status | 34a5455c-9214-45e8-ab12-a1f6e38c1ec9 |  | checkpoint | Area Prestart / Acceptance & Drawings
text | 49127648-f6ff-5724-9376-e26c93ed01a8 |  | textbox | Zone / Area
checkpoint-status | d3c4f5d3-4f56-49fb-8598-c1ddb6cd494c |  | checkpoint | Area ready for works
checkpoint-status | 1c917d0f-2ed9-4e6a-ac6b-4f871914fefb |  | checkpoint | Current Dimensioned Slab Set Out Drawings numbers and revisions recorded
checkpoint-group | 9e073d73-ec5a-4e53-be79-4bb02d82614b |  | section | Pipe install
checkpoint-status | eaf40797-5b5c-451c-8041-4e700e727faa |  | checkpoint | IE's - Test points installed correct locations (ASNZS 3500)
checkpoint-status | c294bb27-5261-46f6-a031-24193ffd1496 |  | checkpoint | Pipeout completed
checkpoint-status | a6fb6e0b-7496-4542-a746-9e52b8c0f3c2 |  | checkpoint | Correct labels
checkpoint-status | db86329d-98c6-4857-8f7e-b8fde9d16e6e |  | checkpoint | Acoustic lagging
text | 6a0ee72d-405b-5056-91e4-a7c79cb9e28c |  | textbox | Product Type
checkpoint-status | 94cbd4df-0188-4ec4-8d5e-b73530d49ac6 |  | checkpoint | Correct Pipe supports completed
checkpoint-status | 2e514960-5977-48a6-bc13-13db34bde47a |  | checkpoint | Seismic bracing completed
checkpoint-status | 0077586d-8a37-4d19-8a79-dc9867771cf3 |  | checkpoint | Vent installed
checkpoint-status | d65ed88b-3db1-4e8d-a80f-706c82ddf555 |  | checkpoint | Correct fall
checkpoint-status | 796bd44b-6508-4456-bfdb-75c3cafd8faf |  | checkpoint | Flood Test in accordance with ASNZ 3500
text | 3571b86a-2ded-55ab-9bd2-d70d1202f3c4 |  | textbox | Witnessed by
text | 703ab891-547e-5cbf-85d2-a95e2bd0f4fc |  | textbox | Representing (Company)
text | 98a6e704-f189-527e-a89a-f322ed541da0 |  | textbox | Date
holdpoint | 5ccdcd5f-1d69-4529-ac88-5d24e2a05dca |  | signoff | Request sign off
checkpoint-status | b4fd110d-f0fa-4e83-bfad-68def72a7235 |  | checkpoint | All relevant test plugs removed where applicable
checkpoint-status | 7d9f32d0-8e66-4945-a97c-0d8eee737bb9 |  | checkpoint | Open ends sealed
checkpoint-status | 57e1bc1e-560f-4a69-962d-59698a4ce456 |  | checkpoint | General photos, comments and observations
checkpoint-status | 2bfcb8f4-99c0-4bec-a7c9-7ada6b8a5a1d |  | checkpoint | Pipe Install Completed
text | e7c0331c-8da6-5db1-bf25-db6724a5c7b2 |  | textbox | Installed by
checkpoint-group | d4072788-8075-4cdf-a880-7e9bd9972316 |  | section | Area Completion/Sign Off
checkpoint-status | 9a9a0c7d-033a-4934-b066-42876bb872b8 |  | checkpoint | Specified Protection Around All feeds/pipes penetrating slab
checkpoint-status | bb95c22d-2b63-4898-b57e-c138456079f8 |  | checkpoint | All Measurements Double Checked
checkpoint-status | dee15791-b4e9-4957-9575-9aee5e438644 |  | checkpoint | As-Built Drawings recorded (drawing & revision number(s)
text | 4359ee92-9f4a-581c-81c6-101142452cd6 |  | textbox | Completion Date
checklist-sectioned | bf99402d-c415-40be-b129-2d63ae4d6d65 |  | checklist | QA - Cold Water Booster Pump |  |  |  |  | Yes | QA - Cold Water Booster Pump | 38646407-868f-410b-bf84-bd6ad56d9cc5
checkpoint-group | 46013fbf-6c41-4a6e-bce9-1b729b907131 |  | section | Zone / Area
checkpoint-no-status | bd79e630-f854-47ac-87ce-f6bdcafcadf2 |  | checkpoint | Details
text | cc5c79e4-c1b7-50ad-863e-38aac49c9b9f |  | textbox | Zone / Area
checkpoint-group | 097cf4d3-5df1-4529-a055-aa495ab118c9 |  | section | Pumpset mainfold
checkpoint-status | 9f2ed86e-1738-440a-8ebc-a4177c6cd448 |  | checkpoint | Connections welded correctly
checkpoint-status | 4d7340b7-6183-4e59-9579-7baee613edcf |  | checkpoint | Clip Spacing to manufactures specs horizontal/ vertical
checkpoint-status | 22d13cde-cdbc-4d78-9e34-ae5e89be1cdf |  | checkpoint | Valves fitted correctly
checkpoint-status | ba2ef4d9-1878-4df7-9195-f171c0373951 |  | checkpoint | Line strainer fitted between pump & tank
checkpoint-group | f5bdb809-9f93-4ae8-a671-80dbd3e5a042 |  | section | Pumps
checkpoint-status | 0343d435-0fc8-4ba4-bae3-ea5e7db6057f |  | checkpoint | Pump 1 Startup KPA
checkpoint-status | 4fa8744d-e401-4650-bcd4-cb60dc06cd8d |  | checkpoint | Pump 1 kick out pressure KPA
checkpoint-status | 83a20ed4-263e-4e9a-85ff-c802d0f24526 |  | checkpoint | Pump 2 Startup KPA
checkpoint-status | a4a4f67d-51d1-4eca-be91-cd1dd8bf017e |  | checkpoint | Pump 2 kick out pressure KPA
checkpoint-status | ef56de67-1cc8-4747-a656-0ef93db4092b |  | checkpoint | Pressure vessell pressure
checkpoint-group | aab9f97d-9c03-4ec7-ae14-048fabef9cdd |  | section | General
checkpoint-status | 00669473-e80e-4b65-ae2e-fdc91d7efe18 |  | checkpoint | Mains water change over
checkpoint-status | 85c7277c-ec91-4a52-b4f2-ea215715784d |  | checkpoint | Flow test pump
checkpoint-status | e9860a16-d1be-4987-ba5e-856d13e76a6e |  | checkpoint | Pressure tests pipework
checkpoint-status | 7af9bd38-e9d6-46a5-9400-1aa480078e5b |  | checkpoint | Visual check (for leaks form valves, tees, saddles, etc)
checkpoint-status | 86bbfcd8-6085-4f0d-9b3b-abae6231f16c |  | checkpoint | Non return valves fitted
checkpoint-status | 34ca5879-e8e1-4ed0-9196-d3b335d42c5f |  | checkpoint | Installers name & date works completed
text | 1eba17e1-127f-5911-a56b-8784ea2655bc |  | textbox | Installers name
text | 04dfd108-5242-5b27-9044-26d475184111 |  | textbox | Date:
checkpoint-status | a58ce92d-f6af-45a2-bd54-a0c578aa652e |  | checkpoint | Tested by & date
text | db0e50a8-e589-5410-a879-618977afabb1 |  | textbox | Tested by:
text | 1c675637-137b-5d6d-8903-e46750b4880c |  | textbox | Date tested:
checkpoint-status | cd1ad1ac-e2f2-4b97-9ddc-b9db42638097 |  | checkpoint | Council inspector sign off and date
checklist-flat | fbba884f-b29f-4357-8d71-627dc7c0ac0e |  | checklist | Testing - Cold Water Main |  |  |  |  | Yes | Testing - Cold Water Main | 3cb743f8-3c83-4c89-901d-f2be15c5ba01
checkpoint-no-status | c7d7cf0a-01ed-458f-a64d-08d874832015 |  | checkpoint | Details
text | 963f7f39-aaa2-538d-9490-fce0afdc1c1b |  | textbox | Zone / Area
checkpoint-status | 65eff5e8-f7d5-4857-9f3a-2fd84d9f8845 |  | checkpoint | Pressure 1500 kpa or as per spec
text | f2684ce4-8e14-5dac-8b5f-f87337ccd8a1 |  | textbox | Duration
checkpoint-status | cc83d131-0a54-4f83-a6f5-33d7395dc808 |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
label | 27647461-fc15-508d-b203-502703023871 |  | note | Attach photos of completed area
checkpoint-status | dc3fe6dd-559e-4b5f-b8ea-b3b7e0409102 |  | checkpoint | Pre Line Inspection Passed - Foreman
checkpoint-status | dc281a60-769e-41c5-b1f4-abf5fc66c786 |  | checkpoint | Pre Line Inspection Passed - Inspector
checklist-sectioned | 52658439-b647-40d7-ba13-0dd26abfedfd |  | checklist | QA - Manhole |  |  |  |  | Yes | QA - Manhole | 57e4f13b-b746-4809-8f61-fbffad498c33
checkpoint-group | 579f38e7-f8e3-4006-b1c3-51bbb2cc8323 |  | section | Manhole Install
checkpoint-status | 621fa1ae-90c4-4295-bb9c-34204f02717f |  | checkpoint | Latest consented drawings
text | 2eab21fa-f980-5425-88a7-0a2360401f36 |  | textbox | Drawing Ref No.
checkpoint-status | 7d8b5728-e3c3-4838-9a95-fce44cadef67 |  | checkpoint | Setout Completed checked and accurate
checkpoint-status | 2d32c24e-5db9-4c5e-9a3d-f975687f69f2 |  | checkpoint | Excavation Accurate - Location & Depth
checkpoint-status | 1c9f7b04-efef-424f-b427-f70fd443f630 |  | checkpoint | Ground conditions checked & acceptable
checkpoint-status | 9fb3bf00-739d-417d-93ff-f4990a64b345 |  | checkpoint | Bedding depth and material correct & compacted
checkpoint-status | 9faa8e99-26b0-4ba3-8e99-bf1dd75d6600 |  | checkpoint | Correct manhole installed to specified height and sitting level
checkpoint-status | e48d62bb-ed1b-425d-8bef-71e41638e8a5 |  | checkpoint | Manhole Risers Installed (if applicable)
checkpoint-status | 624d60b1-fc0e-473b-99a2-36f180e7af74 |  | checkpoint | Joints & connections correctly sealed as specified
checkpoint-status | 621dc586-4ca8-4ea4-806b-f10ce9f92ab9 |  | checkpoint | Manhole benching completed and acceptable
checkpoint-status | f9d32167-3556-4ef7-8878-ae981bb4c264 |  | checkpoint | Concrete Lid Installed and sitting appropriately
checkpoint-status | 5b186e7c-9fd2-4ba6-99c5-cd9eff24d54e |  | checkpoint | Cast Iron Lid Installed and sitting flush
checkpoint-status | edbd4640-fc9a-4860-a531-1abcb249a886 |  | checkpoint | Signoff on Completed Work (Council etc)
checkpoint-group | 20daea30-77f4-478a-9649-038e8ea8fc20 |  | section | Backfill
checkpoint-status | d2681efa-57fd-4843-abb9-d43088d1d244 |  | checkpoint | Backfill methodology and material confirmed
checkpoint-status | b4a6ab4e-9462-4486-bc57-93732b83f508 |  | checkpoint | Any formwork/ debris removed from area
checkpoint-status | 1c7b9923-1132-4fc5-ba0b-863898bf5403 |  | checkpoint | Any waterproofing/ drainage / service requirements completed and inspected
checkpoint-status | e0379328-7bdb-4905-88a8-1f076d48804a |  | checkpoint | Approval given to commence backfill - attach any other relevant inspections and observations closedout
checkpoint-status | ced40c61-2abe-4fc2-9666-bee3e13f3236 |  | checkpoint | General photos and observations during backfill
checkpoint-status | f9f2e943-dc33-4a7c-8951-b1f69399baea |  | checkpoint | Backfill completed correctly and heights checked/ correct
checklist-flat | b67e3a0a-1f5b-4a53-8920-fda90927261c |  | checklist | Testing - Cold Water Booster Pump |  |  |  |  | Yes | Testing - Cold Water Booster Pump | 613d32c8-f524-4914-9b1b-dc3efbf10d65
checkpoint-no-status | 1ac2b8c2-ba15-40c3-b33e-d42a9d0aff14 |  | checkpoint | Installer Details
text | d434fd59-874a-5853-b6c2-01b77e5a465b |  | textbox | Installers name
text | 51869c85-b3d7-59a1-a426-c609cb074ca1 |  | textbox | Date:
checkpoint-status | d404b122-91a9-4a83-99a1-b13431135f17 |  | checkpoint | Tested by & date
text | 37df6ad7-1937-5344-9b65-54c533c8597c |  | textbox | Tested by:
text | 6c635a61-a16f-55e1-816a-b61a617c53d8 |  | textbox | Date tested:
checkpoint-status | 92b45a9f-f7ad-4631-a2e0-52044050bf47 |  | checkpoint | Council inspector sign off and date
checklist-flat | 1d43cc5d-264b-4398-9c4c-3726585cb15e |  | checklist | Testing - Waste / Stacks |  |  |  |  | Yes | Testing - Waste / Stacks | 83180cce-3e11-4e62-83d0-cd579e763cb9
checkpoint-no-status | 35580874-3d02-41a7-90e1-477da958f742 |  | checkpoint | Details
text | 92c9eaa1-220c-50d9-875e-49dbf46bfe5e |  | textbox | Zone / Area
text | cd8f4d33-1374-5ae8-ad3a-876d63fbc094 |  | textbox | Area / Stack
checkpoint-status | 34c8e702-73b4-4704-bc51-db338937ab81 |  | checkpoint | Flood Test in accordance with ASNZ 3500 (15.2)
text | ba43f304-c452-52a2-83ff-e1bcf90f48e3 |  | textbox | Duration
text | 6bb19de4-6409-5a84-818a-32468b0183c6 |  | textbox | Notes
checkpoint-status | 08be4aee-b372-484a-a666-9919cbaaf8b7 |  | checkpoint | Install Tests completed, reviewed & approved
checkpoint-status | 9d937e8d-07dc-43e2-b361-ccc2774cfa20 |  | checkpoint | Local Authority Inspection Passed
text | 93c851cc-bce5-5d67-86b6-53ee8b24569a |  | textbox | Witnessed by
text | 0b307399-e50e-500d-bc7d-71eb80ed83f7 |  | textbox | Representing (Company)
text | 75798600-cea9-5191-8a3e-a391e0e01dd5 |  | textbox | Date
checklist-flat | f9802365-2fd6-4407-97f6-facafa0eb629 |  | checklist | Testing - Hot Water Main |  |  |  |  | Yes | Testing - Hot Water Main | 84ec66ba-439d-4fbe-a430-a0248a0718a8
checkpoint-no-status | 39d69604-3095-4231-913a-0f887d8d9638 |  | checkpoint | Details
text | 69130bee-3bbb-5219-9495-b7cd9b3cecd7 |  | textbox | Zone / Area
checkpoint-status | 064c4e6a-b4b0-4c26-88ca-31f84ebf5c6a |  | checkpoint | Pressure 1500 kpa or as per spec
text | bde683ba-574b-5870-af5f-6556fdc5484f |  | textbox | Duration
checkpoint-status | 76e34afe-9155-46cf-9c0d-6d30591ffff6 |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
label | 2efb5c2f-3e4d-500c-a164-a39cfec3a488 |  | note | Attach photos of completed area
checkpoint-status | 744cca68-7911-43e7-9dab-bfe5fb41cf4d |  | checkpoint | Pre Line Inspection Passed - Foreman
checkpoint-status | 8499c0b9-3843-4f8c-8bb2-ab9203b5b8bc |  | checkpoint | Pre Line Inspection Passed - Inspector
checklist-sectioned | e5d10212-3c2e-4861-b84e-20a595ada6d1 |  | checklist | QA - Sump Pump |  |  |  |  | Yes | QA - Sump Pump | 98bf9a52-ec05-42e2-a5ca-d4cad5ebc615
checkpoint-group | 1eb0fc39-b75d-45bd-adeb-9c92443ed0a7 |  | section | Unit check
checkpoint-status | 73dfc0bc-678f-4afa-829c-63919343989b |  | checkpoint | Area acceptable and ready for work to begin
checkpoint-status | e79da042-cace-4eef-8d53-a2b58d0b8d10 |  | checkpoint | Pump mounted on base, & housing condition good - no leaks
checkpoint-status | c1282912-85f5-47aa-b0fc-2c1d625e4d12 |  | checkpoint | Alignment checked (field alignment performed where required)
checkpoint-status | dd613b8b-864c-412d-87ed-51c11dbda74d |  | checkpoint | Pump impeller works correctly
checkpoint-group | d5900e53-c452-42e1-91c7-d48da8d37d64 |  | section | Pipework
checkpoint-status | b6f91aaa-c806-4205-b47e-3253e0bab834 |  | checkpoint | Strainer installed & cleaned
checkpoint-status | 37706f1c-317f-4a7e-98df-66f109002ac3 |  | checkpoint | All isolation valves set correctly - non return valve, isolation valve
checkpoint-group | d1fee115-9583-49fd-a60a-fc47ae2b29de |  | section | Electrical
checkpoint-status | b110124d-1817-450b-a24d-b1f052190c3d |  | checkpoint | Local isolator located
checkpoint-status | db35d392-2b3b-4e5f-a689-8a029296d4de |  | checkpoint | All power and control wiring correctly installed
checkpoint-status | 91d550c0-f9aa-40ca-9253-78b892ee4eb5 |  | checkpoint | All electrical connections correct and tight
checkpoint-status | d564eb54-decc-4b48-993f-d2b497bce8e6 |  | checkpoint | Controls point to point check completed
checkpoint-group | 2e33f947-1f66-4b8b-a11f-d97964e1b261 |  | section | Float levels
checkpoint-status | 2ac6149c-509e-4cba-a977-b2ace91a15ee |  | checkpoint | invert - low level alarm
checkpoint-status | 170013b1-6716-4999-b4e9-f762167297f4 |  | checkpoint | invert - mid level for dual pump operation
checkpoint-status | 2090de76-9700-43ef-9585-35b0c01ee8e7 |  | checkpoint | invert - high level alarm
checkpoint-status | 0397e3ab-8c45-4acb-9e97-1fe21a5d62bf |  | checkpoint | Rail / lifting chains installation
checklist-sectioned | 2392d547-9c97-496d-a4e6-1ca50aa927d0 |  | checklist | QA - Basement Underslab |  |  |  |  | Yes | QA - Basement Underslab | e7a7d999-b1cd-4fd3-9430-2eecbee28879
checkpoint-group | 41f7ebe6-0f42-4197-9541-89b37d43f5b4 |  | section | Area Prestart / Acceptance & Drawings
checkpoint-no-status | 61518bda-44c8-456a-81dc-643a88e787fe |  | checkpoint | Zone / Area
text | 59ffe8e5-6ffc-54f4-99c6-5b34aee70edf |  | textbox | Zone / Area
checkpoint-status | 593220ec-77ef-4250-afe1-342b7a33e4a9 |  | checkpoint | Area ready for works (grids setout, area accessible and approval to start)
checkpoint-status | 5b97c49b-06ab-4d0c-a6ee-efbdc8dd1611 |  | checkpoint | Current Dimensioned Slab Set Out Drawings numbers and revisions recorded
checkpoint-group | 92c086be-ab54-4ce9-9879-e194866971ee |  | section | Under Slab Pipe install
checkpoint-status | 3e1cfb55-bc1f-4465-a1f7-c63ef1f45642 |  | checkpoint | Correct pipe laid to specified level and grade (all joints sealed correctly as specified)
text | f26b35af-4575-5cf8-b45e-8f3a7facb980 |  | textbox | Zone / Area
text | 47cf8145-4127-5ad7-9f7f-feec4a330bc7 |  | textbox | Start Invert
text | 5938d65b-0852-5df8-85fa-83d06c9c2986 |  | textbox | Finish Invert
text | c87602ad-583d-59a9-8bc5-8886b38e26b2 |  | textbox | Grade of Pre-Line %
text | dfed624a-2291-51cd-8fb3-0be5800c4e46 |  | textbox | Product Type
checkpoint-status | e1b6be14-afb7-410d-a307-1468d2317afd |  | checkpoint | Pipe supported
checkpoint-status | 2507241b-4aa4-483e-9dcb-14c40eacaa32 |  | checkpoint | Install Tests completed, reviewed & approved
text | 6670ebf8-653e-5421-a165-e6ca2b726e28 |  | textbox | Test method used
text | 13e570b2-1ece-5c0d-88d5-c917148e4bb0 |  | textbox | Duration
checkpoint-status | 6d936de6-3cfd-4819-9a9d-4565a67e140e |  | checkpoint | Local Authority Inspection Passed
text | 7def9a45-be97-51e5-aaa5-b74b263032c0 |  | textbox | Witnessed by
text | f133930f-f1a6-53cf-a9fc-09f197a8263c |  | textbox | Representing (Company)
text | e6b5ef29-9af8-5949-a8e8-dff311843372 |  | textbox | Date
holdpoint | 8d917e50-1e6f-4cf0-8747-08d08f8c3d9d |  | signoff | Signoff required
checkpoint-status | d811ccca-2a24-472d-9a8e-bfa2645ce3f1 |  | checkpoint | All relevant test plugs removed where applicable
checkpoint-status | 4ff21e8b-c4cd-45b2-b523-83b37fc6ed58 |  | checkpoint | Open ends sealed
checkpoint-status | 6352ad25-b05a-489e-b07e-e2627434b5f6 |  | checkpoint | General photos, comments and observations
checkpoint-status | 064cda94-1cb1-4033-92e5-960a768f6ca6 |  | checkpoint | Pipe Laying Completed
text | 71304618-0771-5d33-80b2-13b273ac4f9d |  | textbox | Laid by
boolean | 424ef711-a16f-5469-9fde-dd8cca91b5ce |  | tickbox | Bedding Sound
boolean | a739460c-4956-5961-abb5-33609a35f8bb |  | tickbox | Soil Removed
boolean | dbc795fe-af7f-5b9e-b246-36968444735f |  | tickbox | Trench Compacted
boolean | 3a5dde1c-c89b-5996-8aa4-1746005635c0 |  | tickbox | Hard Filled
checkpoint-group | 2d9a8aed-ae2a-4e30-b744-72be94ecf23c |  | section | Area Completion/Signoff
checkpoint-status | 48610eb1-1251-4fd6-adb3-8ad5f63e9488 |  | checkpoint | Specified Protection Around All feeds/pipes penetrating slab
checkpoint-status | e98e68c7-37dc-43b9-817c-d64019d38bff |  | checkpoint | All Measurements Double Checked
checkpoint-status | 2988dd6a-8e1d-4e65-8263-cc3194863873 |  | checkpoint | As-Built Drawings recorded (drawing & revision number(s)
checkpoint-status | 59fb881f-3e74-4d70-9a7f-6c01fdfc9e03 |  | checkpoint | All relevant under slab works completed, reviewed and approved
text | 77eb2a35-0487-5fce-98f0-dba4e3ec9493 |  | textbox | Completion Date