## Project Strucutre
Folder Structure |  |  | Checklists
Site QA
Ground Floor
|  | EX30 | Windows Installation Checklist
|  | GF-03-D17 | Windows Installation Checklist

## ITP
type | name | values
checklist | Windows Installation Checklist
section | Pre-Install
checkpoint | Area clean/ clear & substrate acceptable | Yes, No, N/A
checkpoint | Window received in good condition | Yes, No, N/A
checkpoint | Site measure completed - Opening size correct | Yes, No, N/A
checkpoint | Waterproofing in place where applicable (i.e rebate) | Yes, No, N/A
section | Installation & Handover
checkpoint | All windows installed in correct location according to drawing provide | Yes, No, N/A
checkpoint | Sub-head and sub-sill install correctly and fully seal on sub-sill (Photo Require) | Yes, No, N/A
checkpoint | Level plumb & correct height | Yes, No, N/A
checkpoint | Window - opening/closing freely & latching correctly (Photo Require) | Yes, No, N/A
checkpoint | All Windows and small infill Installed and hardware correctly & area left clean/tidy (Photo Require) | Yes, No, N/A
checkpoint | Glass protection applied | Yes, No, N/A
checkpoint | Remove all the protection films & tapes and clean the glass from non-accessible area prior to install | Yes, No, N/A
checkpoint | Internal & External Caulking (Photo Require) | Yes, No, N/A
section | Protection
checkpoint | Frame are covered by protection tap and free of damage | Yes, No, N/A
checkpoint | Glass/Awning Sash is securely fixed in position and free of damage | Yes, No, N/A
checkpoint | Door threshold and infills are installed and free of damage | Yes, No, N/A
checkpoint | Sliding/Hinged door/Awning windows and hardware is securely fixed in position and functional | Yes, No, N/A