## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | e461878c-a98e-4aa2-a9df-cb1420ce88c7 |  | checklist | Stairs (in-situ) Checklist |  |  |  |  | Yes | Stairs (in-situ) Checklist | 013459b4-363e-4b28-bb9c-d2bbdcebfebf
checkpoint-group | 7b40ba09-8ce1-469c-a903-686ad1297fdd |  | section | Phase 1
checkpoint-status | 1d870446-0f03-4642-a5b4-6bc9ae974b75 |  | checkpoint | Area accessible & ready
checkpoint-status | 2b382d15-3713-4105-88fe-4a2904245ef4 |  | checkpoint | Drawing references entered
text | de019e77-3ffe-5da2-bd90-3572dd5c903c |  | textbox | Architectural
text | b0b26cde-6c7e-5a78-ba79-cfee87bf7536 |  | textbox | Structural
text | d2f612dc-47cb-5673-80b9-2bf78630e0dc |  | textbox | Other
checkpoint-status | 777bf75e-a5f9-486c-92ca-6153d9a34018 |  | checkpoint | Current plans in use
checkpoint-status | 1dc1438a-768d-4952-86fe-01cf8bc0595b |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | 80f4f01f-3aa6-4a2c-98a8-ad183a15b07a |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 6f81f790-9ecf-4acf-9fc8-0882f8ee900a |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 89ea4a90-dcb9-4e36-84d6-5ec575a395c7 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 3004b238-bab3-4c9d-a7e4-752d4e71c61e |  | checkpoint | Riser heights confirmed
checkpoint-status | 2654aa62-e584-4cbb-a723-50c4036fb989 |  | checkpoint | Going lengths confirmed
checkpoint-status | a796493e-6062-4f3b-b802-ab8108547a81 |  | checkpoint | Correct Class of Finish
holdpoint | 056ce7be-4787-4d80-895b-bc8b5064e51d |  | signoff | Inspection by site engineer
checkpoint-group | 118fd9d4-e21d-4d07-a87d-856833f0c9ca |  | section | Phase 2
checkpoint-status | 84c51f4a-cb44-4031-8746-8c76f0730d9e |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 565a111d-364c-47fc-ad97-5923dd47ea62 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | eaa54779-027f-4e2d-bf93-466c25c79d98 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 1e638a22-fd56-4d75-8a6b-e5bf59d9a057 |  | checkpoint | Riser heights confirmed
checkpoint-status | f2587bd4-cde9-4c53-9421-5be143af6c93 |  | checkpoint | Going lengths confirmed
checkpoint-status | 2eaa2112-a89f-405e-895d-856b684ed8e0 |  | checkpoint | Correct Class of Finish
holdpoint | 55543c19-cc90-4696-9645-c637de7969b1 |  | signoff | Inspection by site engineer
checklist-sectioned | bee9cf50-14b7-42bc-ad9a-03fd71060ab0 |  | checklist | Climb Track Checklist |  |  |  |  | Yes | Climb Track Checklist | 0c3c730d-09d6-40cb-9e42-58b45e91ed2a
checkpoint-group | 2de8659b-8cfb-4e17-ae07-db4e420f0c56 |  | section | Pre Lift
checkpoint-status | 4cf3e491-d1e9-4604-a433-5266911aa0c5 |  | checkpoint | Confirm concrete strength MPA 15 has been reached at connection points (Builder to supply)
checkpoint-status | bb437a06-0cb2-4063-90f4-0498754c68c0 |  | checkpoint | Signage in place (Stripping in progress/Jumping in progress/ No access)
checkpoint-status | a9860a12-f438-44ff-8689-0c818317c507 |  | checkpoint | Exclusion Zone in place
checkpoint-status | d60da7d8-7481-4c81-a815-864b844ffaa7 |  | checkpoint | Spotters in place on slab below jump (outside exclusion zone)
checkpoint-status | d2c0f2ea-d852-4389-8644-ee3696e287fe |  | checkpoint | All Platforms cleaned and clear from rubbish
checkpoint-status | f18dc788-9faf-46cf-b2a0-71f86f57ab93 |  | checkpoint | All loose materials removed from edge
checkpoint-status | e9869f46-66e9-4ba9-a686-f31c47c1f854 |  | checkpoint | Clear communication between team leaders and Crane crew (toolbox talk)
checkpoint-status | b2a34276-081c-4d44-8ced-423ae36c1ce4 |  | checkpoint | Ladders available and secured
checkpoint-status | 27f75df9-8f9f-4eeb-8629-45bb9e95aa93 |  | checkpoint | Flipper systems lubricated
checkpoint-status | 61aab4c0-9a0f-493e-97a1-6bb173c7ffee |  | checkpoint | Trailing Decks clean of debris
checkpoint-status | d3973614-1df3-4cfa-b517-8b29c84b644a |  | checkpoint | Trailing decks clear of protruding ferrals in walls above
checkpoint-status | 2660669c-f5f8-4bc1-8c95-44141c396bd7 |  | checkpoint | Check exclusion zones in pit below are in place
checkpoint-status | a9bf8dee-0fe6-41d8-b5a2-fa8678443915 |  | checkpoint | Plumber to check pipes to water cooler
checkpoint-status | 069b8e64-6893-436d-b4a4-9db034641e67 |  | checkpoint | Transfer RL heights
checkpoint-group | 84eaf7bf-101f-4568-9c27-b347d18c81f9 |  | section | Post Lift
checkpoint-status | 60c83187-38c9-4b30-a905-eb83773c8de1 |  | checkpoint | Confirm connection points are secure and all engaged
checkpoint-status | 1b75bb10-d900-4077-99dd-b9bce9e74363 |  | checkpoint | Confirm mesh secured to doors and penetrations
checkpoint-status | f85d54a0-ccc0-4d05-ad8b-ccffef9ac7e2 |  | checkpoint | Signage in place
checkpoint-status | 8542d381-c77b-41a6-b580-3e91640696ec |  | checkpoint | Screens and mesh infills are in place and secure
checkpoint-status | ba228f7c-4e30-40e2-9604-c3c6b28b2cac |  | checkpoint | Loose materials are stacked and secure each day
checkpoint-status | a70c5f30-1137-47c1-b027-70914f8a7e01 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 1c159be7-cd0d-487a-b33d-2222fb0dab38 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 9abb21e7-6512-49b3-afa5-5f2cddd19ce9 |  | checkpoint | Loads on platforms not exceeded
checkpoint-status | 86948387-bff2-4c15-9dc9-d48f4ad93eee |  | checkpoint | Ladders available and secured
checkpoint-status | f9fb47d9-b676-4c04-bfdf-721ef8400c3e |  | checkpoint | Access is clear and marked
checkpoint-status | 2ad6829d-c5c7-4f13-8ba6-8c21f334f0cc |  | checkpoint | Power Board connected
checkpoint-status | bacdbcd5-8446-4350-a841-b9d9e0b77bd4 |  | checkpoint | Confirm ready for lift with all involved - Team Leaders
checklist-flat | 6bbec9cc-65cd-4d63-8ecd-12659448e3f3 |  | checklist | Structural Pre-Pour Formwork Inspection Report |  |  |  |  | Yes | Structural Pre-Pour Formwork Inspection Report | 10176b44-ae2c-4b51-b917-8375678af9dd
checkpoint-status | 3d41b2a6-86f0-47f8-8065-13e8729de9d4 |  | checkpoint | Material used complies with design documents
checkpoint-status | cab0da8d-359c-4a03-899a-f4a6a33f17d8 |  | checkpoint | Material condition complies with AS3610 tolerances
checkpoint-status | 713514dc-4251-44bb-b358-a043e6354f1a |  | checkpoint | Soffit formed at correct height
checkpoint-status | 4c4c9283-10e6-499c-b412-f005b983be09 |  | checkpoint | Steel base plates or jacks installed on all frames
checkpoint-status | a6ceca4c-e8cf-45e4-b3bf-3b4f1fba0067 |  | checkpoint | Adequate soleplates used and centralised under legs
checkpoint-status | f407579b-e749-4b48-89f6-19cc905064ac |  | checkpoint | Maximum joist spans and centres not exceeded
checkpoint-status | 7bd6d0d0-dd2f-4af7-8830-845deb7453a1 |  | checkpoint | Maximum bearer spans and centres not exceeded
checkpoint-status | 8d40b795-adef-4176-91d5-99ad76cfed4b |  | checkpoint | Bearer centralized in supports uno in design
checkpoint-status | 6e1a99a5-2649-4ba8-a8bf-ff756cfc888c |  | checkpoint | Maximum jack extension not exceeded
checkpoint-status | d627e868-a595-40bd-a085-05a5779ddb22 |  | checkpoint | Prop type and extension comply
checkpoint-status | 80ea8585-387f-42b4-99d7-8fd6676a9d3e |  | checkpoint | Jacks, frames and props are plumb
checkpoint-status | f8b5b775-57e0-43d1-8408-b54ae6da936e |  | checkpoint | Xbraces or tube ties installed on both sides on all frames
checkpoint-status | aea872bf-1328-4f5f-9975-fb9c5d6b1548 |  | checkpoint | Brace bays and fixing to structure installed
checkpoint-status | 81e0d3f3-3106-4f6f-8951-0783d2669e23 |  | checkpoint | Vertical falsework/scaffold tied and braces
checkpoint-status | 4792b65b-4371-4738-9ee2-9ed72469c4e3 |  | checkpoint | Prop pins, dropheads and scaffold cups & wedges secured
checkpoint-status | 9f6f9e20-a16a-41ad-8a10-47ae88a1995b |  | checkpoint | Cantilever items stable
checkpoint-status | f7068abf-b65d-4a7c-b289-aa029213aaa8 |  | checkpoint | Propping to required floors
checkpoint-status | a87df048-1848-4448-9975-b479fb5f417d |  | checkpoint | Backpropping type and spacing installed as per design document
checkpoint-status | f2054503-26ff-4a88-af4d-3eaf20a32800 |  | checkpoint | Propping for additional loadings on new slab
checkpoint-status | bb3c0ef3-6359-4174-aaa5-89d46c6bae41 |  | checkpoint | Competent person assigned to monitor formwork during pour
checkpoint-status | 6e1a2eb9-42a3-4caa-8c8e-bddef89a95ec |  | checkpoint | Concrete Pour Observer (under deck) assigned and inducted
checkpoint-status | bf16f031-c2ca-4517-a081-43cac84fb561 |  | checkpoint | Clear egress and access barriers through frames identified
checkpoint-status | 90bdbe5e-ef61-4817-85bf-dd52544e7dcb |  | checkpoint | Adequate lighting installed/available
holdpoint | f499c440-732b-472b-8c24-f6cb498343cf |  | signoff | Competent person sign off
checklist-flat | 2a66e8b8-4599-42ba-8240-5e6ff2570272 |  | checklist | Walls Checklist |  |  |  |  | Yes | Walls Checklist | 29e8235b-7200-4c15-bea8-a040cdfda511
checkpoint-status | 3389534a-910a-4e1b-8a4a-f048404a6050 |  | checkpoint | Area accessible & ready
checkpoint-status | 1ad8f403-01e5-406e-955c-190221cb8183 |  | checkpoint | Drawing references entered
text | 77cbfe6b-b122-53f8-8b8c-31c57a46e9c1 |  | textbox | Architectural
text | fffbaf49-2c1f-5cdc-8e13-45cc847f6db9 |  | textbox | Structural
text | 4ed0d632-5799-5b9a-bf15-f84a6bca2699 |  | textbox | Other
checkpoint-status | 996ebf32-7397-4b4f-9e97-22441153ecd2 |  | checkpoint | Current plans in use
checkpoint-status | e1f4ed79-2875-4e96-b26c-8d5a7938abf9 |  | checkpoint | Survey points given for 2 points
checkpoint-status | a4b95336-e4d2-4792-bc7b-562ebef9e04b |  | checkpoint | Land shutter bracing props secured plumb shutter
checkpoint-status | 558851fa-db42-4a4d-9a1b-cd4d4d3ff5e7 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 19a48055-fbd4-49ab-ae91-508d1c7c62ea |  | checkpoint | Blockouts steps penetrations marked & installed
checkpoint-status | 0a9ffd15-921b-434c-8de4-dabfe0bdaedd |  | checkpoint | Steel tied & clear from Z bar holes
checkpoint-status | 7bd47776-f60f-4049-80dc-f76cd0241741 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 209c67ca-4fca-4551-bc5e-6b176145f383 |  | checkpoint | Base of walls cleaned
holdpoint | 900624d1-3a4c-4b00-884e-d1c322c423ce |  | signoff | Inspection by site engineer
checkpoint-status | 29ae4dbd-04fa-48dc-9802-60dda94b77c7 |  | checkpoint | Closing shutter installed
checkpoint-status | 8fe0ac92-b9f6-45bf-aa7a-c596590028da |  | checkpoint | Z bars secured wall straight & plumbed
checkpoint-status | a838d578-bdeb-4a22-bb0f-6da54942684f |  | checkpoint | Correct Class of Finish
checklist-flat | a8c4c89a-9a2b-495f-8205-e1f31ff222db |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Z - SYS - Toolbox Meeting (old version) | 2f19d23a-8c9d-4d4f-afda-a985762d5c61
checkpoint-status | 2c94d3e6-64a1-4c15-8101-2caa980fb6e0 |  | checkpoint | Toolbox signed off - Attach an forms
text | 0b0a7bc0-6aac-587d-ba27-ea9ee3be9694 |  | textbox | Work area
text | 30e09f5f-0c4c-53df-8529-c0e9c4d75e8c |  | textbox | Supervisor
text | 53dad7a0-4be5-528b-a8cc-32afb4cd7c98 |  | textbox | Date
text | abdc6de1-e0dd-57b6-b277-19b4a8e8cbd5 |  | textbox | Time am / pm
text | 0c7870de-be6a-57bb-a81a-25289d6aac6a |  | textbox | Actions from last meeting
text | b292c352-6087-5557-b2fa-538b17ee4acf |  | textbox | Injuries last week
text | 4c638a8a-dac4-55f6-8e7f-85e754320204 |  | textbox | Near misses last week
text | 43356032-0538-5eb3-8acf-59cf050e774d |  | textbox | Safety Items discussed
text | af5bdf44-911b-536e-9495-2cbc4ade9a2c |  | textbox | Comments from the floor
text | 00347f2c-313b-5dce-a5ef-a1ad322f669c |  | textbox | New business
text | e1373958-137c-5eaa-ab10-3ecaa6f1cf27 |  | textbox | Attendees
checkpoint-status | 4a28c59d-f131-4c56-98ea-fcce3c95634c |  | checkpoint | Attendance verified
checklist-flat | 5f44e991-e9af-45e8-8931-5e2c35e26d82 |  | checklist | Variation / Site Instruction |  |  |  |  | Yes | Z - SYS - Variation / Site Instruction (old version v3) | 32ec4461-7406-4570-bbca-cdc0f416da36
checkpoint-status | d71d0d0a-f7c6-4822-bf87-21c437bf683c |  | checkpoint | Variation / SI Details Entered
label | 7e663510-4360-59d7-9fde-0d6523b7fd1d |  | note | Please take before photos
radio | 30a64ea2-64fb-5423-b665-a14022998838 |  | radio | Work type: | Site Instruction, Variation Work
text | b0512217-c89d-5db0-99cf-726b9f256918 |  | textbox | Attention:
text | 4b634f00-ec38-5dc8-94fa-e373c5eb5f21 |  | textbox | Area/Location
text | b08c233c-55c9-531b-add2-39bc44c91ef6 |  | textbox | Date
text | 8b1e3cad-82f1-5e81-9b45-def52f542f6d |  | textbox | Scope of work
text | d0c75410-c4b3-51d1-904e-c083cf183788 |  | textbox | Normal Hours
text | 097c5753-a14a-56b8-b23a-9288ba04090d |  | textbox | Overtime Hours
text | 1403be85-4c0c-50fd-b1c1-fed67b05c37c |  | textbox | Material to complete task
checkpoint-status | 9fa9ec68-1a86-40df-a98e-3ab24e8b31c1 |  | checkpoint | Reference/SI Number Entered
text | 7abebde9-4859-5d79-a392-82dfaadc713c |  | textbox | Reference/SI Number
checkpoint-status | 6c4597b7-b405-4adb-9c0b-8f29133d2df7 |  | checkpoint | Variation / SI Work Completed
checkpoint-status | 1d7635db-965b-4c26-b518-4a7de7745473 |  | checkpoint | Values added (Office use only)
text | 48e89ace-a0f6-59d1-83ef-d411fb10db1e |  | textbox | Labour Value
text | 1168f6a0-570a-51aa-8de0-a349bc979880 |  | textbox | Material Value
text | cfc73908-9f65-5a13-8764-b42079f2a7eb |  | textbox | Measured Items
text | 8c690995-bd50-55ad-bdf4-95bf4aca07fb |  | textbox | Total Variation Value
checklist-flat | a1521413-79e5-4b1e-8293-3fecb84763ff |  | checklist | Variation / Site Instruction |  |  |  |  | Yes | Z - SYS - Variation / Site Instruction (old version) | 3328b951-d978-475e-a94d-5fe1f5717b59
checkpoint-status | 2552c76a-1d6c-4176-a5bf-d034ad1ced2a |  | checkpoint | Variation / SI Details Entered
label | c3ed63bc-a2e3-5f9f-bf3d-77a3f3cf78fe |  | note | Please take before photos
radio | 25f04621-824f-5a3a-91dc-f5bdd0a1d5b7 |  | radio | Work type: | Site Instruction, Variation Work
text | 9e3f5638-fa10-56c3-ac81-3f1552d72fe9 |  | textbox | Attention:
text | 23f17675-17f7-5998-b015-bc4ba1203a09 |  | textbox | Area/Location
text | b79ac41e-a7f3-5e95-bcc1-4305ea06b763 |  | textbox | Date
text | 71eae350-ce44-5041-96df-88cd03f275eb |  | textbox | Scope of work
text | ecf8ac86-78c3-5eba-8665-05fa2e38f2c5 |  | textbox | Normal Hours
text | dee1b1f9-b1b5-5704-b8fd-d1dc9e91dfd6 |  | textbox | Overtime Hours
text | f848ccd4-1a63-560d-b39c-52364c23dc0c |  | textbox | Material to complete task
checkpoint-status | a1eef524-1fb2-4591-962d-50c17d46e66d |  | checkpoint | Reference/SI Number Entered
text | 04fa1dca-d5a9-5586-b608-4885afb2697d |  | textbox | Reference/SI Number
checkpoint-status | c0c60902-98f4-464c-b86e-a1a01a876149 |  | checkpoint | Variation / SI Work Completed
label | b1a775e1-7d9b-58b4-8276-e4cc5a6eefac |  | note | Please take after photos
checklist-flat | 1c97f401-e65d-4d18-affe-a3ead5863164 |  | checklist | S.O.G Checklist |  |  |  |  | Yes | S.O.G Checklist | 3b762ac1-01e5-4970-9679-9dcbbc017121
checkpoint-status | d0518f06-35f3-4b26-85e4-2b1491df7256 |  | checkpoint | Area accessible & ready
checkpoint-status | 85463739-8cc6-42f3-94a9-4d0391813b1e |  | checkpoint | Drawing references entered
text | 7b9ac2d7-bcc1-51a4-924e-63212aa47eb6 |  | textbox | Architectural
text | 3d723a40-a08e-592b-bdc1-aac67f04b325 |  | textbox | Structural
text | a441e7ad-f243-5408-a671-29cb42156d8e |  | textbox | Other
checkpoint-status | 8c5c96d8-88be-43f9-873b-6e5a6070ffb0 |  | checkpoint | Current plans in use
checkpoint-status | 55ea7ab3-0abc-48c3-9c70-16d955069e1b |  | checkpoint | Survey points give for grids
checkpoint-status | 7c96e20b-5bfa-449f-9310-3d8e9340ae3f |  | checkpoint | Surveyors points given for edge boards
checkpoint-status | 8ffede05-cc84-40f9-b2c8-dba4de8ff388 |  | checkpoint | Datum RL supplied by surveyor
checkpoint-status | c9ff96de-612b-4144-a751-a4d6de1f4ccd |  | checkpoint | Edge boards plumb & straight
checkpoint-status | 69dde4a3-3b36-495b-bf53-25f3c8721ef1 |  | checkpoint | Step downs secure & correct RL
checkpoint-status | 2f997927-2ffe-4578-b0ea-161a95c6212b |  | checkpoint | Dowels installed on pour joins
checkpoint-status | 4117ccc6-faf3-4a0e-b196-361aa466f4b6 |  | checkpoint | Column blockouts installed
checkpoint-status | 2f627d55-e3c5-428d-abb4-22e771bddd74 |  | checkpoint | Correct Class of Finish
checklist-sectioned | cb32aba4-6a37-4ed1-9f6a-f6a9967a8f6f |  | checklist | General Incident Notification |  |  |  |  | Yes | General Incident Notification | 44f7bcb8-4d6b-4350-8007-c340942aaa6f
checkpoint-group | 1a48b118-5e2f-4747-b00a-ff4e473868ec |  | section | Details of the person completing this form
checkpoint-status | 4fe61deb-24af-4206-aadd-d94a0bc9207a |  | checkpoint | Attach any relevant photos or documents
text | 1f173d14-761a-5dd6-a039-32f7c2b66981 |  | textbox | Name
select | a1fa773a-1a7b-5ba6-936c-00f9be770b75 |  | dropdown | Position | Site Manager, Project Manager, Construction Manager, EHS Advisor, Other
text | 692fc316-9ce7-57ca-be4c-69c6a25f6c41 |  | textbox | Contact number:
text | e51b1b1f-b1c0-54b6-b161-ac5c15bfe9f5 |  | textbox | Completion date
holdpoint | ec0ef718-4928-4d5e-814f-7bbd035be747 |  | signoff | Signature Required
checkpoint-status | e25cf267-6842-4e90-a7bc-56b349065852 |  | checkpoint | Report reviewed by (mark if applicable)
boolean | 73466984-e38c-528d-8720-8672de39e5c1 |  | tickbox | Site Manager
boolean | 9726aeea-0b03-521a-b88a-220ab01cd0f5 |  | tickbox | Construction Manager
checkpoint-status | 35126328-0194-4acd-976a-56b36eefd1ac |  | checkpoint | EHS ADVISER ONLY – Head Office
text | e2ef83f2-a969-516c-b03a-ce46c9321fe8 |  | textbox | Date received
text | 20a53823-719c-5b57-9740-7e03cc2ae995 |  | textbox | Date closed (Final)
text | 40b249f3-4b81-5c96-9552-48a401eb952e |  | textbox | Date submitted to EHS Administration
checkpoint-status | 66d41414-7414-427f-8b2b-1daa7237e5b6 |  | checkpoint | EHS ADMINISTRATION ONLY Head Office
text | 74fdb73f-7e0c-574f-841a-0e2c49956b8f |  | textbox | Date received
text | 1f93c8e5-0b03-5b21-9e2b-948239c2d02e |  | textbox | Date processed
checkpoint-status | b2315b22-d0e8-44ad-b1ae-b913fa8947e8 |  | checkpoint | EHS REVIEW ( EHS Manager)
boolean | 2a98b050-d6c4-5233-b6e3-17afd755bd38 |  | tickbox | Yes - If Yes, Reference No in comment
boolean | 9149302b-6240-54f7-88c4-28a29bbe1356 |  | tickbox | No
checkpoint-status | 7c129977-bae5-4103-87e8-ee87b6428272 |  | checkpoint | EHS System / SWMS amendment required?
boolean | 76742ff5-cea2-578b-a5f0-c758c057ac2a |  | tickbox | Yes - If Yes, Reference No in comment
boolean | 4c2f1a69-fcbc-5c0d-aa62-f304b56f8bed |  | tickbox | No
text | d3023cc8-e541-5432-94eb-b7f96b5df8a5 |  | textbox | Head Office EHS Manager sign off date
checkpoint-group | 2c83fa85-bb51-4389-afb1-d934d9d64b11 |  | section | Incident Type
checkpoint-status | ae64b4f4-2e89-4188-bc9f-40a3d0bd61e7 |  | checkpoint | Was a person injured as a result of the incident? - If PASS Only complete an Accident/Incident Notification Report (Form No. 01a) - If FAIL complete this form
checkpoint-status | 0429abfd-fc93-4080-b405-5264b1d39e41 |  | checkpoint | Has an environmental issue arisen from this event? If PASS Only complete an Environmental Incident Notification and Investigation Report (Form No 01b) - If FAIL Complete this Form.
checkpoint-group | bbe3e619-9c8b-4b5f-8fdc-f7ea9c0def08 |  | section | Project Details
checkpoint-status | 0ad28bb4-c202-4a08-9046-437d2bc4404e |  | checkpoint | Report Status and Date:
boolean | fbd9e4f8-d51b-5df3-8101-27b43b04799c |  | tickbox | Initial
text | 8e0c4516-2e76-556c-bd44-fc4d0ddc15c0 |  | textbox | Date
boolean | c12a2c66-d3ab-51c3-a36c-ed1f97e0eb39 |  | tickbox | Interim
text | f8af5f0a-8e47-528b-95f8-3454fc2fdd31 |  | textbox | Date
boolean | 416e175e-b13a-51f7-a009-dc6850e29c4a |  | tickbox | Final
text | b554466e-2ef3-5540-8a95-c2ae0b9a1249 |  | textbox | Date
checkpoint-group | 25a66239-f91c-4a4c-af24-eaddefaf58d4 |  | section | Incident Details
checkpoint-status | 972dceaa-8211-4288-877d-895a05c91613 |  | checkpoint | Date/Time of the Incident
text | f46ef44d-b9f4-55ff-976b-0004965b03b2 |  | textbox | Date
text | 246b6ae9-c3fe-56f6-885b-936678424d27 |  | textbox | Time
text | bd600ca9-ed94-5561-9999-440666c45dc7 |  | textbox | Site location of the Incident
text | cdcdc3d6-8fa5-56d1-88e0-9a1d3d4b436b |  | textbox | Detail how the Incident happened
checkpoint-status | 2557a715-6292-44bf-a036-ee15f8532bc8 |  | checkpoint | Services affected by the event
boolean | 7d980aa4-b3a8-5d85-9f43-b194b5953b5a |  | tickbox | Electricity
boolean | cf726a90-938a-5f52-afa6-ed3b4ae9527a |  | tickbox | Potable Water
boolean | a5fa5c81-6f01-5084-8a83-2905ec78be8e |  | tickbox | Storm Water
boolean | d07250ff-495b-5d7c-b117-41218c7c5ffd |  | tickbox | Sewer
boolean | 4dade4c8-eae5-5619-8d52-207f0ade09d6 |  | tickbox | Fire Mgt Services
boolean | 3b90e5a0-8b6d-52f5-8f03-eaef194e53d9 |  | tickbox | Fire/Smoke Alarms
boolean | 9bfc3bae-4ce7-556a-8c67-352258245590 |  | tickbox | Air-conditioning
boolean | 5909a147-546f-5cb9-9f6e-b1c22e2e7fba |  | tickbox | Security/Access
boolean | bb601bb6-1a58-5b76-bd3b-5a736ba1fe2c |  | tickbox | Communications
boolean | 61d3ca19-7765-5e58-8ced-bf456c7a0638 |  | tickbox | Gas
boolean | 22f5d8b9-ca0e-5688-82b8-bd84f76ad828 |  | tickbox | Other
boolean | 4747c30c-a336-533c-ba56-e99cbc797495 |  | tickbox | N/a
checkpoint-status | dc799c57-3921-4829-ac8d-849b47d975eb |  | checkpoint | Detail the factors that contributed to the Incident
boolean | 578168bf-82a9-5aa7-ac75-6d907cf4c8cf |  | tickbox | Design/Layout
boolean | 175fc2ed-2780-53fa-afbc-927c6bb28550 |  | tickbox | Equipment
boolean | 0b926953-8615-5a80-9eba-54692df8bfc8 |  | tickbox | Operator error
boolean | 86ea1fdc-06f1-56b3-b6c8-47601a95ec75 |  | tickbox | PPE
boolean | 3b9679b6-f8d7-52ae-a0be-0bf454d18717 |  | tickbox | Training
boolean | dc389518-6d64-552d-be50-98466d011191 |  | tickbox | Supervision
boolean | 6cdae7fe-e917-5e93-aa54-69f291bd770f |  | tickbox | Unknown location
boolean | 86e46b41-ef97-574a-838a-226d87555f0c |  | tickbox | Other unspecified
boolean | 371eb0eb-d603-5a04-8a6d-2fc77fe396da |  | tickbox | Housekeeping
boolean | 7fd8972b-f371-5d6c-b8e6-05db1417ff4f |  | tickbox | Procedure (WMS)
boolean | 53e3f072-42a3-58fb-be38-fe9110c5e442 |  | tickbox | Weather conditions
checkpoint-status | bffea26c-4fc3-4ded-a538-6f1c257e658b |  | checkpoint | Was a WMS supplied for this type of work?
checkpoint-status | 707c46e2-5e93-4ada-a0a8-a9681c6b6bbc |  | checkpoint | Was the WMS approved by Principle Contractor
checkpoint-status | 7325c713-205d-414b-be90-e40c92dc5972 |  | checkpoint | Was the WMS signed by all personnel involved in the activity?
checkpoint-status | 16b10945-4a69-4a85-ad17-c27f3a06049a |  | checkpoint | EHS Improvement Notice
checkpoint-status | 1cfb2ce8-ca4b-4b2f-92e5-5f24f437188c |  | checkpoint | Was the work activity being performed in accordance with the WMS?
checkpoint-status | 824afd51-e683-4790-aa3e-75715909924a |  | checkpoint | Was a Tool Box Talk held relating to this work activity?
checkpoint-status | eb391388-7626-40e0-8d0f-cb2f8b34b32a |  | checkpoint | Was any external certification required for this work?
boolean | 0def7d08-7cce-5ad6-adfe-f2729bba49b4 |  | tickbox | If Yes, was it obtained prior to works commencing?
checkpoint-status | d65ded9d-1061-45c7-a98e-03fd8ff20b6f |  | checkpoint | Was any monitoring required for this type of work?
boolean | cba5379c-223f-5aa6-be4d-9abd9054d7b0 |  | tickbox | If Yes, was it in place?
checkpoint-status | 4e41a2bc-9ec8-47bd-b5b3-1b460722922a |  | checkpoint | Was an Authority to Work Permit required?
boolean | d9c2fd29-3e33-5f21-a934-62911a889846 |  | tickbox | If Yes, was a Permit issued?
checkpoint-status | 753769a9-9d28-482a-b02b-74f9ae64c32f |  | checkpoint | Were any Regulatory Permits required for this work?
boolean | 417b026b-8a0d-55cf-9606-f7617a682c78 |  | tickbox | If Yes, was a Permit obtained?
checkpoint-status | 89a0f166-7170-488f-bd02-9d15d31e2e7e |  | checkpoint | Was a Notice of Impacting Activity required?
boolean | e63e2c0a-92eb-51ae-87cb-65e3ffdd6983 |  | tickbox | If Yes, was it issued?
checkpoint-status | bfb19b61-2d3a-49f5-bb8f-14e3e584778d |  | checkpoint | Estimated time impact of the event
boolean | 092a9f21-97c2-5d5c-b901-f8e49396b17e |  | tickbox | No impact. No loss of production.
boolean | 9601c0e7-54c3-58e3-ba61-cdcf34534c0e |  | tickbox | Limited impact. Production loss in localised area.
boolean | 6d652116-e53b-505a-88a7-2929404049e1 |  | tickbox | Major impact. Production loss across project site.
checkpoint-status | ced9147d-f489-41f0-ba01-7261d817200e |  | checkpoint | Details of any persons involved in the Incident - Attach Statement forms to this report
text | d823e307-a69c-599c-a028-1cf29f81922e |  | textbox | Full Name
text | 70a15afb-1dac-5dbd-b628-7fa58844ed7c |  | textbox | Company
text | c0feaf97-77ac-5c09-9d31-0b7e533e7c39 |  | textbox | Contact No.
button | c0b6759c-b022-5708-9262-18245cf7d826 |  | button | Statement | Yes, No
text | e8158626-5d4a-59bb-bf38-94cfab3ec29a |  | textbox | Full Name
text | 1c4d535f-963d-518b-9ef0-0cbf7e495f5d |  | textbox | Company
text | 9f05824c-1aac-5bde-9094-2e76f6ce0681 |  | textbox | Contact No.
button | b69d4de4-de78-5522-a45e-7c37d74cb4c2 |  | button | Statement | Yes, No
checkpoint-status | b453ea33-a1d5-4a79-9fe3-e05acd2f8ae7 |  | checkpoint | Details of any witnesses to the Incident - Attach Statement forms to this report
text | 237e5ee2-27df-54bf-8944-9529e8efaf2b |  | textbox | Full Name
text | 6d286b15-b5c0-5e92-8989-9334d2aab099 |  | textbox | Company
text | e5ccd465-ccc4-5f7d-ae1a-ba3b48e18050 |  | textbox | Contact No.
button | 754eaac0-f137-5b9b-b36c-e2d0a8519199 |  | button | Statement | Yes, No
text | 9fad4f2d-83f0-52dc-9b68-1f67c191e329 |  | textbox | Full Name
text | 3fef7105-56e9-5ef6-91ed-0f074df25147 |  | textbox | Company
text | a8045c48-a6f4-5f74-a43c-94099b36f6e8 |  | textbox | Contact No.
button | 02ebe7e3-8d9e-51d2-8486-ba3838230cdd |  | button | Statement | Yes, No
checkpoint-status | 0d0fff59-a3ee-4061-a6f9-fe401c14b546 |  | checkpoint | What actions have been implemented to prevent similar Incident
boolean | 3c55f730-c55b-5444-889e-b3ad0f9ab42a |  | tickbox | Equipment change
boolean | 0b81303e-4e8f-5ca7-9359-29124c281f01 |  | tickbox | Certification obtained
boolean | 3425f727-8965-5ab7-8346-9f27ccc12d08 |  | tickbox | WMS change
boolean | 0f2049d5-cddf-5b04-909a-6e672b295cec |  | tickbox | PPE change
boolean | 2192028f-440f-55ee-b79c-2d6fff65c5a2 |  | tickbox | Site Meeting
boolean | 845bcd55-a1c1-5bdd-bc1d-2f00abc59096 |  | tickbox | Toolbox Talk
boolean | 931b3ec6-b6be-5932-95d8-f6975b09b7cb |  | tickbox | Housekeeping
boolean | c0063800-044e-5b5a-bb04-32f98fd44e38 |  | tickbox | Training
boolean | f4cd21d2-28f3-57fd-9e28-66cddc1e2f9b |  | tickbox | Other
checkpoint-status | 30ad2a79-e5bd-460c-a2f2-e8beeca90bad |  | checkpoint | Has an EHS Instruction been issued to the P/C company or Bosform?
checkpoint-status | 0bacb428-e4c7-4eb6-8c94-db74c2534198 |  | checkpoint | Has an EHS Improvement Notice been issued to the Bosform?
checkpoint-status | 8214a033-b260-4617-8302-3b622d6030b8 |  | checkpoint | Has a Risk/Hazard Assessment been completed?
checkpoint-status | 62bc46cc-dbe4-429d-bfe0-1c933999d5c8 |  | checkpoint | What Hierarchy of Control measures were considered in the corrective action
boolean | d186c924-a5c9-5d76-b014-284581bf0808 |  | tickbox | Elimination
boolean | b5b4256c-6976-5711-88a8-54b18d354bdd |  | tickbox | Substitution
boolean | 24a32e0c-61ce-5c34-8ff4-939039e3c12c |  | tickbox | Engineering
boolean | dc1ec8b4-3dfb-5b88-83c0-584faa948346 |  | tickbox | Administration
boolean | 402f9a4f-1930-556f-a8d9-e95253bc6fe2 |  | tickbox | PPE
text | 426a8773-df17-545e-9ac9-b03b1a05edc5 |  | textbox | Date of action
text | 40cc0596-28bf-5245-aaaa-0f0ffbd8d165 |  | textbox | Responsible company/s
text | b617f0a8-523d-5eb2-99f2-606d5c09aa9e |  | textbox | Review date
checkpoint-status | 84b71f00-9ef4-4400-b6c9-3b86ff6cf988 |  | checkpoint | Statement/s
checkpoint-status | c58af41a-b5c5-491d-be61-13eed2566862 |  | checkpoint | Monitoring certificates
checkpoint-status | bfd12089-af1f-4f07-b37f-2a7c62569823 |  | checkpoint | Site Induction forms
checkpoint-status | 01965ccb-9280-4c60-a806-b90eed3b354e |  | checkpoint | WMS relevant to the activity
checkpoint-status | 6ea19853-53ee-41cd-b074-397951ab5bb6 |  | checkpoint | Tool Box Talk or Meeting form/s
checkpoint-status | 81774ac8-8125-4a0e-b973-e228622e4bba |  | checkpoint | Engineer certification
checkpoint-status | c03aee9d-0bf2-4ee7-9ec7-bbcd9965c42f |  | checkpoint | Photos
checkpoint-status | bbe932d9-38f2-4129-9f3b-6ad33db9868e |  | checkpoint | EHS Instruction
checklist-flat | de8b12fb-e2e3-4acd-bc37-22902139d9a8 |  | checklist | SWMS Task Observation |  |  |  |  | Yes | SWMS Task Observation | 47c240fe-0c52-45bb-ac9b-d845e80b9c4d
checkpoint-status | 28b2c14b-780d-466f-9ff5-1416038927e2 |  | checkpoint | Please attach any relevant documents or photos
text | 9bbd9cc3-aff8-5653-a748-1e902b311634 |  | textbox | Observer:
text | 4c92ba92-0aa0-5cb2-80d5-72608e7fe12f |  | textbox | Task being Observed:
text | 76c7d790-7556-5f99-a6c5-3598cf028806 |  | textbox | Name/Number of SWMS:
text | b14839ba-8ab4-5815-a406-6550fa7d17fc |  | textbox | Workers Observed Undertaking the Task ( add names and positions / roles)
checkpoint-status | 7cf487b4-39cd-4bc0-a5c1-c82476ed531a |  | checkpoint | Have the workers been inducted into and signed onto the SWMS?
checkpoint-status | f745ee6b-3486-4e5c-9f4f-821c426fd5a0 |  | checkpoint | Does the SWMS adequately describe the sequence of basic job steps?
checkpoint-status | 22ad4279-2d78-4dc4-a218-b5d1bc175d3c |  | checkpoint | Does the SWMS identify the relevant hazards?
checkpoint-status | 978520f0-65a9-4a13-9ce6-0bcb079d6cf3 |  | checkpoint | Are the controls being implemented?
checkpoint-status | 9f0d8cd6-b815-4b13-a16f-d95310bdafbf |  | checkpoint | Any additional hazards identified?
text | 30e2611f-5461-5cab-9bc8-ffda34fa0657 |  | textbox | General Comments
text | c2528e65-f0bb-560b-a87a-8429aa3103b6 |  | textbox | Action / Recommendation
checkpoint-status | cef295f3-3bf0-4a5b-afb9-9124f23b79fe |  | checkpoint | Sign off required ( Person Conducting Observation & Bosfrom representative)
holdpoint | f183dd91-1a70-4476-8865-dca02dcf2d1c |  | signoff | Attach signatures
checkpoint-status | b3ffffad-5683-45ef-94ed-5f7b4d339ac8 |  | checkpoint | Values Added (Office Use Only)
text | b11976de-8d2b-5813-ad8c-8d3b805d322c |  | textbox | Labour Hours Total
text | d1809c99-4326-50e5-ab5b-40a9ef0012ba |  | textbox | Labour Value
text | abed0210-291a-568c-aaba-ccfd088f0e53 |  | textbox | Total Variation Value
checklist-flat | 149788f4-003c-43a1-8ab3-ab68f0ce9c8c |  | checklist | Deck Handover |  |  |  |  | Yes | Deck Handover | 4b2ac1ce-e666-48b3-a791-409fde5da097
checkpoint-status | 37263122-a2ea-4b44-9fa1-2864c121c53b |  | checkpoint | Communication between all trades
checkpoint-status | fc9ade39-af25-4be6-ad66-6c0d796aa15c |  | checkpoint | Signage and barricades in place
checkpoint-status | 085ffc03-e6ee-48e6-9dab-afde2159f735 |  | checkpoint | Deck clean and clear of materials
checkpoint-status | ea4dc927-bc46-4599-92ad-66cd66429d4a |  | checkpoint | Loose materials are stacked and secure
checkpoint-status | 83dc0fd8-a786-48df-af3d-535d25a04ded |  | checkpoint | Any backpropping required to handle loads of reo and other equipment
checkpoint-status | 651dca49-027b-4e31-aa65-de315c7a152c |  | checkpoint | Designated walkways established
checkpoint-status | 28fac17c-e7ef-4f47-a890-6c74b1fe802c |  | checkpoint | All loose materials removed from edge
checkpoint-status | 4a20baaf-7299-4df4-826b-0ecf45cad6cf |  | checkpoint | Are all penetrations covered and secured
checkpoint-status | 55c4ee0d-84e3-4790-8915-934fdc03fa67 |  | checkpoint | Rubbish bin on Deck
checkpoint-status | 65a4a431-589b-4d31-956f-e5451fb26287 |  | checkpoint | Perimeter Screens / Edge protection installed
checkpoint-status | d31be00b-61ae-44d2-9b47-93639d0b565b |  | checkpoint | Correct spacing of frames, props and timbers
checkpoint-status | 6a26721a-1546-4e94-82ba-7c63d7c54adb |  | checkpoint | Correct joist and bearer sizes
checkpoint-status | 2984b8c2-f4f2-4cab-92b9-323cbb1b1b3b |  | checkpoint | Acceptable jack extensions
checkpoint-status | 644eb71c-af29-4182-983c-959fb378737e |  | checkpoint | Quality of materials
checkpoint-status | f8da79b9-3e2f-44f8-8592-6a7f4b523ee3 |  | checkpoint | Adequate bracing to ensure stability
holdpoint | 521b3814-bfaa-4e8e-a670-e3c8addd1723 |  | signoff | Deck Handover signed off
checklist-flat | a1608abe-7d83-4629-9e19-87b77ca5642d |  | checklist | Suspended Slab Checklist |  |  |  |  | Yes | Suspended Slab Checklist | 5f493013-f757-440c-a9b0-bccb84f031d3
checkpoint-status | 3947ea2b-facd-4749-ac73-1c80ddbaac9d |  | checkpoint | Area accessible & ready
checkpoint-status | e7f07020-a12a-4b8a-bca0-9f83c12e46f0 |  | checkpoint | Drawing references entered
text | b086ca22-007d-5376-b85e-3e2fc729c777 |  | textbox | Architectural
text | 443c3752-79fb-5768-bb03-5d326befb715 |  | textbox | Structural
text | 9ad90cee-ac4a-5a1f-baf3-8877d9e1fa41 |  | textbox | Other
checkpoint-status | b967e09c-be6e-4b2b-9f7a-4e367aadfec9 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 81aeb2ee-272a-4735-9f61-77de7e9f474f |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 8cc2a0d9-4bd6-4f28-88a1-119bab08e03c |  | checkpoint | Grids marked by builder
checkpoint-status | bf5033ed-1002-49c4-9424-be8f10284c18 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 04454014-f553-4f6c-a114-a01aa90ee809 |  | checkpoint | Fillet & drip mould installed
checkpoint-status | 06a6ddd3-37c2-4f93-9de2-20d0b86dbe4a |  | checkpoint | Check set down position & RL
checkpoint-status | 68612817-3815-4447-a061-ba05d79ebaa4 |  | checkpoint | Check penetrations installed
checkpoint-status | 55c4297c-810d-4caa-adb1-a007c3ec8f0e |  | checkpoint | Prop drop head wedges are secure
checkpoint-status | 43fee141-a2dc-42ac-85df-fe121c3b2805 |  | checkpoint | Column blockouts installed
holdpoint | cbda3e4c-5473-4396-8709-4245a3c862b1 |  | signoff | Inspection by site engineer
checkpoint-status | 206fc3d6-048b-4f82-be19-a0c03967ad6a |  | checkpoint | check back propping as per design
checkpoint-status | 837ad028-b375-4a8e-a566-4bf65bea430a |  | checkpoint | Blow off deck
holdpoint | 369cb12a-e7b3-40fb-a375-e08f5608f6df |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | fb4c163e-1b65-4191-95d4-328e02cda023 |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | f053e458-da43-4b02-a1b4-80772da5dc79 |  | checkpoint | Correct Class of Finish
checkpoint-status | 231bb06c-baf8-470a-8f07-3ad1c530eeb3 |  | checkpoint | Stripping, cleaning & materials removed
label | bde6a25c-f51b-5e96-b111-a293207a548a |  | note | Take photos
checklist-flat | c8a6d005-1754-4698-85ba-976b7c0b9f4f |  | checklist | Daily Pre Start |  |  |  |  | Yes | Daily Pre Start | 6ad47e8d-335b-4625-b456-d9b9af130a9e
checkpoint-status | f5faf77c-cf5d-4e55-bd75-7eda7d8a8eee |  | checkpoint | Daily pre start meeting completed
text | b86e4109-701a-5be7-ab61-bb2eb12bc5af |  | textbox | Date
text | 9a155121-e36e-5038-9d0b-3579f6f01a3a |  | textbox | Time
text | 00edc3c6-0ea2-51f0-886c-0ce1586f4419 |  | textbox | Location
text | f919b098-34ef-5f13-89aa-957bf27bb9dc |  | textbox | Supervisor / meeting leader
text | 60450043-0fbe-58e4-b3be-cda0823ab0fe |  | textbox | Project Manager & Construction Supervisor attending
select | bdb1568a-b49e-50ea-a289-78bb4c965151 |  | dropdown | Current weather | Rain, Wind
text | d4532a9c-6a8c-59a7-aaf1-cb5ee08c2457 |  | textbox | Temp
select | 5e546fa8-9fee-5453-a9eb-bec6a9a3be76 |  | dropdown | Forecast | Rain, Wind
text | 0d9a3a9b-73d9-5d38-abbf-7ffa2007727c |  | textbox | Temp
button | ff978182-b264-5db7-b7ef-9a82b633615e | DataPoint is missing 'button' values | button | Is everyone fit, well & healthy, not showing any flu like symptoms |  | Yes, No
button | 864e9628-0987-5e94-a63c-750480fac796 | DataPoint is missing 'button' values | button | Have any workers travelled interstate or been in close contact with anyone with a positive COVID 19 test |  | Yes, No
text | 20bb7b33-9bb7-584a-a977-89939d7a89a7 |  | textbox | Any issues from the previous day
button | 464b0a3e-c2a1-552f-b507-8628e772dad5 | DataPoint is missing 'button' values | button | Do you need to change SWMS
text | 06775060-6495-5bdc-92dc-cf33e6072ca2 |  | textbox | First aiders on site today
text | aae58e21-ff76-5923-a378-d4257666004e |  | textbox | Apprentice & who are they assigned to
text | 81c151c1-58d1-54dd-9746-77172493e81a |  | textbox | Apprentice & who are they assigned to
text | bff88909-87a2-538d-9cfa-a13c6900c33a |  | textbox | Apprentice & who are they assigned to
text | 91f28085-5be0-52a9-b5fe-3e679a23f7c6 |  | textbox | Todays tasks / jobs
select | 0cfc5444-ff81-59f6-b309-4441408bd63e | DataPoint is missing 'select' values | dropdown | SWMS name & number |  | 02 Ground works, 03, Hand & power tools, 04 Operating generator, 05 Compressor, 06 Columns, 07 Walls, 09 EWP, 10 Loading / unloading trucks, 11 Manitou forklift, 12 Weld oxy, 13 Patching, 15 Stair / lift core, 17 Meva system, 18 Faresin system, 19 Conventional formwork, 21 Peri system, 23 Catch deck, 24 Pallet trolley
button | 9e19c55c-3ee0-5abe-91f8-4566cfffea23 | DataPoint is missing 'button' values | button | SWMS in place for all activities |  | Yes, No
button | 2635ed17-913f-5e6d-998f-fe0588c228d5 | DataPoint is missing 'button' values | button | Hot works |  | Yes, No
button | 147c4a4a-db66-5d54-ad28-ac6e439b1134 | DataPoint is missing 'button' values | button | Excavation |  | Yes, No
button | adf13341-1bab-555f-8cb9-6d9f1682ef3e | DataPoint is missing 'button' values | button | Ladder |  | Yes, No
button | a4f6d1ed-5f79-5c25-8a50-6782116a61e7 | DataPoint is missing 'button' values | button | Core |  | Yes, No
button | 79698cfa-2a2d-5fb4-b69a-77f0b9c40181 | DataPoint is missing 'button' values | button | Are any hazardous substances being used or will be brought to / or stored on site today |  | Yes, No
text | f458024d-8151-54c1-89b4-863dd39337c3 |  | textbox | If yes, list the substances
text | 316f8f93-29ff-5fae-bc33-5df5b7e616db |  | textbox | Attendees
checklist-flat | ff321ce0-36d7-42e4-a42d-d6891e9973d9 |  | checklist | Daily Pre Start |  |  |  |  | Yes | Z - SYS - Daily Pre Start (old version) | 735e9c01-1ff7-4eba-ad19-22355048af91
checkpoint-status | 08f23344-5bbb-495a-814a-da05b97f4e20 |  | checkpoint | Daily pre start meeting completed
text | 50d585b8-7b4e-5bd5-a0b9-c202f8a44632 |  | textbox | Date
text | e2d3e16d-e21d-5eff-b706-c9b742d64b22 |  | textbox | Time
text | 6c131505-ba03-5054-a0e5-81bb4be0c185 |  | textbox | Location
text | b6ad7118-4699-503f-85b0-adf20ccffe26 |  | textbox | Supervisor / meeting leader
text | 5158bab2-b010-5501-a10b-6587e92ba036 |  | textbox | Project Manager & Construction Supervisor attending
select | ca0e7f68-ec94-55a9-a8b6-e3facb0c6710 |  | dropdown | Current weather | Rain, Wind
text | 98e77a92-fa8f-55a7-b3d5-baae329899a7 |  | textbox | Temp
select | 7cc2f707-429a-5aa6-8b44-053e40160531 |  | dropdown | Forecast | Rain, Wind
text | c962a6e2-c6fa-56c4-ae09-067787077557 |  | textbox | Temp
button | a4cb414a-ce0b-5536-8673-9d48d3b9bd14 |  | button | Is everyone fit, well & healthy, not showing any flu like symptoms | Yes, No
button | 11b84f13-d076-59e7-9e88-e4029a319807 |  | button | Have any workers travelled interstate or been in close contact with anyone with a positive COVID 19 test | Yes, No
text | c0ab7e1b-74f0-5d3f-845e-a885316cdf51 |  | textbox | Any issues from the previous day
button | f974e5c6-eacf-5416-98f9-b3e0dc2378d4 | DataPoint is missing 'button' values | button | Do you need to change SWMS
text | f9bf1db7-3b53-5b80-a32c-dc253670dff1 |  | textbox | First aiders on site today
text | df19253c-98da-5486-853f-2309628f4ce4 |  | textbox | Apprentice & who are they assigned to
text | a79761b0-7bde-5c4d-8a2d-1c31fb724d75 |  | textbox | Apprentice & who are they assigned to
text | 1a88784b-e7de-5cc2-9f19-a1cda7c354f6 |  | textbox | Apprentice & who are they assigned to
text | 456e280a-bc64-5cbe-87d7-a1b75c2bd19d |  | textbox | Todays tasks / jobs
select | 9e7793a8-21a6-5ae6-a3bb-22804129135f |  | dropdown | SWMS name & number | 02 Ground works, 03, Hand & power tools, 04 Operating generator, 05 Compressor, 06 Columns, 07 Walls, 09 EWP, 10 Loading / unloading trucks, 11 Manitou forklift, 12 Weld oxy, 13 Patching, 15 Stair / lift core, 17 Meva system, 18 Faresin system, 19 Conventional formwork, 21 Peri system, 23 Catch deck, 24 Pallet trolley
button | 6f5ad980-9de8-577a-99d8-a6ba0799a799 |  | button | SWMS in place for all activities | Yes, No
button | 39301a94-f718-5179-ba78-57316408cfdb |  | button | Hot works | Yes, No
button | f488b7d2-a0a2-5a53-90fe-ef731246550c |  | button | Excavation | Yes, No
button | d2c058ee-abcf-52b1-8e3c-f40883fb3dd0 |  | button | Ladder | Yes, No
button | 180c8bf0-7b54-59b4-95fb-95b03b66f45a |  | button | Core | Yes, No
button | 323b8c71-a41f-5bc5-a904-bbc33f2dc8f3 |  | button | Are any hazardous substances being used or will be brought to / or stored on site today | Yes, No
text | ad506793-7c05-5678-9c5a-e52cb25ce3fc |  | textbox | If yes, list the substances
text | 46e7d8cb-524a-59b7-8773-9db6a71fd072 |  | textbox | Attendees
checklist-flat | e15b3d83-76c6-45ff-95b1-94990952922a |  | checklist | Variation / Site Instruction |  |  |  |  | Yes | Z - SYS - Variation / Site Instruction (old version v2) | 870ec202-27de-43c8-9ce8-e32bcd5a4b1d
checkpoint-status | dc4ca3bd-eba5-4cd8-9a64-807a14324a93 |  | checkpoint | Variation / SI Details Entered
label | 4e8da292-811e-5fd7-8841-21a3101d170a |  | note | Please take before photos
radio | 589e4b34-93da-5e5b-9d42-e273812d1ae4 |  | radio | Work type: | Site Instruction, Variation Work
text | 16d5583a-9563-5081-a0d8-a1ea428b4b76 |  | textbox | Attention:
text | acae1398-e90c-5fbe-928d-ea42d75e08f6 |  | textbox | Area/Location
text | 2c4ef992-8ff4-5642-b853-9555354b1944 |  | textbox | Date
text | 41ad5ef6-72cd-51d3-8f35-751dfb8aa093 |  | textbox | Scope of work
text | 7626c456-476d-59f9-9398-c3febeabfaf2 |  | textbox | Normal Hours
text | 4b86dd91-c551-54e8-b9cf-cdcfa4dfbce6 |  | textbox | Overtime Hours
text | a6624f24-d5a6-520f-a159-fc73f483fad7 |  | textbox | Material to complete task
checkpoint-status | edf7f832-26e4-4dd5-88bd-cf37faa704ee |  | checkpoint | Reference/SI Number Entered
text | 61c90ee6-7b12-572a-a363-fb59614fa3bb |  | textbox | Reference/SI Number
checkpoint-status | ede55a93-781e-4106-ae30-b7b7d0b098e3 |  | checkpoint | Variation / SI Work Completed
checkpoint-status | b4186238-946d-483b-b418-a83384e35933 |  | checkpoint | Values added (Office use only)
text | cd4183e4-c242-57a9-a658-a7eefb219db2 |  | textbox | Labour Value
text | cd3c5803-f163-545c-aef9-cba1e1a3396a |  | textbox | Material Value
text | 458f6ac4-09b9-5646-8a54-ca2e4712f3ca |  | textbox | Total Variation Value
checklist-sectioned | dfc7e435-7a1f-442e-bad6-79f6ea763048 |  | checklist | Stairs Checklist |  |  |  |  | Yes | Stairs Checklist | 89545277-9ae2-4831-a3de-4be433617c2f
checkpoint-group | af54efe7-f829-4ee5-b583-5a9c71fba078 |  | section | Phase 1
checkpoint-status | 0c1efcdd-a620-4b56-a665-0edcf1c37bbb |  | checkpoint | Area accessible & ready
checkpoint-status | d114f601-5c28-4749-af52-4a9ab708806a |  | checkpoint | Drawing references entered
text | cb693da4-17bb-5d75-81c6-f5c0784d518c |  | textbox | Architectural
text | 180058e9-0075-57bd-9933-ef5a61f909bc |  | textbox | Structural
text | 95741b89-55d8-51b5-93d0-31da68114d21 |  | textbox | Other
checkpoint-status | c595af3d-7fe9-4a11-b8d4-419a8a8cb4dd |  | checkpoint | Current plans in use
checkpoint-status | 1e7f9426-cb3a-4f30-81a6-fc3136c880a1 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | e11f542d-a923-41a3-a20a-f9cfcf39ca23 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 88d553b8-0d62-4cfe-b7e3-3755471fc72c |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | b04c14c8-caba-407c-8bfd-63ec8d84d203 |  | checkpoint | Base of stairs cleaned
checkpoint-status | faddc5ea-bfa3-4093-8741-f2de28118062 |  | checkpoint | Riser heights confirmed
checkpoint-status | 4efe5ffe-9799-4297-8479-2b489039f1c1 |  | checkpoint | Going lengths confirmed
checkpoint-status | bbf7b671-8d50-4103-8893-bc64044585b0 |  | checkpoint | Correct Class of Finish
holdpoint | 623d67da-6aec-4b66-bd65-8e94b819c932 |  | signoff | Inspection by site engineer
checkpoint-group | 04ab422d-ed88-4ef3-a8f4-0317c7b2c597 |  | section | Phase 2
checkpoint-status | 771d82ff-e2b7-4dd2-a6e8-0559fa23228e |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 4df8785c-a203-4f3b-ba67-fcd853222d07 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 407551c6-a94a-410f-b8a3-62573e6c4b01 |  | checkpoint | Base of stairs cleaned
checkpoint-status | ea7d28e1-ef79-4834-aa70-b1edd2d16132 |  | checkpoint | Riser heights confirmed
checkpoint-status | 53ddffd8-d398-4c06-a55b-72b1e806ef64 |  | checkpoint | Going lengths confirmed
checkpoint-status | ede2f051-ec0a-4371-8a88-ebe3c0f25147 |  | checkpoint | Correct Class of Finish
holdpoint | ef16f90f-0946-4e0f-ae82-89d18a66a81e |  | signoff | Inspection by site engineer
checklist-flat | be7b539a-a3ea-4e78-9b5a-30eab8163390 |  | checklist | Deck Handover |  |  |  |  | Yes | Z - SYS - Deck Handover (old version) v2 | 8cd961df-d6eb-4fe9-a244-39bb1c0460ae
checkpoint-status | 56de8e8c-993d-4013-a390-aea082f23eea |  | checkpoint | Communication between all trades
checkpoint-status | 74e35145-f5b1-405f-b03d-8181f3b67136 |  | checkpoint | Signage and barricades in place
checkpoint-status | 3d574637-aa35-4714-a313-918eea9152bf |  | checkpoint | Deck clean and clear of materials
checkpoint-status | 71afb4a0-e816-4074-9c1f-990cea103e56 |  | checkpoint | Loose materials are stacked and secure
checkpoint-status | 904a8839-859e-4b24-84ea-d57dbab1bcbd |  | checkpoint | Any backpropping required to handle loads of reo and other equipment
checkpoint-status | 13d22841-c738-447b-8a5f-5b05e8d94a23 |  | checkpoint | Designated walkways established
checkpoint-status | 5db24399-2d18-423b-90c1-26c2742382e4 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 0bce0145-4e74-4f30-80b9-6146e395872e |  | checkpoint | Are all penetrations covered and secured
checkpoint-status | 9946f257-b5ad-4406-bb51-e4febb02218c |  | checkpoint | Rubbish bin on Deck
checkpoint-status | ab2f107e-7ddb-46ae-8d1f-9258bdd5088a |  | checkpoint | Perimeter Screens / Edge protection installed
checkpoint-status | bfad78d2-5930-4b2a-ac53-e4e2c9b1df32 |  | checkpoint | Correct spacing of frames, props and timbers
checkpoint-status | 2f16f7f8-1465-49a7-99a9-53ea3b9d0619 |  | checkpoint | Correct joist and bearer sizes
checkpoint-status | d42bef02-20f7-4a1b-8607-34f3e55f6c60 |  | checkpoint | Acceptable jack extensions
checkpoint-status | 5693d60e-834f-4909-b980-ce56cc8de9ac |  | checkpoint | Quality of materials
checkpoint-status | 2dc768dc-e8cf-48c1-859c-beb8ffcd4534 |  | checkpoint | Adequate bracing to ensure stability
holdpoint | 1f1fa265-3eff-4bd2-8027-76eefa84db9e |  | signoff | Deck Handover signed off
checklist-flat | 77a019a1-3ef9-42b9-9cd5-abeee4447334 |  | checklist | Injury Form |  |  |  |  | Yes | Injury Form | 93384ce5-ce64-41b4-ba7f-d8472e769ecc
checkpoint-status | 1cfad7d3-13f0-4ed8-978d-a6bd307366bf |  | checkpoint | Injury form completed
text | 1e4e2289-56c1-5b64-87b3-b3d41ea7094a |  | textbox | Date of incident
text | be437336-883c-5a18-952a-38b3ac3c40eb |  | textbox | Time
text | bf8d7d32-3438-5c61-a0a3-71e207e04564 |  | textbox | Site location of the accident / incident
text | 01ea41bf-28e4-503b-a06f-f3c03065742f |  | textbox | Detail of how the accident / incident happened
label | 432b7fd8-75fc-5910-a985-36d09e5d6ce6 |  | note | Details of injured person
text | 9df0a9a9-2159-5ae1-832f-18323261e7a4 |  | textbox | First name
text | aadffa74-a02f-5605-884e-17c4848a80bc |  | textbox | Last name
text | 11e640c9-4e1d-59c5-a616-7c8089f2f55c |  | textbox | DOB
text | 60c12a7d-f2b7-51be-9db4-e8390930bc99 |  | textbox | Contact No
text | 2fd781a1-94d5-5f8a-b6c6-40e432024be4 |  | textbox | Address
text | 127a3eb3-65aa-5bc8-aa10-c39c49699983 |  | textbox | Company
text | 4c101f37-6ff7-5380-9157-4a36c002a49c |  | textbox | Trade
text | 15bc87cd-c76c-50db-bf11-f5965fc524b9 |  | textbox | Date Inducted
select | 6747bb9f-bd2c-552e-a89c-c80d340d103f |  | dropdown | Location of injury | Amputation, Bruise, Burn, Concussion, Deafness, Dislocation, Foreign Body, Fracture, Hernia, Inflammation / Infection, Internal Injury, Laceration / Cut, Occupational Illness, Open Wound, Poisoning / Toxic Effect, Strain / Sprain Twist
select | f26a68be-53e2-5b52-9ad3-54c3d2775602 |  | dropdown | Location on body | Front, Back, Head, Neck, Torso, Left Hand, Left Arm, Right Hand, Right Arm, Left Leg, Left Foot, Right Leg, Right Foot, Other
select | 50ab0722-c4e6-5782-926c-ce9caf103b00 |  | dropdown | Treatment | No First Aid Treatment, First Aid Treatment, Medical Treatment , Lost Time Injury, Fatal Injury
text | cbeb5a2a-c58b-5250-909c-30c840d9fff4 |  | textbox | Initial treatment given
text | 85736bf4-5d2d-510e-ad54-023dd41b220e |  | textbox | Was follow up treatment provided
text | a3db5ca1-bc8e-5fb8-bf9b-2d871031142d |  | textbox | Medical centre / Doctor / Hospital attended
text | 25fcf212-0a28-5fde-81e6-fe27b856d53c |  | textbox | Date / time attended
button | c27dfeee-35c6-5f7a-a9ae-f3f638f55f5f |  | button | Regulator notified | Yes, No
label | 32349596-9a04-5ce6-9028-e2b08f1d80d3 |  | note | Witness details
text | eb589537-7977-53fe-8ee9-2ebce21f3374 |  | textbox | Witness name & contact details
text | 51ba35e8-6a3b-5e62-bead-32d9f719b0a3 |  | textbox | Witness name & contact details
select | ef8144df-bf0c-5d91-8ec8-3fca3fda668d |  | dropdown | Event details / cause | Falls from height, Fall from same level, Hitting objects with body part, Exposure to mechanical vibration, Being hit by moving objects, Exposure to sharp sudden noise / long term noise, Exposure to extreme temps, Exposure to radiation, Exposure to biological factors, Exposure to mental stress factors, Vehicle accident, Muscular single / repetitive movement, Contact with electricity, Contact with toxic chemicals / substance, Other & multiple mechanisms of injury
text | 1f31a91d-a3ab-55cf-871d-b5c972e1a30e |  | textbox | Other
label | d49f3754-dab6-5eb7-a09a-8cc03067283e |  | note | Injured worker: I confirm the information recorded in this register is to the best of my knowledge true & correct & I give consent for this information to be provided to Bosform for my incident investigation & reporting purposes
checkpoint-status | 6ccf3d8e-ffcc-4c7c-9039-7772a3afcb76 |  | checkpoint | Signature of injured worker
checkpoint-status | 3932db83-30e2-4432-91f4-d4b3c7df8964 |  | checkpoint | Person completing this form
checklist-flat | e0d26b42-7198-4447-9be5-56f99fc2ec50 |  | checklist | Site Diary |  |  |  |  | Yes | Z - SYS - Site Diary (old version) | 9f42416f-8fbd-4a76-b156-4115db2c8cf8
checkpoint-status | c71b0382-fad5-4244-9cfa-255990b63dbb |  | checkpoint | Areas of work accessible for the day
select | 51bb85d1-4c89-51fd-a880-fbdea9ace151 |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | 18f4e1df-d81b-5527-8f4d-67174eba2688 |  | textbox | Date
text | 8b44113d-746b-5123-8b75-060f7a700988 |  | textbox | Year
text | 9e06847e-a2d3-57db-b516-1e3d20057d5c |  | textbox | Number of workers on site
text | 47167603-7838-56b7-ba87-506c7b97d43b |  | textbox | HSR on site today enter name
text | fe751ac2-415a-5b62-98b2-489159119b3d |  | textbox | First Aider on site today enter name
text | 4e9ed67e-b5e7-5040-b1ab-95a9b52fb9f9 |  | textbox | Injury on site today enter name
checkpoint-no-status | 93eab3b6-11f6-46da-9120-c6ae378b2dad |  | checkpoint | Work area 1 details entered
text | 53ae8cd4-a732-5163-8c42-e699cbf8d5fe |  | textbox | Area
select | f4a21c7b-9d21-51e7-85b0-f151d4917652 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 5fd61c1e-addc-57d2-9095-a723a45e7133 |  | textbox | Comments
checkpoint-no-status | e6aac3a8-2745-4082-a5b0-3ba1871e6f30 |  | checkpoint | Work area 2 details entered
text | a9f744a5-775b-5ef4-ba49-46ae5621c4a3 |  | textbox | Area
select | bcda76d3-7a6f-5453-b796-93be28780170 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 26d58fb4-37c0-55f3-ac28-cf5e04b6da3b |  | textbox | Comments
checkpoint-no-status | 3243000b-8f1e-4a22-923e-fd2c3a08fba5 |  | checkpoint | Work area 3 details entered
text | 9b5239af-f112-5873-9b61-e4b76d2d3f9c |  | textbox | Area
select | 9cd1dbc7-342d-5cc9-98c0-6089484c474b |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 4d65201f-dc3b-5b30-8d32-ea2d09fd3c35 |  | textbox | Comments
checkpoint-no-status | 2b549f33-4ec9-4f54-ade7-77508c8778e8 |  | checkpoint | Work area 4 details entered
text | 4e32d488-d653-5f3a-b2ba-4ef394093f1b |  | textbox | Area
select | 00c5b3a7-e41f-5be3-948f-8af134373066 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | c510f2b5-18f8-58e8-b9a2-db833287c032 |  | textbox | Comments
checkpoint-no-status | f66fe077-f050-4a2c-880d-3138c5870711 |  | checkpoint | Work area 5 details entered
text | afa5e7fc-f0e6-5bf2-9de6-337cd7bdb252 |  | textbox | Area
select | 6563ed03-499a-52ac-916c-760565fe9c27 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 91189618-7bce-596f-afbe-9257262918b1 |  | textbox | Comments
checkpoint-no-status | 6eae9b4c-75e7-46b5-880b-ef69e7e1383b |  | checkpoint | Work area 6 details entered
text | 6af832f3-e76d-5ef5-a348-42301a05f5d2 |  | textbox | Area
select | c400ccb6-293d-589d-a928-2ce1a3c06186 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 78b00eb9-9c7c-5cc4-9545-6ffcd2dc6e90 |  | textbox | Comments
checkpoint-no-status | 94249c67-af05-4ab8-b5dc-a52c364bf7be |  | checkpoint | Work area 7 details entered
text | 41dba5b4-ab53-518b-a2d6-079a7e6cb3f6 |  | textbox | Area
select | 01499af4-f7c6-5cb1-8d18-407745f936ee |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | afbd83b2-e897-5f63-8759-ffdaf242d462 |  | textbox | Other
checkpoint-no-status | b4d371ca-1104-48bc-8d27-e1193de086f6 |  | checkpoint | Work area 8 details entered
text | 4ad42387-5d5a-5644-a19c-298b06fb0381 |  | textbox | Area
select | fd698f84-9cbf-5877-823f-393ffeb2251b |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | c34d1fc7-2d4c-51c9-836d-4f4440da1f1e |  | textbox | Comments
checkpoint-no-status | f8192161-bf12-4e71-b5d8-e85c0fee002e |  | checkpoint | Weather conditions entered
select | 572679a2-51a7-5daa-9bad-9361a2fc1d9a |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | c1033607-288d-53a1-ad7b-54c7b37a7c9d |  | textbox | Min temp predicted
text | 17d86038-39d6-50ea-a546-ecd1ec08dd75 |  | textbox | Max temp predicted
checkpoint-no-status | 9870e513-b4fb-4075-a0cc-b3ca196a0583 |  | checkpoint | Delays from inclemency
text | 09f20962-2626-58b4-b04b-d79d5c514393 |  | textbox | Total Hours of delay
select | 4be28e29-5f25-5020-93a4-ecf63f382b00 |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | 24b61b98-a537-4641-aa81-829d11bde68d |  | checkpoint | Delays from Builders or Others
text | 40ee15cd-49a5-5141-a0c8-9b258358cf65 |  | textbox | Total Hours of delay
select | 90021c67-bc8a-5764-8cd0-f7d7b97e9572 |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checkpoint-status | f28c860d-fb2a-4470-bef6-12364e557254 |  | checkpoint | Attach Specific site photos for respective day
checklist-flat | 78635ea8-5ce4-4a09-93a4-0eea51ba46df |  | checklist | Site Diary |  |  |  |  | Yes | Site Diary | a1df8c02-7c7f-497e-92f4-fa52e0ff1b14
checkpoint-status | 6d1fa8fb-f7cf-494d-9cc5-d576d0c25faa |  | checkpoint | Areas of work accessible for the day
select | 599c0ca3-502b-5dd0-84b7-f86a8af747e8 |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | 3339d00a-3b80-51b8-b5cd-95a6a94d3ded |  | textbox | Date
text | b4295823-de53-5ac3-886c-bccefa267fe8 |  | textbox | Year
text | 115aea95-d63a-58cd-9c5a-6afa832cdbe4 |  | textbox | Number of workers on site
text | ec8b60de-9998-563f-a55c-550b76e7c2b2 |  | textbox | HSR on site today enter name
text | f3c8d671-cb8e-5552-9940-f21fedb6f11f |  | textbox | First Aider on site today enter name
text | 2a3a1c7f-531a-57aa-81df-869f51d31f1e |  | textbox | Injury on site today enter name
checkpoint-no-status | 1681cc43-ecc4-44a0-ad4b-7fe4db7951f1 |  | checkpoint | Work area 1 details entered
text | a34589d8-a079-533c-89e7-f896f6c25166 |  | textbox | Area
select | 75e34df9-3935-504d-9f9f-36a452040f52 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 0f0290f3-29dd-5021-b7a2-b24eebab899a |  | textbox | Comments
checkpoint-no-status | eb60bca5-7256-4746-aecb-dd3b69ec2cee |  | checkpoint | Work area 2 details entered
text | 09a61b09-d70f-5124-bacb-4b511a9fb88b |  | textbox | Area
select | bfab8b97-d329-5c07-997f-dcb76f09ebbe |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | a997b9a1-e230-53b5-959c-71c8d2c8aa69 |  | textbox | Comments
checkpoint-no-status | 0ac3d697-0c89-48ca-8616-d053d5602e3b |  | checkpoint | Work area 3 details entered
text | dc8d32a8-070c-5506-97fc-a6bac7a38774 |  | textbox | Area
select | 2c0b0c26-0eb6-578d-8efa-3236383a914c |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | e20bf043-92d4-592f-a4b2-c6a30260c6fb |  | textbox | Comments
checkpoint-no-status | 4349a04a-09ec-490d-83db-2936f3a94b1a |  | checkpoint | Work area 4 details entered
text | 5449e7b4-ca1a-560b-91c9-e3e2c9f236fc |  | textbox | Area
select | e4801eb8-a924-5066-890c-59165799153d |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 073c0f5b-e34b-5d16-9738-08aa57c1d899 |  | textbox | Comments
checkpoint-no-status | 4b8cb998-d2ce-401b-a5bc-0230c2744b6e |  | checkpoint | Work area 5 details entered
text | 8fe6a703-853f-5f62-8f90-67b86fa576be |  | textbox | Area
select | 06cb6cca-0e1a-5a61-af9d-9b831640de78 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | c44200e4-cd5b-5204-8c19-2fcc589c5730 |  | textbox | Comments
checkpoint-no-status | 8ad96cb5-8076-4028-8df9-0a83c043d6ff |  | checkpoint | Work area 6 details entered
text | 1644356b-5f24-56da-853a-d373527a23ef |  | textbox | Area
select | 20610f39-799b-5fc8-bee2-f68b5c1c95f4 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 1c1aea6a-99ec-5d0a-a184-6a953acb64d6 |  | textbox | Comments
checkpoint-no-status | efc5399a-a306-450f-8de9-7dccfef33db1 |  | checkpoint | Work area 7 details entered
text | 9de83a04-cf9d-58b2-9027-d5b868347672 |  | textbox | Area
select | d078ec28-d38f-545f-a7b9-b6b21001e79e |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | dedad6d6-8008-5f8c-b60f-16bb81c52242 |  | textbox | Other
checkpoint-no-status | fe2d5b5c-e940-4127-a954-a90e5d4e4a73 |  | checkpoint | Work area 8 details entered
text | 469caeb9-1c95-528a-85f4-43437e3a74c0 |  | textbox | Area
select | c6b80733-b492-586e-b1ab-9fe67579177c |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | d55f3ac6-41eb-577b-813f-e8edf5c03fe8 |  | textbox | Comments
checkpoint-no-status | 8a1733b3-e717-40ff-b263-7a5c29798686 |  | checkpoint | Weather conditions entered
select | 61328041-3691-5aa9-9886-8355f5c404a4 |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | e1182436-a640-5835-b2f7-7fee9601e366 |  | textbox | Min temp predicted
text | a8da7cb8-07b2-54ee-927f-a490619bed59 |  | textbox | Max temp predicted
checkpoint-no-status | d9ece78c-bd12-496f-97a5-975bc02799d4 |  | checkpoint | Delays from inclemency
text | 1fdc8d06-8889-5d7c-a22e-edf8a4cc45b7 |  | textbox | Total Hours of delay
select | 507e3300-8758-5d1e-8b94-65446b79472a |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | ecce1e08-1dc8-4482-ac70-669281e2bdb8 |  | checkpoint | Delays from Builders or Others
text | 0a6f4654-7c2b-5a5f-994b-09a192c8397c |  | textbox | Total Hours of delay
select | 264ed249-ce2c-5972-abec-ed801be99c80 |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checklist-flat | a70e929b-fee1-4146-a4e3-5c5bdd19ca5f |  | checklist | Columns Checklist |  |  |  |  | Yes | Columns Checklist | a3a0025e-acb6-43f2-b681-a326841efda7
checkpoint-status | 08aa399a-73ff-4b67-ba65-f806b7c86235 |  | checkpoint | Area accessible & ready
checkpoint-status | 6c4525ce-d244-47f1-b747-06b5d49a5852 |  | checkpoint | Drawing references entered
text | 3e84a372-ead0-5e2b-b1c2-462f8cb94d5d |  | textbox | Architectural
text | 09e3ba01-96a0-51f6-83e0-d7e6f5cb64bd |  | textbox | Structural
text | f9a1b047-8120-5f03-a7cc-b3d180ccfd50 |  | textbox | Other
text | 60218369-21b4-5a03-b4cc-723bcfe3988a |  | textbox | Column No
checkpoint-status | 273e3028-30d2-4b4b-9204-30acc38f159b |  | checkpoint | Current plans in use / Latest drawings checked and referenced
checkpoint-status | e96e4606-3419-466d-9a36-8fd234c19ba8 |  | checkpoint | Survey points given for 2 points
checkpoint-status | 44e7f3d4-2cbb-410a-976d-9e80c0034fcc |  | checkpoint | Datum RL supplied by surveyor, pour height marked
checkpoint-status | 1e4fb20d-813d-4c78-b85b-abe74340139f |  | checkpoint | Blockouts, couplers, cast-in elements installed
holdpoint | 7f13973e-fe6d-4787-8343-dcb4d4b9f549 |  | signoff | Inspection from site engineer
checkpoint-status | 693b2784-2112-4d3e-a578-2a32e29d62ec |  | checkpoint | Column box cleaned & oiled
checkpoint-status | bbcec328-d147-49e8-8aff-dae58fd845b2 |  | checkpoint | Placement of column box over cage
checkpoint-status | c23b78bf-121a-4597-9265-6a420faf73a2 |  | checkpoint | Bracing props secured
checkpoint-status | 621e4b51-e1de-4e05-acf9-4da69e61efd5 |  | checkpoint | Column plumbed
checkpoint-status | 5102dbe8-0804-4ec8-9b64-3501e652c323 |  | checkpoint | Correct class of finish
checklist-flat | 55514752-aefe-4ce9-81c7-a353f108420a |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Toolbox Meeting | ab209b73-e861-4827-b6d2-1e8e1309538d
checkpoint-status | 5e0bc6a2-3c49-4647-8e08-e3a6e2408a60 |  | checkpoint | Toolbox signed off - Attach an forms
text | ca951441-920b-5400-9ed1-22be6ed0c49e |  | textbox | Work area
text | 2566c39e-d975-535f-a381-144ab376e466 |  | textbox | Supervisor
text | b1ec32e0-9518-5896-87d2-e200bd88f382 |  | textbox | Date
text | 33eea765-24cd-5879-af6c-a98a0ae05881 |  | textbox | Time am / pm
text | 6b8c66a7-7b9e-554f-be09-635c3a165f0a |  | textbox | Actions from last meeting
text | 718cd771-78e0-59cd-89c0-797863d305a2 |  | textbox | Injuries last week
text | 807b70ca-8750-5834-a416-2e5283358ed3 |  | textbox | Near misses last week
text | 0bab180b-6ebf-5cd0-8bd8-c6fbda384211 |  | textbox | Safety Items discussed
text | a3b3e4a9-2c39-57d0-b8bc-aca1a79d926a |  | textbox | Comments from the floor
text | 619c6952-a029-5df1-b759-ddead6f046d2 |  | textbox | New business
text | f119b003-c360-562a-908f-a39c528daf6d |  | textbox | Attendees
checkpoint-status | a760d2a4-b516-4683-9549-c3009561582a |  | checkpoint | Attendance verified
checklist-flat | ebbebf23-67a2-4386-9bd0-a889a410eb68 |  | checklist | Structural Pre-Pour Formwork Inspection Report |  |  |  |  | Yes | Z - SYS - Structural Pre-Pour Formwork Inspection Report | b79afb05-7a93-448a-8512-b39d8aeeb803
checkpoint-status | ffb8d49c-95b1-4eff-bacd-5890e9ce533b |  | checkpoint | Material used complies with design documents
checkpoint-status | ac5bc7d2-fd16-438f-9d6f-b3fabe86b762 |  | checkpoint | Material condition complies with AS3610 tolerances
checkpoint-status | 26baee95-8fe8-4eef-8cb1-f516a455f1c9 |  | checkpoint | Soffit formed at correct height
checkpoint-status | 72c22736-9bfa-44fc-8ac9-3a99b536c3a6 |  | checkpoint | Steel base plates or jacks installed on all frames
checkpoint-status | 3ef21d3f-faae-41b0-b25d-23c446339157 |  | checkpoint | Adequate soleplates used and centralised under legs
checkpoint-status | fda73eb8-dbe7-4b7d-817b-ec0b2f8cd6d9 |  | checkpoint | Maximum joist spans and centres not exceeded
checkpoint-status | 7abcef98-7d66-4fad-93fe-f615810a7620 |  | checkpoint | Maximum bearer spans and centres not exceeded
checkpoint-status | d6625ebd-3970-43d9-92d5-aa8a28b82910 |  | checkpoint | Bearer centralized in supports uno in design
checkpoint-status | 8bee7f9a-e63e-4210-a430-1a313ee55b6b |  | checkpoint | Maximum jack extension not exceeded
checkpoint-status | e9d3eb04-2e43-45a8-82a7-2604523c081d |  | checkpoint | Prop type and extension comply
checkpoint-status | 5fa40852-86ae-4453-b64d-dcd8fc1c06b4 |  | checkpoint | Jacks, frames and props are plumb
checkpoint-status | cde9cb65-43d1-47c1-8105-e896ab01899d |  | checkpoint | Xbraces or tube ties installed on both sides on all frames
checkpoint-status | 460ff2f0-9018-4e26-b28e-f1ae67491ef3 |  | checkpoint | Brace bays and fixing to structure installed
checkpoint-status | 4244a5f6-17da-4f9e-8671-7a2c1fa2b1bb |  | checkpoint | Vertical falsework/scaffold tied and braces
checkpoint-status | 57b9d6f3-dc4c-4d40-aa6a-d2f5d8c2c29d |  | checkpoint | Prop pins, dropheads and scaffold cups & wedges secured
checkpoint-status | 94233f1d-b806-48cd-895a-75fadac01ff5 |  | checkpoint | Cantilever items stable
checkpoint-status | fce98e3b-054c-4363-a8e4-71e700e1a57b |  | checkpoint | Propping to required floors
checkpoint-status | 25ee4088-c423-4111-97cb-580c92ddca91 |  | checkpoint | Backpropping type and spacing installed as per design document
checkpoint-status | 989f373c-f4c1-48bd-ae8c-f0e89d2529e3 |  | checkpoint | Propping for additional loadings on new slab
checkpoint-status | c742fb1d-33ef-4aa6-8f95-4f425d6d329b |  | checkpoint | Competent person assigned to monitor formwork during pour
checkpoint-status | 6964f16b-0a12-4843-bcfb-ee8c53d8c9a9 |  | checkpoint | Concrete Pour Observer (under deck) assigned and inducted
checkpoint-status | dc611e0f-638a-4e34-9b95-02afe00ff22b |  | checkpoint | Clear egress and access barriers through frames identified
checkpoint-status | e607cd20-dba8-472e-8ed4-3fc9de9b0252 |  | checkpoint | Adequate lighting installed/available
checklist-sectioned | af8d4ccf-2972-48be-a8e9-141d920ae078 |  | checklist | Core Lids Checklist |  |  |  |  | Yes | Core Lids Checklist | cdd8b4c0-5b5d-4502-bc94-124093bdea4d
checkpoint-group | 63e845a3-bf8c-457a-a2a7-e233ab5b0714 |  | section | Phase 1
checkpoint-status | 518f481c-6c85-4fa7-a340-5f1577b7daa2 |  | checkpoint | Area accessible & ready
checkpoint-status | 069efe80-9a8a-4811-975c-b1be6b61352e |  | checkpoint | Drawing references entered
text | 259b9a02-38f0-5228-8a01-152caf45720c |  | textbox | Architectural
text | 0c495220-be4b-55ce-8057-4bb1894e8cd3 |  | textbox | Structural
text | c05c9636-528c-5349-be5e-f071b3a19433 |  | textbox | Other
checkpoint-status | 8a8ea143-0ccf-43b8-a6d2-4cd8b1af2ad7 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 3e435555-7f00-4e3a-8525-45c652ee22a7 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 90d9b071-cc7b-40b6-961c-4080e121d497 |  | checkpoint | Grids marked by builder
checkpoint-status | 625cfe28-71a2-4b27-88c2-76166e1e3558 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | ed80c05f-6b66-4f3e-9be7-e11104b7210e |  | checkpoint | Fillet & drip mould installed
checkpoint-status | ac1577e2-9c46-4797-8c25-a0abf09443df |  | checkpoint | Check set down position & RL
checkpoint-status | dee2cb61-b566-4213-8709-0b20c8e8bdfa |  | checkpoint | Check penetrations installed
checkpoint-status | 8e794924-bbd2-4efc-9d0d-eeb5d1a14ff0 |  | checkpoint | Column blockouts installed
holdpoint | 17238e57-ab31-4b99-ba3e-e8b734dc4386 |  | signoff | Inspection by site engineer
checkpoint-group | 33e6251e-aae7-41d5-a242-8ca4f09be82a |  | section | Phase 2
checkpoint-status | ad1e7f17-5635-4348-ac8d-795f2f4cf37a |  | checkpoint | Check back propping as per design
checkpoint-status | 53a6d442-5dd3-44b2-b973-9dc480468d9c |  | checkpoint | Blow off deck
holdpoint | 2c7aff8e-1728-4e58-b203-b8212ba72437 |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 72a41cb2-1d5e-4bb8-93ae-1531cee0bb6b |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | e450d5e4-493d-4473-95cf-957ce7845462 |  | checkpoint | Correct Class of Finish
checkpoint-status | 569c4866-54a5-4625-b7db-9cc23cc73fb2 |  | checkpoint | Stripping, cleaning & materials removed
label | 8f022a65-b5c1-5098-b3e8-a19fddcabc6d |  | note | Take photos
checklist-flat | 7fb6f1f5-e440-4f0c-abc7-9bd644c3f640 |  | checklist | Deck Handover |  |  |  |  | Yes | Z - SYS - Deck Handover (old version) | e73a94e3-bf9b-4e75-ae1d-b4c45c436791
checkpoint-status | 00dfe0f1-8043-4c1e-b023-b3c937ac2f73 |  | checkpoint | Communication between all trades
checkpoint-status | 1a40b631-06c0-417f-a0e1-3ed6aa7c6b56 |  | checkpoint | Signage and barricades in place
checkpoint-status | 366b5305-852f-4b38-a7f3-56fa91b1b852 |  | checkpoint | Deck clean and clear of materials
checkpoint-status | f55b31ba-02ee-44ad-8cbd-f3fe0c35ee2c |  | checkpoint | Loose materials are stacked and secure
checkpoint-status | bf84f46c-4b91-4a12-a35e-2152e3884f46 |  | checkpoint | Any backpropping required to handle loads of reo and other equipment
checkpoint-status | bb905281-d70e-44ea-a2fa-25bbaff443bb |  | checkpoint | Designated walkways established
checkpoint-status | c6dda249-413c-4ef9-a3c8-00c517ec9fd3 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 7bcccb95-d607-4499-9d48-b3dd8d8d1ac7 |  | checkpoint | Are all penetrations covered and secured
checkpoint-status | c1676c28-99fb-4f98-8418-4b9f407bf22d |  | checkpoint | Rubbish bin on Deck
checkpoint-status | f496184f-5f17-4ee6-8272-a3f8fc33c346 |  | checkpoint | Perimeter Screens / Edge protection installed
checklist-flat | 44446a93-1d2d-4bb9-ba79-b72fd0f23690 |  | checklist | Injury Form |  |  |  |  | Yes | Z - SYS - Injury Form (old version) | e7b30f6b-36e0-4354-ae32-5797e39f1f39
checkpoint-status | 0bec0b19-60d9-4ec4-b90d-380c27d69552 |  | checkpoint | Injury form completed
text | 2ae2e48a-4a17-5cfc-818e-4f3fc4599977 |  | textbox | Date of incident
text | ba2be81d-40a6-59bf-86dc-33adf5519391 |  | textbox | Time
text | ce3d643a-d66b-5313-ae86-197a24c74419 |  | textbox | Site location of the accident / incident
text | b2d3950c-ef02-5946-ba42-a18a0e12372d |  | textbox | Detail of how the accident / incident happened
label | cdb6708e-0443-5dbd-9366-afc38937667e |  | note | Details of injured person
text | a5d5e7df-c824-50f0-b7e7-ffd3ad28dfa2 |  | textbox | First name
text | d1d66685-f2a6-53fd-8224-27360fc11fdc |  | textbox | Last name
text | 5b02ccc5-a991-5097-8af3-94af34d0fd0d |  | textbox | DOB
text | b5060063-2d86-5f3f-8ca4-62d49d413d1d |  | textbox | Contact No
text | 0d61c9e0-5a35-56cd-b7aa-c54be435b954 |  | textbox | Address
text | 6b7104da-99b3-5c39-83d8-f4cf79f9207b |  | textbox | Company
text | 18b7ccb4-800d-55a3-9ed1-0716cfa9475d |  | textbox | Trade
text | e905f71b-2cf1-5cb7-8653-a1846d3b1ba5 |  | textbox | Date Inducted
select | 7cc020bc-5986-54f3-aac1-f7aff634ce35 |  | dropdown | Location of injury | Amputation, Bruise, Burn, Concussion, Deafness, Dislocation, Foreign Body, Fracture, Hernia, Inflammation / Infection, Internal Injury, Laceration / Cut, Occupational Illness, Open Wound, Poisoning / Toxic Effect, Strain / Sprain Twist
select | 7603b649-b86e-5fcd-9c16-4830fa0221c3 |  | dropdown | Location on body | Front, Back, Head, Neck, Torso, Left Hand, Left Arm, Right Hand, Right Arm, Left Leg, Left Foot, Right Leg, Right Foot, Other
select | b769c52f-0d83-5b72-b46f-d697553df239 |  | dropdown | Treatment | No First Aid Treatment, First Aid Treatment, Medical Treatment , Lost Time Injury, Fatal Injury
text | 43c6a66c-b732-5d80-85bd-3d319903b01c |  | textbox | Initial treatment given
text | ee756906-5d2c-5984-88ed-45d9ddb7554f |  | textbox | Was follow up treatment provided
text | 7bfcf837-2876-5770-97e6-b88d43cc2e02 |  | textbox | Medical centre / Doctor / Hospital attended
text | faad6bbc-4334-5d1f-a026-1669e0f96058 |  | textbox | Date / time attended
button | c717b6b5-f7f2-57dd-a86c-e723a47d4823 |  | button | Regulator notified | Yes, No
label | 566bb5e0-076c-594e-bced-eccfc4dd9886 |  | note | Witness details
text | aa64b90f-c737-59f0-9e88-9d7d3abbf0f2 |  | textbox | Witness name & contact details
text | e868fbfa-67e7-57a3-a6b4-455100f90265 |  | textbox | Witness name & contact details
select | f2c89a13-dc8f-58d2-a8a1-35c5e75e5ed9 |  | dropdown | Event details / cause | Falls from height, Fall from same level, Hitting objects with body part, Exposure to mechanical vibration, Being hit by moving objects, Exposure to sharp sudden noise / long term noise, Exposure to extreme temps, Exposure to radiation, Exposure to biological factors, Exposure to mental stress factors, Vehicle accident, Muscular single / repetitive movement, Contact with electricity, Contact with toxic chemicals / substance, Other & multiple mechanisms of injury
text | dc95e75d-88d8-5ca8-9219-1c19aaded0cd |  | textbox | Other
label | 2079318c-5e6e-52d1-bcbf-804505c8caa4 |  | note | Injured worker: I confirm the information recorded in this register is to the best of my knowledge true & correct & I give consent for this information to be provided to Bosform for my incident investigation & reporting purposes
checkpoint-status | 44d022c8-eb3e-4aa0-97c4-b5cfd77a777e |  | checkpoint | Signature of injured worker
checkpoint-status | 261f9598-47ce-47ae-8dc8-fd10fc4fa97c |  | checkpoint | Person completing this form