## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 4ab33d10-8e0f-4933-bda2-ba712927efaf |  | checklist | Stairs (in-situ) Checklist |  |  |  |  | Yes | Stairs (in-situ) Checklist | 0b298b71-29e8-48b1-89ad-eee067ead0cf
checkpoint-group | b55be437-c77b-4124-97d1-ff0f54eaf8f9 |  | section | Phase 1
checkpoint-status | 763e7997-f1a9-4abf-8c29-f5dce658a7e7 |  | checkpoint | Area accessible & ready
checkpoint-status | 2a72a95f-a77d-4328-a3cd-82fd97af6ba1 |  | checkpoint | Drawing references entered
text | 5b7549ad-86cc-5823-becb-c29709be3e9c |  | textbox | Architectural
text | 61a7f831-7505-5a38-8f0d-96ae8f0b99ac |  | textbox | Structural
text | 44a4fbfb-d9e5-5eb6-b1dc-0fac9432def0 |  | textbox | Other
checkpoint-status | 943de6f1-ff84-4172-9c2c-9c102b4b70da |  | checkpoint | Current plans in use
checkpoint-status | e9f9a49c-c074-4130-8097-d6eb39ec8f65 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | a83516bc-3b72-4162-ad1d-013b7c5f09ef |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 94fa6ad0-406a-4874-8162-51e902f59b97 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | a71b411b-80d8-46dd-b848-af74a10ba374 |  | checkpoint | Base of stairs cleaned
checkpoint-status | c7c309fb-ab50-4ab0-b273-f1b5c9ce684d |  | checkpoint | Riser heights confirmed
checkpoint-status | d091f9b6-5379-4a88-b68b-c1617770ef0f |  | checkpoint | Going lengths confirmed
checkpoint-status | 4e003113-b3f9-4103-8da4-de182aecc2d4 |  | checkpoint | Correct Class of Finish
checkpoint-group | 2e787634-78f1-46c9-ad32-25d7b1cd6d2d |  | section | Phase 2
checkpoint-status | bf0f1f04-1ce9-49ff-b0be-70dd9dfed6c1 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | b7228d50-9341-4024-86f2-25d6c0b1e1e4 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 7ead648e-bd88-439d-8b57-bce723cb4087 |  | checkpoint | Base of stairs cleaned
checkpoint-status | c1521a0b-9772-41a2-88c3-80bcf20a64f0 |  | checkpoint | Riser heights confirmed
checkpoint-status | 720364a5-2573-444a-a39a-07db6dc2ce14 |  | checkpoint | Going lengths confirmed
checkpoint-status | 15c65614-607a-40a0-88c8-a2ee31f1ce31 |  | checkpoint | Correct Class of Finish
checklist-flat | 836885f4-f289-4b13-b0fc-cf8b1708fb8d |  | checklist | Columns Checklist |  |  |  |  | Yes | Columns Checklist | 0d7cc493-718b-48f1-9912-e82b818972f8
checkpoint-status | e04db5bf-bd7a-48c5-98d7-d6bd36443ed8 |  | checkpoint | Area accessible & ready
checkpoint-status | 4e8ed7bf-45e9-49b1-a2aa-365b8a6e2e44 |  | checkpoint | Drawing references entered
text | 525c8509-6b6b-503b-9e58-28b57a6b81a2 |  | textbox | Architectural
text | 79d0216c-50a7-532f-b46e-e81ffd78ac42 |  | textbox | Structural
text | 65a215d1-2770-5fc7-8651-f1387879d16e |  | textbox | Other
text | 27d5bc0e-1232-59e2-8ced-6ed028d0551e |  | textbox | Column No
checkpoint-status | 8f44f952-6fc0-4d22-932c-276767e45192 |  | checkpoint | Current plans in use / Latest drawings checked and referenced
checkpoint-status | ee7590ae-1a9f-48b2-a9cd-fef954331eeb |  | checkpoint | Survey points given for 2 points
checkpoint-status | 464c1611-dcce-4acb-8a02-8bfe41453869 |  | checkpoint | Datum RL supplied by surveyor, pour height marked
checkpoint-status | 6d6c9c4e-bb81-4f13-b4a2-20eae44b4bad |  | checkpoint | Blockouts, couplers, cast-in elements installed
holdpoint | 63f4e587-3efe-4f4e-ac93-e8056edc43a2 |  | signoff | Inspection from site engineer
checkpoint-status | 559bc17a-c3ba-4d36-b3b0-86c7f369fe68 |  | checkpoint | Column box cleaned & oiled
checkpoint-status | 84fb64ef-578b-4271-9f75-bc3f9583649f |  | checkpoint | Placement of column box over cage
checkpoint-status | 3c610fb3-8754-4f04-87d6-ceb93cb33dc6 |  | checkpoint | Bracing props secured
checkpoint-status | 7decaf81-655c-4a71-bbd3-3fadd33735f0 |  | checkpoint | Column plumbed
checkpoint-status | 4e32bb8f-3efc-4f2a-a9a8-98f11a526021 |  | checkpoint | Correct class of finish
checklist-sectioned | 0b1173f8-266a-417a-ab06-0428caa70aa7 |  | checklist | Stairs Checklist |  |  |  |  | Yes | Stairs Checklist | 2d683677-dcb0-4f16-8109-6ba6455985bc
checkpoint-group | 39bac20b-bcdc-4dc4-94ae-4b44723c7a9e |  | section | Phase 1
checkpoint-status | 22898142-50fb-4411-84f0-dc5b2751885e |  | checkpoint | Area accessible & ready
checkpoint-status | df850f73-b8fc-4fcf-b271-a4e73c892f41 |  | checkpoint | Drawing references entered
text | 0129dd50-cf38-5111-8553-2de6ea4e52de |  | textbox | Architectural
text | 40a8ca88-4c70-5b63-a7ec-c4f27721e10b |  | textbox | Structural
text | 3b7f27b4-509f-5f2b-8a8a-ebbb236c2787 |  | textbox | Other
checkpoint-status | a8f8162e-20f0-416e-921b-7e5447c25803 |  | checkpoint | Current plans in use
checkpoint-status | 8e198e44-0b9f-449f-b69b-53ab502cae88 |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | 0266cd26-1d03-4777-948f-2742fe53c164 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 75aa5ed0-34dc-493a-96bd-9ac06860b6b1 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | eb2ca25c-63b3-4780-bae6-e8775bfcba0b |  | checkpoint | Base of stairs cleaned
checkpoint-status | b56a7284-0323-4329-be2b-591137859ae0 |  | checkpoint | Riser heights confirmed
checkpoint-status | b8ed2db9-019a-4cc2-8775-6b75786afcef |  | checkpoint | Going lengths confirmed
checkpoint-status | 86c5cd4d-f567-4c30-86e0-d2984cd3aadf |  | checkpoint | Correct Class of Finish
checkpoint-group | 3a31ffa5-7b1f-47c1-a724-a32efe650f03 |  | section | Phase 2
checkpoint-status | 6666fee7-c3f8-4bcf-9852-3949aba07b49 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | d98ae088-bbb8-42f3-8834-c9022351a33f |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 75d305f7-3d84-48ff-8553-2f8f975c6dd3 |  | checkpoint | Base of stairs cleaned
checkpoint-status | bf391c35-a534-4531-9523-89cc10ed8074 |  | checkpoint | Riser heights confirmed
checkpoint-status | ddd3f92a-d941-4e15-897f-3e5c524529a3 |  | checkpoint | Going lengths confirmed
checkpoint-status | d0f2f8ae-59d8-4e41-b4d7-35cb6b3c469d |  | checkpoint | Correct Class of Finish
checklist-sectioned | fe00b01b-b122-4723-a3a1-790b2a1bb502 |  | checklist | General Incident Notification |  |  |  |  | Yes | General Incident Notification | 44f7bcb8-4d6b-4350-8007-c340942aaa6f
checkpoint-group | d460d5af-5a72-463e-b3c9-c9a6be82b31c |  | section | Details of the person completing this form
checkpoint-status | 60d436d2-ffca-4974-beba-9274eb9db959 |  | checkpoint | Attach any relevant photos or documents
text | 1f173d14-761a-5dd6-a039-32f7c2b66981 |  | textbox | Name
select | a1fa773a-1a7b-5ba6-936c-00f9be770b75 |  | dropdown | Position | Site Manager, Project Manager, Construction Manager, EHS Advisor, Other
text | 692fc316-9ce7-57ca-be4c-69c6a25f6c41 |  | textbox | Contact number:
text | e51b1b1f-b1c0-54b6-b161-ac5c15bfe9f5 |  | textbox | Completion date
holdpoint | c99f0b3a-2353-437e-be08-dbcb62260b96 |  | signoff | Signature Required
checkpoint-status | 46cf230a-a945-458b-9f7a-8d361cab5c71 |  | checkpoint | Report reviewed by (mark if applicable)
boolean | 73466984-e38c-528d-8720-8672de39e5c1 |  | tickbox | Site Manager
boolean | 9726aeea-0b03-521a-b88a-220ab01cd0f5 |  | tickbox | Construction Manager
checkpoint-status | 1d81a458-d6dc-4520-9af9-1456c1bc45fe |  | checkpoint | EHS ADVISER ONLY – Head Office
text | e2ef83f2-a969-516c-b03a-ce46c9321fe8 |  | textbox | Date received
text | 20a53823-719c-5b57-9740-7e03cc2ae995 |  | textbox | Date closed (Final)
text | 40b249f3-4b81-5c96-9552-48a401eb952e |  | textbox | Date submitted to EHS Administration
checkpoint-status | ee4d70ba-a7ab-427c-bf29-ac913d8bb510 |  | checkpoint | EHS ADMINISTRATION ONLY Head Office
text | 74fdb73f-7e0c-574f-841a-0e2c49956b8f |  | textbox | Date received
text | 1f93c8e5-0b03-5b21-9e2b-948239c2d02e |  | textbox | Date processed
checkpoint-status | 8d685d50-49a5-4246-904a-3249268ec857 |  | checkpoint | EHS REVIEW ( EHS Manager)
boolean | 2a98b050-d6c4-5233-b6e3-17afd755bd38 |  | tickbox | Yes - If Yes, Reference No in comment
boolean | 9149302b-6240-54f7-88c4-28a29bbe1356 |  | tickbox | No
checkpoint-status | 186d4338-304e-4e6f-bfce-311f4c6e38ca |  | checkpoint | EHS System / SWMS amendment required?
boolean | 76742ff5-cea2-578b-a5f0-c758c057ac2a |  | tickbox | Yes - If Yes, Reference No in comment
boolean | 4c2f1a69-fcbc-5c0d-aa62-f304b56f8bed |  | tickbox | No
text | d3023cc8-e541-5432-94eb-b7f96b5df8a5 |  | textbox | Head Office EHS Manager sign off date
checkpoint-group | b16bbb5b-c129-46fb-99b1-7ca857fb4e05 |  | section | Incident Type
checkpoint-status | f31a5014-4b1b-4a52-8531-852448f541d9 |  | checkpoint | Was a person injured as a result of the incident? - If PASS Only complete an Accident/Incident Notification Report (Form No. 01a) - If FAIL complete this form
checkpoint-status | fdc1cbd7-6d25-4c7d-9122-d403df9c5b04 |  | checkpoint | Has an environmental issue arisen from this event? If PASS Only complete an Environmental Incident Notification and Investigation Report (Form No 01b) - If FAIL Complete this Form.
checkpoint-group | 40f2afcb-7289-49a3-ac1e-1915e774113a |  | section | Project Details
checkpoint-status | ce62569b-3883-437b-a626-e13bd1f264f4 |  | checkpoint | Report Status and Date:
boolean | fbd9e4f8-d51b-5df3-8101-27b43b04799c |  | tickbox | Initial
text | 8e0c4516-2e76-556c-bd44-fc4d0ddc15c0 |  | textbox | Date
boolean | c12a2c66-d3ab-51c3-a36c-ed1f97e0eb39 |  | tickbox | Interim
text | f8af5f0a-8e47-528b-95f8-3454fc2fdd31 |  | textbox | Date
boolean | 416e175e-b13a-51f7-a009-dc6850e29c4a |  | tickbox | Final
text | b554466e-2ef3-5540-8a95-c2ae0b9a1249 |  | textbox | Date
checkpoint-group | abace88b-0328-4e3b-9bca-f9386e4c92f6 |  | section | Incident Details
checkpoint-status | 9e9bf51d-986c-459b-88ab-dc8954b60c90 |  | checkpoint | Date/Time of the Incident
text | f46ef44d-b9f4-55ff-976b-0004965b03b2 |  | textbox | Date
text | 246b6ae9-c3fe-56f6-885b-936678424d27 |  | textbox | Time
text | bd600ca9-ed94-5561-9999-440666c45dc7 |  | textbox | Site location of the Incident
text | cdcdc3d6-8fa5-56d1-88e0-9a1d3d4b436b |  | textbox | Detail how the Incident happened
checkpoint-status | 48608c93-af3a-4391-98a2-59f665941b61 |  | checkpoint | Services affected by the event
boolean | 7d980aa4-b3a8-5d85-9f43-b194b5953b5a |  | tickbox | Electricity
boolean | cf726a90-938a-5f52-afa6-ed3b4ae9527a |  | tickbox | Potable Water
boolean | a5fa5c81-6f01-5084-8a83-2905ec78be8e |  | tickbox | Storm Water
boolean | d07250ff-495b-5d7c-b117-41218c7c5ffd |  | tickbox | Sewer
boolean | 4dade4c8-eae5-5619-8d52-207f0ade09d6 |  | tickbox | Fire Mgt Services
boolean | 3b90e5a0-8b6d-52f5-8f03-eaef194e53d9 |  | tickbox | Fire/Smoke Alarms
boolean | 9bfc3bae-4ce7-556a-8c67-352258245590 |  | tickbox | Air-conditioning
boolean | 5909a147-546f-5cb9-9f6e-b1c22e2e7fba |  | tickbox | Security/Access
boolean | bb601bb6-1a58-5b76-bd3b-5a736ba1fe2c |  | tickbox | Communications
boolean | 61d3ca19-7765-5e58-8ced-bf456c7a0638 |  | tickbox | Gas
boolean | 22f5d8b9-ca0e-5688-82b8-bd84f76ad828 |  | tickbox | Other
boolean | 4747c30c-a336-533c-ba56-e99cbc797495 |  | tickbox | N/a
checkpoint-status | d8bcebf6-f30d-4d57-87f7-20b176849951 |  | checkpoint | Detail the factors that contributed to the Incident
boolean | 578168bf-82a9-5aa7-ac75-6d907cf4c8cf |  | tickbox | Design/Layout
boolean | 175fc2ed-2780-53fa-afbc-927c6bb28550 |  | tickbox | Equipment
boolean | 0b926953-8615-5a80-9eba-54692df8bfc8 |  | tickbox | Operator error
boolean | 86ea1fdc-06f1-56b3-b6c8-47601a95ec75 |  | tickbox | PPE
boolean | 3b9679b6-f8d7-52ae-a0be-0bf454d18717 |  | tickbox | Training
boolean | dc389518-6d64-552d-be50-98466d011191 |  | tickbox | Supervision
boolean | 6cdae7fe-e917-5e93-aa54-69f291bd770f |  | tickbox | Unknown location
boolean | 86e46b41-ef97-574a-838a-226d87555f0c |  | tickbox | Other unspecified
boolean | 371eb0eb-d603-5a04-8a6d-2fc77fe396da |  | tickbox | Housekeeping
boolean | 7fd8972b-f371-5d6c-b8e6-05db1417ff4f |  | tickbox | Procedure (WMS)
boolean | 53e3f072-42a3-58fb-be38-fe9110c5e442 |  | tickbox | Weather conditions
checkpoint-status | 678e32a3-ee02-41c6-9fe3-d62a68b66d7e |  | checkpoint | Was a WMS supplied for this type of work?
checkpoint-status | 6e1b4c5e-0342-4864-87d1-35df9fa1e905 |  | checkpoint | Was the WMS approved by Principle Contractor
checkpoint-status | bdd92fea-9acc-482d-9bb5-bb841b4ad70d |  | checkpoint | Was the WMS signed by all personnel involved in the activity?
checkpoint-status | 5d3d45fc-d5e0-45d0-9721-77cf8ee0d86a |  | checkpoint | EHS Improvement Notice
checkpoint-status | 14f142d0-3a04-4644-a315-a80e302d9f5a |  | checkpoint | Was the work activity being performed in accordance with the WMS?
checkpoint-status | 732de1ea-207a-4283-b431-67aa020bfe20 |  | checkpoint | Was a Tool Box Talk held relating to this work activity?
checkpoint-status | a975d682-5ce8-4a2d-a4b0-b88318bc16ba |  | checkpoint | Was any external certification required for this work?
boolean | 0def7d08-7cce-5ad6-adfe-f2729bba49b4 |  | tickbox | If Yes, was it obtained prior to works commencing?
checkpoint-status | 3c165879-d91c-4e23-a7bf-b107219ca013 |  | checkpoint | Was any monitoring required for this type of work?
boolean | cba5379c-223f-5aa6-be4d-9abd9054d7b0 |  | tickbox | If Yes, was it in place?
checkpoint-status | e87684d9-7f62-4989-a30a-3b910e8be2d3 |  | checkpoint | Was an Authority to Work Permit required?
boolean | d9c2fd29-3e33-5f21-a934-62911a889846 |  | tickbox | If Yes, was a Permit issued?
checkpoint-status | 999d787f-e382-4f43-9358-51ec8932a6d6 |  | checkpoint | Were any Regulatory Permits required for this work?
boolean | 417b026b-8a0d-55cf-9606-f7617a682c78 |  | tickbox | If Yes, was a Permit obtained?
checkpoint-status | b6fa6b7e-5a43-429c-b4b7-448192426a40 |  | checkpoint | Was a Notice of Impacting Activity required?
boolean | e63e2c0a-92eb-51ae-87cb-65e3ffdd6983 |  | tickbox | If Yes, was it issued?
checkpoint-status | 88ebdc89-5a2b-46ae-a1af-67445850e3b8 |  | checkpoint | Estimated time impact of the event
boolean | 092a9f21-97c2-5d5c-b901-f8e49396b17e |  | tickbox | No impact. No loss of production.
boolean | 9601c0e7-54c3-58e3-ba61-cdcf34534c0e |  | tickbox | Limited impact. Production loss in localised area.
boolean | 6d652116-e53b-505a-88a7-2929404049e1 |  | tickbox | Major impact. Production loss across project site.
checkpoint-status | 3ed333db-6c8d-45ff-aede-446980259351 |  | checkpoint | Details of any persons involved in the Incident - Attach Statement forms to this report
text | d823e307-a69c-599c-a028-1cf29f81922e |  | textbox | Full Name
text | 70a15afb-1dac-5dbd-b628-7fa58844ed7c |  | textbox | Company
text | c0feaf97-77ac-5c09-9d31-0b7e533e7c39 |  | textbox | Contact No.
button | c0b6759c-b022-5708-9262-18245cf7d826 |  | button | Statement | Yes, No
text | e8158626-5d4a-59bb-bf38-94cfab3ec29a |  | textbox | Full Name
text | 1c4d535f-963d-518b-9ef0-0cbf7e495f5d |  | textbox | Company
text | 9f05824c-1aac-5bde-9094-2e76f6ce0681 |  | textbox | Contact No.
button | b69d4de4-de78-5522-a45e-7c37d74cb4c2 |  | button | Statement | Yes, No
checkpoint-status | e32f6cf7-8caa-4274-a95d-673988ffd983 |  | checkpoint | Details of any witnesses to the Incident - Attach Statement forms to this report
text | 237e5ee2-27df-54bf-8944-9529e8efaf2b |  | textbox | Full Name
text | 6d286b15-b5c0-5e92-8989-9334d2aab099 |  | textbox | Company
text | e5ccd465-ccc4-5f7d-ae1a-ba3b48e18050 |  | textbox | Contact No.
button | 754eaac0-f137-5b9b-b36c-e2d0a8519199 |  | button | Statement | Yes, No
text | 9fad4f2d-83f0-52dc-9b68-1f67c191e329 |  | textbox | Full Name
text | 3fef7105-56e9-5ef6-91ed-0f074df25147 |  | textbox | Company
text | a8045c48-a6f4-5f74-a43c-94099b36f6e8 |  | textbox | Contact No.
button | 02ebe7e3-8d9e-51d2-8486-ba3838230cdd |  | button | Statement | Yes, No
checkpoint-status | 0d1d45ff-a82a-461b-9c3f-8b3ef1f1cc02 |  | checkpoint | What actions have been implemented to prevent similar Incident
boolean | 3c55f730-c55b-5444-889e-b3ad0f9ab42a |  | tickbox | Equipment change
boolean | 0b81303e-4e8f-5ca7-9359-29124c281f01 |  | tickbox | Certification obtained
boolean | 3425f727-8965-5ab7-8346-9f27ccc12d08 |  | tickbox | WMS change
boolean | 0f2049d5-cddf-5b04-909a-6e672b295cec |  | tickbox | PPE change
boolean | 2192028f-440f-55ee-b79c-2d6fff65c5a2 |  | tickbox | Site Meeting
boolean | 845bcd55-a1c1-5bdd-bc1d-2f00abc59096 |  | tickbox | Toolbox Talk
boolean | 931b3ec6-b6be-5932-95d8-f6975b09b7cb |  | tickbox | Housekeeping
boolean | c0063800-044e-5b5a-bb04-32f98fd44e38 |  | tickbox | Training
boolean | f4cd21d2-28f3-57fd-9e28-66cddc1e2f9b |  | tickbox | Other
checkpoint-status | 4e1a215a-f930-49f8-a2b8-f7a9badfa17f |  | checkpoint | Has an EHS Instruction been issued to the P/C company or Bosform?
checkpoint-status | 1d5a5239-6d25-453f-947a-9ad2d53788c0 |  | checkpoint | Has an EHS Improvement Notice been issued to the Bosform?
checkpoint-status | 4ecce2fe-aab9-4568-b1b3-56e9a3d6a573 |  | checkpoint | Has a Risk/Hazard Assessment been completed?
checkpoint-status | 829fcbb0-e496-4de7-863a-98188c0fbca8 |  | checkpoint | What Hierarchy of Control measures were considered in the corrective action
boolean | d186c924-a5c9-5d76-b014-284581bf0808 |  | tickbox | Elimination
boolean | b5b4256c-6976-5711-88a8-54b18d354bdd |  | tickbox | Substitution
boolean | 24a32e0c-61ce-5c34-8ff4-939039e3c12c |  | tickbox | Engineering
boolean | dc1ec8b4-3dfb-5b88-83c0-584faa948346 |  | tickbox | Administration
boolean | 402f9a4f-1930-556f-a8d9-e95253bc6fe2 |  | tickbox | PPE
text | 426a8773-df17-545e-9ac9-b03b1a05edc5 |  | textbox | Date of action
text | 40cc0596-28bf-5245-aaaa-0f0ffbd8d165 |  | textbox | Responsible company/s
text | b617f0a8-523d-5eb2-99f2-606d5c09aa9e |  | textbox | Review date
checkpoint-status | 89ed5001-226d-4a2f-91fa-cccdf307dad9 |  | checkpoint | Statement/s
checkpoint-status | b2407a55-8098-4306-b98f-719db966561d |  | checkpoint | Monitoring certificates
checkpoint-status | 80a0d784-0db9-40f9-9a0f-9240ff08bcab |  | checkpoint | Site Induction forms
checkpoint-status | 4e0df7dc-66d5-4ef7-bed8-e6cdf5ab27c3 |  | checkpoint | WMS relevant to the activity
checkpoint-status | 5880a9c2-8e0a-4e4d-947e-dca390dc2ea5 |  | checkpoint | Tool Box Talk or Meeting form/s
checkpoint-status | b30fc5e9-d45e-4527-9b75-c099925158d7 |  | checkpoint | Engineer certification
checkpoint-status | 91819009-f733-46ec-aa85-f0436d15879d |  | checkpoint | Photos
checkpoint-status | 1f9522cb-5e0a-4b52-8cdb-b82a24963c76 |  | checkpoint | EHS Instruction
checklist-sectioned | f4118a33-a5b5-487a-994b-6c505c4214d9 |  | checklist | Jump System / Climb Track Checklist |  |  |  |  | Yes | Jump System / Climb Track Checklist | 552d3864-f31b-46db-a5fd-e63e25f9bd3d
checkpoint-group | e653dbb2-e7a8-4cfe-b6b1-71fde6df00eb |  | section | Pre Lift
checkpoint-status | bd864219-c91b-48db-af10-1ab6688c6e4d |  | checkpoint | Confirm concrete strength MPA 15 has been reached at connection points (Builder to supply)
checkpoint-status | 7b4d13eb-aa33-474b-8783-e6ec377e2893 |  | checkpoint | Signage in place (Stripping in progress/Jumping in progress/ No access)
checkpoint-status | 3e8a3059-cc66-4725-afe2-7e882e39b809 |  | checkpoint | Exclusion Zone in place
checkpoint-status | d0bc1c8f-4ae8-49b3-bcfa-02f1878131f9 |  | checkpoint | Spotters in place on slab below jump (outside exclusion zone)
checkpoint-status | 0ba69542-af09-4b7b-a813-fc65f4bc6137 |  | checkpoint | All Platforms cleaned and clear from rubbish
checkpoint-status | 7985224f-f469-4f41-acd2-5f5970dc4416 |  | checkpoint | All loose materials removed from edge
checkpoint-status | c5f78294-8827-4f87-b110-ded3fe98784a |  | checkpoint | Clear communication between team leaders and Crane crew (toolbox talk)
checkpoint-status | eb57dca6-9f38-441c-9b60-e1cdfbc95a95 |  | checkpoint | Ladders available and secured
checkpoint-status | 798b8ea6-a336-4696-a5f7-5c3cd5a75179 |  | checkpoint | Flipper systems lubricated
checkpoint-status | 8c97b8c2-6de9-4f9c-ba39-218c8ce4fa3f |  | checkpoint | Trailing Decks clean of debris
checkpoint-status | a0590ed5-5c83-4374-8c8d-6b0b5d1a2ffb |  | checkpoint | Trailing decks clear of protruding ferrals in walls above
checkpoint-status | 7657904a-4f1c-4fbe-868f-b92fa0ada964 |  | checkpoint | Check exclusion zones in pit below are in place
checkpoint-status | 76d11b57-194d-419e-b854-91dcca9a9e21 |  | checkpoint | Plumber to check pipes to water cooler
checkpoint-status | 01ef22a5-71dc-447a-984f-e25638c8278c |  | checkpoint | Transfer RL heights
checkpoint-group | f0b444ce-573a-44a7-80bc-6dcc9d511384 |  | section | Post Lift
checkpoint-status | e1c169aa-7395-4340-9ecc-0fb7a3aa19d5 |  | checkpoint | Confirm connection points are secure and all engaged
checkpoint-status | 67d1e98d-14ce-4a87-8867-3d7f2ae73521 |  | checkpoint | Confirm mesh secured to doors and penetrations
checkpoint-status | c164033b-604d-4ebf-91de-77d1d5c6020d |  | checkpoint | Signage in place
checkpoint-status | a311e9be-4e6c-468d-9c46-ff6fd589cdfa |  | checkpoint | Screens and mesh infills are in place and secure
checkpoint-status | 3ca31c1c-7e57-4b6d-9bf1-015d72fbbae9 |  | checkpoint | Loose materials are stacked and secure each day
checkpoint-status | eb0da31a-024b-4656-a2c1-53ca0e4e9b7d |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 1eed0b54-db76-4d27-a530-60a10e524081 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 79c5f608-833b-4925-b5ac-0e44a78aa140 |  | checkpoint | Loads on platforms not exceeded
checkpoint-status | a422e84b-4b2b-492b-b39c-ec3859c8ac14 |  | checkpoint | Ladders available and secured
checkpoint-status | c2de2d79-5aa3-42fe-801d-bc1cca70036c |  | checkpoint | Access is clear and marked
checkpoint-status | 9115717a-d6c8-40fb-a8d9-e05d6160c064 |  | checkpoint | Power Board connected
checkpoint-status | fc9ca262-4330-40c2-9696-7d11aebe50ce |  | checkpoint | Confirm ready for lift with all involved - Team Leaders
checklist-flat | b4c8aed5-ff60-454d-bd45-023b59b86759 |  | checklist | Injury Form |  |  |  |  | Yes | Injury Form | 5763830e-9a58-4e83-b605-d45c771d9e55
checkpoint-status | 157740af-51b5-4569-8b22-36ec3690ae41 |  | checkpoint | Injury form completed
text | 376206d8-51f0-5a8d-b914-da94401ee9d7 |  | textbox | Date of incident
text | d03e26f3-d520-524e-9925-6fc512e44edc |  | textbox | Time
text | d899ad0f-c1d6-5645-b9ed-3e2ba0769ba4 |  | textbox | Site location of the accident / incident
text | c4e92875-360d-5a4a-8681-7f361fd66ff3 |  | textbox | Detail of how the accident / incident happened
label | 23b2e140-53bc-5ec2-b961-4d36f730903b |  | note | Details of injured person
text | 35a5c878-8694-5d21-b740-61aed3884ade |  | textbox | First name
text | 20dc0aba-b368-5de6-9ed3-b161b9b93468 |  | textbox | Last name
text | b783582d-20cb-5489-a1e0-91974481ec2c |  | textbox | DOB
text | 380ce4ba-ead0-5514-9fd9-8bb942ba0d82 |  | textbox | Contact No
text | 6a6ff1c9-e5eb-5599-883a-336d82ac5710 |  | textbox | Address
text | dca88f51-bf47-55c5-8564-6ee22099f3df |  | textbox | Company
text | 14d09e43-cd3b-5092-9a29-ba3628bb3c19 |  | textbox | Trade
text | dd2ed5d5-da2b-50cc-8968-91a5aaa48092 |  | textbox | Date Inducted
select | 87a3a4a7-b41a-577d-8eef-309d4af54a8c |  | dropdown | Location of injury | Amputation, Bruise, Burn, Concussion, Deafness, Dislocation, Foreign Body, Fracture, Hernia, Inflammation / Infection, Internal Injury, Laceration / Cut, Occupational Illness, Open Wound, Poisoning / Toxic Effect, Strain / Sprain Twist
select | c89441cc-7a3d-5bd3-83a3-040ef8745509 |  | dropdown | Location on body | Front, Back, Head, Neck, Torso, Left Hand, Left Arm, Right Hand, Right Arm, Left Leg, Left Foot, Right Leg, Right Foot, Other
select | 0444cd71-c946-5d76-a669-e5ee703050cb |  | dropdown | Treatment | No First Aid Treatment, First Aid Treatment, Medical Treatment , Lost Time Injury, Fatal Injury
text | 599e1283-eea3-560a-b868-ac3b86386eba |  | textbox | Initial treatment given
text | 63927a4d-581d-5d22-b3da-9938281dd808 |  | textbox | Was follow up treatment provided
text | 48d4e1ac-e1f8-57be-9efb-2e41dab2e80a |  | textbox | Medical centre / Doctor / Hospital attended
text | 9be298a5-c50b-53b6-9515-dc211c26d9e8 |  | textbox | Date / time attended
button | 0d94aa5d-0546-5740-9cf6-e40fa8566c48 |  | button | Regulator notified | Yes, No
label | 28d286f6-a248-53e0-9a11-d5ff762b25ba |  | note | Witness details
text | 420a058e-f0b7-5647-9592-ebda5b8219c5 |  | textbox | Witness name & contact details
text | d3145da3-7c87-5680-92a8-7d451deebb0d |  | textbox | Witness name & contact details
select | 96b469b6-b553-58c3-8f22-122f95e3d906 |  | dropdown | Event details / cause | Falls from height, Fall from same level, Hitting objects with body part, Exposure to mechanical vibration, Being hit by moving objects, Exposure to sharp sudden noise / long term noise, Exposure to extreme temps, Exposure to radiation, Exposure to biological factors, Exposure to mental stress factors, Vehicle accident, Muscular single / repetitive movement, Contact with electricity, Contact with toxic chemicals / substance, Other & multiple mechanisms of injury
text | 8b6ac334-b3ba-53b2-8d50-e0dd07d2465a |  | textbox | Other
label | 8633a79b-2531-5c86-b61a-91481bf14b17 |  | note | Injured worker: I confirm the information recorded in this register is to the best of my knowledge true & correct & I give consent for this information to be provided to Bosform for my incident investigation & reporting purposes
checkpoint-status | c29d30eb-1f7b-43ee-aa9c-1e1e7f96048b |  | checkpoint | Signature of injured worker
checkpoint-status | f5c2d0c9-6f7c-4cad-83d5-b4d866844674 |  | checkpoint | Person completing this form
checklist-flat | c6995e80-7078-45f4-913e-1ffbc555632f |  | checklist | EOT Record |  |  |  |  | Yes | EOT Record | 599d2905-41d9-47b8-8a1c-0d6ec11b59e4
checkpoint-status | 895beb79-59e4-48da-90d9-d06acd4a0154 |  | checkpoint | Areas of work accessible for the day
select | 6debe700-6c85-5ec4-8adc-4043be447123 |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | 27abb92f-8ca5-5867-8f4c-3b7ed9dac720 |  | textbox | Date
text | 6d0df4c6-a710-5722-aa25-b8f97d687b8b |  | textbox | Year
text | 4df1eddc-6fc8-588e-ac39-1ff3763b1737 |  | textbox | Number of workers on site
checkpoint-no-status | 0579d694-c727-4b55-8b58-9321d6c066a7 |  | checkpoint | Weather conditions entered
select | bfb3a0da-886b-5139-8592-10f619d78657 |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | 62218581-1d94-539e-87f2-da79bc1d231e |  | textbox | Weather predicted
checkpoint-no-status | 0175f384-a4c4-4f03-8fcc-3db772b66ada |  | checkpoint | Delays from inclemency
text | 87822cf4-d336-56ac-9f57-45be8637d2bc |  | textbox | Total Hours of delay
select | 7d77c230-4956-561b-ac23-764f13e06c8a |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | 776864fc-bbe6-489c-9776-6d089d03133e |  | checkpoint | Delays from Builders or Others
text | 8cb76361-61a6-5a75-9a6c-1f53c83c8da3 |  | textbox | Total Hours of delay
select | 25b58cdf-00e0-5b17-a79a-965e5031e80b |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checklist-sectioned | 9ef01b24-d953-43ab-acd4-39d3794276cd |  | checklist | Hoist |  |  |  |  | Yes | Hoist | 5a6cad42-0df2-4f33-b263-5d9101ff9dcd
checkpoint-group | a219c46c-05ba-4cdd-8a50-a7ed8ca71d1c |  | section | Install
checkpoint-status | 49fa1aa7-44d3-4914-a32f-843ac1c3db8e |  | checkpoint | Area accessible & ready to receive hoist
text | 2a704f34-8cd4-53cb-a895-4b3568e66861 |  | textbox | Hoist ID. Number
checkpoint-status | 19f3b73c-cedb-4061-aeb9-56868641e280 |  | checkpoint | Adequate Crane or Franna to install (heaviest lift required 4.5 tonne)
button | fe36c719-a422-59ae-aa48-5e3ff269c532 |  | button | Copy the Certificate of service and service history onsite | Yes, No
text | e3aef2a1-3399-5ed0-8714-d5f7c9717676 |  | textbox | Name and Number of Rigger
checkpoint-status | aa54209f-b7c4-4491-8f3d-a58a7fee5b84 |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
holdpoint | 42861148-f35c-42da-920c-e40231d36e5b |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 9dd0b98c-fd5a-4d28-ad32-eec9f3c39ff8 |  | checkpoint | Scaffolder on site to assist in edge protection if required
checkpoint-status | c8cf248c-333f-47c9-9dcc-8972b96d8bbc |  | checkpoint | Signage in place
button | e0ebd2a1-43f7-57b9-a9ad-b3b5214da678 |  | button | 3 Phase power accessible and adequate circuit breaker 75 start Amps at power sorce | Yes, No
checkpoint-status | 278f4e00-4d6b-4358-8ad3-2a6f7e09d1c8 |  | checkpoint | Exclusion Zone around required area
checkpoint-status | bc003ec2-26b0-48ee-a878-4cb7912ecab5 |  | checkpoint | WMS ready and signed on to
checkpoint-status | 0445f58c-51f4-4e2e-92f8-40ef2496d758 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 4adda389-4b97-4702-8df9-70af5ef49602 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 1fc2dee0-785d-49b9-9376-92b4ca33a848 |  | checkpoint | Gates installed
holdpoint | 6e1f5c71-3b3f-4bd4-8ecc-405d14a134d7 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 3718d103-e033-47eb-b271-bdd71a1a6886 |  | checkpoint | Log book for hoist is onsite and in good condition
button | 0ba5d418-b4b4-5348-afad-11975008ae63 |  | button | Copy of Bosform commissioning sheet on site and completed | Yes, No
checkpoint-group | 43867852-e3c2-4c27-9460-cdfc53b9ea04 |  | section | Hoist Jump and Dismantle
checkpoint-status | f5ec4757-e140-4605-af6e-da6c566a4240 |  | checkpoint | Ensure exclusion zones are in place
checkpoint-status | 5dd3742a-3da6-4815-98de-5ed1883131a2 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | a9d1db81-72f3-4aff-bc34-140a37cbad7c |  | checkpoint | All loose materials removed from edge
text | 58bdfe54-eff7-527a-9f3f-a0241bf5db43 |  | textbox | Name and Number of Rigger
checkpoint-status | f1fc6770-ab26-42fa-a564-8930046f0bdd |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
checkpoint-status | d3c936bb-8fc2-481f-ab7c-fbb13f11411f |  | checkpoint | Scaffolder on site to assist in edge protection if required
text | ec12e915-9543-5a66-ab13-55444de1e52b |  | textbox | Level Number to be Jumped to
checkpoint-status | 8d4a5461-f07c-435b-a477-5754b454e696 |  | checkpoint | Gates installed on Level/s to be exposed once lifted
holdpoint | 1f65bf90-08f5-4cb6-9474-3c9e54d7c420 |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 5e97b4de-6d19-475a-997a-b5234f678dac |  | checkpoint | Signage in place
button | 422fdd05-9f93-59a5-9a44-ba9ab595dc61 |  | button | Hoist Screen installed if required | Yes, No
holdpoint | cfec6ae8-54fa-45aa-a764-aa6d3ef35889 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 02fb841f-a80f-4fed-93c0-a5c0daba307f |  | checkpoint | Remove exclusion zones and barricades
checklist-flat | 713054e7-1e90-4b8e-b534-781fc7b596db |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Toolbox Meeting | 6ac08908-0b02-46a0-981c-706b1217db75
checkpoint-status | 7d29b393-bcac-48ba-bb31-e799e88546b0 |  | checkpoint | Toolbox signed off - Attach an forms
text | 15b9654f-4ab8-5764-8f2f-63e5842064db |  | textbox | Work area
text | 731e2f0e-1ce1-5a60-a49e-b1a9d6945ae0 |  | textbox | Supervisor
text | f9d216b0-f03d-5bcc-b5a8-ab8e25fc64a0 |  | textbox | Date
text | 6cec92b8-a250-5b98-bbfb-da2b502db967 |  | textbox | Time am / pm
text | 185c7636-f34f-5a10-8d2b-96a18b60f714 |  | textbox | Actions from last meeting
text | 510e2e96-494e-57e3-a100-fcbd68246082 |  | textbox | Injuries last week
text | 954cb1b5-6d07-536e-ae28-4d8424c1fc85 |  | textbox | Near misses last week
text | 4739b011-c8aa-504b-b78a-76b17e5d478e |  | textbox | Safety Items discussed
text | 7e05e43e-72d5-508d-b4ce-4c87d0e7ff14 |  | textbox | Comments from the floor
text | af041f53-46ed-5b3a-85be-da5617034a38 |  | textbox | New business
text | 494cdb2f-77c6-5b95-9dcf-3ebc70984163 |  | textbox | Attendees
checkpoint-status | 6b27ea8d-1f16-41e5-bc86-511eb854b194 |  | checkpoint | Attendance verified
checklist-flat | 4e0b126c-ce08-4830-a61a-52686caf88b5 |  | checklist | Suspended Slab Checklist |  |  |  |  | Yes | Suspended Slab Checklist | 759776e2-b52d-4768-bce4-25e96c429518
checkpoint-status | e76224c2-f8a6-4baf-950b-ffb655e0d7cb |  | checkpoint | Area accessible & ready
checkpoint-status | 5883999c-bc12-4121-9f1a-b5824bebfee7 |  | checkpoint | Drawing references entered
checkpoint-status | 32086b26-2e61-46b2-a626-3740de93b337 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 37663e47-3a2c-4aac-9744-0d754fe1b2e4 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 0bbb125c-0e50-458e-9982-cc6eda9eeda6 |  | checkpoint | Grids marked by builder
checkpoint-status | be79dd77-f9e9-4579-a718-d3280a877227 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 6b885b34-d629-4cfd-83fb-3821c7cb0371 |  | checkpoint | Fillet & drip mould installed
checkpoint-status | f3ad6a38-0500-4e68-8185-e8c4c3164294 |  | checkpoint | Check set down position & RL
checkpoint-status | 0073194f-fbd2-4045-923f-d5d6e9336e90 |  | checkpoint | Check penetrations installed
checkpoint-status | b2e32643-e968-4b92-9920-090228044c04 |  | checkpoint | Prop drop head wedges are secure
checkpoint-status | 773a1399-03e8-4667-86f0-18b5b9440bd5 |  | checkpoint | Column blockouts installed
holdpoint | f828118a-49c3-4e71-ab19-9b85bcf6d9d2 |  | signoff | Inspection by site engineer
checkpoint-status | 27205a96-c3c8-4f28-9430-6569a48efba2 |  | checkpoint | check back propping as per design
checkpoint-status | 9c8e1c95-cac3-4a32-a917-15a44c10c264 |  | checkpoint | Blow off deck
holdpoint | 0cb30fe0-9a32-4621-bd88-7d26cd2ce57d |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 1191ee7e-41ed-40db-a580-318412f00b15 |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | 1423da16-5e9c-426f-97ab-291caac28883 |  | checkpoint | Correct Class of Finish
checkpoint-status | b7a16639-95ae-42d7-bc1e-fff00ff24d2b |  | checkpoint | Stripping, cleaning & materials removed
checklist-flat | bcd49338-43b0-4ddc-bf69-26f77df2c932 |  | checklist | Deck Handover |  |  |  |  | Yes | Deck Handover | 7fab4941-7038-4cb1-b104-9ba4387b1b10
checkpoint-status | b3582b4c-b4cc-42c6-93b0-cb73160e3b64 |  | checkpoint | Communication between all trades
checkpoint-status | 901ed5eb-9328-4a01-a09b-6263750410c5 |  | checkpoint | Signage and barricades in place
checkpoint-status | 967f0470-0547-44ae-83e5-784c139d54ec |  | checkpoint | Deck clean and clear of materials
checkpoint-status | a6741926-13ec-42c0-8fab-275dde2598da |  | checkpoint | Loose materials are stacked and secure
checkpoint-status | cc67eb58-e311-49a0-8715-a9d9e59fa34b |  | checkpoint | Any backpropping required to handle loads of reo and other equipment
checkpoint-status | ec7e9e0d-0834-428a-bfa0-1d9f8d6b8d31 |  | checkpoint | Designated walkways established
checkpoint-status | d5332502-ca5d-4d48-808a-9c9a27287dc5 |  | checkpoint | All loose materials removed from edge
checkpoint-status | ce41f08a-2317-478a-a82b-c5b79b6b2618 |  | checkpoint | Are all penetrations covered and secured
checkpoint-status | a3dde977-9902-4044-980c-c7b5b0e1d43c |  | checkpoint | Rubbish bin on Deck
checkpoint-status | 3cce11a7-1a11-4875-a5be-d1d63f80a696 |  | checkpoint | Perimeter Screens / Edge protection installed
checkpoint-status | 24882a1e-f27e-4e79-9554-ffbc6ae96865 |  | checkpoint | Correct spacing of frames, props and timbers
checkpoint-status | f6ed90ec-4000-4b77-975c-a7f1cc1c3461 |  | checkpoint | Correct joist and bearer sizes
checkpoint-status | e5e26b21-e19e-432e-b645-907b0460c4db |  | checkpoint | Acceptable jack extensions
checkpoint-status | 33a74566-c628-472e-af2c-6addb469269e |  | checkpoint | Quality of materials
checkpoint-status | 427eb391-7186-49bf-96f0-0a5daa063ea1 |  | checkpoint | Adequate bracing to ensure stability
holdpoint | 194fc381-19c8-40e1-ba2b-f5ec279a8aa9 |  | signoff | Deck Handover signed off
checklist-flat | eca3d1dc-47df-4bb8-b00e-58c6edfc81a1 |  | checklist | Weekly Labour Hire Control |  |  |  |  | Yes | Weekly Labour Hire Control | 80be1a3a-827f-4737-8e24-f8c3587f39c9
checkpoint-status | b1b1643c-0575-461f-af7f-3b231705b0f9 |  | checkpoint | Tuesday
text | 6c225361-8934-5f00-8fb0-e1344b737fcc |  | textbox | Date
text | afd47255-3bba-5a35-bcc8-79971997372f |  | textbox | General Comments
checkpoint-status | b0bec466-4428-493f-99ab-81c4b79a08d5 |  | checkpoint | Wednesday
text | 61714ddf-79b5-5472-9786-86765ebfd2d0 |  | textbox | Date
text | 7a844297-fbb7-55ec-9817-261f2199c106 |  | textbox | General Comments
checkpoint-status | 371d1f4e-2a7f-4991-a704-0149f5057a4e |  | checkpoint | Thursday
text | 58d14ae4-ddaa-501c-b900-03154781ae43 |  | textbox | Date
text | 8bf58483-ccdc-50dd-9aac-0a88b59abb14 |  | textbox | General Comments
checkpoint-status | 8d0e4afd-6784-42ac-b30f-4c81201ce3a3 |  | checkpoint | Friday
text | 9b5e8f52-9d2f-5120-bf33-94beb8298823 |  | textbox | Date
text | 41a1f3f2-4472-5966-a1a2-542c666fb1ba |  | textbox | General Comments
checkpoint-status | b0acddcf-a4ba-485a-a544-a9a6418fc952 |  | checkpoint | Saturday
text | b0cfc3b7-4c5d-587e-a54c-f0ac48910bd9 |  | textbox | Date
text | cc7c376a-dceb-58d9-b534-d582196dc730 |  | textbox | General Comments
checkpoint-status | 4b924437-bb7f-451b-9281-fe0018af82d5 |  | checkpoint | Monday
text | 66243ea2-c74f-5df2-9fda-b66b3da50a31 |  | textbox | Date
text | 07129ffc-ef4a-5d6c-a575-8bf6b8235aa0 |  | textbox | General Comments
checkpoint-status | 1397ad0f-1741-40fe-b203-4fa4e456fbc8 |  | checkpoint | Tuesday
text | e64d0f89-2209-5c75-b9b5-b363fc1b8e73 |  | textbox | Date
text | 49fdbc33-5ceb-5076-964a-8ac06d66d974 |  | textbox | General Comments
checkpoint-status | 7da11a9f-bc20-40c4-aaf4-d8446832bef0 |  | checkpoint | Please Attach Time Sheet
holdpoint | a81fc46b-619e-4ef0-a82b-3565a19c26a3 |  | signoff | Client Confirmation Signature
checklist-flat | 7a352287-ccd0-4e46-bda5-d0864dbacbb8 |  | checklist | Daily Pre Start |  |  |  |  | Yes | Daily Pre Start | 936da138-0851-466f-93bb-ee0604f68818
checkpoint-status | 77b49b66-94cc-4067-8e63-8608e14e257e |  | checkpoint | Daily pre start meeting completed
text | 4b5ecec5-be7d-5b0e-88c8-735259159bc7 |  | textbox | Date
text | df27524e-cb2f-512f-9190-e5bc7e0bd473 |  | textbox | Time
text | efc75d2b-10b6-5722-96af-345c6ac143ea |  | textbox | Location
text | e3c58655-0d04-5e4f-a79d-f299d6a63187 |  | textbox | Supervisor / meeting leader
text | 6a0d9995-552e-5eea-876c-84948b0dcacf |  | textbox | Project Manager & Construction Supervisor attending
select | 3c24d24d-e499-555f-86b3-c006eba74486 |  | dropdown | Current weather | Rain, Wind
text | 813a556b-295b-53ae-a8ea-d6d34c074bd7 |  | textbox | Temp
select | 77df28c0-bd98-5da3-8e86-f29180bfd68b |  | dropdown | Forecast | Rain, Wind
text | 604ffc7d-dca1-5cd8-bffd-5690027758e5 |  | textbox | Temp
button | 53291a27-ebd0-5956-8b7e-85c2c17d30d6 |  | button | Is everyone fit, well & healthy, not showing any flu like symptoms | Yes, No
button | 1524ce3b-5577-54bd-8a44-af5b4ed6106b |  | button | Have any workers travelled interstate or been in close contact with anyone with a positive COVID 19 test | Yes, No
text | 559b6c3c-4d17-5440-a06e-687988e2bf0b |  | textbox | Any issues from the previous day
button | 6a51ebed-b572-5f34-a141-7dc4c012b758 |  | button | Do you need to change SWMS | Yes, No
text | 55fe7cac-13a3-5796-ae93-a020a147f74b |  | textbox | First aiders on site today
text | 53ae8334-a7e9-5a0a-8eca-24a9ac3ea15d |  | textbox | Apprentice & who are they assigned to
text | 27cfd5e0-efc9-5395-81de-3f338cb9a68b |  | textbox | Apprentice & who are they assigned to
text | fd0155d5-9c6f-5cf6-92b8-49526adac130 |  | textbox | Apprentice & who are they assigned to
text | 8ef02f25-05d0-5ecb-a211-652c86a90768 |  | textbox | Todays tasks / jobs
select | f41edf25-3910-56ce-8891-d24ba66f77d4 |  | dropdown | SWMS name & number | 02 Ground works, 03, Hand & power tools, 04 Operating generator, 05 Compressor, 06 Columns, 07 Walls, 09 EWP, 10 Loading / unloading trucks, 11 Manitou forklift, 12 Weld oxy, 13 Patching, 15 Stair / lift core, 17 Meva system, 18 Faresin system, 19 Conventional formwork, 21 Peri system, 23 Catch deck, 24 Pallet trolley
button | c3255d4e-dc60-5513-be50-4818d0524249 |  | button | SWMS in place for all activities | Yes, No
button | e40fd74f-a5e0-550c-ae6a-e0f27c001757 |  | button | Hot works | Yes, No
button | 4e0846c7-58dd-5292-a350-c54f0e537d70 |  | button | Excavation | Yes, No
button | 9fb73b81-d21b-5127-8f81-3398eaf4a1f7 |  | button | Ladder | Yes, No
button | 31867943-acc6-5b02-80f5-594836686afa |  | button | Core | Yes, No
button | 0335a12a-8c2c-5ec3-ab57-cfab5203467f |  | button | Are any hazardous substances being used or will be brought to / or stored on site today | Yes, No
text | 23e67127-7631-5cb1-87f6-6e5c1e3a6c41 |  | textbox | If yes, list the substances
text | 530714ba-7242-5c83-862a-2c6bf1eb1cb8 |  | textbox | Attendees
checklist-sectioned | d9a4a24b-4a8c-461f-9ac6-3952542b0148 |  | checklist | Screens |  |  |  |  | Yes | Screens | 93a1a936-9e6e-4441-82d9-da6e5800bc31
checkpoint-group | b3e413de-b227-46e2-b4e4-1feffc9d0a7d |  | section | Pre Lift
checkpoint-status | e748071f-a15e-413e-b727-43b6f1d0ed5e |  | checkpoint | Area accessible & ready
text | f8217153-19c7-5fa4-aef8-0b3eb40d36c8 |  | textbox | Screen number
checkpoint-status | 04b748b4-4bc3-4380-af81-c314eb43d80d |  | checkpoint | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 68a2faaf-ac9b-4b0e-b51a-3a3b9b400708 |  | checkpoint | Signage in place
checkpoint-status | 508dc49e-fb8b-40a8-b213-468b6f5ee488 |  | checkpoint | Exclusion Zone with name and number of supervisor– Ground level and Slab level
checkpoint-status | 8aee20e4-009b-445a-9ea0-4d636d912185 |  | checkpoint | Spotters in place
checkpoint-status | 00b2bfb2-7889-413a-9569-8cd875d94de3 |  | checkpoint | WMS ready and signed on to
checkpoint-status | 166423cc-d34d-4adf-95ca-159377fd1e6c |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | fff94660-6941-4553-b375-4aca49f33f76 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 6df0f1ee-002c-4ab3-9b74-c4746b89007f |  | checkpoint | Edge protection installed on Level/s to be exposed once lifted
checkpoint-status | 3ed6a44e-8169-4d9b-a949-00f1079be6b5 |  | checkpoint | Deflector shields removed
checkpoint-status | 1e6f3153-65d7-46d6-be2e-9dc1d8f1983d |  | checkpoint | Radio communication woking between screen crew
checkpoint-status | b3291332-6988-48ce-853c-c14a65e495a2 |  | checkpoint | Hydraulic lifting Apparatus installed correctly if using lifter
checkpoint-status | 55ac4ab0-2900-4e4a-b3ee-0848afe1350e |  | checkpoint | Screen Free from Debris
checkpoint-status | e1e71e0c-cc28-4f7e-9eae-ce7468a09e20 |  | checkpoint | All wire infills detached
checkpoint-status | 1ce974bb-b371-4227-ad2b-573a7787ee03 |  | checkpoint | Confirm ready for lift with all involved - Team Leader
checkpoint-status | 85b7483f-4af3-4c0d-9b1b-bf64af9432a0 |  | checkpoint | Work at heights permit completed - attach or take photo of permit
checkpoint-group | c2420c94-2615-4abd-b087-043db1d057d2 |  | section | Post Lift
checkpoint-status | 88d5b439-5566-4e79-9d53-38a26ea047e5 |  | checkpoint | Ensure all gaps are closed
checkpoint-status | bac64c1d-064f-4740-9e52-5635280c07c5 |  | checkpoint | Mesh to be install where required
checkpoint-status | ee2f3c02-873a-4f7f-8198-4e2220b5e08f |  | checkpoint | Double check all needles are secure and double nuts in place
checkpoint-status | 46613571-d32a-48cc-8c08-94f6372ec4ac |  | checkpoint | Clean and clear area
checkpoint-status | e00d6399-20c9-4088-964b-7a96c3445294 |  | checkpoint | Remove exclusion zones and barricades
checkpoint-status | 8e65c0a1-235c-46f6-83d9-56507bcfdb06 |  | checkpoint | Bar caps for protruding z bars
checklist-flat | 89e7e17a-a385-4bd1-9c59-90dcdfccdfcb |  | checklist | Site Diary |  |  |  |  | Yes | Site Diary | 95d5c67f-0fdb-45b1-919b-83a78fab6d85
checkpoint-status | 5267609b-57df-4fab-907c-b6ed878717ff |  | checkpoint | Areas of work accessible for the day
select | facb691f-85d2-5e30-9204-0ff6d3935b72 |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | e199d3f4-9922-5769-a380-e05aa718786b |  | textbox | Date
text | e717a984-4169-5928-ae2d-0d7f4dd60ac5 |  | textbox | Year
text | 236a62e9-8f38-50cc-8de8-c978aeb0e391 |  | textbox | Number of workers on site
text | 5f768762-ce32-5209-805d-1afcc1c2a33b |  | textbox | HSR on site today enter name
text | d7a37d63-53e8-5ce9-bc28-65a4d91b70d8 |  | textbox | First Aider on site today enter name
text | 6a4835ba-cb01-5619-aef3-603ff569a720 |  | textbox | Injury on site today enter name
checkpoint-no-status | 918b97a2-9fb9-4d1b-bb89-5d6686e1a5be |  | checkpoint | Work area 1 details entered
text | 9b47cb5e-cda2-532a-a1b7-a0e90d2de127 |  | textbox | Area
select | bd99cf38-0b4c-5131-b898-fc4b2451dc79 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | cf13fd3b-c210-5cdb-ae11-0a736f173ddc |  | textbox | Comments
checkpoint-no-status | 97d2c956-b70e-4694-b752-11353393ded4 |  | checkpoint | Work area 2 details entered
text | cec3f73c-5cfe-5eb5-b9d2-1e34c7bcb5c2 |  | textbox | Area
select | 9e4cd9fb-714e-585e-b7a7-16727c20eb9a |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 81c90767-3e3a-545b-a3e5-50860e35d95c |  | textbox | Comments
checkpoint-no-status | 641b322f-009b-4695-ac30-90a668e616f8 |  | checkpoint | Work area 3 details entered
text | e2eeafaa-4219-5b68-b5f4-8ad2864b0bae |  | textbox | Area
select | c9ab92a7-5d42-5384-9ffe-f19ea96f3376 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | a2433053-2307-5147-a895-137cad62daf1 |  | textbox | Comments
checkpoint-no-status | 52b972d0-2246-4b41-9c35-db6d5e64b7fe |  | checkpoint | Work area 4 details entered
text | 77b3d703-aa6f-57fa-9f3f-e2ea26be54d7 |  | textbox | Area
select | df2b5645-47b5-59ae-8a99-4b9364dd4d4b |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | c52ffd07-6bac-58f2-ac73-6382943e15aa |  | textbox | Comments
checkpoint-no-status | 1c8dc3ec-045f-4e1a-81ae-1febddf3108a |  | checkpoint | Work area 5 details entered
text | f42d5cde-caaf-51dd-a988-78d957bed05d |  | textbox | Area
select | fd492d7f-0462-52d5-a769-39172e11ecd9 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 29b4d05d-d6f5-5f46-b93b-4bb843bd09c6 |  | textbox | Comments
checkpoint-no-status | f099e752-92e8-4fb5-8f20-7ae0a103019c |  | checkpoint | Work area 6 details entered
text | 76acb68c-6af7-5d71-8789-003cabbfc7d1 |  | textbox | Area
select | 423f2b9e-99fc-5538-a859-0ab0b152072b |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 87e966d3-fed7-53a8-82b5-22e0c20c28c1 |  | textbox | Comments
checkpoint-no-status | 344987a7-0a33-49ef-81f3-fa8358dd6fc0 |  | checkpoint | Work area 7 details entered
text | c74f7fde-a5ba-56be-81d4-6f7dbe057b6e |  | textbox | Area
select | 5b49efa1-c289-5435-8914-ce93da619714 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 2cdce56a-ccc2-5271-b2ba-a8805ef03477 |  | textbox | Other
checkpoint-no-status | dfd62449-f04f-4127-a39f-0849656b68ca |  | checkpoint | Work area 8 details entered
text | 23fed428-b518-5802-830c-6926b299331d |  | textbox | Area
select | bf72f79e-4edc-5848-b0c0-428b0d288b84 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 2d84007c-634b-5eec-8503-d7dff8a847a5 |  | textbox | Comments
checkpoint-no-status | 3135a0ef-1133-48b0-a246-aa1acd9bcb15 |  | checkpoint | Weather conditions entered
select | a7a5ab9b-9b25-5eb5-b5bc-3047670f7df6 |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | 17d4a1b8-e768-5fe9-9a32-0bd4f771f0f1 |  | textbox | Min temp predicted
text | c3c53f79-3e04-540e-89cc-185716636934 |  | textbox | Max temp predicted
checkpoint-no-status | 34b73931-6bd5-41e5-acc0-782b5d44db80 |  | checkpoint | Delays from inclemency
text | 5eb07631-8383-5d66-9418-39f023a31759 |  | textbox | Total Hours of delay
select | d7b60aed-48f5-579f-bdef-9b9bb0e5949d |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | 4a4c1f94-2a3c-4649-a99a-f0718736424e |  | checkpoint | Delays from Builders or Others
text | 91a3cf96-49c3-532a-bd07-60da1dc0b933 |  | textbox | Total Hours of delay
select | 76021069-5c6d-5e91-a068-6605ed146b93 |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checklist-flat | 6c8280f3-68b4-4051-b5f0-2b5eb7aad2d3 |  | checklist | S.O.G Checklist |  |  |  |  | Yes | S.O.G Checklist | a587bdb5-252d-4d90-b83c-6c19ff1f9a99
checkpoint-status | 0a7f80b9-be7b-421b-a0ac-76a9556f8d09 |  | checkpoint | Area accessible & ready
checkpoint-status | 98727511-facc-4791-a902-b0c70c43e986 |  | checkpoint | Drawing references entered
text | 815b16a5-3b87-5185-a464-1fde349bfb42 |  | textbox | Architectural
text | 2926bc89-0ced-592d-a4dd-7ae390bda53b |  | textbox | Structural
text | 9710b0f2-a449-5755-9389-719df4467b4a |  | textbox | Other
checkpoint-status | ce1cbb75-64aa-4464-a350-ee0d4848d5e0 |  | checkpoint | Current plans in use
checkpoint-status | 91c306f2-969a-42c1-9732-1ceebc15425b |  | checkpoint | Survey points give for grids
checkpoint-status | 37aea1d2-b608-46f8-b9a8-c0ccbbbe53df |  | checkpoint | Surveyors points given for edge boards
checkpoint-status | 29f41c09-3db5-4beb-9cc1-9a906ab9ba5e |  | checkpoint | Datum RL supplied by surveyor
checkpoint-status | ac81db10-28dd-4f25-bc2b-eaf84c8c242f |  | checkpoint | Edge boards plumb & straight
checkpoint-status | c871ef00-070d-4ebb-91cd-bc218e5e315a |  | checkpoint | Step downs secure & correct RL
checkpoint-status | 0c5c1fb8-e28f-42e4-962e-ec2a886013fa |  | checkpoint | Dowels installed on pour joins
checkpoint-status | 2c05b94c-f7ad-4ad4-b932-f759443b1e0e |  | checkpoint | Column blockouts installed
checkpoint-status | 2d1360c5-d90f-4f1b-a4ae-361649611768 |  | checkpoint | Correct Class of Finish
checklist-sectioned | 1d8d8361-699e-4ec2-a24c-b6a57c206275 |  | checklist | Core Lids Checklist |  |  |  |  | Yes | Core Lids Checklist | c00672bf-4732-4e31-af89-62935013239f
checkpoint-group | 39b1a358-3414-4a30-9934-394830eb3faf |  | section | Phase 1
checkpoint-status | 0ebd96c8-f7a6-4589-8b01-4dfa401352bc |  | checkpoint | Area accessible & ready
checkpoint-status | 7e14803c-8916-4ef2-8d7e-76ee1f4a1560 |  | checkpoint | Drawing references entered
text | 3bde212a-ee25-5175-954d-2f773d186149 |  | textbox | Architectural
text | 5e994e1b-f228-57eb-ba35-6477f076e3e9 |  | textbox | Structural
text | e4eec36d-4edd-5cd4-9fdd-05c9fbf79cd3 |  | textbox | Other
checkpoint-status | 3f3fa198-b3ad-430f-b21d-5b0adcfd9a41 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 6e31af23-1116-40fa-947f-e6193d4693d4 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 2445f535-cce4-4585-8fe0-e2f4c695dcd9 |  | checkpoint | Grids marked by builder
checkpoint-status | 44a8dffa-2b9d-4643-8105-eee9bbbbb06d |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 1d2d2564-bf52-4ca0-a142-b7ab38d050ab |  | checkpoint | Fillet & drip mould installed
checkpoint-status | a5f2bef2-3c91-4772-9dbb-3e759a17b017 |  | checkpoint | Check set down position & RL
checkpoint-status | 38109020-e08b-4136-b459-e895f034e146 |  | checkpoint | Check penetrations installed
checkpoint-status | 2d6ab85d-f2ea-4b8b-9c4f-489ebf6d6eae |  | checkpoint | Column blockouts installed
checkpoint-group | 273af43b-3d00-4f18-a4e0-d6ca7a2dbac8 |  | section | Phase 2
checkpoint-status | a16f05ea-07a3-41ec-9422-5ec27210c336 |  | checkpoint | Check back propping as per design
checkpoint-status | 355a3e2f-1d1e-4840-acd8-212726196535 |  | checkpoint | Blow off deck
holdpoint | c1f3d403-d6e6-4c6c-ac76-46b878dfea77 |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 02175df2-b24c-4f7a-8c82-bdc87b12b0a4 |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | 125d9836-c3e8-4c41-af5c-a13fcafe0539 |  | checkpoint | Correct Class of Finish
checkpoint-status | 5c5f8f34-abbf-40e5-8602-1702593cb20f |  | checkpoint | Stripping, cleaning & materials removed
checklist-flat | 27d30af6-85f1-4400-be6b-c3ccd72ff7f3 |  | checklist | Walls Checklist |  |  |  |  | Yes | Walls Checklist | c7abaadb-442b-49a2-b264-33adec2c656a
checkpoint-status | b5c26324-1356-4c9e-849c-cf679ef06a8f |  | checkpoint | Area accessible & ready
checkpoint-status | 847d3b9d-4bc1-457e-b24f-63e6f3d4fc88 |  | checkpoint | Drawing references entered
text | 7c72c343-f2fd-50c9-b085-f31f442c7e64 |  | textbox | Architectural
text | 3b65c464-c770-5238-9f92-3f07d9d9b8fd |  | textbox | Structural
text | b07b6a29-6d85-519e-8032-e23f58ece7a8 |  | textbox | Other
checkpoint-status | f898b665-183a-4980-9ea4-267ae99ac80f |  | checkpoint | Current plans in use
checkpoint-status | 45345f9f-4ebf-4abc-8111-bfbb7ff63ed7 |  | checkpoint | Survey points given for 2 points
checkpoint-status | c40bf73a-201f-44f3-b8ae-4ee52ff6336c |  | checkpoint | Land shutter bracing props secured plumb shutter
checkpoint-status | 12eac1c9-fc9c-488b-9329-d0dc93f9a1fe |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 46b8eadf-0326-4a46-89fe-3ffa765b08ab |  | checkpoint | Blockouts steps penetrations marked & installed
checkpoint-status | c24b450d-4289-46bf-8fea-7a8dc20d60cd |  | checkpoint | Steel tied & clear from Z bar holes
checkpoint-status | 46826121-8987-4d31-bce7-ce689b5724cc |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | e028551e-a410-4053-bdfd-24ebcaa89aab |  | checkpoint | Base of walls cleaned
holdpoint | 0a7ba495-a3d0-4f1f-8011-a4d7de9feb1a |  | signoff | Inspection by site engineer
checkpoint-status | e5823b42-c79f-4e25-8619-b7d7708b451d |  | checkpoint | Closing shutter installed
checkpoint-status | 5023eea9-f45e-4f9c-8edd-c8d689d51735 |  | checkpoint | Z bars secured wall straight & plumbed
checkpoint-status | e1ebb91a-1ded-46d2-93a6-2b1696d956b9 |  | checkpoint | Correct Class of Finish
checklist-flat | 74c732e0-4177-404f-9910-22230f859c6f |  | checklist | Progress Claim Checklists |  |  |  |  | Yes | Progress Claim Checklists | d9d2fc8b-0262-49af-836f-4f5f96691c02
checkpoint-status | ccba5f0f-e015-4144-84b1-dfffb521f92d |  | checkpoint | Please add Comments / Photos
select | 16a8e0bc-da9a-5ba7-a10c-002366d920ce |  | dropdown | General | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Below SOG, SOG, Capping Beam, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | 56796fee-a0a4-5fab-b9a5-9d8ab58b7280 |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | ef9b5a9f-c895-50c0-88e5-8cab4a899dcb |  | textbox | General Notes
checkpoint-status | 41ba1267-0cba-4d66-ac32-f05d963e2156 |  | checkpoint | Please add Comments / Photos
select | 19ad1448-ede3-56a9-9ed3-2b9f13175cd9 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | 597e8696-1a60-5422-bb26-d522e918cab1 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | e9fd931d-60c8-57b3-a459-ad5c2f11178c |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 352fe10f-5965-5935-9fe5-7524d59734b6 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 4b76a482-855f-55a8-a154-eb11120c7061 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 822c8f93-bf9f-51ad-ad40-9776da74f2ac |  | textbox | General Notes
checkpoint-status | 70ec6453-b489-4498-8e08-82092b9d73f1 |  | checkpoint | Please add Comments / Photos
select | 00a9cb7b-62ea-5684-96bf-eaeef08a9b1a |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | 3dd3c80b-f185-549e-8318-4dc2e791123c |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | c53820e7-9204-5b4c-8fe7-e2d9260413fe |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | a12ef47e-1c2e-56c7-a10d-fa4b7f1c7088 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | dc0008a4-db6e-542c-85ff-aecfd1e19b83 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | d8dd6238-4edf-531c-acb7-92fb10812e6a |  | textbox | General Notes
checkpoint-status | ccfc10f2-0748-4fbe-bf13-b65feebe9b7b |  | checkpoint | Please add Comments / Photos
select | 3605ec77-803d-5a0d-a479-a0f2c98d0bb0 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | 64ec0613-f6f3-54d4-b573-a7140752599a |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | da8b6317-6bab-522a-bda1-26cf6eabf5a8 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | b4684212-7b88-559e-af9a-dc39a2a3cc25 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 404042d3-5929-5561-a064-b4c9ff2f4e3c |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 4ba30af5-2884-57f0-a64c-ae63f8912213 |  | textbox | General Notes
checkpoint-status | 76fbddf9-0570-442e-b8dc-3716a619e7c9 |  | checkpoint | Please add Comments / Photos
select | 3ac3d894-8bc8-5c79-b378-61f894e437ef |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | 14f23414-8494-5161-ae7e-a9385540c240 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | 3023b923-6e5b-5d48-adfd-51c766080bc4 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | b8091a9c-f8ab-539a-bf7d-c9fe3c3658ac |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 88207d5f-e05f-5bb0-ad09-060574c9db51 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 928e1afc-20af-5665-bde8-5d0b96ac87f6 |  | textbox | General Notes
checkpoint-status | c2ea5f77-7eb6-4e3a-89b9-f0407f67f5a2 |  | checkpoint | Please add Comments / Photos
select | 2aca5290-0b78-5de7-bda2-79b674763ff5 |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | ca1d8869-1f92-5c7b-b0b8-63cc0bfccf0d |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | b23ee996-cb13-5b07-93f5-fffe621ab6e9 |  | dropdown | Formed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | 44827812-f222-5fc0-9d41-c53af7439309 |  | dropdown | Stripped | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
select | abd457a8-46d4-52ba-8c3d-943d41240070 |  | dropdown | Patched | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 531f314c-0e10-5b03-aec2-18226da2e64a |  | textbox | General Notes
checkpoint-status | 7f52804b-625b-4945-9b72-ae9e84f88464 |  | checkpoint | Please add Comments / Photos
select | 22e99f4c-6f10-5eeb-9fd2-0bf3ec3b534e |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | ea99ce04-042a-5e19-8130-76513571601e |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | 98a99f5b-db81-552e-a83d-cc864320e890 |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 3976474b-34d7-5f57-b05f-3fbd816c112d |  | textbox | General Notes
checkpoint-status | 5ec19906-fd75-449c-b6ef-e011289e2513 |  | checkpoint | Please add Comments / Photos
select | a65d789c-9938-5461-aa14-91676be513df |  | dropdown | Level | Below SOG, SOG, Basement 1,Ground, 1, 2, 3, 4, 5, 6, 7, 8, Roof Plant Deck
select | 5b34f7d8-84f6-53c8-b331-def67a53ba87 |  | dropdown | Description of Works | General, Submissions Site Establishment Design Off Site Fabrication including Design & Commissioning, Ground Works, Formwork to Lift Over Runs Pit Walls, Formwork to Spoon Drain & Step Downs, Formwork to Capping Beam, Formwork to Columns, Formwork to Vertical Walls, Formwork to Suspended Slab Step-downs Rebates etc, Quick Stair System including Handrails and wreathing (Fire Stairs Only), Supply of Material Hoist & Maintenance , Install & Removal of Hoist.
select | 05817957-10d3-5e7b-96e4-bd1eb088473c |  | dropdown | Completed | N/A, 5%, 10%, 15%, 20%, 25%, 30%, 35%, 40%, 45%, 50%, 55%, 60%, 65%, 70%, 75%, 80%, 85%, 90%, 95%, 100%
text | 7b9ad4ec-67ad-5558-8d69-be43dbef3287 |  | textbox | General Notes