## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 68c56a10-146b-4955-9346-1bb4dd93e752 |  | checklist | Climb Track Checklist |  |  |  |  | Yes | Climb Track Checklist | 06d07b53-131d-4b0f-b113-cabf251d0b5a
checkpoint-group | 6df76e24-ff6c-488e-879a-f3cc0752ba7d |  | section | Pre Lift
checkpoint-status | 928a168f-4a0f-46ec-8c32-97f40a6dceab |  | checkpoint | Confirm concrete strength MPA 15 has been reached at connection points (Builder to supply)
checkpoint-status | 50fc3160-7b7b-487f-b5ae-5b76b99dc09e |  | checkpoint | Signage in place (Stripping in progress/Jumping in progress/ No access)
checkpoint-status | a1174e62-66af-46fe-a12b-9ec8713ff7db |  | checkpoint | Exclusion Zone in place
checkpoint-status | 7f72ade9-27ca-4bc6-81ca-ade0e54c8a97 |  | checkpoint | Spotters in place on slab below jump (outside exclusion zone)
checkpoint-status | 48f35e60-920a-4f0f-a672-f5ef48edc140 |  | checkpoint | All Platforms cleaned and clear from rubbish
checkpoint-status | 5f71ab80-57fa-4635-a046-b3de0d7623dd |  | checkpoint | All loose materials removed from edge
checkpoint-status | db50de1b-8f15-4317-a7dc-2b5a590d0537 |  | checkpoint | Clear communication between team leaders and Crane crew (toolbox talk)
checkpoint-status | 3bf504b4-c639-4ec1-aeb3-651415297911 |  | checkpoint | Ladders available and secured
checkpoint-status | 37346f24-fc54-4648-ac21-735e504a0df7 |  | checkpoint | Flipper systems lubricated
checkpoint-status | fb32a11b-2f19-4d39-819e-4802949f2261 |  | checkpoint | Trailing Decks clean of debris
checkpoint-status | 170b3cdd-0f89-4fc7-b338-578060f665de |  | checkpoint | Trailing decks clear of protruding ferrals in walls above
checkpoint-status | 5b54b685-1e1d-4ec9-bbe0-548e178958d3 |  | checkpoint | Check exclusion zones in pit below are in place
checkpoint-status | 740f95da-5827-4d42-be4d-8828858f9488 |  | checkpoint | Plumber to check pipes to water cooler
checkpoint-status | 5c56b323-ca87-4aad-a11e-eac7996e7e62 |  | checkpoint | Transfer RL heights
checkpoint-group | 4b5b8682-d5df-4f4c-8eaf-0e0090ac1203 |  | section | Post Lift
checkpoint-status | 2685fbdb-fd01-4734-9f9a-13460a6ed4bf |  | checkpoint | Confirm connection points are secure and all engaged
checkpoint-status | f80bcaa4-84fe-4550-af8e-8bb529ba5178 |  | checkpoint | Confirm mesh secured to doors and penetrations
checkpoint-status | 0ae168db-dd10-4c7a-8b1b-94724b1da900 |  | checkpoint | Signage in place
checkpoint-status | 50ca72bc-91b8-4bf8-af3d-daf422fa4393 |  | checkpoint | Screens and mesh infills are in place and secure
checkpoint-status | f53de6a5-d109-46e9-8acb-903095648d78 |  | checkpoint | Loose materials are stacked and secure each day
checkpoint-status | 3e9bcf44-d640-411c-9623-0b4e885048dd |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 8f892a04-395e-4fe6-bbca-75a613f3d025 |  | checkpoint | All loose materials removed from edge
checkpoint-status | cfb77c9a-2e29-4ed0-8380-e5604152e6c9 |  | checkpoint | Loads on platforms not exceeded
checkpoint-status | e67fcab6-2552-4e3e-ac11-60b5a5a9cb48 |  | checkpoint | Ladders available and secured
checkpoint-status | 690b8b10-651a-49ae-a9d4-c76413a2110a |  | checkpoint | Access is clear and marked
checkpoint-status | 425e28e3-6eec-4b09-8615-65517e84d061 |  | checkpoint | Power Board connected
checkpoint-status | d51d47e7-ffa5-4b2c-a5ac-690b8d66fbf5 |  | checkpoint | Confirm ready for lift with all involved - Team Leaders
checklist-flat | e795b1e6-b894-4721-9a67-8034b19bd5c7 |  | checklist | Suspended Slab Checklist |  |  |  |  | Yes | Suspended Slab Checklist | 16c35e30-0460-4359-b270-624379f98dba
checkpoint-status | 5cfda2a8-d000-4257-833c-c9a1fc964584 |  | checkpoint | Area accessible & ready
checkpoint-status | 75736366-af22-4905-b3bf-9525d19c1dbb |  | checkpoint | Drawing references entered
checkpoint-status | a2365624-64c5-4d29-9177-16c9fa12a382 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 88102e7c-352a-4e09-9df7-001ca32709f9 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 156bb05a-a246-49b3-a26b-d71ca34900b9 |  | checkpoint | Grids marked by builder
checkpoint-status | 685d2892-d133-4cff-b16f-c8c8301ee616 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 3fab12c1-5229-4651-8802-69fca6dae744 |  | checkpoint | Fillet & drip mould installed
checkpoint-status | c26090d3-22de-4338-a518-a58a58c1b54b |  | checkpoint | Check set down position & RL
checkpoint-status | 1bdf50aa-2149-4b19-ba7e-43a7e3017751 |  | checkpoint | Check penetrations installed
checkpoint-status | 72344c4d-545d-4880-9761-616405225c02 |  | checkpoint | Prop drop head wedges are secure
checkpoint-status | c7084a86-a804-453e-b600-5708c78578e4 |  | checkpoint | Column blockouts installed
holdpoint | 5702b2a8-1806-404d-aac3-11e3b3edef18 |  | signoff | Inspection by site engineer
checkpoint-status | 17124a59-aea0-4015-af74-29f34d4160d3 |  | checkpoint | check back propping as per design
checkpoint-status | 8115a6ef-b4d0-4624-b764-017d4a425a95 |  | checkpoint | Blow off deck
holdpoint | 7fece9e5-cc53-4987-b77d-cf475383cb6d |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 0bb3bcd4-ca4e-4876-8897-b1867ca23b7a |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | c5519302-d5fd-4050-b0c4-a7aa61ea2c2e |  | checkpoint | Correct Class of Finish
checkpoint-status | e0bcb844-468a-4c16-9720-57e5bb46d22d |  | checkpoint | Stripping, cleaning & materials removed
checklist-sectioned | 5401c82d-76f2-429b-ab8b-f17ef0879ff2 |  | checklist | Stairs Checklist |  |  |  |  | Yes | Stairs Checklist | 21a7fe02-4d28-4ce2-88a3-2d2032731311
checkpoint-group | 090142a5-8d1c-4304-ad19-7b4437352d47 |  | section | Phase 1
checkpoint-status | 9a8ec78d-9021-4f61-963f-6343d0920da7 |  | checkpoint | Area accessible & ready
checkpoint-status | 23532e24-423d-46a0-b8f4-802de16e185f |  | checkpoint | Drawing references entered
text | 135b53bb-5211-5315-9f7a-de2698dafc0e |  | textbox | Architectural
text | 08895884-17e5-5cfb-bd1a-3272870494e7 |  | textbox | Structural
text | f89fafe3-ac10-5a9e-acfb-a9563ad98d17 |  | textbox | Other
checkpoint-status | 4d1d500f-1cd5-421b-b468-adbcca58d2dc |  | checkpoint | Current plans in use
checkpoint-status | 6ede5137-d1af-485c-9197-c534f5e1068b |  | checkpoint | Land stringers & backdrops secured
checkpoint-status | 005b8595-5d2a-4a73-a6ca-333f114de919 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 3d65af19-820a-4dab-bbb9-5d9d9eb06ab6 |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | 2b01ad0d-3eb7-489b-817d-e33d3becdd79 |  | checkpoint | Base of stairs cleaned
checkpoint-status | b55ab9d3-4c79-489b-ad2a-a5ee6c82cbaf |  | checkpoint | Riser heights confirmed
checkpoint-status | 03c7c861-853a-48c9-ae4f-8bb85b5be6f6 |  | checkpoint | Going lengths confirmed
checkpoint-status | 8e1aa89e-3236-4d49-839f-3c6fd94f2aa9 |  | checkpoint | Correct Class of Finish
checkpoint-group | 4ba0e628-b357-423d-9196-406ec88782b8 |  | section | Phase 2
checkpoint-status | 558d60a8-b271-4d76-b656-bc5a04c27710 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | b8b64e51-1ae5-41d8-8e2a-fe69fdb83d2b |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | e18119ac-0e7d-43c8-8897-95c6f9916636 |  | checkpoint | Base of stairs cleaned
checkpoint-status | 660ada29-9387-4c6d-b42a-4f386cee979f |  | checkpoint | Riser heights confirmed
checkpoint-status | de70cf24-511c-4f1d-98c7-237418c53c07 |  | checkpoint | Going lengths confirmed
checkpoint-status | 9581daad-d81d-44f2-8695-a480a72f3d2c |  | checkpoint | Correct Class of Finish
checklist-flat | 770b4e3c-8a31-4381-9f25-f742a22a1ff4 |  | checklist | Weekly Labour Hire Control |  |  |  |  | Yes | Weekly Labour Hire Control | 27e6ed7d-dad9-4522-95ff-ee36820be84b
checkpoint-status | d2e0a01b-94a4-4ffb-9508-8f0a607f41a0 |  | checkpoint | Tuesday
text | 62817a4c-4329-509c-854b-15d115ecea10 |  | textbox | Date
text | cdeeacb0-ec0e-5384-9eb6-8c305eb650bc |  | textbox | General Comments
checkpoint-status | f9e74199-0617-43b0-9ff9-52b524baf7c1 |  | checkpoint | Wednesday
text | 63eafb09-9c87-54ea-8722-62f3c0e2bc02 |  | textbox | Date
text | 950fc36b-86f5-58e0-a177-950665ccea82 |  | textbox | General Comments
checkpoint-status | 5fa539bd-eea0-4531-acc9-016b32778596 |  | checkpoint | Thursday
text | d8b16141-aca1-5ade-8f0a-41d9fea874c7 |  | textbox | Date
text | 9afc6dce-1f9c-5cff-92f2-f0758ef5d3e9 |  | textbox | General Comments
checkpoint-status | 158d1027-000c-4183-b8e9-0110b86f8b07 |  | checkpoint | Friday
text | 850b458e-4e2f-5a2a-9cae-49c471939782 |  | textbox | Date
text | e066b675-6fe4-5c97-83f0-9318c144db77 |  | textbox | General Comments
checkpoint-status | 9967a350-9066-404b-b3a2-375120ddcd56 |  | checkpoint | Saturday
text | 46a7faec-3490-50fb-bbec-c9ca0c2da39b |  | textbox | Date
text | e404aab4-31a4-57f7-ba59-647de2a5a5f3 |  | textbox | General Comments
checkpoint-status | ae96bd62-71cd-4245-b3a9-43931572301f |  | checkpoint | Monday
text | c9360bda-c7b0-51d9-a7e2-6fea7ff36c83 |  | textbox | Date
text | 72136a9a-532e-5c76-95c4-5d32b1c9c97c |  | textbox | General Comments
checkpoint-status | 8cc2cb4b-5140-4537-90e5-c981756b5a26 |  | checkpoint | Tuesday
text | 6f7df920-fa46-5dea-9403-f786ce00656b |  | textbox | Date
text | 041a7bd3-06ef-5398-abcd-9513333673eb |  | textbox | General Comments
checkpoint-status | d32877dc-850b-4d54-a850-b1eedecdf405 |  | checkpoint | Please Attach Time Sheet
holdpoint | 0d4c7b40-37ba-4ffa-af93-a98535da34a7 |  | signoff | Client Confirmation Signature
checklist-sectioned | 28006298-b445-4605-8e8b-d5427bff948b |  | checklist | General Incident Notification |  |  |  |  | Yes | General Incident Notification | 44f7bcb8-4d6b-4350-8007-c340942aaa6f
checkpoint-group | 6d1e1322-e8da-4ed1-b2b5-ae835b61bb51 |  | section | Details of the person completing this form
checkpoint-status | c258f1aa-2b0c-49cb-b0ca-9cd049dc5c49 |  | checkpoint | Attach any relevant photos or documents
text | 1f173d14-761a-5dd6-a039-32f7c2b66981 |  | textbox | Name
select | a1fa773a-1a7b-5ba6-936c-00f9be770b75 |  | dropdown | Position | Site Manager, Project Manager, Construction Manager, EHS Advisor, Other
text | 692fc316-9ce7-57ca-be4c-69c6a25f6c41 |  | textbox | Contact number:
text | e51b1b1f-b1c0-54b6-b161-ac5c15bfe9f5 |  | textbox | Completion date
holdpoint | ad55c494-fcf5-48c6-86b7-64c796ac237f |  | signoff | Signature Required
checkpoint-status | 7639744d-7700-4336-bdb9-5805729b5b7c |  | checkpoint | Report reviewed by (mark if applicable)
boolean | 73466984-e38c-528d-8720-8672de39e5c1 |  | tickbox | Site Manager
boolean | 9726aeea-0b03-521a-b88a-220ab01cd0f5 |  | tickbox | Construction Manager
checkpoint-status | 7f202162-482b-4913-b8c8-06ceff29d452 |  | checkpoint | EHS ADVISER ONLY – Head Office
text | e2ef83f2-a969-516c-b03a-ce46c9321fe8 |  | textbox | Date received
text | 20a53823-719c-5b57-9740-7e03cc2ae995 |  | textbox | Date closed (Final)
text | 40b249f3-4b81-5c96-9552-48a401eb952e |  | textbox | Date submitted to EHS Administration
checkpoint-status | 6ab4c969-7863-42e5-8379-7c6d76e0ba9f |  | checkpoint | EHS ADMINISTRATION ONLY Head Office
text | 74fdb73f-7e0c-574f-841a-0e2c49956b8f |  | textbox | Date received
text | 1f93c8e5-0b03-5b21-9e2b-948239c2d02e |  | textbox | Date processed
checkpoint-status | 6220ecd4-e8ce-402c-b29f-2c0db41200ba |  | checkpoint | EHS REVIEW ( EHS Manager)
boolean | 2a98b050-d6c4-5233-b6e3-17afd755bd38 |  | tickbox | Yes - If Yes, Reference No in comment
boolean | 9149302b-6240-54f7-88c4-28a29bbe1356 |  | tickbox | No
checkpoint-status | 009d4b3d-5407-4d20-ad7f-d51ee077e010 |  | checkpoint | EHS System / SWMS amendment required?
boolean | 76742ff5-cea2-578b-a5f0-c758c057ac2a |  | tickbox | Yes - If Yes, Reference No in comment
boolean | 4c2f1a69-fcbc-5c0d-aa62-f304b56f8bed |  | tickbox | No
text | d3023cc8-e541-5432-94eb-b7f96b5df8a5 |  | textbox | Head Office EHS Manager sign off date
checkpoint-group | 62fa29e9-09e0-47a1-ae8c-736a8c3b2362 |  | section | Incident Type
checkpoint-status | 8bc0fec4-4de6-4054-b8fa-04a73e8ff937 |  | checkpoint | Was a person injured as a result of the incident? - If PASS Only complete an Accident/Incident Notification Report (Form No. 01a) - If FAIL complete this form
checkpoint-status | d4ae3057-6170-47de-8951-6b6c2e92a048 |  | checkpoint | Has an environmental issue arisen from this event? If PASS Only complete an Environmental Incident Notification and Investigation Report (Form No 01b) - If FAIL Complete this Form.
checkpoint-group | 0fbee96f-602a-4a9b-b4fb-69f4342e515e |  | section | Project Details
checkpoint-status | 30a9e3d9-5aec-47c2-812c-a27273d12b27 |  | checkpoint | Report Status and Date:
boolean | fbd9e4f8-d51b-5df3-8101-27b43b04799c |  | tickbox | Initial
text | 8e0c4516-2e76-556c-bd44-fc4d0ddc15c0 |  | textbox | Date
boolean | c12a2c66-d3ab-51c3-a36c-ed1f97e0eb39 |  | tickbox | Interim
text | f8af5f0a-8e47-528b-95f8-3454fc2fdd31 |  | textbox | Date
boolean | 416e175e-b13a-51f7-a009-dc6850e29c4a |  | tickbox | Final
text | b554466e-2ef3-5540-8a95-c2ae0b9a1249 |  | textbox | Date
checkpoint-group | 205ee0e4-82a8-46cc-8557-4ee2a83f4e4c |  | section | Incident Details
checkpoint-status | a5cf4d97-7586-4caa-96d0-d9877c167f4b |  | checkpoint | Date/Time of the Incident
text | f46ef44d-b9f4-55ff-976b-0004965b03b2 |  | textbox | Date
text | 246b6ae9-c3fe-56f6-885b-936678424d27 |  | textbox | Time
text | bd600ca9-ed94-5561-9999-440666c45dc7 |  | textbox | Site location of the Incident
text | cdcdc3d6-8fa5-56d1-88e0-9a1d3d4b436b |  | textbox | Detail how the Incident happened
checkpoint-status | 13253ea4-482a-4285-97cb-ef6b601e9333 |  | checkpoint | Services affected by the event
boolean | 7d980aa4-b3a8-5d85-9f43-b194b5953b5a |  | tickbox | Electricity
boolean | cf726a90-938a-5f52-afa6-ed3b4ae9527a |  | tickbox | Potable Water
boolean | a5fa5c81-6f01-5084-8a83-2905ec78be8e |  | tickbox | Storm Water
boolean | d07250ff-495b-5d7c-b117-41218c7c5ffd |  | tickbox | Sewer
boolean | 4dade4c8-eae5-5619-8d52-207f0ade09d6 |  | tickbox | Fire Mgt Services
boolean | 3b90e5a0-8b6d-52f5-8f03-eaef194e53d9 |  | tickbox | Fire/Smoke Alarms
boolean | 9bfc3bae-4ce7-556a-8c67-352258245590 |  | tickbox | Air-conditioning
boolean | 5909a147-546f-5cb9-9f6e-b1c22e2e7fba |  | tickbox | Security/Access
boolean | bb601bb6-1a58-5b76-bd3b-5a736ba1fe2c |  | tickbox | Communications
boolean | 61d3ca19-7765-5e58-8ced-bf456c7a0638 |  | tickbox | Gas
boolean | 22f5d8b9-ca0e-5688-82b8-bd84f76ad828 |  | tickbox | Other
boolean | 4747c30c-a336-533c-ba56-e99cbc797495 |  | tickbox | N/a
checkpoint-status | 54de6309-728b-4c1e-bb91-d6b0bc521257 |  | checkpoint | Detail the factors that contributed to the Incident
boolean | 578168bf-82a9-5aa7-ac75-6d907cf4c8cf |  | tickbox | Design/Layout
boolean | 175fc2ed-2780-53fa-afbc-927c6bb28550 |  | tickbox | Equipment
boolean | 0b926953-8615-5a80-9eba-54692df8bfc8 |  | tickbox | Operator error
boolean | 86ea1fdc-06f1-56b3-b6c8-47601a95ec75 |  | tickbox | PPE
boolean | 3b9679b6-f8d7-52ae-a0be-0bf454d18717 |  | tickbox | Training
boolean | dc389518-6d64-552d-be50-98466d011191 |  | tickbox | Supervision
boolean | 6cdae7fe-e917-5e93-aa54-69f291bd770f |  | tickbox | Unknown location
boolean | 86e46b41-ef97-574a-838a-226d87555f0c |  | tickbox | Other unspecified
boolean | 371eb0eb-d603-5a04-8a6d-2fc77fe396da |  | tickbox | Housekeeping
boolean | 7fd8972b-f371-5d6c-b8e6-05db1417ff4f |  | tickbox | Procedure (WMS)
boolean | 53e3f072-42a3-58fb-be38-fe9110c5e442 |  | tickbox | Weather conditions
checkpoint-status | d323b439-9fd2-4ec8-97af-b026e61f53fd |  | checkpoint | Was a WMS supplied for this type of work?
checkpoint-status | b08917b6-1209-48bb-88d6-dbadc94b137a |  | checkpoint | Was the WMS approved by Principle Contractor
checkpoint-status | 4d4dfc25-e8a0-46b9-8fa5-38eda5ffcbae |  | checkpoint | Was the WMS signed by all personnel involved in the activity?
checkpoint-status | ac0d9a41-f10f-4567-978c-4817fa625343 |  | checkpoint | EHS Improvement Notice
checkpoint-status | 30a50365-ccaf-483a-8f43-2e02b51e329e |  | checkpoint | Was the work activity being performed in accordance with the WMS?
checkpoint-status | 5cba4290-0c9a-49f0-9a53-3ff181ba06c5 |  | checkpoint | Was a Tool Box Talk held relating to this work activity?
checkpoint-status | 02f52240-bf6b-4bac-acab-071053627693 |  | checkpoint | Was any external certification required for this work?
boolean | 0def7d08-7cce-5ad6-adfe-f2729bba49b4 |  | tickbox | If Yes, was it obtained prior to works commencing?
checkpoint-status | d2f49ecf-e29a-4da3-b867-c41b038c5156 |  | checkpoint | Was any monitoring required for this type of work?
boolean | cba5379c-223f-5aa6-be4d-9abd9054d7b0 |  | tickbox | If Yes, was it in place?
checkpoint-status | d4234e1a-21b5-4c3a-8f64-02409ed6859e |  | checkpoint | Was an Authority to Work Permit required?
boolean | d9c2fd29-3e33-5f21-a934-62911a889846 |  | tickbox | If Yes, was a Permit issued?
checkpoint-status | d2f094de-51fb-4c05-b8d3-106ffe5f48f4 |  | checkpoint | Were any Regulatory Permits required for this work?
boolean | 417b026b-8a0d-55cf-9606-f7617a682c78 |  | tickbox | If Yes, was a Permit obtained?
checkpoint-status | c9de206e-d651-4818-9504-fd57c2f372d8 |  | checkpoint | Was a Notice of Impacting Activity required?
boolean | e63e2c0a-92eb-51ae-87cb-65e3ffdd6983 |  | tickbox | If Yes, was it issued?
checkpoint-status | 62c1a124-ebc7-4599-83ab-59282ae47477 |  | checkpoint | Estimated time impact of the event
boolean | 092a9f21-97c2-5d5c-b901-f8e49396b17e |  | tickbox | No impact. No loss of production.
boolean | 9601c0e7-54c3-58e3-ba61-cdcf34534c0e |  | tickbox | Limited impact. Production loss in localised area.
boolean | 6d652116-e53b-505a-88a7-2929404049e1 |  | tickbox | Major impact. Production loss across project site.
checkpoint-status | bc349b64-77ac-43b9-a0f2-3d6c8d747f2e |  | checkpoint | Details of any persons involved in the Incident - Attach Statement forms to this report
text | d823e307-a69c-599c-a028-1cf29f81922e |  | textbox | Full Name
text | 70a15afb-1dac-5dbd-b628-7fa58844ed7c |  | textbox | Company
text | c0feaf97-77ac-5c09-9d31-0b7e533e7c39 |  | textbox | Contact No.
button | c0b6759c-b022-5708-9262-18245cf7d826 |  | button | Statement | Yes, No
text | e8158626-5d4a-59bb-bf38-94cfab3ec29a |  | textbox | Full Name
text | 1c4d535f-963d-518b-9ef0-0cbf7e495f5d |  | textbox | Company
text | 9f05824c-1aac-5bde-9094-2e76f6ce0681 |  | textbox | Contact No.
button | b69d4de4-de78-5522-a45e-7c37d74cb4c2 |  | button | Statement | Yes, No
checkpoint-status | 5bab7a12-f495-4da2-b625-32ac2bfcb87d |  | checkpoint | Details of any witnesses to the Incident - Attach Statement forms to this report
text | 237e5ee2-27df-54bf-8944-9529e8efaf2b |  | textbox | Full Name
text | 6d286b15-b5c0-5e92-8989-9334d2aab099 |  | textbox | Company
text | e5ccd465-ccc4-5f7d-ae1a-ba3b48e18050 |  | textbox | Contact No.
button | 754eaac0-f137-5b9b-b36c-e2d0a8519199 |  | button | Statement | Yes, No
text | 9fad4f2d-83f0-52dc-9b68-1f67c191e329 |  | textbox | Full Name
text | 3fef7105-56e9-5ef6-91ed-0f074df25147 |  | textbox | Company
text | a8045c48-a6f4-5f74-a43c-94099b36f6e8 |  | textbox | Contact No.
button | 02ebe7e3-8d9e-51d2-8486-ba3838230cdd |  | button | Statement | Yes, No
checkpoint-status | 6e2be6f5-f20f-4935-97b4-b53330af79a9 |  | checkpoint | What actions have been implemented to prevent similar Incident
boolean | 3c55f730-c55b-5444-889e-b3ad0f9ab42a |  | tickbox | Equipment change
boolean | 0b81303e-4e8f-5ca7-9359-29124c281f01 |  | tickbox | Certification obtained
boolean | 3425f727-8965-5ab7-8346-9f27ccc12d08 |  | tickbox | WMS change
boolean | 0f2049d5-cddf-5b04-909a-6e672b295cec |  | tickbox | PPE change
boolean | 2192028f-440f-55ee-b79c-2d6fff65c5a2 |  | tickbox | Site Meeting
boolean | 845bcd55-a1c1-5bdd-bc1d-2f00abc59096 |  | tickbox | Toolbox Talk
boolean | 931b3ec6-b6be-5932-95d8-f6975b09b7cb |  | tickbox | Housekeeping
boolean | c0063800-044e-5b5a-bb04-32f98fd44e38 |  | tickbox | Training
boolean | f4cd21d2-28f3-57fd-9e28-66cddc1e2f9b |  | tickbox | Other
checkpoint-status | d7c291a7-fb38-4159-82dd-4412fec5c703 |  | checkpoint | Has an EHS Instruction been issued to the P/C company or Bosform?
checkpoint-status | 0d80ac8d-555a-40e8-b575-50dc0fae02bc |  | checkpoint | Has an EHS Improvement Notice been issued to the Bosform?
checkpoint-status | 9494615b-5138-41bf-b054-0e2f3758b46c |  | checkpoint | Has a Risk/Hazard Assessment been completed?
checkpoint-status | 6315ceb6-d2dd-4a6e-9552-8234281f401c |  | checkpoint | What Hierarchy of Control measures were considered in the corrective action
boolean | d186c924-a5c9-5d76-b014-284581bf0808 |  | tickbox | Elimination
boolean | b5b4256c-6976-5711-88a8-54b18d354bdd |  | tickbox | Substitution
boolean | 24a32e0c-61ce-5c34-8ff4-939039e3c12c |  | tickbox | Engineering
boolean | dc1ec8b4-3dfb-5b88-83c0-584faa948346 |  | tickbox | Administration
boolean | 402f9a4f-1930-556f-a8d9-e95253bc6fe2 |  | tickbox | PPE
text | 426a8773-df17-545e-9ac9-b03b1a05edc5 |  | textbox | Date of action
text | 40cc0596-28bf-5245-aaaa-0f0ffbd8d165 |  | textbox | Responsible company/s
text | b617f0a8-523d-5eb2-99f2-606d5c09aa9e |  | textbox | Review date
checkpoint-status | 5589277a-815d-43fb-9c35-aac279497a76 |  | checkpoint | Statement/s
checkpoint-status | f05c45d9-1219-4ef3-a84b-ffa8f3588675 |  | checkpoint | Monitoring certificates
checkpoint-status | 4275847c-73f5-4699-8ae2-30a028d5d9b8 |  | checkpoint | Site Induction forms
checkpoint-status | c328e55d-26a0-4741-95ea-21676d9b3ff9 |  | checkpoint | WMS relevant to the activity
checkpoint-status | 4183ae72-5d0f-4ce1-b382-18eb2fbf54e3 |  | checkpoint | Tool Box Talk or Meeting form/s
checkpoint-status | 585e2415-5ef7-49e4-984d-52d2ba7dcf0f |  | checkpoint | Engineer certification
checkpoint-status | 50fd88b8-b662-4f69-a927-ff228ac60397 |  | checkpoint | Photos
checkpoint-status | ea9eadc2-346b-4e40-b0bf-c3b314d450a0 |  | checkpoint | EHS Instruction
checklist-flat | 5cbe44af-0a1d-41ea-912c-4551b009c56e |  | checklist | Site Diary |  |  |  |  | Yes | Site Diary | 5e9a74ce-2401-4b20-b895-58dd3d470fe3
checkpoint-status | 72a4df67-3740-4189-b770-2f007998fc7a |  | checkpoint | Areas of work accessible for the day
select | 155ce6f7-be11-50d5-9192-94899c5c4875 |  | dropdown | Day | Monday, Tuesday, Wednesday, Thursday, Friday, Saturday, Sunday
text | e90fd967-ed63-507e-93be-7dbd63c490c7 |  | textbox | Date
text | 575ae3ee-91fc-53cb-b906-576d813c67d4 |  | textbox | Year
text | 48c8b065-aeb5-5e91-bf2c-d7c3d9d1b8a6 |  | textbox | Number of workers on site
text | 7d725f06-1dd4-5499-96b1-de68f5de76df |  | textbox | HSR on site today enter name
text | 3f855694-3eef-583d-b3fa-20d401792ef2 |  | textbox | First Aider on site today enter name
text | 35cbb9b9-5e10-5597-91b9-b319100aa167 |  | textbox | Injury on site today enter name
checkpoint-no-status | 431c9417-d44d-4349-a728-56e905713c30 |  | checkpoint | Work area 1 details entered
text | cbd8d649-73ce-59b2-9f05-2d7912a89809 |  | textbox | Area
select | 8146c8e0-b592-5b69-949e-6f65d2976259 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 728952d5-dec5-5832-b03f-3e125719f2c6 |  | textbox | Comments
checkpoint-no-status | 00cdfb6e-590c-4ace-93ae-bf6989e8e41b |  | checkpoint | Work area 2 details entered
text | 035ad314-eca9-52de-9b85-35bdb8fc2cb2 |  | textbox | Area
select | 21a04946-90b4-53e2-a2aa-c858cd36fc5c |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | bb717dfa-fe53-53ee-b6ec-5f6d6d0e580a |  | textbox | Comments
checkpoint-no-status | 475bb67f-c7cd-4b50-a6f2-175c8ee20fb3 |  | checkpoint | Work area 3 details entered
text | e6cedf7c-60f2-5efc-ad23-705622647939 |  | textbox | Area
select | e14e2336-1ef8-5eb7-9bc5-b5b75ee80e07 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 8ccbfbb0-7151-5e41-ac5f-8a5a85db972e |  | textbox | Comments
checkpoint-no-status | 974e3174-c524-4c15-b71d-1c30722dc618 |  | checkpoint | Work area 4 details entered
text | 995f0276-4ae8-597b-8b49-ef0ec48d7167 |  | textbox | Area
select | c2034e5d-a250-58a8-829a-a5e1b65fb62e |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | f81654d4-093f-542b-bde3-1836c6813f84 |  | textbox | Comments
checkpoint-no-status | 09f4e7c8-80ca-46fd-a54c-d049d4ad3e43 |  | checkpoint | Work area 5 details entered
text | bbe2bac3-a868-5d8a-921d-36ec2f343969 |  | textbox | Area
select | ef967a8f-234e-59cc-92e6-aaef4eb50b0f |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | a81fe3a0-1223-5c3f-ba0c-c07a45f0c30a |  | textbox | Comments
checkpoint-no-status | 686f2048-1fb2-4732-a515-4a77feac6f72 |  | checkpoint | Work area 6 details entered
text | ab6f40e8-5b98-5f95-901f-5c814e081a60 |  | textbox | Area
select | 8f2670d4-e613-53f8-9bfc-85b2b50a0fcc |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | f2c185cd-b500-5959-9f39-a55a95b00113 |  | textbox | Comments
checkpoint-no-status | 4c3f69c0-16a3-4949-ba50-5cf0f03f11c8 |  | checkpoint | Work area 7 details entered
text | 4bb7a8c1-d7ac-586c-99f9-50e8f6e7583b |  | textbox | Area
select | aead1405-15a1-571d-80e3-7e898ed746bf |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | b0fdefde-2f16-59db-856d-11e05c2e4ca9 |  | textbox | Other
checkpoint-no-status | 8ced64da-1c44-48f3-b2f2-2d00fd2cdfb5 |  | checkpoint | Work area 8 details entered
text | 0f1e065c-129e-54f5-aa97-da03ba4170a2 |  | textbox | Area
select | e0ab3896-8911-50da-bec4-1e25509d1e78 |  | dropdown | Task | Columns, Framing, Deck, Walls, Cores, Stripping, Setdown, Upstand, Footings G/Slab, Other
text | 204b5484-ef1f-5883-8f3f-e0cc3cb5f154 |  | textbox | Comments
checkpoint-no-status | 3116bdcf-d081-41e7-8e78-1ff4b97638e3 |  | checkpoint | Weather conditions entered
select | 1c233aea-62b5-574c-9e3c-6fdcbcb974cd |  | dropdown | Conditions: | Fine, Overcast, Showers, Rain, Windy, Hot
text | d94d161f-0607-5acb-a88e-6550ccdc77a2 |  | textbox | Min temp predicted
text | d03bd6df-cb64-5629-a212-f24454949838 |  | textbox | Max temp predicted
checkpoint-no-status | 37eecf41-f134-4d3a-86b4-dd4570a71f6b |  | checkpoint | Delays from inclemency
text | f8dc45c2-999e-5575-b23f-c831a76a8c5f |  | textbox | Total Hours of delay
select | c8520d1b-e272-5baa-a83e-9194efb27a66 |  | dropdown | Conditions: | Rain, Windy, Heat, Other trades,
checkpoint-no-status | 5350032b-114a-490c-ad65-4600efc4aa98 |  | checkpoint | Delays from Builders or Others
text | 004ae9d5-d780-502a-9e0e-0503771ecec2 |  | textbox | Total Hours of delay
select | 4ff2dc3e-2aa1-5f17-a26f-183ec5269490 |  | dropdown | Conditions: | Builder, Union, Crane, Scaffold, Steel fixer, PT, Concreter, Earthworks, Safety, Other
checklist-sectioned | 81a3fad4-b505-4006-be41-1b1d741bf50a |  | checklist | Hoist |  |  |  |  | Yes | Hoist | 625e8d0e-0c24-4365-90d1-3a4c47980f22
checkpoint-group | 1b617899-0860-4c19-bd69-6d417ee122ec |  | section | Install
checkpoint-status | 65cf74f6-6b29-4588-9e8c-ed1e9ce23439 |  | checkpoint | Area accessible & ready to receive hoist
text | db3ecdf8-53dd-58d4-ac09-675d83dda255 |  | textbox | Hoist ID. Number
checkpoint-status | 72c619c9-21a8-47e7-9c50-22aa97288761 |  | checkpoint | Adequate Crane or Franna to install (heaviest lift required 4.5 tonne)
button | c78f1bea-1e84-507b-9532-ae02fdb18802 |  | button | Copy the Certificate of service and service history onsite | Yes, No
text | f20d145d-f751-55d2-91ab-d3357ac0c0d1 |  | textbox | Name and Number of Rigger
checkpoint-status | 717508a1-9d94-4368-9013-43d8230cebb1 |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
holdpoint | db3a286a-a786-4952-a33b-975f4111cbe3 |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 6b8a594a-1368-4c0e-9497-7962070b8b78 |  | checkpoint | Scaffolder on site to assist in edge protection if required
checkpoint-status | 5ce324c2-780c-46f3-b43f-fe461e49df7c |  | checkpoint | Signage in place
button | fd8f5c82-1283-5e95-a2dc-8a22483d928a |  | button | 3 Phase power accessible and adequate circuit breaker 75 start Amps at power source | Yes, No
checkpoint-status | eaabe92b-b32f-4cd4-84c6-907c227955fb |  | checkpoint | Exclusion Zone around required area
checkpoint-status | 1f8bc1e4-0cae-4754-a54b-b5de36a0a258 |  | checkpoint | WMS ready and signed on to
checkpoint-status | 02c51373-cfa8-4a30-a78f-66dac78bb542 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 0f9050d6-f495-41c2-a69d-9cc450ac711b |  | checkpoint | All loose materials removed from edge
checkpoint-status | 98a77e43-e4b6-43cd-a161-c28e0878b99f |  | checkpoint | Gates installed
holdpoint | 7a157e5e-d309-4a5a-935a-89101a1755e0 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 8dc5346b-09af-43be-9b99-167f179029e4 |  | checkpoint | Log book for hoist is onsite and in good condition
button | bcaa25cc-e7d9-5a11-a0ed-c1bce2a58360 |  | button | Copy of Bosform commissioning sheet on site and completed | Yes, No
checkpoint-group | 850dc24b-c715-4cba-9c21-e72d2886e37c |  | section | Hoist Jump and Dismantle
checkpoint-status | 5dcb9dce-00be-4aed-bd6a-2dac551373ec |  | checkpoint | Ensure exclusion zones are in place
checkpoint-status | 286d9648-aed8-401d-b8da-733ce4cafeab |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | 293aae3f-480f-40bb-b9b3-76332918837f |  | checkpoint | All loose materials removed from edge
text | 4d21f539-c0dd-5748-9282-4f3cfc6d60c1 |  | textbox | Name and Number of Rigger
checkpoint-status | a7245837-03ee-4b32-8806-47f5721829bb |  | checkpoint | Work at heights permit completed - attach or take photo of permit if required for project
checkpoint-status | a44043d3-1f14-4b3c-9e45-36fdc94e508f |  | checkpoint | Scaffolder on site to assist in edge protection if required
text | ec80d3eb-2736-5cd7-b5e2-c64a597ff43b |  | textbox | Level Number to be Jumped to
checkpoint-status | 3d9e7574-44b8-48df-8914-808f59bbf913 |  | checkpoint | Gates installed on Level/s to be exposed once lifted
holdpoint | d35822ba-4dbb-441b-9682-7aab9fa87dab |  | signoff | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | 9e6302f0-ea7f-410f-af70-fc7bd3075e86 |  | checkpoint | Signage in place
button | 90c03677-e35f-5f69-aa85-e376959d16df |  | button | Hoist Screen installed if required | Yes, No
holdpoint | 33c43cb6-4cd3-4d5e-a269-27f9d294a379 |  | signoff | Copy of Engineered Bracing plan for ties back to building on site and followed
checkpoint-status | 04251807-6202-4004-81fe-0ee9677cf8f2 |  | checkpoint | Remove exclusion zones and barricades
checklist-flat | 7034f507-8b59-4332-9529-dcdd7d6c8dab |  | checklist | Injury Form |  |  |  |  | Yes | Injury Form | 6b55c822-8b90-4519-95f0-8969cc91cb4e
checkpoint-status | 1ac9e709-5256-4f59-bbb3-717b260cae50 |  | checkpoint | Injury form completed
text | 68a3d456-784b-5c92-a6af-54eaf717b042 |  | textbox | Date of incident
text | 305a65ae-80f9-5412-b8f9-750bdd47baeb |  | textbox | Time
text | 2e764053-9aa7-5d11-b958-edaa8b7fa537 |  | textbox | Site location of the accident / incident
text | 83ee385a-ee25-5ab6-8cfb-f93f0bd8b503 |  | textbox | Detail of how the accident / incident happened
label | ea60c011-eff2-56aa-adb2-19777eb5f885 |  | note | Details of injured person
text | d36ffa78-25a2-5d42-85b7-f013e5f16a45 |  | textbox | First name
text | 26f15f27-3341-5406-8df5-a495a53148e7 |  | textbox | Last name
text | 78a1dc92-83c1-51e7-b211-0c5289aa6026 |  | textbox | DOB
text | 967d1122-fe32-53ef-916c-13ca3bdacc67 |  | textbox | Contact No
text | b2bc4846-7175-5385-8b1a-99dfda9d8510 |  | textbox | Address
text | c6711500-9bb5-5876-b8c6-29e1d01765a5 |  | textbox | Company
text | 571b0cd6-4089-50d9-9de7-140031777e41 |  | textbox | Trade
text | 0703a51a-5477-5146-af0b-fb6fe78b1a44 |  | textbox | Date Inducted
select | f5010ac3-948a-5ebf-9c20-3dfd01720963 |  | dropdown | Location of injury | Amputation, Bruise, Burn, Concussion, Deafness, Dislocation, Foreign Body, Fracture, Hernia, Inflammation / Infection, Internal Injury, Laceration / Cut, Occupational Illness, Open Wound, Poisoning / Toxic Effect, Strain / Sprain Twist
select | 69827c4a-de4d-5b73-adef-fa645a2918a2 |  | dropdown | Location on body | Front, Back, Head, Neck, Torso, Left Hand, Left Arm, Right Hand, Right Arm, Left Leg, Left Foot, Right Leg, Right Foot, Other
select | 74f2c77f-f314-504e-89e6-453aa969f5a4 |  | dropdown | Treatment | No First Aid Treatment, First Aid Treatment, Medical Treatment , Lost Time Injury, Fatal Injury
text | 9931e150-2b13-5224-a9a6-040d328f0c0f |  | textbox | Initial treatment given
text | 79dbb9a9-364e-5db1-be40-6d55f68a4c39 |  | textbox | Was follow up treatment provided
text | 15696d71-47cd-5407-8995-5b3b9ab1eb5e |  | textbox | Medical centre / Doctor / Hospital attended
text | 3189b8bd-2e66-5de7-a5ef-43d1db77992c |  | textbox | Date / time attended
button | e7b7c4d2-a931-5c67-b7d6-bf38b7cd02d0 |  | button | Regulator notified | Yes, No
label | 315cb030-486e-5fbc-ad92-84eceb3a89ba |  | note | Witness details
text | b33c5f41-e6f6-5065-8c77-cb2113d43068 |  | textbox | Witness name & contact details
text | 5d309db0-31bd-5ba7-9ae5-7849d27499e8 |  | textbox | Witness name & contact details
select | 671d4a1f-f7b4-5f55-bfef-4c152f450d52 |  | dropdown | Event details / cause | Falls from height, Fall from same level, Hitting objects with body part, Exposure to mechanical vibration, Being hit by moving objects, Exposure to sharp sudden noise / long term noise, Exposure to extreme temps, Exposure to radiation, Exposure to biological factors, Exposure to mental stress factors, Vehicle accident, Muscular single / repetitive movement, Contact with electricity, Contact with toxic chemicals / substance, Other & multiple mechanisms of injury
text | aceaf21f-1afe-5826-91e6-4048fa60e6f6 |  | textbox | Other
label | 178d3880-f717-579b-b46e-da74601a5dc8 |  | note | Injured worker: I confirm the information recorded in this register is to the best of my knowledge true & correct & I give consent for this information to be provided to Bosform for my incident investigation & reporting purposes
checkpoint-status | beb5ac67-7c90-4633-9e43-25ee3ab68196 |  | checkpoint | Signature of injured worker
checkpoint-status | 5a76f315-eb97-436c-a637-1c12ea9a7456 |  | checkpoint | Person completing this form
checklist-flat | 7359ffd5-bc36-4402-a462-7b95a500c8fe |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Toolbox Meeting | 750aa531-55be-4e0c-a3e6-a77502553e5b
checkpoint-status | 45a2defa-277e-4213-ad27-b070313f6baf |  | checkpoint | Toolbox signed off - Attach an forms
text | de08010b-f651-50dc-9326-ca27e69723d2 |  | textbox | Work area
text | 190a14fc-c32a-5b9a-b147-f736f81dbd16 |  | textbox | Supervisor
text | f9201dd9-8673-5de1-8cf3-492e16777cd2 |  | textbox | Date
text | 85bf9ad9-0520-58ac-899e-ecd1d3c98c0f |  | textbox | Time am / pm
text | 5efc84b4-3fba-5763-b03f-c711b0a4b752 |  | textbox | Actions from last meeting
text | 2606082c-949e-5f85-9981-ec37e4f82ccb |  | textbox | Injuries last week
text | 74da95e6-d947-5b9e-b3aa-786f110bdd77 |  | textbox | Near misses last week
text | e605abc7-7f1f-55ae-b724-4ee5e81c6ab1 |  | textbox | Safety Items discussed
text | 3d079ee1-7ce6-5bec-b962-1bbbede74774 |  | textbox | Comments from the floor
text | d4b509c3-74b0-5fee-824c-e9c2d0bff40f |  | textbox | New business
text | 9913cfb3-baab-5932-8ad8-c7024c6f15f5 |  | textbox | Attendees
checkpoint-status | 38e849e2-99e1-4b82-9341-6461c59d60a5 |  | checkpoint | Attendance verified
checklist-flat | 5b7f8c4f-b74a-47e1-a541-b6979276ced5 |  | checklist | SOG Checklist |  |  |  |  | Yes | SOG Checklist | 80e7fec8-942e-4c9a-8e25-91086e4ebf4f
checkpoint-status | 24e8ffe1-5371-4d4b-8a0a-c63a54c1bc93 |  | checkpoint | Area accessible & ready
checkpoint-status | 4673b7cc-63cb-4ee6-8cfc-7ee2979f80cc |  | checkpoint | Drawing references entered
checkpoint-status | 52edb0c1-7c9d-457b-8f58-c9b703756759 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 2c566ef9-9cac-46e0-b21c-a7abd75a77d4 |  | checkpoint | Grids marked by builder
checkpoint-status | 337a5c23-1032-4688-b2f6-c8ae0e995f9f |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | 303ee525-4d1c-4a74-bd95-ded056bb30c3 |  | checkpoint | Edge Boards Secure & Placed in correct position.
holdpoint | e56e90cf-60fd-4081-a48e-a9920ba38973 |  | signoff | Do not commence concrete till all works agreed
checklist-flat | a08b1bed-3b51-484c-943f-89fe03262b17 |  | checklist | Daily Pre Start |  |  |  |  | Yes | Daily Pre Start | c3227d5f-4e6f-489c-b55b-03bb80b3e68f
checkpoint-status | ea0cdab9-3548-4d06-9b0d-620f1ccee990 |  | checkpoint | Daily pre start meeting completed
text | 23e38303-20fa-534e-a4dc-6c02f6b1292b |  | textbox | Date
text | 2fc22815-6889-5b07-9e24-d39138008c93 |  | textbox | Time
text | 7f53ac48-501c-5f5a-a6a3-3c9894efd1a2 |  | textbox | Location
text | 9122a027-2840-5f77-97fd-8a7ff4cd77dc |  | textbox | Supervisor / meeting leader
text | e754e518-03ac-5fc7-b129-ebf33f313774 |  | textbox | Project Manager & Construction Supervisor attending
select | 22df463a-9148-5be9-8459-554f021e9311 |  | dropdown | Current weather | Rain, Wind
text | 92942864-b21c-5ecc-9247-e6693093d9e8 |  | textbox | Temp
select | 5bca6bc3-af95-5856-8a5e-d7d61dd68096 |  | dropdown | Forecast | Rain, Wind
text | f90bf3fd-35c0-5110-ba9e-e1b7507dc56a |  | textbox | Temp
button | 516dbd2b-f213-57fd-a051-6d4686fcadcb |  | button | Is everyone fit, well & healthy, not showing any flu like symptoms | Yes, No
button | 515d23f7-0cb8-5c84-a4c1-7fc7dede79b0 |  | button | Have any workers travelled interstate or been in close contact with anyone with a positive COVID 19 test | Yes, No
text | a35ce226-8be0-516e-897f-acdefce6a1a7 |  | textbox | Any issues from the previous day
button | 1d229b5b-739b-5187-95b8-1d4bd019953d |  | button | Do you need to change SWMS | Yes, No
text | 3ca23201-edda-55cd-b047-ab9b37bdff83 |  | textbox | First aiders on site today
text | ff5eb3e5-6d5f-5e09-b992-1154a2796551 |  | textbox | Apprentice & who are they assigned to
text | c1975011-5f06-56ed-b30d-645ded86243e |  | textbox | Apprentice & who are they assigned to
text | 98a23acb-7e05-56a8-a911-3265d9683ab3 |  | textbox | Apprentice & who are they assigned to
text | 67daed20-b329-5e85-a8e9-098301fbfcec |  | textbox | Todays tasks / jobs
select | 248ae4e4-5853-5adf-80a4-c060b203b7fa |  | dropdown | SWMS name & number | 02 Ground works, 03, Hand & power tools, 04 Operating generator, 05 Compressor, 06 Columns, 07 Walls, 09 EWP, 10 Loading / unloading trucks, 11 Manitou forklift, 12 Weld oxy, 13 Patching, 15 Stair / lift core, 17 Meva system, 18 Faresin system, 19 Conventional formwork, 21 Peri system, 23 Catch deck, 24 Pallet trolley
button | 915376cf-a482-5e02-b6d8-d0d606adceb5 |  | button | SWMS in place for all activities | Yes, No
button | b2985ace-a2bb-5b0c-a0c4-3919d7518bf1 |  | button | Hot works | Yes, No
button | 9422b471-ecfe-5c18-83f5-a3b35bcd6ece |  | button | Excavation | Yes, No
button | c47c3e48-732c-57bb-a642-c511d06041c1 |  | button | Ladder | Yes, No
button | 2c4bd2c4-fa4b-5441-b6c8-a58fc6f290ab |  | button | Core | Yes, No
button | 310a4c2a-2f77-52cf-9eb1-9c24d65141ba |  | button | Are any hazardous substances being used or will be brought to / or stored on site today | Yes, No
checklist-flat | dbd1e1fb-b8cf-44c3-b7c7-5e5075c639ab |  | checklist | Walls Checklist |  |  |  |  | Yes | Walls Checklist | d06fb61c-9700-4107-8dc2-fa474133e1a8
checkpoint-status | 92af710b-6ecc-442c-b993-ed5215bb59d7 |  | checkpoint | Area accessible & ready
checkpoint-status | fa6e32a0-d9f3-4f0a-86e8-16324a799bd9 |  | checkpoint | Drawing references entered
text | 9575243e-70bd-58a5-92cd-05a9b34d21a0 |  | textbox | Architectural
text | 24aea999-b8e1-5411-9d15-6160f997ac51 |  | textbox | Structural
text | 15310ef4-46b2-56e2-96c8-b49c9c4896a0 |  | textbox | Other
checkpoint-status | bc7e9316-0407-481f-8ba2-0a04cbf69c33 |  | checkpoint | Current plans in use
checkpoint-status | c899a7a8-b196-4c0f-825a-e3cd43953a68 |  | checkpoint | Survey points given for 2 points
checkpoint-status | 560b4b0a-5d00-4c7b-beee-55a8f14f7840 |  | checkpoint | Land shutter bracing props secured plumb shutter
checkpoint-status | 707fe8be-ae49-423b-b329-19d27a781957 |  | checkpoint | Datum RL supplied by surveyor pour height marked
checkpoint-status | 55f9e5d6-8aa6-4a10-b6f7-c9f05351dfb2 |  | checkpoint | Blockouts steps penetrations marked & installed
checkpoint-status | d95d747f-2679-4202-aa43-5266284f6290 |  | checkpoint | Steel tied & clear from Z bar holes
checkpoint-status | d69c2ddd-ba3c-4cec-b573-37dc4239b1ce |  | checkpoint | Couplers & rebate boards installed
checkpoint-status | f34c8a1d-7ee3-4648-b54b-e57b6c80a6de |  | checkpoint | Base of walls cleaned
holdpoint | 4e1ea5bd-7aeb-4fbd-a291-1ade6cc3b137 |  | signoff | Inspection by site engineer
checkpoint-status | 9f125da6-c41b-408f-a92e-d3cac7cbb35a |  | checkpoint | Closing shutter installed
checkpoint-status | 957cc99a-c383-4a70-bc0d-4bf93d2f3cb4 |  | checkpoint | Z bars secured wall straight & plumbed
checkpoint-status | 7cb21be5-d07c-48cb-909e-318a2e795173 |  | checkpoint | Correct Class of Finish
checklist-flat | 7480365c-8b2f-4c2b-9fa2-d873dbfeca24 |  | checklist | Columns Checklist |  |  |  |  | Yes | Columns Checklist | d3dac579-743c-408f-b8bf-eff9cb235d35
checkpoint-status | 3729ada2-4ba1-4a22-8149-e2eab0391bdb |  | checkpoint | Area accessible & ready
checkpoint-status | 9c561148-c20e-4238-b665-95f10d5709ab |  | checkpoint | Drawing references entered
text | 620dfb92-a315-5817-a2fc-71548676aa77 |  | textbox | Architectural
text | 30397d21-f60e-52a6-8564-42fb0b17e5fc |  | textbox | Structural
text | 57c7cbb0-5323-5d74-8fe5-9d6e9f2ff7b0 |  | textbox | Other
text | e4d24f77-feaa-50ab-abcb-00e8e685d66a |  | textbox | Column No
checkpoint-status | 9efd5550-bfa1-4770-8f9c-8bef7e7fd54a |  | checkpoint | Current plans in use / Latest drawings checked and referenced
checkpoint-status | 0f4f9ded-f61b-4c9c-b7a0-95ed15fd22db |  | checkpoint | Survey points given for 2 points
checkpoint-status | b2d2bf68-3e5f-4e79-a241-1db8d0149c7a |  | checkpoint | Datum RL supplied by surveyor, pour height marked
checkpoint-status | 1bb504d7-5c41-4913-8432-f9b711e7423a |  | checkpoint | Blockouts, couplers, cast-in elements installed
holdpoint | 73ccaf7e-d1a8-43b4-9449-076178b0a845 |  | signoff | Inspection from site engineer
checkpoint-status | 57f37ede-349f-4993-b3a1-7f14b06c38f5 |  | checkpoint | Column box cleaned & oiled
checkpoint-status | f5280fa0-846f-4aea-9445-f8e6e2f3c4b8 |  | checkpoint | Placement of column box over cage
checkpoint-status | 48b2500b-6be7-49ba-8137-0c15804ed1f8 |  | checkpoint | Bracing props secured
checkpoint-status | 4865ae7a-69c3-40ca-9e2f-89f04fb868e7 |  | checkpoint | Column plumbed
checkpoint-status | 048cdc77-9cf0-4f93-ad63-b3fb010988e8 |  | checkpoint | Correct class of finish
checklist-flat | 4e56942b-f6c8-465d-adb5-5512eab50352 |  | checklist | SWMS Task Observation |  |  |  |  | Yes | SWMS Task Observation | d9139169-1eff-40e2-a598-3065950d8bde
checkpoint-status | 9a8f53fc-dd35-42eb-a545-1be34320134a |  | checkpoint | Please attach any relevant documents or photos
text | 25e572fc-027b-55a7-9a65-c71451652098 |  | textbox | Observer:
text | 0c1a15c3-991f-5b38-bd4e-2c7360806e7c |  | textbox | Task being Observed:
text | e6e380f8-3697-542a-afc0-46e18e3c8bba |  | textbox | Name/Number of SWMS:
text | 01a8591d-f985-5273-8a6f-b0228139e678 |  | textbox | Workers Observed Undertaking the Task ( add names and positions / roles)
checkpoint-status | 863d619f-e0d9-4100-8f55-789ad4d1c9ec |  | checkpoint | Have the workers been inducted into and signed onto the SWMS?
checkpoint-status | abeb890f-eff8-40af-9c29-ebf5664d4ac4 |  | checkpoint | Does the SWMS adequately describe the sequence of basic job steps?
checkpoint-status | a923a07a-11d8-4cc5-8908-2f519e2f6d4b |  | checkpoint | Does the SWMS identify the relevant hazards?
checkpoint-status | 8ac79d01-e012-443e-8d33-126dff9e5cca |  | checkpoint | Are the controls being implemented?
checkpoint-status | ef9b4a12-b9fc-4b22-a67c-e274ac01c965 |  | checkpoint | Any additional hazards identified?
text | 611de335-aca8-5fd9-90c4-118734969a78 |  | textbox | General Comments
text | 62cdc6cc-aa49-563a-88f9-9562344b6631 |  | textbox | Action / Recommendation
checkpoint-status | 74483fbc-2434-4419-9274-7de69431e87f |  | checkpoint | Sign off required ( Person Conducting Observation & Bosfrom representative)
holdpoint | a0139807-43da-46dd-9db6-87ba271fe8ba |  | signoff | Attach signatures
checklist-sectioned | af8d4ccf-2972-48be-a8e9-141d920ae078 |  | checklist | Core Lids Checklist |  |  |  |  | Yes | Core Lids Checklist | e67e78bf-a65a-4ec9-a86d-341b459c6655
checkpoint-group | 63e845a3-bf8c-457a-a2a7-e233ab5b0714 |  | section | Phase 1
checkpoint-status | 518f481c-6c85-4fa7-a340-5f1577b7daa2 |  | checkpoint | Area accessible & ready
checkpoint-status | 069efe80-9a8a-4811-975c-b1be6b61352e |  | checkpoint | Drawing references entered
text | 259b9a02-38f0-5228-8a01-152caf45720c |  | textbox | Architectural
text | 0c495220-be4b-55ce-8057-4bb1894e8cd3 |  | textbox | Structural
text | c05c9636-528c-5349-be5e-f071b3a19433 |  | textbox | Other
checkpoint-status | 8a8ea143-0ccf-43b8-a6d2-4cd8b1af2ad7 |  | checkpoint | Materials used complies with design documentation
checkpoint-status | 3e435555-7f00-4e3a-8525-45c652ee22a7 |  | checkpoint | Datum point used & soffit RLs checked
checkpoint-status | 90d9b071-cc7b-40b6-961c-4080e121d497 |  | checkpoint | Grids marked by builder
checkpoint-status | 625cfe28-71a2-4b27-88c2-76166e1e3558 |  | checkpoint | Surveyor points given for outside of building
checkpoint-status | ed80c05f-6b66-4f3e-9be7-e11104b7210e |  | checkpoint | Fillet & drip mould installed
checkpoint-status | ac1577e2-9c46-4797-8c25-a0abf09443df |  | checkpoint | Check set down position & RL
checkpoint-status | dee2cb61-b566-4213-8709-0b20c8e8bdfa |  | checkpoint | Check penetrations installed
checkpoint-status | 8e794924-bbd2-4efc-9d0d-eeb5d1a14ff0 |  | checkpoint | Column blockouts installed
holdpoint | 17238e57-ab31-4b99-ba3e-e8b734dc4386 |  | signoff | Inspection by site engineer
checkpoint-group | 33e6251e-aae7-41d5-a242-8ca4f09be82a |  | section | Phase 2
checkpoint-status | ad1e7f17-5635-4348-ac8d-795f2f4cf37a |  | checkpoint | Check back propping as per design
checkpoint-status | 53a6d442-5dd3-44b2-b973-9dc480468d9c |  | checkpoint | Blow off deck
holdpoint | 2c7aff8e-1728-4e58-b203-b8212ba72437 |  | signoff | Do not commence concrete till all works agreed
checkpoint-status | 72a41cb2-1d5e-4bb8-93ae-1531cee0bb6b |  | checkpoint | Engage external consultant (engineer inspection)
checkpoint-status | e450d5e4-493d-4473-95cf-957ce7845462 |  | checkpoint | Correct Class of Finish
checkpoint-status | 569c4866-54a5-4625-b7db-9cc23cc73fb2 |  | checkpoint | Stripping, cleaning & materials removed
label | 8f022a65-b5c1-5098-b3e8-a19fddcabc6d |  | note | Take photos
checklist-sectioned | e1a48603-dd29-40ea-b83e-716601e11e47 |  | checklist | Screens |  |  |  |  | Yes | Screens | ef11770a-7245-48ed-bf84-1da13ebf8a87
checkpoint-group | 0e7ac092-4a93-4ea4-b01c-c806df88d7ba |  | section | Pre Lift
checkpoint-status | c37d8110-1528-4756-bc4e-cef1faf78c1b |  | checkpoint | Area accessible & ready
text | 93906038-c333-5be8-994c-2cef7e44fc36 |  | textbox | Screen number
checkpoint-status | 3d91509c-959e-48e9-9d37-d954543808e6 |  | checkpoint | Confirm concrete strength MPA 25 has been reached at supporting level
checkpoint-status | d00ff66a-0780-40eb-b1b8-34d97cfb1928 |  | checkpoint | Signage in place
checkpoint-status | 232e235d-ef06-4a72-96c9-39601b8adcf4 |  | checkpoint | Exclusion Zone with name and number of supervisor– Ground level and Slab level
checkpoint-status | f796456c-d002-4080-9581-dd1f8c380067 |  | checkpoint | Spotters in place
checkpoint-status | 8181c167-905d-4955-a965-deddc21ff4a2 |  | checkpoint | WMS ready and signed on to
checkpoint-status | bddfbaeb-2a17-416e-b55f-863e13955366 |  | checkpoint | Platforms cleaned and clear from rubbish
checkpoint-status | ba55dbb6-38c6-49e2-aa78-fbabde61e6d1 |  | checkpoint | All loose materials removed from edge
checkpoint-status | 2ef6b38d-9fee-4236-8ade-a90108eee491 |  | checkpoint | Edge protection installed on Level/s to be exposed once lifted
checkpoint-status | c71cf266-3f88-40d1-80ea-f9f133d8f71f |  | checkpoint | Deflector shields removed
checkpoint-status | 247d65e1-a6df-47d7-aa2d-f5dba8f5b02c |  | checkpoint | Radio communication woking between screen crew
checkpoint-status | e9d911be-39b5-4f63-8ba7-3fe008bcf756 |  | checkpoint | Hydraulic lifting Apparatus installed correctly if using lifter
checkpoint-status | 6252f88d-cfee-4cc2-8504-e64db534ec88 |  | checkpoint | Screen Free from Debris
checkpoint-status | f9d29fae-a209-49a8-b944-38d5574f455c |  | checkpoint | All wire infills detached
checkpoint-status | 8d2b7e7d-b748-4f00-a5ba-b026be88aecb |  | checkpoint | Confirm ready for lift with all involved - Team Leader
checkpoint-status | 996bd148-c9b2-49dd-9846-880ce3e2d3bc |  | checkpoint | Work at heights permit completed - attach or take photo of permit
checkpoint-group | 545b760d-e58c-44e2-8404-3057a0e0e978 |  | section | Post Lift
checkpoint-status | 6b426a85-2039-4a17-9f71-dd3c13bd0fc2 |  | checkpoint | Ensure all gaps are closed
checkpoint-status | c05feefe-b15a-46c6-aaec-e316d49192dd |  | checkpoint | Mesh to be install where required
checkpoint-status | e439a355-8535-47db-8947-cea31a08f09f |  | checkpoint | Double check all needles are secure and double nuts in place
checkpoint-status | 6f73b390-72bc-4d26-ac2b-14ae41a61f3a |  | checkpoint | Clean and clear area
checkpoint-status | eca1b023-0413-4137-84d2-ce91b4bc7c8e |  | checkpoint | Remove exclusion zones and barricades
checkpoint-status | 83fdba00-97f5-410b-a107-c2cab71de56c |  | checkpoint | Bar caps for protruding z bars