## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | a9857ae3-8740-4b4e-8d54-0e598105d63e |  | checklist | Generic - First Fix Plumbing - Water & Waste |  |  |  |  | Yes | Generic - First Fix Plumbing - Water & Waste | 557b0d9b-ba6a-461f-b83b-ec574c190edb
checkpoint-group | 6355f20f-137e-4178-b409-ca9493d25fe5 |  | section | Bathroom
checkpoint-status | 21c53044-e10e-47ba-aada-f4acec9f82bf |  | checkpoint | W.C Supply
checkpoint-status | 95219af9-9bd5-4752-a2b1-5ef3e9b33f5f |  | checkpoint | Shower waste
checkpoint-status | f8b55619-8d1a-4ed8-baac-c864a4dceca7 |  | checkpoint | Shower mixer/check depth
checkpoint-status | 19c6ba59-96fc-4d80-bb90-b80405c1ed17 |  | checkpoint | Toilet waste
checkpoint-status | 2db98697-4915-4375-84fa-b6cba0a36b23 |  | checkpoint | Vanity Waste
checkpoint-status | 73a85d81-c3b6-4547-b461-cf3990fe66c0 |  | checkpoint | Vanity Wingbacks
checkpoint-status | 93612630-dda5-4083-8b8b-509290ea7b3d |  | checkpoint | Vanity, shower, toilet nogs
checkpoint-status | 135fb07a-a30f-4370-bc4a-348648b51c93 |  | checkpoint | Bath mixer where applicable
checkpoint-group | 070dd017-a8c8-43ef-b5a4-28f7f894dbd0 |  | section | Laundry
checkpoint-status | 8bd4c8d7-e30d-478b-b664-8f5afdff326a |  | checkpoint | Hot and cold water
checkpoint-status | 7d2c275b-b7e1-41cd-8ff7-3293d8d7ed7d |  | checkpoint | Waste pipe
checkpoint-group | a2ba8663-4dfe-4012-9f44-b3ef284c1ac8 |  | section | Kitchen
checkpoint-status | 6a0ca4f4-a84b-428d-9da0-9be0e23c24aa |  | checkpoint | Hot and cold water
checkpoint-status | 5b7e6ddb-8e89-47f4-b637-83b371443a91 |  | checkpoint | Waste pipe
checkpoint-group | c6155e1c-0d1c-4bce-a972-73c4f3411875 |  | section | Balcony
checkpoint-status | 7dd28cfb-e886-419a-ae89-e58b13364ed7 |  | checkpoint | Balcony drains & pipework installed/correct screws in flange
checkpoint-status | 7a6d2ecf-4594-46a9-a159-8c90955ecc89 |  | checkpoint | Correct screws in flange
checkpoint-group | 20b20815-6053-47b3-bacd-d158a0e9898c |  | section | General
checkpoint-status | dd43aa31-ad58-45c0-9a8e-e2b4688b45f6 |  | checkpoint | Pipe Work Clipped
checkpoint-status | d076230c-6d13-4ecf-b8f0-e47a2e36c117 |  | checkpoint | HWC water feeds
checkpoint-status | 1ed34bbc-ca0d-4f8c-aff0-3f95595a9a6a |  | checkpoint | HWC waste
checkpoint-status | 04d688f0-ddaa-4bb4-97e7-16ef86781781 |  | checkpoint | HWC nogs for strapping
checkpoint-status | 9adbd3f7-55c3-4328-a9aa-725ce15ee885 |  | checkpoint | Pipe Work Siliconed
checkpoint-status | 1776fb20-6fe8-4cc9-a31a-4228ea20ad2d |  | checkpoint | Capped Off
checkpoint-status | ca36bcfc-bdab-4185-a039-a3dd0335d7d4 |  | checkpoint | Check for Crossovers
checkpoint-status | 9b3fd18f-e942-4181-9937-288fc64708e7 |  | checkpoint | Double check all sefont of fixtures
checkpoint-status | 84970ccd-1fff-48cf-8ce8-f779fa51e2df |  | checkpoint | Acoustic lagging where required
checkpoint-status | e7ee0004-a1fc-49af-96f7-bb5110c1acdd |  | checkpoint | Thermal lagging to hotpipes where required
checkpoint-status | 9c27810c-cfab-4c5e-869d-6fd7a96a9539 |  | checkpoint | Floor waste flange fitted
checkpoint-status | 7cf3a6fa-23b5-424a-8ed3-95d05fd5db6a |  | checkpoint | Pressure Test 1500 KPA
checkpoint-status | 987b6263-42b2-4856-b079-e0013ca33e62 |  | checkpoint | Installers name & date works completed
text | 47236db2-3985-555c-8287-14f6262dfa07 |  | textbox | Installers name
text | 2cce7d63-8070-5f86-bace-3610f6003e75 |  | textbox | Date:
checkpoint-status | ba2cfbc4-7daf-438c-9154-2040f2ff95e2 |  | checkpoint | Tested by & date
text | 13b29d8d-412d-5ce7-8528-7bc16afa317b |  | textbox | Tested by:
text | c3679fe6-140a-57b7-addf-cb5da82d37a7 |  | textbox | Date tested:
checkpoint-status | 0b0db6b1-926d-4d28-95ec-4fb021e1d2e0 |  | checkpoint | Council inspector sign off and date
checklist-flat | af3e57fe-d767-4f49-9c0c-dd1877f84ee4 |  | checklist | Room QA |  |  |  |  | Yes | Room QA | ca66016c-94bc-4e8d-b5a9-3cb6e4785434
checkpoint-status | da8859c3-9e16-48b4-802c-aaa78d775e14 |  | checkpoint | Room Install Pre-Check
checklist-flat | e514d307-7739-4a6d-9c25-8e3355f1503f |  | checklist | Generic - Hot Water Cylinders |  |  |  |  | Yes | Generic - Hot Water Cylinders | 5f184450-60aa-412e-beb8-fbc1c4bd7479
checkpoint-status | c810111a-9421-4e4a-990d-b8c9306764fe |  | checkpoint | All safety valves installed
checkpoint-status | 7b22dcd5-9640-410d-9a84-dc4b7654839d |  | checkpoint | Seismic restraint fitted & wooden chochs installed
checkpoint-status | 120f0d63-4431-45b1-98b9-772315b217ab |  | checkpoint | Check all tap connectors for leaks
checkpoint-status | 8f11761a-38c6-4109-8ce0-24cda1417615 |  | checkpoint | Operate cold water expansion valves / check operation
checkpoint-status | ccd1c5c7-aba4-4303-a110-c79cceda5908 |  | checkpoint | Test TPR valve
checkpoint-status | a7d90ca5-ce93-4a6c-ba86-65f4e45554be |  | checkpoint | Check for crossovers
checkpoint-status | 53be1f64-d2d3-4b16-bb96-80f194964a3e |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | da3871d6-91de-45aa-872d-12db18e3b547 |  | checkpoint | Test overflow & safe tray
checkpoint-status | 94ba18f4-1ab5-4116-a12c-d28177fbb3a8 |  | checkpoint | Check Element Position on HWC Is In A Serviceable Position
checkpoint-status | eccf6b64-ef79-474e-b6a3-4967e04c1e0b |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | e23734c4-1342-4a51-a4a7-046e6b575de7 |  | checkpoint | Set tempering valve temperature 55deg C
checkpoint-status | 96326069-c33c-43f6-bbaf-96fae2cdc56a |  | checkpoint | Thermal lagging installed
checkpoint-status | f633a76b-aa15-41d2-8880-ef220953824d |  | checkpoint | Installers name & date works completed
text | 49095c00-8b56-5c2f-af7a-80246c18bfe9 |  | textbox | Installers name
text | 8b3ea35a-6b91-5e00-9b99-7867a9c714b2 |  | textbox | Date:
checkpoint-status | 0360bd11-c9a5-4255-85d5-746e6b8cc31e |  | checkpoint | Tested by & date
text | 2feebab9-c4d4-5e81-b049-86328f571922 |  | textbox | Tested by:
text | b3666088-d15b-5b14-ae30-bc333a292bea |  | textbox | Date tested:
checkpoint-status | b15ee3e2-0930-4fe4-ba4d-cba4d6c28a7e |  | checkpoint | Council inspector sign off and date
checkpoint-status | f3a157a8-e85f-4954-8bfc-6b910d610da7 |  | checkpoint | Cylinder full of water before power connected
checklist-sectioned | 8fc5acb4-e8c8-42af-94c2-602692ba80fa |  | checklist | Generic - Water Pump Commissioning |  |  |  |  | Yes | Generic - Water Pump Commissioning | 8cd96ffc-37c1-4409-8ee3-2f00965fdb69
checkpoint-group | b89e81d9-132d-43dd-b11c-8d6486951176 |  | section | Pumpset mainfold
checkpoint-status | 7608c636-0b99-4309-8775-efa6b40f37fa |  | checkpoint | Connections welded correctly
checkpoint-status | c7e13331-5cb5-4d97-aca2-ee5c2ee58ea6 |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | e3b390bf-b80c-498b-9d49-f7eac0132af2 |  | checkpoint | Valves fitted correctly
checkpoint-status | 94983593-96fc-4663-be9b-f86a3a10e1f1 |  | checkpoint | Line strainer fitted between pump & tank
checkpoint-group | 97358dba-d9d8-44db-b75d-2e796d8655d3 |  | section | Pumps
checkpoint-status | 35ade168-bf84-490b-afe0-081b7536f959 |  | checkpoint | Pump 1 Startup KPA
checkpoint-status | e71348ba-6d47-4e28-a853-9c2d933b2eeb |  | checkpoint | Pump 1 kick out pressure KPA
checkpoint-status | e0601bfd-2d7e-4b33-a45d-1f59303b18d2 |  | checkpoint | Pump 2 Startup KPA
checkpoint-status | e2334cc2-edaf-435d-93c7-91e430f12153 |  | checkpoint | Pump 2 kick out pressure KPA
checkpoint-status | b7588251-d4cc-467a-99b2-2e5b6c5eae79 |  | checkpoint | Pressure vessel pressure
checkpoint-group | 5fcddfb3-b0f1-4fb7-9fc2-11e500ada3f1 |  | section | General
checkpoint-status | 600d5a0b-2079-48ea-807f-f69bd686bcfd |  | checkpoint | Mains water change over
checkpoint-status | 44c13249-7631-42c6-9190-684f9e9f5e57 |  | checkpoint | Flow test pump
checkpoint-status | c5beca82-9cae-4a92-839f-8d2338b490ea |  | checkpoint | Pressure tests pipework
checkpoint-status | c1a722e9-83c6-4776-a4aa-6316fada4df8 |  | checkpoint | Visual check (for leaks from valves, tees, saddles, etc)
checkpoint-status | 68d26fc5-a0a2-4321-99d1-d9935c6c3349 |  | checkpoint | Non return valves fitted
checkpoint-status | 85b8ffe3-7b5f-4b39-b44d-7ecd2b6aafdf |  | checkpoint | Installers name & date works completed
text | d3f6c0f1-ad40-5584-b034-12a4a5fa78d1 |  | textbox | Installers name
text | bf0ce6e6-5e23-5af7-a6cf-968adc0a5d3f |  | textbox | Date:
checkpoint-status | efdd88e5-da06-460f-8a92-99d33608a8b0 |  | checkpoint | Tested by & date
text | d601abff-98ea-5776-b305-3ed27fc7f64b |  | textbox | Tested by:
text | 9715a335-e1e7-5afd-a759-c06144e3cfe9 |  | textbox | Date tested:
checkpoint-status | 08d048f0-c13e-4e91-b2a8-000d6d4f7d6f |  | checkpoint | Council inspector sign off and date
checklist-flat | 39032177-491c-41b7-a8d7-59e506e7ae71 |  | checklist | Generic - Underslab |  |  |  |  | Yes | Generic - Underslab | 75748c96-474f-44a2-a23b-450f82879c74
checkpoint-status | f075cf78-58c1-4131-81cf-9bb01a2b72ea |  | checkpoint | Area ready for works
checkpoint-status | 1bb012d2-0cbb-47de-adf8-89780d622595 |  | checkpoint | Dimensioned Slab Set Out Drawings
checkpoint-status | d787397f-befa-42ce-971a-4f2a65101dc6 |  | checkpoint | Minimum Or More Fall Achieved on Slab Piping
checkpoint-status | 6a42a7a5-6475-4582-8f8e-b2b05c848558 |  | checkpoint | Under Slab Piping In Slab
checkpoint-status | 81be426a-f432-4895-b64b-f54f18a8b378 |  | checkpoint | Called For Underslab Inspection To Be Booked
checkpoint-status | 633e8dc9-83b1-4fea-b952-090fe64011db |  | checkpoint | Mains Water Supply In Slab
checkpoint-status | 8a006f98-eb6d-440f-9401-58391e483e96 |  | checkpoint | Water Supplies installed incoming / island bench
checkpoint-status | b0afc0e6-e135-491b-8013-eb55327e49a0 |  | checkpoint | Gas supply
checkpoint-status | b13bb17a-369d-466c-ac9f-9a3e87773bdb |  | checkpoint | Test Plug Removed From Pipe System by:
checkpoint-status | 54b72159-4f2c-433e-bc56-9f1cefe01927 |  | checkpoint | As-Built Drawings
checkpoint-status | a46f2a55-ae6d-4aba-8218-634c1ba550aa |  | checkpoint | 25mm Protection Around Pipes Penetrating Slab
checkpoint-status | 85b292a1-6ba1-42dd-a4f3-9d09da639a70 |  | checkpoint | All Measurements Double Checked
checkpoint-status | 75b313d2-63ae-4dd0-935f-d8b22f8d0d05 |  | checkpoint | Boxing For Shower Wastes
checkpoint-status | 5cc9d20f-d1ec-4994-b97b-3fe43d8b9d2b |  | checkpoint | Lagging and trace wire to greasy wastes
checkpoint-status | 3d7bd7b4-f646-44ef-9b60-07758d18442c |  | checkpoint | Haunching & Bedding
checkpoint-status | 5fe31c4d-4917-4db4-816e-50468d7823e7 |  | checkpoint | Concrete Under Gully
checkpoint-status | b1397282-44ad-419b-9050-190145489d21 |  | checkpoint | Drawing Number And Revision
checkpoint-status | a085bad4-3da1-4b4d-a0ae-a86259af7b62 |  | checkpoint | As built drawing complete
checkpoint-status | 50fd65aa-f289-43e4-875a-a3ca4277ab2f |  | checkpoint | All upstands capped
checkpoint-status | eb7f592d-7d41-492e-9fcf-cd423193d47c |  | checkpoint | Installers name & date works completed
text | b79eb91d-d511-5fdb-9e73-500613e73156 |  | textbox | Installers name
text | 066a196e-3616-5309-a18d-38e54d45b8cf |  | textbox | Date:
checkpoint-status | 4cab314d-2da6-4921-9377-0844f492d56e |  | checkpoint | Tested by & date
text | c5647192-7cbc-5958-9a07-203a421a7271 |  | textbox | Tested by:
text | 7bd7351b-8b35-5bd1-a20d-2e12ff9d4593 |  | textbox | Date tested:
checkpoint-status | a60c0512-2486-46c0-96d2-e7516c53fc0a |  | checkpoint | Council inspector sign off and date
checklist-flat | 9b758035-ea2b-4cf7-9a64-7fd91692d076 |  | checklist | Generic - Syphonic Stormwater |  |  |  |  | Yes | Generic - Syphonic Stormwater | 377b0f4c-2026-44db-bb6c-58f816bd1896
checkpoint-status | b670d904-bfb7-4a9b-b96d-0cb8ab9ef848 |  | checkpoint | All pipework installed as per design drawings
checkpoint-status | 04a03251-4840-4070-a20e-bbf6eadccddc |  | checkpoint | Fittings scrapped and ISO before welding
checkpoint-status | 41b941d4-f0d2-4bee-8288-77bf2891bfc5 |  | checkpoint | Correct fittings used
checkpoint-status | 7273aa1c-fbdb-4baa-bc5b-b81678502a51 |  | checkpoint | Brackets and clips installed as per design
checkpoint-status | 726612ef-f30e-40aa-99a2-5bb97a5556e4 |  | checkpoint | Seismic braces installed as per design
checkpoint-status | 86b33de9-b572-4d8c-a6e0-7bab99dee5a0 |  | checkpoint | Outlets installed and syphonic grates installed
checkpoint-status | 106f93d0-1854-42b5-b853-784090736730 |  | checkpoint | Overflow outlets fitted with riser fittings
checkpoint-status | e66f8fec-de58-4001-8b7c-d9e61c4f67d4 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | da74fe62-e8b6-4709-89c5-aebb3031218d |  | checkpoint | All pipework flood tested
checkpoint-status | a7bced81-50e8-4426-8609-64f78af53b51 |  | checkpoint | Installers name & date works completed
text | b766078e-801c-5522-a78e-fda749cfe5e9 |  | textbox | Installers name
text | 1ea74f6d-760d-5884-a256-cd23128976e6 |  | textbox | Date:
checkpoint-status | 3d0d9aea-a6b9-40a5-bdb9-afafeba10640 |  | checkpoint | Tested by & date
text | b41ce4a7-34dd-528a-97de-d9910a5b6895 |  | textbox | Tested by:
text | 9e56eaaf-b2fc-5fd9-bfaa-3ac80b1422c3 |  | textbox | Date tested:
checkpoint-status | c7ca33b2-9808-4b5f-be1a-35756c7e0ef5 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | c036dbcf-1a91-4ca7-a5d3-76c019006b52 |  | checklist | Chenery - Plumbing Final |  |  |  |  | Yes | Chenery - Plumbing Final | 04a00ad6-7c0c-46d1-98bf-3a4cf3f761e8
checkpoint-group | ed1b520b-da0e-4df7-9252-dacf5b978fa1 |  | section | Pre-Install
checkpoint-status | ed1bd29a-6e8d-4115-bab3-85d55bc8a0fc |  | checkpoint | Details
text | 61c9603c-ecc2-564e-bbe0-4643f876bb54 |  | textbox | Drawing N:
text | dc4818a7-928b-5ece-8caa-03d52ff0960a |  | textbox | Issue:
checkpoint-status | 3a037d13-5d41-4cc3-b5a4-20669e11614e |  | checkpoint | Room checked against Sanitary Finishing Schedule for fitting types
checkpoint-group | a65fe3c0-de06-4661-aa3b-65ebe24afe44 |  | section | Toilet
checkpoint-status | e7fb3f0a-0e62-434e-97a6-de9f508c8c41 |  | checkpoint | Securely fixed at floor wall
checkpoint-status | 085270e2-608b-4868-b825-d6808549604c |  | checkpoint | Silicone at floor/ wall
checkpoint-status | f8176b9d-b6ce-4615-9ec0-a5859e87274f |  | checkpoint | ½ and full flush checked
checkpoint-status | 25b3934d-c8a9-4acc-83f6-24f9d0e9aa09 |  | checkpoint | Water connections leak free
checkpoint-status | 78b257b0-0d25-477f-bafc-b273b22e93f9 |  | checkpoint | Cistern fills normally
checkpoint-group | 900b66e5-3c43-41d1-a954-21c67316ed70 |  | section | WHB
checkpoint-status | 2b17cd35-efd5-4b00-8514-a034cef314b9 |  | checkpoint | Silicone basin level and secure
checkpoint-status | 003b4afb-27fe-4249-85e1-d1cf16143827 |  | checkpoint | Water connections leak free
checkpoint-status | 3a628943-7179-401d-b0db-5d99ed1088f0 |  | checkpoint | Taps secure
checkpoint-status | 7ab0209f-4e7a-46a9-9e4f-1b8f802574dc |  | checkpoint | Waste connections leak free
checkpoint-group | 0547aa1d-0029-456d-b8b2-fc35008932db |  | section | Shower/Bath
checkpoint-status | 3bd0fc4d-2ed1-44f7-9da7-fc9bce3b582b |  | checkpoint | Silicone behind cover plate/mixer/spout
checkpoint-status | f878f3bb-9b74-46a2-8a5f-12f0b468981c |  | checkpoint | Diverter operation (if fitted)
checkpoint-status | 08545efe-1b9a-4de3-9767-e850bf4c461e |  | checkpoint | Waste clear
checkpoint-status | 58829e55-b477-4210-bf38-ccba9a247b7e |  | checkpoint | Hot and Cold water checked
checkpoint-status | 75e076c4-c49b-4ac1-add6-327e1fbb2343 |  | checkpoint | No water hammer
checkpoint-group | e1b8e84b-c36b-443c-9d18-779e38cbb239 |  | section | Safety Shower
checkpoint-status | 271e7572-ce67-4aed-89d6-89ba09eea0bd |  | checkpoint | Water connections leak free
checkpoint-status | 2c7f798c-6685-4a32-b574-b1ecb72ce50c |  | checkpoint | Taps secure
checkpoint-status | 2b8a072a-8597-4a07-844f-3db85325cf50 |  | checkpoint | No water hammer
checkpoint-group | fe5471b9-1597-4f9f-b9df-4abc0ce49196 |  | section | Hose Tap
checkpoint-status | d3db0731-a4a8-4cf9-a281-0453b3c3c42c |  | checkpoint | Vacuum Breaker Fitted
checkpoint-status | da52d138-1508-42f9-bc5c-45f97ffa8055 |  | checkpoint | Water connections leak free
checkpoint-status | e52a4173-fe49-463e-bd0d-d056bdf7abb0 |  | checkpoint | Taps secure
checkpoint-status | 3883d2f7-9363-4d50-973a-b2e56a2736d9 |  | checkpoint | No water hammer
checkpoint-group | 2ef45636-5bbc-48f0-902b-a274ffa21f54 |  | section | Floor Waste Gully/Cleanout
checkpoint-status | 298b8dae-7417-434b-b755-6bfb5564fc79 |  | checkpoint | Grate flush with floor or slightly below
checkpoint-status | 44493b36-bfd9-461d-a1d0-25ce959d61ab |  | checkpoint | Clear of debris
checkpoint-group | f20ecd93-dd21-45af-acdc-b18685aa647c |  | section | Pipework
checkpoint-status | 5f570fd7-2274-488d-9ec9-ca1a239e19cb |  | checkpoint | All pipe work securely fixed
checkpoint-status | 984807df-c09b-4d1d-8f46-38e4c32fb281 |  | checkpoint | Thermal Insulation completed
checkpoint-status | adc871d1-2d4e-4833-a187-9d253b2d3341 |  | checkpoint | Acoustic Insulation completed
checkpoint-group | af8acaec-f7d9-4cd5-8058-9caed32c9020 |  | section | Kitchen
checkpoint-status | ddece4e8-44c4-411a-b520-743816be47d7 |  | checkpoint | Taps Secure
checkpoint-status | 0232efd7-3f56-45e0-ba31-3e935262a505 |  | checkpoint | Water connections leak free
checkpoint-status | 008f24fc-e513-4501-8043-58088242028f |  | checkpoint | Waste connection leak free
checkpoint-status | ec45a11c-b3f1-4ae7-97f8-533c5a1ce397 |  | checkpoint | Overflow working
checkpoint-status | d06269b1-2827-4007-8b9b-289d850e8a36 |  | checkpoint | Hot water temperature
checkpoint-group | 7be22fec-abd1-4996-a78d-b17a99311ccb |  | section | Laundry/Cleaner’s Sink
checkpoint-status | 211db48b-9e94-42f3-b0e3-2c167d4a9b5a |  | checkpoint | Taps Secure
checkpoint-status | 6b516f88-d2df-40fc-aade-baf6a1b9e60a |  | checkpoint | Water connections leak free
checkpoint-group | ae1b9636-1ff2-4627-a08d-e36c53e4b888 |  | section | Hot Water Cylinder
checkpoint-status | 60230865-0d04-4481-b730-433253b8658a |  | checkpoint | Pressure Relief Valve Working
checkpoint-status | 2129cae3-229d-4822-b7fe-1a66d3d90199 |  | checkpoint | Pipe work Leak free
checkpoint-status | 42020f94-ab02-49dd-b19a-9fedc5804b9c |  | checkpoint | Seismic Strapping Complete
checkpoint-status | 8c2efd61-bd4d-4f49-892a-0cb2e35e3726 |  | checkpoint | Temperature set correctly
checklist-flat | b6b9da4d-3138-486a-a1d9-df6129119ff7 |  | checklist | QA - Channel Drains |  |  |  |  | Yes | QA - Channel Drains | 0763cd3b-0b2e-4ae8-bc0f-b90899432cd5
checkpoint-status | d44ce1be-d93d-4098-84c1-3df58c66ca55 |  | checkpoint | Gridline Reference
text | 26625ff3-a6f4-5fd7-9725-a9bce5daacc4 |  | textbox | Gridline Reference:
checkpoint-status | eafad309-375d-4b69-a816-b1732518d9cf |  | checkpoint | Channel Drain Checks
button | e2381881-1a00-566b-a7a0-850293db6091 |  | button | Correct channel material and grate has been used | YES,NO,N/A
button | a9b4f3a6-1a0c-547e-a662-dada92f94d80 |  | button | Channel has been installed level and square | YES,NO,N/A
button | 78314bff-a370-5752-a0ff-b6979b5fb7f0 |  | button | Installed with correct fall | YES,NO,N/A
button | faa91174-8785-53a6-8c5d-abb702cf998e |  | button | Channel has been installed to the correct height | YES,NO,N/A
button | 2238cce8-464e-58ad-b095-fe23e14e47b1 |  | button | Sufficient Haunching has been put in place | YES,NO,N/A
button | edb1c79d-81a3-5736-863b-b778fddafca1 |  | button | All joint between channels have been sealed | YES,NO,N/A
button | e7384a66-620d-5224-aed7-8d6590f78d04 |  | button | All pipe outlets have been sealed | YES,NO,N/A
button | 19147954-3ec0-5d54-b948-f209f198b2ab |  | button | Stop ends have been installed | YES,NO,N/A
button | 8bea2ce6-9e6d-50b5-b6c5-6e4a236c9d89 |  | button | Has the supplier come and measured up the grate | YES,NO,N/A
checklist-flat | 1ee6eac7-688b-4781-b0b8-1f29a1074a86 |  | checklist | Generic - Roof |  |  |  |  | Yes | Generic - Roof | d77412ed-4319-49a3-8505-4e7e337a9f41
checkpoint-status | 9f3ca51c-0937-419b-a660-71b426bea698 |  | checkpoint | All vents installed
checkpoint-status | 0f4e87a2-bc5f-4206-8567-b35cbaec9db0 |  | checkpoint | All vermin proofing fitted
checkpoint-status | a4a49d3a-d25c-44a6-9fdf-2ba89a1b6ab3 |  | checkpoint | Decktites fitted to vents
checkpoint-status | 89cd050d-f9ff-4165-991e-6813f1f738b4 |  | checkpoint | All overflows finished
checkpoint-status | 427e8411-d23a-44a0-89d7-bac734e92bf8 |  | checkpoint | All downpipes connected and working
checkpoint-status | 9708baee-e6b0-4a00-a98a-6cb2c29d4fbb |  | checkpoint | All outlet covers fitted/correct screws
checkpoint-status | c66b5b58-682c-4468-9eee-277a7bbce8d7 |  | checkpoint | All rubbish removed
checkpoint-status | 45e44732-b045-49c2-b901-84569a15ce67 |  | checkpoint | Check plastic outlets for cracks
checkpoint-status | d9562bfb-2ca7-47b1-a8c7-599331e466c2 |  | checkpoint | All downpipes clipped
checkpoint-status | 534a2bf5-be40-4e3e-bb28-6e19aa56a0de |  | checkpoint | Tested by & date
text | 353f377b-a5e4-5872-97b6-b48594c0c19a |  | textbox | Tested by:
text | 49c7d9fc-88df-54f5-a87b-71e9a9b82d3a |  | textbox | Date tested:
checkpoint-status | 2828c011-a57d-4792-8ff3-1721460880ec |  | checkpoint | Council inspector sign off and date
checklist-sectioned | cd103dc1-9b81-44e6-956a-bd0fe5cf44e4 |  | checklist | Chenery - In Wall Pre-Lining |  |  |  |  | Yes | Chenery - In Wall Pre-Lining | 375673ca-29bd-4fe1-9de5-fe56bece8367
checkpoint-group | d1aacebb-c2d2-494f-9511-f9c429bb9afa |  | section | Pre-Install
checkpoint-status | 7a761bee-1f94-4ff1-a12d-397a86079052 |  | checkpoint | Service
boolean | 95bdc02c-c5cd-5016-bc50-5ff18425e66b |  | tickbox | Soil
boolean | b9014934-5dca-5e1a-af96-2ad54bdb8014 |  | tickbox | Waste
boolean | 44595d18-2072-5a27-971b-c37f35ada42e |  | tickbox | Vent
boolean | f822f35e-a4fb-56ad-a59b-e0a17a68f6bf |  | tickbox | Water
boolean | efdd3de1-9989-5280-a308-0c4867e030b7 |  | tickbox | Gas
text | 2c1bcb35-734e-5d76-b429-e91976a218e3 |  | textbox | Other
checkpoint-status | 1a2f5e98-bc54-48e8-b7ae-a89735743351 |  | checkpoint | Details
text | eef2f089-2673-5719-9aa6-c7094d059061 |  | textbox | Drawing N:
text | be6e7b8d-95f4-5510-9639-677b2ba0be29 |  | textbox | Issue:
select | 422b8c74-a258-51e5-bd00-8ba5d5cbbaa8 |  | dropdown | Pipe Work Material Identified: | Scheduled, Specified, As Drawn
checkpoint-status | 129aa61e-5b71-432a-ad60-119e58a6e3b2 |  | checkpoint | Room checked against Sanitary Finishing Schedule for fitting types
checkpoint-group | 5897b5f4-bfda-4294-ad09-7a2ca2c18078 |  | section | WC Suite
checkpoint-status | 5a2e7f97-27a1-4ff8-b1f3-9beac64e469b |  | checkpoint | Soil pipe location checked
checkpoint-status | cfc17a4b-4f13-4f79-8858-50c15a5a8a07 |  | checkpoint | Cistern tap location checked
checkpoint-group | e57d2226-9789-41bb-a28b-fc13f96e0d10 |  | section | WHB
checkpoint-status | f7d868c0-e508-48f5-9fe4-2411c9befbfd |  | checkpoint | Waste pipe location checked
checkpoint-status | af9caefa-1d33-4ff1-8007-6277939217b1 |  | checkpoint | Wingbacks location checked
checkpoint-status | 73071125-6b6c-492a-ac82-23fcae84345c |  | checkpoint | Noggins installed
checkpoint-group | 2a950b75-bdc8-41bd-bff4-018b74382ab1 |  | section | Fire Proofing
checkpoint-status | 2d3c8cd8-b9e3-432b-b940-c51e163d1270 |  | checkpoint | Fire wraps collars to wall penetrations
checkpoint-status | 8542671c-bdce-497a-a4d5-f65ea7177271 |  | checkpoint | Fire wraps collars to floor penetrations
checkpoint-group | 88857b21-da7d-468a-a939-895de57ab6ab |  | section | Pipework
checkpoint-status | 11615226-7470-43e0-9a4c-6a9f644a7663 |  | checkpoint | All pipe work securely fixed
checkpoint-status | 65a3da12-ce46-4344-8327-fb2637e0a1f2 |  | checkpoint | Noggins for basin/shower slide etc
checkpoint-status | 767ca3bc-7aa7-433e-800f-084c09d3f0f2 |  | checkpoint | Thermal Insulation completed
checkpoint-status | 93b67d58-ac37-4e0d-a971-73f79a9712e5 |  | checkpoint | Acoustic Insulation completed
checkpoint-status | 551476d0-1e3f-4ec5-b3d8-7e57a74895ac |  | checkpoint | Cleanout access points installed
checkpoint-group | e5b07e4f-6d1c-440a-b0b8-52673c7ff49f |  | section | Hot water cylinder
checkpoint-status | a69f6b74-5c09-4e09-930d-6f19c3dad5ae |  | checkpoint | Waste location checked
checkpoint-status | 162731df-bc47-467d-a6ca-e264cdf56285 |  | checkpoint | Wingbacks location checked
checkpoint-status | e49b4098-c163-4d90-a466-d6e19f52aff1 |  | checkpoint | Noggins installed
label | af634a16-658f-5dca-8421-a5660873eb47 |  | note | Nogs installed for seismic straps
checkpoint-status | 9329f049-5560-452e-a974-2b32365559fc |  | checkpoint | Hwc tray required
checkpoint-group | 45223ff0-4b52-4ad5-80ef-67540e773d94 |  | section | Floor waste gully
checkpoint-status | 1a0e827e-fa54-42d6-a98f-703be65ec39c |  | checkpoint | Gully Installed
checkpoint-status | 99772eda-f8b7-42ea-9e84-5b53af6f93ea |  | checkpoint | Floor Gully location checked
checkpoint-status | 5461a4c6-3b5f-448d-bc0c-ff4392bd096f |  | checkpoint | Floor Gully Cleaned out:
checkpoint-group | 0ab5ce6d-abc8-4bb8-af52-8854e73d3003 |  | section | Plumbing
checkpoint-status | 8e8361e0-617b-44f7-bc99-3ec3b304bfb7 |  | checkpoint | Plumbing complete ready for lining
checklist-sectioned | 43172460-ad22-456a-b4ac-96fc1bc82652 |  | checklist | Chenery - Pressure Test |  |  |  |  | Yes | Chenery - Pressure Test | 5f94dbdd-9725-43ef-a3b6-164f0f6c2b26
checkpoint-group | 058307a7-4019-4057-a5a7-ac5e0be7fcf3 |  | section | Details
checkpoint-status | 8cc929eb-4ac4-418d-b266-12ff80d90636 |  | checkpoint | Details
checkpoint-status | d02aabb0-a776-4f95-b3a3-438772b3b205 |  | checkpoint | Service
boolean | 042f8740-b49f-591b-9825-e7a2d1a0a38f |  | tickbox | Soil
boolean | 3cd06e97-752e-5269-9a9d-4476369cc5c1 |  | tickbox | Waste
boolean | e5c771dc-e2ae-5c7d-b40e-7cfd30d506da |  | tickbox | Vent
boolean | 3abec375-3230-541c-8f79-70108213f1c1 |  | tickbox | Water
boolean | 566d68ec-673d-5308-8ddb-b9f1a44b123b |  | tickbox | Gas
text | cc0a718f-df2f-56f2-9cb0-fc83c374a797 |  | textbox | Other
text | 5c69dbc2-f447-55b2-b7f5-f45055fc7364 |  | textbox | Drawing N:
text | 23cf0b63-7d1b-5698-8ad9-8d55f8c45b06 |  | textbox | Issue:
select | b9857939-d670-5e76-a3fe-7e4077baa442 |  | dropdown | Pipe Work Material Identified: | Scheduled, Specified, As Drawn
select | cd3b865a-281e-5b82-af10-7ce51b7a11d2 |  | dropdown | Test Required | Water, Air
checkpoint-group | 59134578-3031-4135-a078-101283e0ba6d |  | section | Test
checkpoint-status | be935df1-a8f1-4c96-8b46-627a97f14fdd |  | checkpoint | Tested to AS/NZS
text | f53c60ed-45f2-541c-a69d-1023403dcecf |  | textbox | If Specified:
text | 8b81e2c3-9e2f-57a3-996d-2a9f8f0e8766 |  | textbox | Start Time:
text | ad9b1c93-dcdc-5315-b39b-4987beb9f005 |  | textbox | Finish Time:
text | 262c8669-e710-5a04-950b-f13a47008810 |  | textbox | Test Time:
text | eb39ede2-720d-598b-9814-6e3decf7f6b6 |  | textbox | Start Pressure:
text | 162e47a3-f910-5bd1-a09a-4196a604943e |  | textbox | Finish Pressure:
checklist-flat | 8fb174e2-3fab-453d-8097-5c1e6edf07ae |  | checklist | Generic - Second Fix Plumbing - Water & Waste |  |  |  |  | Yes | Generic - Second Fix Plumbing - Water & Waste | c6d3361d-42fa-4057-a3ca-40bfee37d342
checkpoint-status | 28bee30b-f8f7-457c-8a7e-a7a1e681201e |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | 852336ce-081c-446a-9ede-97cfa6293131 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | eeaaff51-cd5f-47b8-bb02-dc3b31b4865c |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | b041f381-8124-4f45-b25c-47ec1fe9e776 |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | 04b76534-5bbb-4503-bb26-706b8ee7417b |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | 3003be32-9ce7-4639-9b5c-3269d6806784 |  | checkpoint | Check Traps For Leaks
checkpoint-status | 980af68a-07be-4833-bfbc-562a5edb576b |  | checkpoint | Check Cisterns For Leaks
checkpoint-status | 67b28074-0763-4f9d-a2b1-ea741bb7b40f |  | checkpoint | Check cisterns flushing correctly
checkpoint-status | 26e8a86e-f835-40b9-b97b-00b26221c118 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | d2fe99cf-f376-4c82-b170-26f87a9251aa |  | checkpoint | Test TPR on HWC and safetray drains away & airgap
checkpoint-status | eb0e5434-10d9-4ef5-a3fb-c9ceefb7ab98 |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | 23e16ff8-2776-4dd9-bd87-1a998c9bae38 |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | 30de1474-9739-4962-909f-807234ecc4a1 |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | 739b67e5-ea41-4efd-8425-13f553afac09 |  | checkpoint | Check FWG & Shower wastes are clean & clear
checkpoint-status | f0efcaf9-39f7-43f7-a467-528eb0c9d3e6 |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | 82d8ccf9-0164-437b-b183-4e7c2c191cf1 |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | d476e33b-7306-4cba-bac0-74bb2b01bd6c |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | 52732dc4-b023-4750-a5c9-c36ab7b6c75f |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | 30f40a0e-06a5-4c83-8c72-86398d594a76 |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | c0cc2723-d9f7-42d6-89f2-0828335e075a |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | a4f1399e-5af4-49ba-9a31-064cefe68084 |  | checkpoint | Temperature set point
checkpoint-status | fdcf0de5-54ad-45a5-80b0-2ae5306a794c |  | checkpoint | Downpipe & overflow cover installed on balcony
checkpoint-status | bce633b2-e741-4999-b04e-01e950bcd159 |  | checkpoint | Correct screws on balcony drain
checkpoint-status | 56fd870b-a431-4faa-9a5d-9887d55a1ba2 |  | checkpoint | Installers name & date works completed
text | 23c41c7e-3195-548e-8df6-fdbb586a2ee8 |  | textbox | Installers name
text | 3c63e887-cbaf-5e24-8ab7-c8a6cc51cdca |  | textbox | Date:
checkpoint-status | e9aed331-f8b1-4004-8f0b-b00964cddd4a |  | checkpoint | Tested by & date
text | 4b72e01a-b1fc-5df5-a584-e7257daf972f |  | textbox | Tested by:
text | bc0b9f56-94ba-5a75-bdd6-787b6b14ba55 |  | textbox | Date tested:
checkpoint-status | 94bb04d7-8f0b-4be2-ba86-97bc5365adbb |  | checkpoint | Council inspector sign off and date
checklist-sectioned | ddabecbb-8093-474b-9dbc-d477e132639b |  | checklist | Generic - Core Water |  |  |  |  | Yes | Generic - Core Water | 595d43a1-bb8e-4ad3-8568-180d900e59e4
checkpoint-group | 29229419-3332-40ac-b8fa-837301bee5ec |  | section | Cold water main
checkpoint-status | 6931708d-04c1-41ec-b54a-80bd1865deee |  | checkpoint | Connections brazed correctly
checkpoint-status | c4846fdf-42c3-47af-af94-0ee314adf975 |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 4d60cdaa-a5cb-4fe2-b2a4-23b33f6d1b69 |  | checkpoint | Valves fitted correctly
checkpoint-group | a030ee45-7cb5-4991-bf8b-96f71364527c |  | section | Hot water main
checkpoint-status | b6bfb932-25e6-4011-bdd1-beffd4658c64 |  | checkpoint | Connections welded correctly
checkpoint-status | 07830c43-d77e-4ae2-8446-0052af992827 |  | checkpoint | Clip spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | b6af1a37-1f98-4d7c-921d-27c7a438dd95 |  | checkpoint | Expansion allowed for
checkpoint-status | bf381ceb-0ad1-4b3b-8b40-642ab7e2b094 |  | checkpoint | Lagging installed and neat
checkpoint-status | 07a4b08e-146a-4b95-806f-0897411283d0 |  | checkpoint | Valves fitted correctly
checkpoint-group | 582b60db-ade7-4306-a87d-c6e911e20c02 |  | section | General
checkpoint-status | 076ce071-3730-4f46-ae3f-f1560f9cae90 |  | checkpoint | Open ends of riser capped for testing
checkpoint-status | e7da1db5-c546-4315-96a6-f4514ccfde17 |  | checkpoint | Checked for cross over's
checkpoint-status | 975a47c9-4442-49d0-9ca1-3f2e40c92e01 |  | checkpoint | Tidy work areas
checkpoint-status | 0b44f8fd-68ab-427a-b76e-c5342df743d1 |  | checkpoint | Pressure test to 1500kpa for 30mins
checkpoint-status | 1e64bd8f-b529-4c7a-ad00-26db20e9a493 |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | 3058d38f-eb8f-44cf-bd70-4bc1cf502a50 |  | checkpoint | Seismic bracing for pipework longitude and latitude
checkpoint-status | aa582474-9709-463b-bc5d-f9a690ce2653 |  | checkpoint | Lateral labelling of pipework backflow devices fitted
checkpoint-status | 866f9606-1c10-41fb-868e-f8cd0d6c96de |  | checkpoint | Pre Line Inspection Passed
checkpoint-status | 8ae1369a-e396-4bbb-804d-643c3830d2f4 |  | checkpoint | Installers name & date works completed
text | b78f0c33-13ee-500e-8ace-565948f34e87 |  | textbox | Installers name
text | 511525b3-faa9-5123-bf2c-e1d57c395f44 |  | textbox | Date:
checkpoint-status | 6594d4a0-e59a-4254-8a86-bf8c280be6c8 |  | checkpoint | Tested by & date
text | 21a4cf8b-0aa5-5bc4-920d-c7454c647d97 |  | textbox | Tested by:
text | 1574b922-971c-519a-8eb3-03d822db7087 |  | textbox | Date tested:
checkpoint-status | 6e70c61c-1677-4807-a678-9096dea0ab53 |  | checkpoint | Council inspector sign off and date
checklist-flat | ff16b11b-98a9-43df-a8bf-431f1fe1225c |  | checklist | Generic - PVC |  |  |  |  | Yes | Generic - PVC | 4e394ddb-fd56-41b7-9dbe-143c3e3202ab
checkpoint-status | c739ae92-8dad-42d2-a52a-872c41c02ae5 |  | checkpoint | Waste Pipeout
checkpoint-status | cca68d14-d8bf-4e4f-b49f-178c62e7b997 |  | checkpoint | Vent installed
checkpoint-status | 34d46004-d6a3-4db0-8367-8ad21d8e40af |  | checkpoint | Check sewer hasn't been connected to stormwater.
checkpoint-status | 079b5024-e0c1-4832-9425-77a6ccc325cb |  | checkpoint | Correct or exceded minimum fall
checkpoint-status | 79ba16f9-07bb-432f-bade-ebe11be0214e |  | checkpoint | Correct Clipping
checkpoint-status | 9fe6ab8d-82ea-4ca9-9b19-8e112a6a6f21 |  | checkpoint | Flood Test in accordance with ASNZ 3500
checkpoint-status | c01175da-d8e8-48f6-b54b-3bc1041f00f9 |  | checkpoint | Hydrostatic test Plug Removed By
checkpoint-status | 1ff9b45f-48f1-46ad-bc09-51250d9d7255 |  | checkpoint | Inspection Cover Replaced By
checkpoint-status | a51c3adc-a010-41c7-8764-6f414e51ae30 |  | checkpoint | Seismic bracing for pipework, longitude & lateral
checkpoint-status | a58c5e9a-f6cc-4aa9-b807-ba0e42a25f50 |  | checkpoint | Pipe labeling
checkpoint-status | 4991ee24-c275-4754-bc3d-28416a26571a |  | checkpoint | Access points for cleaning
checkpoint-status | 44645fb8-464b-4d13-8d75-1f08e8f59547 |  | checkpoint | Acoustic lagging
checkpoint-status | a5b4bd5e-a3ff-4207-9696-a30ac39bc497 |  | checkpoint | All pipe stubs covered or capped
checkpoint-status | 5088bccf-34c5-47b7-9885-7f1216fa54b8 |  | checkpoint | Installers name & date works completed
text | 104d6d1e-939f-5e14-9094-ee6f06607f3a |  | textbox | Installers name
text | a03e51ba-94de-5015-bf74-3d1e100dd57a |  | textbox | Date:
checkpoint-status | 4d0d5acd-42d6-492e-ba18-9c72f68a0472 |  | checkpoint | Tested by & date
text | bf75720f-3f5f-59e0-baf1-4e496fbf36c4 |  | textbox | Tested by:
text | da23dd68-725a-5da3-8edf-d223f0964256 |  | textbox | Date tested:
checkpoint-status | e2cca4c5-2168-450f-801c-3e18680259ba |  | checkpoint | Council inspector sign off and date
checklist-flat | e30c8500-0e5c-47db-9f72-00c7b5ce7bbc |  | checklist | Generic - Second Fix (Short) |  |  |  |  | Yes | Generic - Second Fix (Short) | 010cd7c7-e528-4dec-8bc9-fb8b40529d00
checkpoint-status | 015c7e42-029c-40e0-87eb-4c846b672ea7 |  | checkpoint | Fit-off Materials match schedule on plans
checkpoint-status | b53b8965-b8cf-4af3-9301-1a2d880670b7 |  | checkpoint | Setouts/min clearances as per plan
checkpoint-status | f37e2115-1d2d-46df-a369-45b5f8962db0 |  | checkpoint | No debris in floor wastes or stubs
checkpoint-status | c2252b36-fb02-4e79-97bf-426dce7f251f |  | checkpoint | HWC Tempered to required outlet temperature
checkpoint-status | 20de3cad-f958-40f4-8a0e-72e3e17d57bd |  | checkpoint | All soil pipes are connected to sanitary sewer
checkpoint-status | 3a1bbb9f-fd57-45c7-a973-39170032f92a |  | checkpoint | No crossovers, Hot on left and Cold on Right
checkpoint-status | 064c63c2-a26d-4749-88ba-ecdcecdb85fb |  | checkpoint | All fixtures are silicon-ed down and splash sealed
checkpoint-status | e7b8b262-fccd-46c1-be9a-99acdd8b0b83 |  | checkpoint | Pressure is limited to 500kpa
checkpoint-status | 65c4071c-a2a4-40f6-891a-42a32dfb614d |  | checkpoint | Vacumer breakers installed on hosetaps
checkpoint-status | eaace888-6e30-4c3f-8c52-9f7b38b2d659 |  | checkpoint | Shower Hoses are fitted with non returns
text | d9f212e9-d369-52cc-afe4-cf7b918943bb |  | textbox | Installers name
text | 9b02dba1-ccee-5ff5-8e34-78772a5b66f5 |  | textbox | Date:
checkpoint-status | c6f267ef-3298-43a5-bf2a-db6b46b03387 |  | checkpoint | Tested by & date
text | cefec3c4-af6f-5cbd-a59e-7fe62daa79ba |  | textbox | Tested by:
text | b1d2b340-ccd0-5292-81c1-63cb6cfcd145 |  | textbox | Date tested:
checklist-flat | 2c2db52d-183e-47ca-9939-a58dc0da2b02 |  | checklist | Generic - First Fix (Short) |  |  |  |  | Yes | Generic - First Fix (Short) | 3176c68f-f4ce-457c-9a1a-f63ed5f4a68d
checkpoint-status | b58c40bc-8a09-46df-9384-4c35e3984ea9 |  | checkpoint | Pipework run to Current Construction set drawings
checkpoint-status | 175fa86d-2d4e-43be-9fdd-56f93f58c260 |  | checkpoint | All through joist Brackets or Reinforcement installed if required
checkpoint-status | 4eaf53a4-678e-4463-abeb-d8e4539c814f |  | checkpoint | Nog's and fixings are installed for WC, WHB, SHW, HWC and laundry
checkpoint-status | 980064cc-b506-4127-85ef-a4efc4b830e7 |  | checkpoint | All Pipework clipped neatly and tidy
checkpoint-status | 6cbafa07-0d3b-448f-837d-467c64c1c653 |  | checkpoint | All pipework secured/ siliconed where passes through timber
checkpoint-status | a9d76f1f-c63b-4004-b634-ff7fe331c3f4 |  | checkpoint | FWG Flange is recessed into flooring and installed
checkpoint-status | bb46c10f-f528-4489-bf03-d4e904685991 |  | checkpoint | Water tested to 1500kpa and loop not effect lining
checkpoint-status | cad33957-e846-49ae-898a-6e18ad9d9af7 |  | checkpoint | Soil and waste piping hydrostatic test complete ( Flood test )
checkpoint-status | b91385a3-ccdb-406a-9319-164bf6bd5b66 |  | checkpoint | Vent penetration has been back flashed and sealed
checkpoint-status | e46834e9-fc5b-4064-91b1-a4244349fb27 |  | checkpoint | Test plug & Gauge removed from pipe system
checkpoint-status | 7ec295aa-173f-4f23-aa53-483ae5d62fa4 |  | checkpoint | Picked up all left over material and removed from site
text | ec45b114-d6fa-5357-88e4-232a48ac35b5 |  | textbox | Installers name
text | 8bb41696-4977-56fd-b9af-9a13cd627e62 |  | textbox | Date:
checkpoint-status | 734e6835-1cb9-4dcb-b7f6-18e8b53d200a |  | checkpoint | Tested by & date
text | f933f42c-c291-544f-8e43-9172365b0599 |  | textbox | Tested by:
text | a4a3d503-da1f-586d-9dee-f355d7f170f7 |  | textbox | Date tested:
checklist-flat | bf22b3d8-e35e-4abd-a641-1692bd6dc0cc |  | checklist | Generic - First Fix - No HWC |  |  |  |  | Yes | Generic - First Fix - No HWC | 8d86a95f-46ca-4ce1-bf1a-9bacca0794c4
checkpoint-status | ed28091b-f5c5-4cc5-8591-1e5ad198d139 |  | checkpoint | Underslab complete
checkpoint-status | 118fd64e-5a7d-4df5-aa04-18b1cfa01cc8 |  | checkpoint | Toilet, shower and basin waste installed and in correct position
checkpoint-status | a8646e49-95e6-4cf2-9fff-75a54ec5c899 |  | checkpoint | A/C drain connected
checkpoint-status | 1b558094-fd83-452b-9a2a-76d2086cea60 |  | checkpoint | Shower flange installed
checkpoint-status | 2cf09bed-5d86-466b-9d92-b41377821e0a |  | checkpoint | Water to toilet
checkpoint-status | 2d12cd36-df8b-4378-8d3b-63285464a099 |  | checkpoint | Water run to basin and basin taps installed
checkpoint-status | 19440d81-3360-4adf-9ce7-49e49c016877 |  | checkpoint | Water run to shower and shower mixer installed
checkpoint-status | 3ce4ad80-5e44-41ee-8393-7a5f70eae25c |  | checkpoint | water supply run to shower rose
checkpoint-status | 633150cb-43d3-4974-9706-a05bfd91a47f |  | checkpoint | All pipework clipped and siliconed where it runs through walls
checkpoint-status | 370f1912-dd2f-4b81-b7d3-02a71dee96f4 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 6244bb33-a82f-47e4-912b-e57641afda82 |  | checkpoint | Thermal lagging to hot pipes where required
checkpoint-status | f6f21a61-37a9-41d5-96cc-28d9bb2f0780 |  | checkpoint | Tempering valve installed
checkpoint-status | 2f806772-1c49-4381-85f5-95afd1674e20 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | f6435acf-17d7-4a6c-bfd2-422128e07a5e |  | checkpoint | Check no 1st fix clashes with 2nd fix fixing screws
checkpoint-status | 0fcc6da6-f2f7-4212-b2ec-4826ff28755e |  | checkpoint | Check all nogs are installed
checkpoint-status | c6b618d3-dbc0-4cce-98b2-5319408caa75 |  | checkpoint | Double check all setouts and heights.
checkpoint-status | f3dbd0ae-c5ad-4b45-9320-77508ab64799 |  | checkpoint | Installers name & date works completed
text | d7e9e023-5636-5d0e-868e-74ac18c7a8b7 |  | textbox | Installers name
text | 03c37ec0-2aaf-5db6-9dfd-d237d9c33bd6 |  | textbox | Date:
checkpoint-status | 80cacaea-6420-4e64-95e9-e3fb7ce32d14 |  | checkpoint | Tested by & date
text | 6d362b7a-8d4a-5c42-a34e-b4b81727c586 |  | textbox | Tested by:
text | 15ccc984-afa9-5156-81a6-30c732ffbe6c |  | textbox | Date tested:
checkpoint-status | 56d7ded6-14bd-4db4-ab44-83ecf3afa403 |  | checkpoint | Council inspector sign off and date
checklist-flat | 6886dbe2-fe66-4257-88c7-45c2cf68447b |  | checklist | Chenery - Below Slab Pipework |  |  |  |  | Yes | Chenery - Below Slab Pipework | 669438fc-bbd7-47f2-af54-9b3ddc54222d
checkpoint-status | 7b845426-b4ba-4a48-aae0-2943de9f530e |  | checkpoint | Service
boolean | a3c6ed0d-10d2-5b7f-ae24-50644728df23 |  | tickbox | Soil
boolean | eb9e0d77-544b-5c71-8e9e-9b25d97acaa7 |  | tickbox | Waste
boolean | 6582d1fc-2073-5ce4-8276-0ec94bf3bf73 |  | tickbox | Vent
boolean | 523cf836-699e-5497-aec2-6c3683cd37d6 |  | tickbox | Water
boolean | d306c551-d5e2-593a-80c0-303f2b3cc435 |  | tickbox | Gas
text | 246b9b9f-3655-54a9-b3b5-7efc9024d4e8 |  | textbox | Other
checkpoint-status | 7e8cbf07-8ec0-4653-9ddb-737fea488c92 |  | checkpoint | Details
text | 065ceaf2-337b-5698-93b1-6b4a585651cb |  | textbox | Drawing N:
text | dab4b73f-7276-52a7-9b11-f56c5f94e37f |  | textbox | Issue:
select | 52d33328-813e-5e2c-b4fe-c2bf36259e6a |  | dropdown | Pipe Work Material Identified: | Scheduled, Specified, As Drawn
checkpoint-status | c54444b8-ca1a-4ae8-83da-f4a5a90f8733 |  | checkpoint | Drain Invert Specified
text | 969e14b3-50bd-5772-93d9-cfe9ab97580d |  | textbox | If Specified:
checkpoint-status | f18a3e7d-e863-4c1c-ac6e-a45350818896 |  | checkpoint | Gully Position Checked
checkpoint-status | d97cab82-6dff-445b-b0a0-6215f0cbe70b |  | checkpoint | Falls Checked
checkpoint-status | bf90e716-c520-4f0e-a3fc-7171afafb86f |  | checkpoint | Drainlayer/Plumber Interface Points Established
checkpoint-status | 6b339cda-1e15-43d6-8954-8daa9f9b12b5 |  | checkpoint | Builder notified of any penetrations required to Exterior Walls, Beams etc
checkpoint-status | 15051413-9434-422c-bbca-ecbc663815ca |  | checkpoint | Grid lines obtained from Contractor
checkpoint-status | caf3abea-f63b-48e0-890d-c95ddbcf95cd |  | checkpoint | Grid lines obtained from Drawing
checkpoint-status | 4de0a93f-614b-4935-bc30-3209e84b2d07 |  | checkpoint | Invert Levels
text | 6c024311-b506-5ccd-b40b-20050990bfaa |  | textbox | Start:
text | 6358bbb7-e128-54ee-ace9-fbe67a6ac94b |  | textbox | Finish:
checkpoint-status | 9ee719b8-23fe-4053-b5fa-f8df9e6dbb32 |  | checkpoint | Floor Levels established
checkpoint-status | 27e5979b-fd5e-4763-b47a-4c7157c633cc |  | checkpoint | Pipe Tested for Water Tightness
text | c874e75e-c3b3-51fd-af06-0213cb345b85 |  | textbox | Specify:
checkpoint-status | e601483e-ded0-42c0-b81e-f28988642298 |  | checkpoint | Pipe Tested
text | e21ee13e-1d12-5223-888e-ed1845725250 |  | textbox | Witnessed by:
checkpoint-status | 5418a2a8-b565-44e5-8d07-2ad8b5e648be |  | checkpoint | Inspected by Council and Passed
checkpoint-status | 71282e31-0b21-47fc-9f53-e7b058b6b237 |  | checkpoint | Council certification Attached
checkpoint-status | d0f139da-5ae9-4c3d-91cf-6cb93e961aa7 |  | checkpoint | Pipe Work Trenches reinstated
checkpoint-status | 1a517535-a96c-4e3b-b4d5-686330b34cf5 |  | checkpoint | Open Ends Pipe Work Capped Off to prevent ingress of Dirt etc
checkpoint-status | 63a54dc9-fded-46e5-9faf-101d685c4526 |  | checkpoint | Installation to AS/NZ 3500.2.2003
checklist-sectioned | c3fbfc91-6b00-45df-8a7a-43753284ef89 |  | checklist | Generic - Core Water & Gas |  |  |  |  | Yes | Generic - Core Water & Gas | 7ba1aac0-f7b5-4ef3-9ac5-c174a8d1dc73
checkpoint-group | d1c16717-531a-42e3-b2a6-bf8546565273 |  | section | Gas Mains
checkpoint-status | 70fd5b5b-c4aa-4f57-b777-aa95123c740e |  | checkpoint | Connection brazed correctly
checkpoint-status | 3890b053-6406-43f1-81ed-8c8ccbb9ac2d |  | checkpoint | horizontal/vertical
checkpoint-status | a1ec697b-5c30-4e1d-9a8f-64953681fcc1 |  | checkpoint | values fitted correctly
checkpoint-status | 12a959f3-141e-45e4-8894-de7761b2bea5 |  | checkpoint | Drop test complete
checkpoint-group | e5b1c713-bc85-4489-a1f8-b975682bb537 |  | section | Cold water main
checkpoint-status | 25274f17-f026-4fa6-a277-7aa4dd13b19d |  | checkpoint | Connections brazed correctly
checkpoint-status | e8337765-d35a-4e35-b4bb-f57b0cd88eed |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 877168e9-07df-43f0-95ad-03b5e97f67ff |  | checkpoint | Valves fitted correctly
checkpoint-group | fe37aa26-8941-4306-b824-08d03b755750 |  | section | Hot water main
checkpoint-status | bc40e15c-0f84-4131-9c1e-504f4194c87f |  | checkpoint | Connections welded correctly
checkpoint-status | bafcfca4-4df3-4d52-88c1-59a16db0bdc7 |  | checkpoint | Clip spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | ca98cd8f-6b4e-49eb-8e79-95dd04058c2c |  | checkpoint | Expansion allowed for
checkpoint-status | 64389eef-e9e9-497d-87d7-da9a879ce5c4 |  | checkpoint | Lagging installed and neat
checkpoint-status | c68a7280-7f5f-49a0-9d99-fc94bd13d580 |  | checkpoint | Valves fitted correctly
checkpoint-group | f7ffe502-550e-4e74-833f-55b8a6b1961e |  | section | General
checkpoint-status | 586f37fd-4b57-45d0-8c6c-d989cf2cb777 |  | checkpoint | Open ends of riser capped for testing
checkpoint-status | af09d286-08f1-4ef7-9e9f-4d823498a601 |  | checkpoint | Checked for cross over's
checkpoint-status | 4f48b7f4-5c38-478d-add1-a2bfe2c878e8 |  | checkpoint | Tidy work areas
checkpoint-status | 0d34030d-a143-4f4b-9ebd-8bc39320de91 |  | checkpoint | Pressure test to 1500kpa for 30mins
checkpoint-status | a389f8f0-dc7e-4334-b35a-5643d605cedf |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | d9ad9ad4-b98b-4967-a578-bd6d4374f579 |  | checkpoint | Seismic bracing for pipework longitude and latitude
checkpoint-status | 1d0d9a0d-1c67-4062-b354-33260d5dc50f |  | checkpoint | Lateral labelling of pipework backflow devices fitted
checkpoint-status | 3c15fbe7-99cd-49c9-8668-0a41464706de |  | checkpoint | Pre Line Inspection Passed
checkpoint-status | 0c43986a-0e14-415f-b6ed-630798ae9ea1 |  | checkpoint | Installers name & date works completed
text | c45a8ee8-a2b4-5f3f-9ee9-3430c0b61725 |  | textbox | Installers name
text | 6fe13b50-0247-5281-89be-3254fae63632 |  | textbox | Date:
checkpoint-status | 3e5df838-2a3a-49ef-89ce-0c686bc5fb86 |  | checkpoint | Tested by & date
text | b6be77dc-aae3-56c3-89c7-3fbf0d0d42df |  | textbox | Tested by:
text | 2fa2b229-5c2d-5a86-8d86-7596724bcd4c |  | textbox | Date tested:
checkpoint-status | 54b4e4a1-42d3-42b5-abbf-80ea5816a5a4 |  | checkpoint | Council inspector sign off and date
checklist-flat | 6394ca53-eeec-4440-a741-56ec9c1cef5e |  | checklist | Generic - Second Fix - No Hot water cylinder |  |  |  |  | Yes | Generic - Second Fix - No Hot water cylinder | 3a893827-67ff-4c14-82e7-9f2733e66ef9
checkpoint-status | 7cfc834b-7f72-485e-a10b-6b2dc38bad6b |  | checkpoint | Flush all pipework before fitting taps & fittings
checkpoint-status | 439d3ce2-384f-4152-9c7f-618fda64bd84 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | 372dd284-2185-4e78-b397-e9355563f06d |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | 4cdd35c3-db77-4a2e-9a62-c7261ad5134f |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | 0d9a298f-dd47-4573-984d-08c9be369f61 |  | checkpoint | Check Traps For Leaks
checkpoint-status | 0e1b1015-12ff-4b3f-b9bf-0750a7446644 |  | checkpoint | Check Cisterns are flushing correctly
checkpoint-status | 10981a9a-141b-4c62-b825-bcac732ecd1e |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 11c7e877-c029-4287-b13b-f56adb2e33df |  | checkpoint | Check shower waste is clear
checkpoint-status | 0a854bc3-350c-473b-9372-d51b9b424edc |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | d1bf542e-23d8-4fc4-b336-3fd891732542 |  | checkpoint | All Your Rubbish Removed Or In Bins Provided
checkpoint-status | c44b3614-0f81-41b3-a32f-31352e362a19 |  | checkpoint | Check no fixing screws have fit pipes
checkpoint-status | 05970710-d11b-471d-bcf5-972835535398 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 90cd330d-e92a-4e28-9512-77ea94c32ec7 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | 33a1169e-f9d8-4386-90a5-6cbe31473e96 |  | checkpoint | Temperature set point degree 55degC
checkpoint-status | 26d5b3c2-cde0-4df4-83f5-34a1713b696b |  | checkpoint | Installers name & date works completed
text | f55288d2-2259-5f29-bbe1-dfe2b3cd7e58 |  | textbox | Installers name
text | 3b552a57-ff09-5f92-bdac-f2415d9233cf |  | textbox | Date:
checkpoint-status | 63471f0e-8b30-42d0-812c-d0ff21b02344 |  | checkpoint | Tested by & date
text | ace4cf12-2bf2-5f27-9395-c2bc3401e475 |  | textbox | Tested by:
text | 48673d1a-c47d-54b9-bf53-57d96c182b04 |  | textbox | Date tested:
checkpoint-status | 97709552-9e37-4c91-be45-273fe5fd734e |  | checkpoint | Council inspector sign off and date
checklist-flat | 5f74b097-215b-425d-ba1b-3c35a4e4d02f |  | checklist | Shower Tray Checklist |  |  |  |  | Yes | Shower Tray Checklist | dd967bf0-1eff-4377-aff9-bdc8b97ec91d
checkpoint-status | f30f5fc0-9af6-4e02-b35e-210de3d7988e |  | checkpoint | Wall(s) are square
checkpoint-status | 567006fe-2b20-4090-90a7-a5c202c93dcd |  | checkpoint | Flooring is prepared and level
checkpoint-status | c9e807a7-6697-4fc4-9e9f-6b3c26bea590 |  | checkpoint | Pipework sealed and flood tested
checkpoint-status | 20dbfe70-46e2-4931-a069-fba9b1b0efe5 |  | checkpoint | Easy clean connected to pipework
checkpoint-status | e3d917cd-1d4a-4eba-aafe-b619756a1630 |  | checkpoint | Tray is level
checkpoint-status | 2a394d1b-5d1f-483c-ba9c-5ac8402be13f |  | checkpoint | Easy clean sealed
checkpoint-status | feca41d8-19b5-43ee-b1a2-45ef8bfa1278 |  | checkpoint | Tray flood tested
checkpoint-status | 53950656-b5dc-4f32-8904-5fd2d41c8259 |  | checkpoint | Shower tray protected from future contruction damage
checkpoint-status | 18341315-4a0c-40e0-8c07-45a42ee916c5 |  | checkpoint | CC Signed
checkpoint-status | e35e183f-71d3-4eb9-b91b-0eb74d75137e |  | checkpoint | Witness Signed
checklist-flat | 3a86f805-c5bc-4b9f-9c96-dd03f1e34a4c |  | checklist | Generic - Hotwater Plant, Pumps & Tempering Valves |  |  |  |  | Yes | Generic - Hotwater Plant, Pumps & Tempering Valves | d4598ab0-c239-4fe6-9bb9-e1d186192732
checkpoint-status | 7f822524-e794-4a2b-aedd-71c1fca89dda |  | checkpoint | Flush all lines and strainer including rinnais
checkpoint-status | e9b2ba91-40a9-4bb6-9ac7-5d8a5aa753ed |  | checkpoint | All safety valves installed
checkpoint-status | d3d6884f-b59b-4236-9ef4-f90c68c8c469 |  | checkpoint | Seismic restraint fitted
checkpoint-status | d2ea68f0-461e-4299-a735-635c45ba5c55 |  | checkpoint | Check condensate drains from Rennais
checkpoint-status | 99a99b91-5d29-4277-abc0-a7f4ff31fe3c |  | checkpoint | Check All Connectors For Leaks
checkpoint-status | 13359f29-c3e6-46d2-a63d-7996e7a85fbc |  | checkpoint | Check all valves and connections for leaks
checkpoint-status | 050482d8-d38f-40c1-b148-1b0b2b9d7bda |  | checkpoint | Operate cold water expansion valves / check operation
checkpoint-status | 3560389e-366d-42f8-9808-647c2282c4fe |  | checkpoint | Set limiting valve
checkpoint-status | 0ea17975-bb9f-4995-8c8e-2c2390dbc1e7 |  | checkpoint | Test TPR valve
checkpoint-status | 37b868af-12d3-4872-b9da-805ea1a1721d |  | checkpoint | Check for crossovers
checkpoint-status | 538f17ff-7291-4da1-a45e-80af663d479a |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | 7b94f4aa-b225-4dfd-a517-fc931c44319f |  | checkpoint | Lagging completed
checkpoint-status | 42254121-918b-4f37-a7ff-a11f310eaf2e |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | b7aa4aaa-42b3-4103-adac-e15c9fa19b77 |  | checkpoint | Set tempering valve temperature
checkpoint-status | da530c8a-922b-4cdc-bc19-5661ad9f9eb3 |  | checkpoint | Set Rinnai gas water heaters
checkpoint-status | f9ec25e1-58b9-4a40-a653-3756b126f58b |  | checkpoint | Set thermostat temperature
checkpoint-status | c5f63df0-9649-482f-9941-338dc07a56a6 |  | checkpoint | Set Bleed air from primary pumps
checkpoint-status | 939245ef-357e-4fd2-a409-2ac450dfe659 |  | checkpoint | Bleed air from circulating pump
checkpoint-status | adb820f5-7957-44c9-905f-87d88343e511 |  | checkpoint | Set all return thermostatic balancing valves
checkpoint-status | 8b0ccbcd-9d56-4518-aa71-89008b762a4f |  | checkpoint | Test gas for soundness & check working pressure
checkpoint-status | b15f17c0-ccff-4294-9561-cafdc3a420f7 |  | checkpoint | Water temperature in Hot water cylinders
checkpoint-status | 7989e102-64d6-45d9-bc6c-7a1c4069e1a6 |  | checkpoint | Installers name & date works completed
text | a94f3951-a72a-50b7-b7ad-3ec391d93df5 |  | textbox | Installers name
text | d943f1a3-d4d8-54b5-8ba6-73fadf0e079c |  | textbox | Date:
checkpoint-status | 4d73acab-1df5-4233-9f39-0b7ba36f71a2 |  | checkpoint | Tested by & date
text | 35c0f1d5-6999-590c-b7c1-b7113499e324 |  | textbox | Tested by:
text | 404dcd8d-287c-5e02-be31-4465cbe43842 |  | textbox | Date tested:
checkpoint-status | 26033eb4-b91f-4d5c-8f76-78cc80add8e8 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 5d8ede16-a721-4e3c-bde3-eb71f85c8ce9 |  | checklist | Chenery - Gas Test |  |  |  |  | Yes | Chenery - Gas Test | 59b1f6b1-9475-4fe8-9707-cb6a6545ed3e
checkpoint-group | 48d50bba-ba61-4d8b-a7ed-e43576f1058d |  | section | Details
checkpoint-status | c9635bf3-6f43-4a25-a54a-503595608d38 |  | checkpoint | Details
text | ff226207-7627-55e3-95d5-9e669fdcd492 |  | textbox | Location
text | 5cb9ebc6-a7c8-5472-a44b-0b3a57be7c32 |  | textbox | Person Responsible
holdpoint | 78bd8eec-0156-49e6-927c-8a7e543711f0 |  | signoff | Gas Certifier (Name, License Number and to sign off)
checkpoint-group | e466723c-4645-49f2-9f32-c548ed2927eb |  | section | Pre Install
checkpoint-status | b1c06d5d-800d-4b77-b1ee-3dfb681c872d |  | checkpoint | Service
boolean | caa5965b-b109-51ee-9312-2e72a92eb443 |  | tickbox | Main
boolean | e4c10251-7653-58ee-b334-302535e58db0 |  | tickbox | Reticulation
checkpoint-status | 98da7dff-6464-46d3-be6e-1fc2772b6a51 |  | checkpoint | Pre-Installation
text | f9dca353-ccd1-5b5a-80da-3525013b48b0 |  | textbox | Drawing N:
text | 60696a9a-1a4a-5e5a-ba3c-6e2669c10e2d |  | textbox | Issue:
label | e3877e46-c586-5403-8828-66b46d69c4d7 |  | note | Specification ref: AS/NZS 5261;2003
text | 1c1135ad-bbb8-5df4-8a49-d46948c11daa |  | textbox | Specification Clause
select | 7659121a-4d7b-53cf-b895-f0a93851f956 |  | dropdown | Pipe Work Material Identified: | Scheduled, Specified, As Drawn
select | 867bd06b-d0c8-572c-b259-dc161427f1f4 |  | dropdown | Test Required | Water, Air
checkpoint-group | be88c6ec-5b78-4252-b65e-76c7f31afc8d |  | section | Test
checkpoint-status | 202ff8d9-3027-4856-8cd7-6442c7d89d0e |  | checkpoint | Tested to AS/NZS
text | 1d291567-fe97-5885-9655-ed8550dd6cef |  | textbox | If Specified:
text | 98ebfc6d-90b9-5a36-8951-50eb7f4d4a20 |  | textbox | Start Time:
text | 058e4586-92f5-564a-84df-4fc8c8c7ba86 |  | textbox | Finish Time:
text | 8b225241-fe59-5fc3-b06e-b1b9e57da4d0 |  | textbox | Test Time:
text | 5b20d918-d424-542e-9047-78aabeb5710e |  | textbox | Start Pressure:
text | 28b92866-9d8e-5b4d-b306-1924088fda72 |  | textbox | Finish Pressure:
checklist-sectioned | d8dd8429-ec16-49e8-b58a-b56355de2350 |  | checklist | Generic - In ground Water & Gas mains |  |  |  |  | Yes | Generic - In ground Water & Gas mains | c0c8d281-e052-4428-8390-c5cced823a43
checkpoint-group | 85abd146-f0ab-4cdd-b2ed-af4959a343a9 |  | section | Water mains
checkpoint-status | 2fbc1131-e06f-4317-ba79-43cb07017bbe |  | checkpoint | All fittings scrapped correctly
checkpoint-status | 09e86f2b-710d-44f5-90ad-b55f593d908a |  | checkpoint | Iso used on fittings
checkpoint-status | 22e6ea2a-e579-4fcc-9638-132ca171f326 |  | checkpoint | Valves fitted correctly
checkpoint-status | 1b2c9c63-2726-448f-a66a-817ff2684faa |  | checkpoint | Fittings welded & weld indicator has popped out
checkpoint-status | 826672a0-70f9-43bc-91c9-466aa865206f |  | checkpoint | Trace wire and ID tape installed
checkpoint-group | 0628eed2-44ad-4921-9dec-ed7161d5d239 |  | section | Gas main
checkpoint-status | 3942e3c6-a16e-40c2-bcea-9a9d1c6d1868 |  | checkpoint | All fittings scrapped correctly
checkpoint-status | 4109e984-5959-4a66-8f39-e2cef3b249c9 |  | checkpoint | Iso used on fittings
checkpoint-status | 3499594d-7717-478b-b728-ef4c1505346a |  | checkpoint | Valves fitted correctly
checkpoint-status | 49cf710b-d189-4cf4-8ae8-bfb402f95f6e |  | checkpoint | Fittings welded & weld indicator has popped out
checkpoint-status | c888ca30-cb5a-41ea-a91d-d451cb3ffa1a |  | checkpoint | Trace wire and ID tape installed
checkpoint-group | 9a7b3345-baac-4374-a67f-76bd279f7a63 |  | section | General
checkpoint-status | d31fdb82-2712-41b9-961f-65931d3bb4ea |  | checkpoint | All open ends capped
checkpoint-status | 547d1544-e02c-48ae-a867-b3e5d4592a3c |  | checkpoint | Pipework bedded correctly
checkpoint-status | aae5b043-c9ab-4e3e-90f8-43f2395edba1 |  | checkpoint | Tidy work areas
checkpoint-status | 01fccf63-6566-44f3-b3d9-4fec191d7b9e |  | checkpoint | Pressure test pipework
checkpoint-status | f47629ec-f758-4fc3-87a9-798ec9d913e8 |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | 44f7a393-3290-423b-8cf0-febd7b08196b |  | checkpoint | Backfill around pipework with fines
checkpoint-status | 00c9c9fc-742b-4af3-8ec8-08ea527da4f8 |  | checkpoint | as-built completed and photo
checkpoint-status | 754fa62b-e3e5-458f-bb12-5dca8a941948 |  | checkpoint | Installers name & date works completed
text | 18fe97a9-1d0f-5241-96e9-d0b79710ec8e |  | textbox | Installers name
text | d866738a-2e6f-59c2-bb03-3a60d591fe02 |  | textbox | Date:
checkpoint-status | 46f7697c-6aea-4d86-8843-5267d9903086 |  | checkpoint | Tested by & date
text | edf24bb5-426c-50a6-84de-a9fe87986068 |  | textbox | Tested by:
text | 1195dfa4-dbec-5172-9199-df0a8ab18857 |  | textbox | Date tested:
checkpoint-status | 4050c5df-94fa-41e6-89df-6cd80c86214d |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 58ad3de2-849d-4c04-8527-35f7f4338991 |  | checklist | Generic - SS or SW pump QA |  |  |  |  | Yes | Generic - SS or SW pump QA | 8f0041cb-2d8e-4f77-88ae-a61ce55890d3
checkpoint-group | 0f91bdd6-af73-4108-9c82-d81758c80c60 |  | section | Pumpset mainfold
checkpoint-status | 03c63974-90a2-4160-bbca-c37a85d2beb0 |  | checkpoint | Connections welded correctly
checkpoint-status | 15d4c6b0-6ba2-4bfd-8aa3-a68f0be869ae |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 62a64614-6f9b-42c7-92ff-094e9b593177 |  | checkpoint | Valves fitted correctly
checkpoint-status | b835b245-52f8-4c09-8692-ceac3fe52c07 |  | checkpoint | Line strainer fitted between pump & tank
checkpoint-group | 8cac437b-9da6-4072-9781-18bcd1131830 |  | section | Pumps
checkpoint-status | 25c085a8-7b10-4a41-a998-da537adf78d2 |  | checkpoint | Pump 1 Startup KPA
checkpoint-status | 858616ab-f0d9-46ee-adf8-e6484ec6cb23 |  | checkpoint | Pump 1 kick out pressure KPA
checkpoint-status | dd8a3677-b77e-4ca7-9260-94cd1c6308ee |  | checkpoint | Pump 2 Startup KPA
checkpoint-status | 88ef91d1-11aa-4c21-be68-1aeec1ba6b0e |  | checkpoint | Pump 2 kick out pressure KPA
checkpoint-status | 8e4294ac-5130-46c5-88a6-81150d30bd2b |  | checkpoint | Pressure vessel pressure
checkpoint-group | e3190327-5596-4140-8cee-40b1728ada88 |  | section | General
checkpoint-status | ca07bea8-4407-4ad2-a14b-9bcf5d86e3a9 |  | checkpoint | Mains water change over
checkpoint-status | 1810ceac-8a25-4368-9f17-746cbe6adf08 |  | checkpoint | Flow test pump
checkpoint-status | 75bec83f-4680-4e5b-9263-9ff1fde8cb43 |  | checkpoint | Pressure tests pipework
checkpoint-status | 06ab9154-2dba-4d23-8653-430e40b88242 |  | checkpoint | Visual check (for leaks from valves, tees, saddles, etc)
checkpoint-status | c047eca3-0380-4a00-ada7-e287403611b8 |  | checkpoint | Non return valves fitted
checkpoint-status | a1fb488e-4ca6-4a9b-a22b-cd039ac261c4 |  | checkpoint | Installers name & date works completed
text | 5abf3bb3-fbe7-556d-b56a-0bbd28bbb9b7 |  | textbox | Installers name
text | 38c22307-a77a-5ae3-b621-d4196e8d844e |  | textbox | Date:
checkpoint-status | 8908b8d4-51e2-43cf-a1c3-1de6c44bfa88 |  | checkpoint | Tested by & date
text | bc70e95a-b7d8-52f0-b1f0-422bff85999d |  | textbox | Tested by:
text | 0252f666-2f38-5c09-b3ba-2d379c837617 |  | textbox | Date tested:
checkpoint-status | 341b2a78-307a-4db8-9a0f-0c883f316a38 |  | checkpoint | Council inspector sign off and date
checklist-flat | eddc1e1e-d278-445f-9fa4-2e00ec3b09e9 |  | checklist | Chenery - Drainage |  |  |  |  | Yes | Chenery - Drainage | 5d3b936d-52a9-4ffc-b2e6-062486e8f42f
checkpoint-status | c2d6c9da-f6fe-4d83-82b8-e3fa1fe674fb |  | checkpoint | Service
boolean | 278487f6-d40c-5116-b709-7fbfc6f25f44 |  | tickbox | Stormwater
boolean | 8263e6c4-510c-5deb-80f6-2bbbfe5124c3 |  | tickbox | Soil
boolean | 14f1f9e8-461f-554f-91d6-480123d0d01a |  | tickbox | Waste
boolean | 65002ad6-40e2-5262-a971-1b8b6cdacab8 |  | tickbox | Vent
boolean | f1705412-68c2-5fa8-af71-aaa3550d3ba3 |  | tickbox | Water
boolean | adea378e-efb6-5c27-a802-fb6600581a0d |  | tickbox | Gas
text | f3df6219-8d00-5465-bfbc-cec69e71c56a |  | textbox | Other
checkpoint-status | c7320637-84ae-49e6-89ea-5f149d448a8a |  | checkpoint | Details
text | 84aad6c5-faa7-5a80-a7d2-47c08de52163 |  | textbox | Drawing N:
text | 2fb2af15-e44f-57f6-8a67-b5f353f3f9b5 |  | textbox | Grid Coordinates:
text | c97480aa-1ae5-5d4b-bf32-1fdee4c4d280 |  | textbox | Issue:
select | 6347ec3f-fdbe-51bd-871f-13d2db00a831 |  | dropdown | Pipe Work Material Identified: | Scheduled, Specified, As Drawn
checkpoint-status | 6d76dcd4-d2cb-4e04-b911-ff110c49ea32 |  | checkpoint | Drain Invert Specified
text | 507ea332-cca2-5c8e-8fb5-d58040c64535 |  | textbox | If Specified:
checkpoint-status | e92d6ee5-c92e-44f6-b89d-f196bdb0b55d |  | checkpoint | Gully Position Checked
checkpoint-status | bee25740-1848-4297-ba51-286734915107 |  | checkpoint | Falls Checked
checkpoint-status | fc19a131-69a0-4977-83d4-d55e28f7ef94 |  | checkpoint | Drainlayer/Plumber Interface Points Established
checkpoint-status | c8f301a8-85b7-476e-b648-3ddd56bf13a0 |  | checkpoint | Builder notified of any penetrations required to Exterior Walls, Beams etc
checkpoint-status | 1c514b0d-3dec-46f3-b1ec-00d002362a79 |  | checkpoint | Grid lines obtained from Contractor
checkpoint-status | 88689be6-2f2f-43ce-a4f9-f0c7edffdac9 |  | checkpoint | Grid lines obtained from Drawing
checkpoint-status | 20d018e7-5b7f-4531-8a7e-daadcebeaee7 |  | checkpoint | Invert Levels
text | 16df3c7a-a84e-5b29-9036-3ecd8de77e0f |  | textbox | Start:
text | 35418803-1b7a-5626-95be-2205819c510a |  | textbox | Finish:
checkpoint-status | cb1b78e2-a599-4c20-88fa-662ce9881d56 |  | checkpoint | Floor Levels established
checkpoint-status | 54f8ed78-1b15-44fe-8e23-7bc9c11bc917 |  | checkpoint | Pipe Tested for Water Tightness
text | 317304e9-2f41-5782-99c5-8c76bb8448e4 |  | textbox | Specify:
checkpoint-status | e1fb7755-9e17-4760-824b-36d0bfbe8fea |  | checkpoint | Pipe Tested
text | 4dfccbcc-ef87-51aa-a757-a459037d7415 |  | textbox | Witnessed by:
checkpoint-status | e2c05ff1-1e54-4690-a3eb-46f877c477e2 |  | checkpoint | Inspected by Council and Passed
checkpoint-status | 41f5a4c5-1cb6-4572-af7f-1fcc0018e286 |  | checkpoint | Council certification Attached
checkpoint-status | 022003cf-7864-4661-93e6-ac94abc6225b |  | checkpoint | Pipe Work Trenches reinstated
checkpoint-status | 7a8b030e-e5ec-42ab-bda0-ec6e9ac8b71b |  | checkpoint | Open Ends Pipe Work Capped Off to prevent ingress of Dirt etc
checkpoint-status | c35e2784-c42d-4be4-9600-74f927c60b53 |  | checkpoint | Installation to AS/NZ 3500.2.2003
checklist-sectioned | cae602e7-8992-459f-920a-dd6c7ae07a52 |  | checklist | Generic - Water & Gas mains |  |  |  |  | Yes | Generic - Water & Gas mains | 5de42391-7ee3-4133-9054-acd457e3b170
checkpoint-group | 64d5e6af-33f9-46f3-917c-2307ecba5053 |  | section | Water mains
checkpoint-status | f3193ee7-313b-4d81-a146-063442fbe82d |  | checkpoint | All fittings scrapped correctly
checkpoint-status | 4c77f116-4a2b-4a76-94dc-fda99e7cac43 |  | checkpoint | Iso used on fittings
checkpoint-status | d38c869e-2831-4668-a670-a853a7af42f3 |  | checkpoint | Valves fitted correctly
checkpoint-status | b6a5714e-a4d3-428b-8ad0-787c4bdd187f |  | checkpoint | Fittings welded & weld indicator has popped out
checkpoint-status | f012d883-821f-40e4-88e2-5d3037fa35ad |  | checkpoint | Trace wire and ID tape installed
checkpoint-group | 9b9cc98e-0ae5-4e4b-8aec-1799d2c1b910 |  | section | Gas main
checkpoint-status | 466ef775-7200-4aba-bc91-35f1a9df4577 |  | checkpoint | All fittings scrapped correctly
checkpoint-status | 415fadbb-bc56-4796-9c7b-65ff82e88154 |  | checkpoint | Iso used on fittings
checkpoint-status | f2b75ae1-031c-46e3-8a6b-7b80d4715455 |  | checkpoint | Valves fitted correctly
checkpoint-status | b276235f-2d78-4b4d-816d-ae4d0d458910 |  | checkpoint | Fittings welded & weld indicator has popped out
checkpoint-status | e24f1f41-df25-4583-90ac-756f604dbeb2 |  | checkpoint | Trace wire and ID tape installed
checkpoint-group | d9c92c0c-c231-4a88-b558-f45d949b808c |  | section | General
checkpoint-status | 998533ab-fd0f-4599-a984-ba1cc9adf266 |  | checkpoint | All open ends capped
checkpoint-status | 31cfd028-c01c-4134-b020-6b0d22536b2f |  | checkpoint | Pipework bedded correctly
checkpoint-status | f3466312-0ed7-4156-a53a-9c04af33caf9 |  | checkpoint | Tidy work areas
checkpoint-status | 0e5fad77-c7b6-41f1-970d-b1bc9df23db6 |  | checkpoint | Pressure test pipework
checkpoint-status | 0a5cf12c-d9fc-4eff-8be4-8cea70979f42 |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | 89ab1c9e-c6c9-499b-962c-64ab2a220f8f |  | checkpoint | Backfill around pipework with fines
checkpoint-status | cef4b32c-7e2f-4c0a-88ec-4beea3cb7b6f |  | checkpoint | as-built completed and photo
checkpoint-status | a3762b7f-c391-4e2c-ade9-fe9bbcf1e1a1 |  | checkpoint | Installers name & date works completed
text | 39c88c8e-d351-5149-bc69-ad2f6c4a5a9a |  | textbox | Installers name
text | bdc303a2-c58f-5391-82fd-53ff100f4976 |  | textbox | Date:
checkpoint-status | ec0ea930-05eb-4ccb-9a8c-c79bb140b17d |  | checkpoint | Tested by & date
text | f39ebc54-5ea0-58c9-971e-4b9507f2931f |  | textbox | Tested by:
text | 04c182d3-584c-568b-bfdc-13d41b5ae936 |  | textbox | Date tested:
checkpoint-status | 38b8e8d8-6728-4c70-a35a-5a2ba77eb6e5 |  | checkpoint | Council inspector sign off and date