## Switchboard maintenance
Title of ITP | DLP - Switchboard Maintenance
Question Number | Questions | Answers
1 | Distribution Board name | Text box
1a | Is there any sign of damage on or in the switchboard? | Pass / Fail / N/A
Upload photos
1b | If Yes, has the damage been repaired? | Pass / Fail / N/A
Upload photos
2 | Are all pole fillers installed? | Pass / Fail / N/A
Upload photos
2b | If No, Have missing pole fillers now been installed? | Pass / Fail / N/A
Upload photos
3a | Is the Switchboard securely fixed to the wall? | Pass / Fail / N/A
Upload photos
3b | If no, has this been rectified? | Pass / Fail / N/A
Upload photos
4a | Have all RCBO's been tested? | Pass / Fail / N/A
4b | Have all RCBO's passed the test? | Pass / Fail / N/A
4c | Upload RCBO test results | Upload photos
5 | Has Thermal imagery been completed | Pass / Fail / N/A
6 | Additional Comments | Text box

## Emergency Lighting Test
Title of ITP | Emergency Lighting Test
Question Number | Questions | Answers
1 | Location of Emergency Test switch | Text box
2 | Has a 90 minute test been completed? | Pass / Fail / N/A
3 | Have all emergency lights pass the 90 min test? | Pass / Fail / N/A
4 | Has the emergency log book been completed? | Pass / Fail / N/A
Upload photos
5 | Was a visual inspection carried out on each fitting? | Pass / Fail / N/A
6 | Additional Comments | Text box

## Lighting maintenance check
Title of ITP | Lighting maintenance check
Question Number | Questions | Answers
1 | Area of floor inspection | Text box
1a | Have all lights been inspected in this area? | Pass / Fail / N/A
Upload photos
1b | Are all lights working? | Pass / Fail / N/A
Upload photos
1c | If no, have they been replaced / repaired | Pass / Fail / N/A
Upload photos
2a | Have all lighting controls been checked? | Pass / Fail / N/A
Upload photos
2b | Are all lighting controls working? | Pass / Fail / N/A
Upload photos
2c | If no, have they been replaced / repaired | Pass / Fail / N/A
3 | Additional Comments | Text box