## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Rough In (BUILDING-A / Common Area)
| Scope |  |  | Rough In | BUILDING-A | Common Area
Rows
|  | Level-3 | dynamic | Rough In | BUILDING-A | Level-3 | Common Area
|  | Level-4 | dynamic | Rough In | BUILDING-A | Level-4 | Common Area
|  | Level-5 | dynamic | Rough In | BUILDING-A | Level-5 | Common Area
|  | Level-6 | dynamic | Rough In | BUILDING-A | Level-6 | Common Area
|  | Level-7 | dynamic | Rough In | BUILDING-A | Level-7 | Common Area
|  | Level-8 | dynamic | Rough In | BUILDING-A | Level-8 | Common Area
|  | Level-9 | dynamic | Rough In | BUILDING-A | Level-9 | Common Area
|  | Level-10 | dynamic | Rough In | BUILDING-A | Level-10 | Common Area
|  | Level-11 | dynamic | Rough In | BUILDING-A | Level-11 | Common Area
|  | Level-12 | dynamic | Rough In | BUILDING-A | Level-12 | Common Area
|  | Level-13 | dynamic | Rough In | BUILDING-A | Level-13 | Common Area
|  | Level-14 | dynamic | Rough In | BUILDING-A | Level-14 | Common Area
|  | Level-15 | dynamic | Rough In | BUILDING-A | Level-15 | Common Area
|  | Level-16 | dynamic | Rough In | BUILDING-A | Level-16 | Common Area
|  | Level-17 | dynamic | Rough In | BUILDING-A | Level-17 | Common Area
|  | Level-18 | dynamic | Rough In | BUILDING-A | Level-18 | Common Area
|  | Level-19 | dynamic | Rough In | BUILDING-A | Level-19 | Common Area
Columns
|  | Duct Installation - Are drawings on site the latest issue |  | Are drawings on site the latest issue | Duct Installation Checklist
|  | Duct Installation - Are plant & equipment location correct |  | Are plant and equipment location correct | Duct Installation Checklist
|  | Duct Installation - Fan in the duct run has been installed |  | Fan in the duct run has been installed | Duct Installation Checklist
|  | Duct Installation - Model of the fan is correct as per latest Fan Schedule |  | Model of the fan is correct as per latest Fan Schedule | Duct Installation Checklist
|  | Duct Installation - Duct size & location correct |  | Duct size and location correct | Duct Installation Checklist
|  | Duct Installation - Material & gauge correct |  | Material and gauge correct | Duct Installation Checklist
|  | Duct Installation - Is correct support method being used - Risers are supported at each level. |  | Is correct support method being used - Risers are supported at each level. | Duct Installation Checklist
|  | Duct Installation - Is correct jointing method being used |  | Is correct jointing method being used | Duct Installation Checklist
|  | Duct Installation - Are joints completed & cleated installed on flanges |  | Are joints completed and cleated installed on flanges | Duct Installation Checklist
|  | Duct Installation - Is correct joint sealant being used |  | Is correct joint sealant being used | Duct Installation Checklist
|  | Duct Installation - Has the spacer been placed between the fan & the silencer, & the splitter orientation rotated by 90°? |  | Has the spacer been placed between the fan and the silencer, and the splitter orientation rotated by 90°? | Duct Installation Checklist
|  | Duct Installation - Is 1 diameter of straight duct between pod attenuator & fan inlet been allowed to ensure impeller obtains even flow? |  | Is 1 diameter of straight duct between pod attenuator and fan inlet been allowed to ensure impeller obtains even flow? | Duct Installation Checklist
|  | Duct Installation - Is adequate distance between attenuator & fans been maintained? |  | Is adequate distance between attenuator and fans been maintained? | Duct Installation Checklist
|  | Duct Installation - Are the attenuator splitters in the plane of the bend ? |  | Are the attenuator splitters in the plane of the bend ? | Duct Installation Checklist
|  | Duct Installation - Are transitions close to attenuators gradual? |  | Are transitions close to attenuators gradual? | Duct Installation Checklist
|  | Duct Installation - Is a settling duct between volume control dampers & attenuators allowed? |  | Is a settling duct between volume control dampers and attenuators allowed? | Duct Installation Checklist
|  | Duct Installation - Are fire dampers installed & break away joint complete |  | Are fire dampers installed and break away joint complete | Duct Installation Checklist
|  | Duct Installation - Are flexible ducts installed, supported & connected to spigot by approved method using duct tape on internal core & cable tie on outer core |  | Are flexible ducts installed, supported and connected to spigot by approved method using duct tape on internal core and cable tie on outer core | Duct Installation Checklist
|  | Duct Installation - Are flexible connections to equipment sealed & aligned |  | Are flexible connections to equipment sealed and aligned | Duct Installation Checklist
|  | Duct Installation - Is ductwork insulation as per drawings |  | Is ductwork insulation as per drawings | Duct Installation Checklist
|  | Duct Installation - Is ductwork fire rating complete |  | Is ductwork fire rating complete | Duct Installation Checklist
|  | Duct Installation - Are all spigots installed & dampers fully open |  | Are all spigots installed and dampers fully open | Duct Installation Checklist
|  | Duct Installation - Are all access panels for fire damper access installed & closed |  | Are all access panels for fire damper access installed and closed | Duct Installation Checklist
|  | Duct Installation - Is ductwork installation complete |  | Is ductwork installation complete | Duct Installation Checklist
|  | Lobby Area - Lobby Area: |  | Lobby Area: | Lobby Area
|  | Lobby Area - Inspection Date: | Inspection Date: | Lobby Area: | Lobby Area
|  | Lobby Area - Other services installed are not impeding access to fan coil |  | Other services installed are not impeding access to fan coil | Lobby Area
|  | Lobby Area - All Ductwork passing block walls are flushed & sealed |  | All Ductwork passing block walls are flushed and sealed | Lobby Area
|  | Lobby Area - Transfer duct installed at Accessible toilet wall & penetration flushed & sealed |  | Transfer duct installed at Accessible toilet wall and penetration flushed and sealed | Lobby Area
|  | Lobby Area - Where passing the block wall flexible ducts has been equipped with Sleeve & penetration sealed |  | Where passing the block wall flexible ducts has been equipped with Sleeve and penetration sealed | Lobby Area
|  | Lobby Area - Refrigerant pipes passing through fire rarted walls are sealed at wall penetration by using approved material |  | Refrigerant pipes passing through fire rarted walls are sealed at wall penetration by using approved material | Lobby Area
|  | Ducting - Riser |  | Riser | Ducting-Common Area
|  | Ducting - Are drawings on site the latest issue |  | Are drawings on site the latest issue | Ducting-Common Area
|  | Ducting - Are plant & equipment location correct |  | Are plant and equipment location correct | Ducting-Common Area
|  | Ducting - Duct size & location correct |  | Duct size and location correct | Ducting-Common Area
|  | Ducting - Material & gauge correct |  | Material and gauge correct | Ducting-Common Area
|  | Ducting - Is correct support method being used - Maximum vertical support to be 3600mm using AS 4254 approved method |  | Is correct support method being used - Maximum vertical support to be 3600mm using AS 4254 approved method | Ducting-Common Area
|  | Ducting - Is correct Joining method being used |  | Is correct Joining method being used | Ducting-Common Area
|  | Ducting - Are joints completed & cleated installed on flanges |  | Are joints completed and cleated installed on flanges | Ducting-Common Area
|  | Ducting - Is correct joint sealant being used |  | Is correct joint sealant being used | Ducting-Common Area
|  | Ducting - Is ductwork installation complete |  | Is ductwork installation complete | Ducting-Common Area