## Sheet1
type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist | Hydrant - Pre Commissioning |  |  |  |  | Yes | Hydrant - Pre Commissioning Rev 1 | f2ebca82-903c-451b-8e95-f51cda345e10
checkpoint | Flexible couplings installed above and below landings
checkpoint | Test outlet installed
checkpoint | Pressure test completed
checkpoint | No Leaks
checkpoint | All Valves locked and closed
checkpoint | All Signs on Doors
checkpoint | Gauge installed at top of riser
checkpoint | Air release valve installed at top of riser
checkpoint | Gauge installed on Test point.
checkpoint | Hydrant Laminated P& ID Schematic installed in Valveroom near Hydrant
checkpoint | In Building Hydrant Sign is clearly displayed on Cabinet door in Valveroom
checkpoint | Inspection Completed by 3rd Party Inspector (attach inspection certificate/ PS4)