## res
type | name | values | prefix | postfix | usage count | user addable | template name
checklist-flat | CS-4065 - Blast Record | [5 empty] | CS-4065 - Blast Record
checkpoint-no-status | Blast Record
textbox | Project No.
date | Date:
textbox | Blast No:
textbox | Location:
textbox | Shot Firer:
checkpoint | Design Powder Factor
textbox | Initials:
date | Date:
checkpoint | Diam. Hole
textbox | Initials:
date | Date:
textbox | Comments: Diam. Hole |  |  | mm
checkpoint | Shot plan attached
textbox | Initials:
date | Date:
checkpoint | Monitor 1 vibration & overpressure report attached
textbox | Initials:
date | Date:
checkpoint | Monitor 2 vibration & overpressure report attached
textbox | Initials:
date | Date:
checkpoint | Vibration & overpressure beneath consented limits (PPV 10mm/sec (5mm/sec 95% of time) 128 dB) if not OFI
textbox | Initials:
date | Date:
checkpoint | Shot Firer’s Blast Evaluation attached
textbox | Initials:
date | Date:
checkpoint | Coordinate (GPS) plan attached on (Contract Name) grid reference
textbox | Initials:
date | Date:
checkpoint | Actual powder factor
textbox | Initials:
date | Date:
checkpoint | The above works have been inspected and are considered compliant with the drawings, specifications and instructions
label | Position: Site Engineer/Supervisor
textbox | Site Engineer/Supervisor - Name:
date | Site Engineer/Supervisor - Date:
label | Position: Shot Firer
textbox | Shot Firer - Name:
date | Shot Firer - Date:
holdpoint | Sign: