## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
| checklist | Metro-Resi - Install Checklist (Proposed Remedial Works) |  | Metro-Resi - Install Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
1e38e5d1-a940-4d30-9d04-d3d0944b3049 | checkpoint | Has the window/door installation been completed?
63fd56ea-52ea-4539-b89a-8c8cf4a54aa9 | checkpoint | Fixings & Centres as per the PS1 requirements
15d86b81-22b1-40bb-b363-78bcf5251bdd | checkpoint | Is interior sealants installation neat and continuous.
734c4d01-1eb6-4703-a72c-c0676b893938 | checkpoint | Is exterior sealants installation neat and continuous.
e95fdb1b-5f5d-4e02-bfde-a577e80406b3 | checkpoint | Is sill flashing installed per plans and as detailed in the shop drawings?
05062682-c46c-4aa6-9691-a66883b08e60 | checkpoint | Is head flashing installed per plans and as detailed in the shop drawings?
1ac637c8-42e4-4250-a2c0-69f666aa3ca3 | checkpoint | Are all window and doors working?
64a780c2-a706-4c42-acae-45d5d2bff3a0 | checkpoint | All handles installed correctly?
02289cc4-6145-4d39-9770-36a0e2cc761e | checkpoint | Are all the hardware installed correctly?
613555d4-3e95-4638-ad39-12254cb24c1b | checkpoint | Is the joinery free of scratches?
d03bcce2-498f-4eef-bf7f-3025eb56dd2a | checkpoint | Is the joinery clean and tidy?
aa554910-b46f-46a6-805a-213fbc0be141 | checkpoint | Are Restrictor Stays fitted(Fully Fixed off & Silent operation)
f86b558b-0027-4be9-b6f7-9d3186865540 | checkpoint | Hinge doors strikes adjusted and locking easily
f0847ce3-462a-4375-926b-9e66e06636ef | checkpoint | Hinge doors 4 or 3 point lock operate easily
1f8bc687-2964-4f76-ad06-bf5f6f0bbe78 | checkpoint | Hinge doors and sliding doors - Bungs are fitted (every hole)
b370a481-cb6d-4d73-8d26-4348047986d8 | checkpoint | Sliding doors - panels are adjusted and locking easily
b2a3284f-8780-43c5-ba75-a64fc0303673 | checkpoint | Sliding doors - Strikes are adjusted
2483bfed-b334-456d-80c4-9830797fce2a | checkpoint | Sliding doors - Anti lift blocks and stops fitted properly
9e049ba8-74b8-44b6-bf94-4a1b582c311a | checkpoint | Windows open, close, and lock smoothly without excessive force.
ee6a584c-a1e1-4e11-8bae-8514cf53cc1d | checkpoint | All operable windows have functional hardware (locks, latches, etc.)
c2e3e616-8256-4f2d-b286-0839b26f480a | checkpoint | Proper spacing and clearances are maintained around the window units.
1feca60b-b419-4e9f-8d10-f1fc00485b1d | checkpoint | Fasteners used are correct in type, size, and spacing
5c35c7db-7c8d-4f3a-b5ba-f602486cc2d0 | checkpoint | End Caps Installed
05ae1412-e741-433b-b5f6-e748f23d3445 | checkpoint | Frames installed correctly?
ea22cfcb-e6e9-4489-8e68-a5dd90034e40 | checkpoint | Drains are not blocked
| checkpoint-no-status | The correct consumables specified were used (Sealant) - Photo of Label Required
| checkpoint-no-status | The correct consumables specified were used (Screws) - Photo of Label Required
| checklist | Metro-Resi - Install Checklist (Stage 1-3) |  | Metro-Resi - Install Checklist
755e85d5-2589-476b-8e54-5853a61e61ad | section | Details
54c9f95a-7308-4943-aae2-e30561317ecf | checkpoint | Has the window/door installation been completed?
b8cfe6c2-6353-4899-b236-c2855f5dd3ee | checkpoint | Fixings & Centres as per the PS1 requirements
9acd8c5c-a49e-4214-8f4b-3a224482b729 | checkpoint | Is interior sealants installation neat and continuous.
ed377c18-f19e-4c1a-a5f6-e93c3bd2ae22 | checkpoint | Is exterior sealants installation neat and continuous.
f45f757c-6faa-488e-ae62-e65feb48850f | checkpoint | Is sill flashing installed per plans and as detailed in the shop drawings?
b06f6f8d-8af3-493e-8179-5951048a7f12 | checkpoint | Is head flashing installed per plans and as detailed in the shop drawings?
40654a6a-c98a-454e-a35c-cb456c5dd551 | checkpoint | Are all window and doors working?
46b959fb-8858-4569-9352-b1ca2f38997e | checkpoint | All handles installed correctly?
acedbeb7-7cee-4142-b50f-df03ec44d71c | checkpoint | Are all the hardware installed correctly?
f25936a2-e1a7-40d0-b623-803ffaf54d73 | checkpoint | Is the joinery free of scratches?
9e1eddf3-d0da-4f97-9688-eb820abe8e4b | checkpoint | Is the joinery clean and tidy?
ffbe10d9-01c9-4fcf-8ed0-d3e15514cfe1 | checkpoint | Are Restrictor Stays fitted(Fully Fixed off & Silent operation)
d9a3f23e-186b-4cd9-a499-284424e06436 | checkpoint | Hinge doors strikes adjusted and locking easily
eda24a77-8785-4e60-b391-a7353bd3bc16 | checkpoint | Hinge doors 4 or 3 point lock operate easily
5dc691b0-f2d3-4bd9-9774-9df6a281a77f | checkpoint | Hinge doors and sliding doors - Bungs are fitted (every hole)
c70e1b19-6cf6-4169-946e-cd67a55e72cd | checkpoint | Sliding doors - panels are adjusted and locking easily
23613ccf-a259-4ffa-8b35-8ca141e5b3fd | checkpoint | Sliding doors - Strikes are adjusted
06318e87-ec16-4447-b0b3-124317ac3f9f | checkpoint | Sliding doors - Anti lift blocks and stops fitted properly
35439dbb-d017-4710-948e-3bb6812f5ceb | checkpoint | Windows open, close, and lock smoothly without excessive force.
a19fbf32-7fc0-44bb-a8c0-a69d4c9901b3 | checkpoint | All operable windows have functional hardware (locks, latches, etc.)
759a6ef0-c4fe-405a-8206-dfd0bce29e78 | checkpoint | Proper spacing and clearances are maintained around the window units.
30e99728-b9d9-4520-afe7-7eb1a825bd18 | checkpoint | Fasteners used are correct in type, size, and spacing
d7de0464-2e43-4ef2-aebb-4d8d1cf3fae1 | checkpoint | End Caps Installed
9820b70a-4455-493b-b875-4dfc24f4eb46 | checkpoint | Frames installed correctly?
abe57fd8-5e80-4ee6-a49f-6b4ba96c5be3 | checkpoint | Drains are not blocked
| checkpoint-no-status | The correct consumables specified were used (Sealant) - Photo of Label Required
| checkpoint-no-status | The correct consumables specified were used (Screws) - Photo of Label Required