## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Sprinkler Rough In |  |  |  |  | Yes | Sprinkler Rough In Checklist | 5cc4d161-bf6e-4b4a-ba84-edc16373e1ac
checkpoint-status |  |  | checkpoint | Rough In: All Mains, range pipes & sprinklers installed?
checkpoint-status |  |  | checkpoint | Air Test: Pressurized air test for a period of 30 mins (if applicable)
text | 7a39ccdc-7d89-5d4d-b10d-804c0cb59269 |  | textbox | Start time:
text | 712e7285-d9a0-56f8-8464-e72d872cc052 |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | Water Test: Pressure test to 1200Kpa for duration of 1.5 hours
text | 734d0045-1b62-5d2a-870b-bce464127ea0 |  | textbox | Start time:
text | 6b0e2736-88ff-5ce5-9d2d-aad3c8a8e1a0 |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | PFP Foreman signature
checklist-flat |  |  | checklist | Fire Penetrations |  |  |  |  | Yes | Fire Penetrations Checklist | 6357e91a-c269-479a-aaad-517eb73dfbee
checkpoint-status |  |  | checkpoint | Fire Penetration labelled & caulked in accordance with AS 4072.1 Drawing Reference No.
checklist-flat |  |  | checklist | Hydrant Main / Riser |  |  |  |  | Yes | Hydrant Main / Riser Checklist | 87dd1983-3e9d-4d1f-ba7a-eb87422a4b50
checkpoint-status |  |  | checkpoint | Rough In: All Mains & isolation valves?
checkpoint-status |  |  | checkpoint | Fit Off: Check all milcoks / FHR ball valves are installed
checkpoint-status |  |  | checkpoint | Air Test: Pressurized air test for a period of 30 mins (if applicable)
text | dc5b84ba-42c7-5b4a-94ff-122d68e8169d |  | textbox | Start time:
text | 8b114d98-5a0a-595d-be07-33ae237441dc |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | Water Test: Pressure test to 1200Kpa for duration of 1.5 hours
text | 81d78ade-dc20-5aa3-bd1d-37f261d2ed1b |  | textbox | Start time:
text | 73a23d01-4177-562c-8d15-f1abfc00f86e |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | FHR: All FHR been bled from excess air & proof of water
checkpoint-status |  |  | checkpoint | PFP Foreman signature
checklist-flat |  |  | checklist | Sprinkler Fit Off |  |  |  |  | Yes | Sprinkler Fit Off Checklist | 8c99b1d0-74e9-4e46-abc5-3caca9628a11
checkpoint-status |  |  | checkpoint | Fit Off: Check all sprinklers have been fitted off
checkpoint-status |  |  | checkpoint | Plates & heights check: Escuteon plates & heights of sprinklers are all ok
checkpoint-status |  |  | checkpoint | Air Test: Pressurized air test for a period of 30 mins (if applicable)
text | e49eae74-95ed-5017-b40a-9a74ed065fa2 |  | textbox | Start time:
text | 80c850fe-2ae6-5823-a779-6067931734ea |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | Water Test: Pressure test to 1200Kpa for duration of 1.5 hours
text | 221a6a43-a1f4-543b-8683-e5ccd34f81ce |  | textbox | Start time:
text | 8a2ce091-46e6-5fa2-aedd-bed521c23c3c |  | textbox | Completion time:
checkpoint-status |  |  | checkpoint | PFP Foreman signature
checklist-sectioned |  |  | checklist | Toolbox Meeting - |  |  |  |  | Yes | Toolbox Meeting Checklist | fe1cd928-15db-4b16-8f0c-c38fb5d39e6a
checkpoint-group |  |  | section | Attendance
checkpoint-status |  |  | checkpoint | Attendance - list of attendees added below
checkpoint-status |  |  | checkpoint | Apologies - list of non-attendees added below
checkpoint-group |  |  | section | Minutes
checkpoint-status |  |  | checkpoint | Actions from last meeting
checkpoint-status |  |  | checkpoint | Administration
checkpoint-status |  |  | checkpoint | HR
label | bbe8fa13-b415-544e-af65-ee48e5ef8c86 |  | note | e.g - Site recognition, any HR issues?
checkpoint-status |  |  | checkpoint | Safety: (including hazards / near misses / controls / site specific)
checkpoint-status |  |  | checkpoint | Environment: (including hazards / controls / incidents / impacts)
checkpoint-status |  |  | checkpoint | Training
label | 61591fd3-d2f6-5db4-99ed-3cfd802c59b6 |  | note | Competency Assessment Guides (Apprentices) if applicable – are they up to date?
checkpoint-status |  |  | checkpoint | Plant & Equipment
checkpoint-status |  |  | checkpoint | Issues & Customer Feedback
checkpoint-status |  |  | checkpoint | Client/Job specific information:
checkpoint-status |  |  | checkpoint | Memo’s and other office correspondence
checkpoint-group |  |  | section | Document Review
checkpoint-status |  |  | checkpoint | Document uploaded below if applicable
checkpoint-group |  |  | section | New Business / Other
checkpoint-status |  |  | checkpoint | Any new business / other comments added below
checkpoint-group |  |  | section | Meeting Closure
checkpoint-status |  |  | checkpoint | Meeting Closed
text | 0e4584a0-348a-52f5-a36a-22d2e9817f64 |  | textbox | Meeting Closed time
text | 4579a5de-ce22-5ed6-b89c-d0c7fc19f73f |  | textbox | Date for next meeting
text | c1d4bb9d-8b1e-5413-8b22-f03cf2452fb8 |  | textbox | Minutes taken by (Name)