## Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Building Commissioning |  | Building Commissioning | e3817d0f-399c-4d8d-9ea0-daef5cff9ea5
| checkpoint | GCS - Structured Cabling - CAT6 / POL (photos Attached)
| checkpoint | PERS - Nurse Call (Photos Attached)
| checkpoint | ESS - CCTV (Photos Attached)
| checkpoint | ESS - Intercom (Photos Attached)
| checkpoint | ESS - Access Control (Photos Attached)
| checkpoint | Commission Fire Interface (Attach Photos)
| checklist | Completion Documents |  | Completion Documents | 226660e4-507f-4064-90bb-e76a7f521f31
| checkpoint | Producer statements PS3s
| checkpoint | As built plan
| checkpoint | O & M Manual
| checkpoint | Other required documents
| checklist | Fit off |  | Fit off | 104289b2-b0c5-4d33-9924-442e3468a9fd
| checkpoint | GCS - Structured Cabling (photos Attached)
| checkpoint | PERS - Nurse Call Fit Off (Photos Attached)
| checkpoint | ESS - Camera Fit Off (Photos Attached)
| checkpoint | ESS - Intercom Fit Off (Photos Attached)
| checkpoint | ESS - Access Control Fit Off (Photos Attached)
| checklist | Fit off |  | Fit off | ae1ccd37-057e-4afa-94cf-277d5eaa626a
| checkpoint | GCS - Structured Cabling (photos Attached)
| checkpoint | PERS - Nurse Call Fit Off (Photos Attached)
| checklist | Floor Commissioning |  | Floor Commissioning | 296a2a98-4c83-4612-acbd-03713025a673
| checkpoint | GCS - Structured Cabling (photos Attached)
| checkpoint | PERS - Nurse Call (Photos Attached)
| checkpoint | ESS - CCTV (Photos Attached)
| checkpoint | ESS - Intercom (Photos Attached)
| checkpoint | ESS - Access Control (Photos Attached)
| checklist | Install ADE - Apartment Distribution Enclosure |  | Install ADE - Apartment Distribution Enclosure | d38f3634-b5a8-4907-879e-e4327799deae
| checkpoint | Install PHD and All Equipments (Photo Attached)
| checkpoint | Micro Duct and Chorus Fibre Visual Check
| checkpoint | Test internal Cat 6/6A cables with Fluke DSX 5000 (Add Signature)
| checkpoint | test TV Cables with Televis Tester
| checkpoint | Fusion Splice and test with Fluke DSX 5000 (Add Signature)
| checklist | Pre Wire |  | Pre Wire | 1af9167a-6279-4b9d-b409-753098bfd1ba
| checkpoint | Area accessible & substrate acceptable
| checkpoint | Fixtures in place
| checkpoint | horizontal and Vertical Pathways
| checkpoint | Reticulation of Cables Complete (attached Photos)
| checkpoint | ADE
| checkpoint | Flush Box / Fire Box Installed (Photos Attached Of Fire Box)
| checkpoint | Attach Photos Of Fire proofing by Others on Fire Walls
| checkpoint | First Fix Completed
| checklist | Terminated & Tested |  | Terminated & Tested | 885133a1-56b0-4d1c-b18d-807791abb238
| checkpoint | Visual Check and Cable Pairs Tested (Attach Visual checklist-flat)
| checkpoint | Terminations
| checkpoint | Testing
| checkpoint | ADE