## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Checkers Checklist - Flight 1
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.915m x .3m x .07m)
checkpoint | T1-01
checkpoint | T1-02
checkpoint | T1-03
checkpoint | T1-04
checkpoint | T1-05
checkpoint | T1-06
checkpoint | T1-07
checkpoint | T1-08
checkpoint | T1-09
checkpoint | T1-10
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T1-01
checkpoint | T1-02
checkpoint | T1-03
checkpoint | T1-04
checkpoint | T1-05
checkpoint | T1-06
checkpoint | T1-07
checkpoint | T1-08
checkpoint | T1-09
checkpoint | T1-10
section | Concrete cover check (min 30mm)
checkpoint | T1-01
checkpoint | T1-02
checkpoint | T1-03
checkpoint | T1-04
checkpoint | T1-05
checkpoint | T1-06
checkpoint | T1-07
checkpoint | T1-08
checkpoint | T1-09
checkpoint | T1-10
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 1
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.915m x .3m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 2
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.925m x .282m x .07m)
checkpoint | T2-01
checkpoint | T2-02
checkpoint | T2-03
checkpoint | T2-04
checkpoint | T2-05
checkpoint | T2-06
checkpoint | T2-07
checkpoint | T2-08
checkpoint | T2-09
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T2-01
checkpoint | T2-02
checkpoint | T2-03
checkpoint | T2-04
checkpoint | T2-05
checkpoint | T2-06
checkpoint | T2-07
checkpoint | T2-08
checkpoint | T2-09
section | Concrete cover check (min 30mm)
checkpoint | T2-01
checkpoint | T2-02
checkpoint | T2-03
checkpoint | T2-04
checkpoint | T2-05
checkpoint | T2-06
checkpoint | T2-07
checkpoint | T2-08
checkpoint | T2-09
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 2
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.925m x .282m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 3
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.925m x .272m x .07m)
checkpoint | T3-01
checkpoint | T3-02
checkpoint | T3-03
checkpoint | T3-04
checkpoint | T3-05
checkpoint | T3-06
checkpoint | T3-07
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T3-01
checkpoint | T3-02
checkpoint | T3-03
checkpoint | T3-04
checkpoint | T3-05
checkpoint | T3-06
checkpoint | T3-07
section | Concrete cover check (min 30mm)
checkpoint | T3-01
checkpoint | T3-02
checkpoint | T3-03
checkpoint | T3-04
checkpoint | T3-05
checkpoint | T3-06
checkpoint | T3-07
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 3
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.925m x .272m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 4
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.925m x .265m x .07m)
checkpoint | T4-01
checkpoint | T3-02
checkpoint | T3-03
checkpoint | T3-04
checkpoint | T3-05
checkpoint | T3-06
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T4-01
checkpoint | T4-02
checkpoint | T4-03
checkpoint | T4-04
checkpoint | T4-05
checkpoint | T4-06
section | Concrete cover check (min 30mm)
checkpoint | T4-01
checkpoint | T4-02
checkpoint | T4-03
checkpoint | T4-04
checkpoint | T4-05
checkpoint | T4-06
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 4
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element ((1.925m x .265m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 5
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.915m x .315m x .07m)
checkpoint | T5-01
checkpoint | T5-02
checkpoint | T5-03
checkpoint | T5-04
checkpoint | T5-05
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T5-01
checkpoint | T5-02
checkpoint | T5-03
checkpoint | T5-04
checkpoint | T5-05
section | Concrete cover check (min 30mm)
checkpoint | T5-01
checkpoint | T5-02
checkpoint | T5-03
checkpoint | T5-04
checkpoint | T5-05
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 5
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.915m x .315m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 6
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.915m x .315m x .07m)
checkpoint | T6-01
checkpoint | T6-02
checkpoint | T6-03
checkpoint | T6-04
checkpoint | T6-05
checkpoint | T6-06
checkpoint | T6-07
checkpoint | T6-08
checkpoint | T6-09
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T6-01
checkpoint | T6-02
checkpoint | T6-03
checkpoint | T6-04
checkpoint | T6-05
checkpoint | T6-06
checkpoint | T6-07
checkpoint | T6-08
checkpoint | T6-09
section | Concrete cover check (min 30mm)
checkpoint | T6-01
checkpoint | T6-02
checkpoint | T6-03
checkpoint | T6-04
checkpoint | T6-05
checkpoint | T6-06
checkpoint | T6-07
checkpoint | T6-08
checkpoint | T6-09
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 6
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.915m x .315m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 7
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.875m x .315m x .07m)
checkpoint | T7-01
checkpoint | T7-02
checkpoint | T7-03
checkpoint | T7-04
checkpoint | T7-05
checkpoint | T7-06
checkpoint | T7-07
section | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T7-01
checkpoint | T7-02
checkpoint | T7-03
checkpoint | T7-04
checkpoint | T7-05
checkpoint | T7-06
checkpoint | T7-07
section | Concrete cover check (min 30mm)
checkpoint | T7-01
checkpoint | T7-02
checkpoint | T7-03
checkpoint | T7-04
checkpoint | T7-05
checkpoint | T7-06
checkpoint | T7-07
section | Embedded Item - Lifters Correct - Position,Size,Orientation -Foot Anchors Galvanised1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 7
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.875m x .315m x .07m)
checkpoint | Embedded Item - Ferrules -4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged
checklist | Checkers Checklist - Flight 8
section | Details
checkpoint | Site Safety / Workers Safety
checkpoint | Availability of updated shop drawing
section | Overall Measurements of Construction Element (1.915m x .315m x .07m)
checkpoint | T8-01
checkpoint | T8-02
checkpoint | T8-03
checkpoint | T8-04
checkpoint | T8-05
checkpoint | T8-06
checkpoint | T8-07
section | Embedded Item - Ferrules - 4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | T8-01
checkpoint | T8-02
checkpoint | T8-03
checkpoint | T8-04
checkpoint | T8-05
checkpoint | T8-06
checkpoint | T8-07
section | Concrete cover check (min 30mm)
checkpoint | T8-01
checkpoint | T8-02
checkpoint | T8-03
checkpoint | T8-04
checkpoint | T8-05
checkpoint | T8-06
checkpoint | T8-07
section | Embedded Item - Lifters Correct - Position,Size,Orientation - Foot Anchors Galvanised 1.3T-35mm (Nexus P52155) 02 Nos
checkpoint | Formwork - Timber
checkpoint | ID Plate
checklist | Installers Checklist - Flight 8
section | Job Approval Documents/Construction Documents
checkpoint | Availability of updated shop drawing
section | Pre-Pour Check Approvals
checkpoint | Formwork Check -Panel Dimensions & DOUBLE CHECK
checkpoint | Apply Debonding agents -bond breaker or wax (1/2/3/ Coats)
checkpoint | Temporary Fix ID Plate to Formwork
checkpoint | Overall Measurements of Construction Element (1.915m x .315m x .07m)
checkpoint | Embedded Item - Ferrules - 4 x M12-50mm - Position, Size, Orientation - As per the drawing
checkpoint | Concrete cover check (min 30mm)
section | Quality Assurance
checkpoint | QA - Final Check of ALL measurements & Diagonals
checkpoint | QA - Concrete- N40Panel Mix - Special Adjustments
checkpoint | QA - Concrete mix design ,variations%, adjustments%, mix time
checkpoint | CONCRETE TEST Procedure arranged
section | Other Arrangements
checkpoint | Concrete surface Finish Requirement arranged - Broom
checkpoint | Curing Procedure arranged