## Sheet1
Job title | The Markets Residence (TMR) - CEC 00080
|  |  |  | Checklists/ITC's required for the project | Folder required
Temporaries | Basement 3 | Power
|  | Lighting |  | SAF0028: Temporary Switchboard Installation Inspection report | Every Temp DB
| Basement 2 | Power |  | PROJ3078 - ITC 66: Electrical Installation testing record sheet | Every Temp DB & House - Main Switchboards, Meter panels, Distribution boards, EV boards
|  | Lighting |  | Unit Rough in Sheet | Every Apartment
| Basement 1 | Power |  | Unit Fit off Sheet | Every Apartment
|  | Lighting |  | Unit Commissioning sheet | Every Apartment
| Lower Ground | Power |  | PROJ3003 - ITC 3 - Conduit In-ground and In-Slab | House - conduit
|  | Lighting |  | PROJ3004 - ITC 4 - Cable tray and Ladder | House - cable tray
| Ground | Power |  | PROJ3007 - ITC 6 - Main and Distribution Installation | House - Main Switchboards, Meter panels, Distribution boards, EV boards
|  | Lighting |  | PROJ3008 - ITC 7 - Main and Submain cabling | House - Main Switchboards, Meter panels, Distribution boards, EV boards
| Level 1 | Power |  | PROJ3010 - ITC 8 Lights & Power circuits | Team will add when required
|  | Lighting |  | PROJ3014 - ITC 10 - Metering | House - Metering
| Level 2 | Power
Lighting
| Level 3 | Power
Lighting
| Level 4 | Power
Lighting
| Level 5 | Power
Lighting
| Level 6 | Power
Lighting
| Level 7 | Power
Lighting
| Level 8 | Power
Lighting
| Level 9 | Power
Lighting
| Roof | Power
| Other site areas | Power
Lighting
Permanent installation | House | Main Switchboards | MSB 1
MSB 2
|  | Meter panels | CMP 1
CMP 2
TMP-L1-C1
TMP-L2-C1
TMP-L3-C1
TMP-L4-C1
TMP-L5-C1
TMP-L6-C1
TMP-L7-C1
TMP-L8-C1
TMP-L9-C1
TMP-L1-C2
TMP-L2-C2
TMP-L3-C2
TMP-L4-C2
TMP-L5-C2
TMP-L6-C2
TMP-L7-C2
TMP-L8-C2
TMP-L9-C2
TMP-GF-C3
TMP-L1-C3
TMP-L2-C3
TMP-L3-C3
TMP-L4-C3
TMP-L5-C3
TMP-L6-C3
TMP-L7-C3
TMP-L8-C3
TMP-L9-C3
|  | Distribution boards | RETAIL 1
RETAIL 2
RETAIL 3
RETAIL 4
RETAIL 5
RETAIL 6
HDB-GF-C1
HDB-L3-C1
HDB-L6-C1
HDB-L9-C1
HDB-GF-C2
HDB-LG-C3
HDB-B3-C1
HDB-B3-C2
HDB-B3-C3
|  | EV Boards | EV-INT-B2-C3
EV-DB-B2-06
EV-DB-B2-07
EV-DB-B3-07
EV-DB-B3-08
EV-INT-B2-C2
EV-DB-B2-05
EV-DB-B3-04
EV-DB-B3-05
EV-DB-B3-06
EV-INT-B2-C1
EV-DB-B2-03
EV-DB-B3-01
EV-DB-B3-02
EV-DB-B3-03
EV-INT-B1-C1
EV-DB-B1-01
EV-DB-B1-02
EV-DB-B2-01
EV-DB-B2-02
EV-INT-B1-C2
EV-DB-B1-03
EV-DB-B1-04
EV-DB-B2-04
EV-INT-B1-C3
EV-DB-B1-05
EV-DB-LG-03
EV-INT-LG-C1
EV-DB-LG-01
EV-DB-LG-02
Cable tray
Conduit
Metering
Communications
Security
| Apartments | Level 1 | U-101
U-102
U-103
U-104
U-105
U-106
U-107
U-108
U-109
U-110
U-111
U-112
U-113
U-114
U-115
U-116
U-117
U-118
U-119
U-120
U-121
U-122
U-123
U-124
U-125
U-126
U-127
U-128
U-129
U-130
U-131
U-132
|  | Level 2 | U-201
U-202
U-203
U-204
U-205
U-206
U-207
U-208
U-209
U-210
U-211
U-212
U-213
U-214
U-215
U-216
U-217
U-218
U-219
U-220
U-221
U-222
U-223
U-224
U-225
U-226
U-227
U-228
U-229
U-230
U-231
U-232
|  | Level 3 | U-301
U-302
U-303
U-304
U-305
U-306
U-307
U-308
U-309
U-310
U-311
U-312
U-313
U-314
U-315
U-316
U-317
U-318
U-319
U-320
U-321
U-322
U-323
U-324
U-325
U-326
U-327
U-328
U-329
U-330
U-331
U-332
U-333
U-334
U-335
U-336
U-337
U-338
U-339
|  | Level 4 | U-401
U-402
U-403
U-404
U-405
U-406
U-407
U-408
U-409
U-410
U-411
U-412
U-413
U-414
U-415
U-416
U-417
U-418
U-419
U-420
U-421
U-422
U-423
U-424
U-425
U-426
U-427
U-428
U-429
U-430
U-431
U-432
U-433
U-434
U-435
U-436
U-437
U-438
|  | Level 5 | U-501
U-502
U-503
U-504
U-505
U-506
U-507
U-508
U-509
U-510
U-511
U-512
U-513
U-514
U-515
U-516
U-517
U-518
U-519
U-520
U-521
U-522
U-523
U-524
U-525
U-526
U-527
U-528
U-529
U-530
U-531
U-532
U-533
U-534
U-535
U-536
U-537
U-538
U-539
|  | Level 6 | U-601
U-602
U-603
U-604
U-605
U-606
U-607
U-608
U-609
U-610
U-611
U-612
U-613
U-614
U-615
U-616
U-617
U-618
U-619
U-620
U-621
U-622
U-623
U-624
U-625
U-626
U-627
U-628
U-629
U-630
U-631
U-632
U-633
U-634
U-635
U-636
U-637
U-638
|  | Level 7 | U-701
U-702
U-703
U-704
U-705
U-706
U-707
U-708
U-709
U-710
U-711
U-712
U-713
U-714
U-715
U-716
U-717
U-718
U-719
U-720
U-721
U-722
U-723
U-724
U-725
U-726
U-727
U-728
U-729
U-730
U-731
U-732
U-733
U-734
U-735
U-736
U-737
U-738
|  | Level 8 | U-801
U-802
U-803
U-804
U-805
U-806
U-807
U-808
U-809
U-810
U-811
U-812
U-813
U-814
U-815
U-816
U-817
U-818
U-819
U-820
U-821
U-822
U-823
U-824
U-825
U-826
U-827
U-828
U-829
U-830
U-831
U-832
U-833
U-834
U-835
U-836
U-837
U-838
|  | Level 9 | U-901
U-902
U-903
U-904
U-905
U-906
U-907
U-908
U-909
U-910
U-911
U-912
U-913
U-914
U-915
U-916
U-917
U-918
U-919
U-920
U-921
U-922
U-923
U-924
U-925
U-926