## Sheet1
Project Name: |  | TMR (The Markets Residence) |  |  |  | Job No: |  | CEC-00080 |  |  |  | Date: | 2024-06-12
Client: | Icon |  |  |  |  | Project Manager: |  |  | Ian Beament |  |  | Site Supervisor: |  | Daryn Fillbrook
Relevant standards: |  |  | AS/NZS 3000, AS/NZS 3017 |  |  |  |  | Drawing No.
Board Name | CB or RCD Including No. |  | Roughed In |  | Fit Off and Labelled |  | Earth resistance and Insulation resistance test |  | Polarity and correct circuit connection test |  | Earth fault loop (non RCD circuits) test |  | RCD operation test |  | Comments
| CB/RCD | CIRCUIT | Date | Check by | Date | Check by | Date | Check by | Date | Check by | Date | Check by | Date | Check by
Board Name | CB or RCD Including No. |  | Roughed In |  | Fit Off and Labelled |  | Earth resistance and Insulation resistance test |  | Polarity and correct circuit connection test |  | Earth fault loop (non RCD circuits) test |  | RCD operation test |  | Comments
| CB/RCD | CIRCUIT | Date | Check by | Date | Check by | Date | Check by | Date | Check by | Date | Check by | Date | Check by