## Table 1
COMMISSIONING SHEET DATE
UNIT NUMBER
COMMISSIONED BY
PLAN & REVISION NUMBERS
Visual Check for Fitted Off Components Completed Notes Y/N
1 GPO's 2 Lights 3 Switches 4 Correct Number of Switches 5 Fan Outlets for Exhaust Fans 6 All Client Variations checked and correct 7 Data Points 8 NBN conduit and Draw wire 9 Labelling 10 Sub mains & Fire Rating 11 INSULATION RESISTANCE TEST 12 INTERCONNECTED CIRCUITS 13 EARTH RESISTANCE 14 MAINS - POLARITY TEST 15 FINAL SUB-CIRCUITS POLARITY TEST 16 IMPEDENCE TEST RESULTS Power up Unit |  |  |  |  | Results
1 | 2 | 3 | 4 | 5
6 | 7 | 8 | 9 | 10
17 RCD test GPO's and record time Time Time Power 1 Power 2 Power 3 Lighting 18 GPO Polarity 19 Correct Operation of Lights/Exhaust Fans 20 Check Polarity of Outdoor Unit on Balcony
21 LEAVE UNIT ISOLATED
Additional Commissioning Notes
Fit Off by others 22 INTERCOM 24 MATV
Office use only
UNIT Functionality Check Completed Name
Signature