## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Security Panels QA - Power Supply/Cabinet Checks
Scope
Rows
|  | Level 00 - Zone 4 | dynamic | level 00 | Security Panels - 2nd fix | zone 4
|  | Level 00 - Zone 10 | dynamic | level 00 | zone 10 | Security Panels - 2nd fix
|  | Level 01 - Zone 4 | dynamic | level 01 | Security Panels - 2nd fix | zone 4
|  | Level 01 - Zone 10 | dynamic | level 01 | zone 10 | Security Panels - 2nd fix
|  | Level 02 - Zone 4 | dynamic | Security Panels - 2nd fix | zone 4 | level 02
|  | Level 02 - Zone 10 | dynamic | zone 10 | Security Panels - 2nd fix | level 02
|  | Level 03 - Zone 4 | dynamic | Security Panels - 2nd fix | level 03 | zone 4
|  | Level 03 - Zone 10 | dynamic | zone 10 | Security Panels - 2nd fix | level 03
Columns
|  | Details |  | details
|  | Manufacturer | Manufacturer | details
|  | Model | Model | details
|  | Serial Number | Serial Number | details
|  | Cabinet Label | Cabinet Label | details
|  | Architectural Space Number | Architectural Space Number | details
|  | Power Supply |  | power supply
|  | Output Voltage | Output Voltage | power supply
|  | Is Fan Noisy? | Is Fan Noisy? | power supply
|  | Is transformer hum excessive? | Is transformer hum excessive? | power supply
|  | Record current load on system (photo) | Record current load on system (photo) | power supply
|  | Has 'main fail' alarm activated? | Has 'main fail' alarm activated? | power supply
|  | Cabinet |  | cabinet
|  | Is Cabling Tidy within Cabinet? | Is Cabling Tidy within Cabinet? | cabinet
|  | Are all Trunking lids on? | Are all Trunking lids on? | cabinet
|  | Is Cabinet Clean and Debris Free? | Is Cabinet Clean and Debris Free? | cabinet
|  | Is Wiring Report/Plans in Holder on Door? | Is Wiring Report/Plans in Holder on Door? | cabinet
|  | Battery A/the set |  | battery a/the set
|  | Battery Available? | Battery Available? | battery a/the set
|  | Battery Rated Capacity (ah): | Battery Rated Capacity (ah): | battery a/the set
|  | Are Battery Terminals Secure and Clean? | Are Battery Terminals Secure and Clean? | battery a/the set
|  | Keep Mains ON -Battery Voltage xx.x (vdc): | Keep Mains ON -Battery Voltage xx.x (vdc): | battery a/the set
|  | Remove Battery terminals and load test Individually. Pass or Fail? | Remove Battery terminals and load test Individually. Pass or Fail? | battery a/the set
|  | Have you replaced the Batteries? (see above, add date!) | Have you replaced the Batteries? (see above, add date!) | battery a/the set
|  | Record Battery Date (dd-mm-yy): | Record Battery Date (dd-mm-yy): | battery a/the set
|  | Have you Reconnect Battery Terminals: | Have you Reconnect Battery Terminals: | battery a/the set
|  | Battery B |  | battery b
|  | Battery Available? | Battery Available? | battery b
|  | Battery Rated Capacity (ah): | Battery Rated Capacity (ah): | battery b
|  | Are Battery Terminals Secure and Clean? | Are Battery Terminals Secure and Clean? | battery b
|  | Keep Mains ON -Battery Voltage xx.x (vdc): | Keep Mains ON -Battery Voltage xx.x (vdc): | battery b
|  | Remove Battery terminals and load test Individually. Pass or Fail? | Remove Battery terminals and load test Individually. Pass or Fail? | battery b
|  | Have you replaced the Batteries? (see above, add date!) | Have you replaced the Batteries? (see above, add date!) | battery b
|  | Record Battery Date (dd-mm-yy): | Record Battery Date (dd-mm-yy): | battery b
|  | Have you Reconnect Battery Terminals: | Have you Reconnect Battery Terminals: | battery b
|  | Battery C |  | battery c
|  | Battery Available? | Battery Available? | battery c
|  | Battery Rated Capacity (ah): | Battery Rated Capacity (ah): | battery c
|  | Are Battery Terminals Secure and Clean? | Are Battery Terminals Secure and Clean? | battery c
|  | Keep Mains ON -Battery Voltage xx.x (vdc): | Keep Mains ON -Battery Voltage xx.x (vdc): | battery c
|  | Remove Battery terminals and load test Individually. Pass or Fail? | Remove Battery terminals and load test Individually. Pass or Fail? | battery c
|  | Have you replaced the Batteries? (see above, add date!) | Have you replaced the Batteries? (see above, add date!) | battery c
|  | Record Battery Date (dd-mm-yy): | Record Battery Date (dd-mm-yy): | battery c
|  | Have you Reconnect Battery Terminals: | Have you Reconnect Battery Terminals: | battery c
|  | Battery D |  | battery d
|  | Battery Available? | Battery Available? | battery d
|  | Battery Rated Capacity (ah): | Battery Rated Capacity (ah): | battery d
|  | Are Battery Terminals Secure and Clean? | Are Battery Terminals Secure and Clean? | battery d
|  | Keep Mains ON -Battery Voltage xx.x (vdc): | Keep Mains ON -Battery Voltage xx.x (vdc): | battery d
|  | Remove Battery terminals and load test Individually. Pass or Fail? | Remove Battery terminals and load test Individually. Pass or Fail? | battery d
|  | Have you replaced the Batteries? (see above, add date!) | Have you replaced the Batteries? (see above, add date!) | battery d
|  | Record Battery Date (dd-mm-yy): | Record Battery Date (dd-mm-yy): | battery d
|  | Have you Reconnect Battery Terminals: | Have you Reconnect Battery Terminals: | battery d
Security Panels QA - Controller Test Sheet
Scope
Rows
|  | Level 00 - Zone 4 | dynamic | level 00 | Security Panels - 2nd fix | zone 4
|  | Level 00 - Zone 10 | dynamic | level 00 | zone 10 | Security Panels - 2nd fix
|  | Level 01 - Zone 4 | dynamic | level 01 | Security Panels - 2nd fix | zone 4
|  | Level 01 - Zone 10 | dynamic | level 01 | zone 10 | Security Panels - 2nd fix
|  | Level 02 - Zone 4 | dynamic | Security Panels - 2nd fix | zone 4 | level 02
|  | Level 02 - Zone 10 | dynamic | zone 10 | Security Panels - 2nd fix | level 02
|  | Level 03 - Zone 4 | dynamic | Security Panels - 2nd fix | level 03 | zone 4
|  | Level 03 - Zone 10 | dynamic | zone 10 | Security Panels - 2nd fix | level 03
Columns
|  | Details |  | details
|  | Controller type | Controller type | details
|  | Controller label: | Controller label: | details
|  | Serial Number: | Serial Number: | details
|  | Mac Address: | Mac Address: | details
|  | Software Version: | Software Version: | details
|  | IP Address: | IP Address: | details
|  | Subnet Mask: | Subnet Mask: | details
|  | Gateway: | Gateway: | details
|  | Onboard Tamper | Onboard Tamper | details
|  | EOL Resistance Values | EOL Resistance Values | details
|  | Connected GBus/HBus Devices |  | connected gbus/hbus devices
|  | Type | Type | connected gbus/hbus devices
|  | Label | Label | connected gbus/hbus devices
|  | Address | Address | connected gbus/hbus devices
|  | Functionality Test |  | functionality test
|  | Dipswitch #1 ON | Dipswitch #1 ON | functionality test
|  | All other Dipswitches OFF | All other Dipswitches OFF | functionality test
|  | Connected and Online to Server | Connected and Online to Server | functionality test
|  | Alarm Zones associated correctly | Alarm Zones associated correctly | functionality test
|  | All G-Bus Devices communicating | All G-Bus Devices communicating | functionality test
|  | Any other comments |  | any other comments