## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | d5f06d96-c0e8-4d87-ae80-78a91d57b8b3 |  | checklist | Second Fix Checklist |  |  |  |  | Yes | Second Fix Checklist | 15fa41cc-2789-42b0-ac5b-e8064d0a8e47
checkpoint-status | 2fdaf0d6-0838-4a1b-90fd-68eddd08d02f |  | checkpoint | Conduit Installed and secure
checkpoint-status | 42d1873f-bce6-4621-b7c0-f1e61ce38792 |  | checkpoint | All Cover Plates In Place & Fitted
checkpoint-status | 2f4f55d5-188b-4c70-b4e8-60ba82cb55d1 |  | checkpoint | All Light Fittings Tight & Secure
checkpoint-status | 09632d55-f071-45a9-9239-3032d00eac50 |  | checkpoint | Fixtures Level & in Place
checkpoint-status | e3212272-89bf-4135-a2df-da5ded3a5840 |  | checkpoint | Test Sheets completed
checkpoint-status | a8b2651a-02a7-441f-91d1-25c6dd0dd0d8 |  | checkpoint | As Builts completed
checklist-flat | cb6ae81d-be97-4d58-b475-5a359ab5a84d |  | checklist | Cable Tray |  |  |  |  | Yes | Cable Tray Checklist | 2099b996-4292-48ac-aada-6fdcb76ce3ce
checkpoint-status | a40f93b3-fdfb-449d-beb9-94eed5280a48 |  | checkpoint | Seismic bracing PS1 received
checkpoint-status | 6020cce2-eacd-49e9-a784-1f482fbc4f0d |  | checkpoint | Hangers installed
checkpoint-status | 491d907a-37fd-4463-a8e6-00da9d4dc31b |  | checkpoint | End caps fitted
checkpoint-status | c07dc53f-8d0e-4a35-acfd-dfb684e09a00 |  | checkpoint | Cable tray installed and secure
checkpoint-status | 636ac312-d484-408a-808b-c3c1f8a1a097 |  | checkpoint | Seismic bracing completed
checkpoint-status | 53323e49-fd9f-412a-91f5-00b660ffcba1 |  | checkpoint | Seismic bracing PS4 signed off
checklist-sectioned | f1a87aa2-4a07-48d0-b5b0-7902052f77ce |  | checklist | Week Starting: |  |  |  |  | Yes | Add Weekly Site Inspection | 2c96b76b-338a-499f-846a-c6746dc2fba4
checkpoint-group | 1570c322-5a4e-4441-95cd-f55994bed875 |  | section | Details
checkpoint-status | 30f496bd-d04d-4ad8-807f-840c12b57cfb |  | checkpoint | Details Complete
text | 8b03cbae-c408-4ae9-a756-cca7018dea83 |  | textbox | Site/Location :
text | 8ff362f0-afb9-45ca-87d4-347265a7e11e |  | textbox | Name of Inspector :
checkpoint-group | 400e515c-4fd4-486b-86f1-b35947b2e015 |  | section | Site Control
checkpoint-status | 83cdead9-fe96-41e5-9fe2-2cacfe2cb2ab |  | checkpoint | Hazard Board and signage up-to-date
checkpoint-status | 4dcb78eb-9c06-483b-a320-536b24e1a13e |  | checkpoint | Environmental plan - issues
text | cae0f94e-0878-4302-855f-50626b9940cc |  | textbox | Toolbox talk last date:
checkpoint-status | c5317fd2-83e2-4816-bfd5-f841db681598 |  | checkpoint | Safety inductions for all on-site
checkpoint-status | ed00b15d-8f69-42b9-a4fb-9425b8461cbd |  | checkpoint | Safety notice board current
checkpoint-group | 575dacbb-b638-4064-94ab-6c22c8c45744 |  | section | Site Facilities
checkpoint-status | 62c81fad-2c39-4600-a2fa-d013dcf4b6e2 |  | checkpoint | Offices clean, adequate & good lighting
checkpoint-status | 6200c4f6-620e-42c9-9c33-44ec86deba61 |  | checkpoint | Smoko sheds - clean, portable water
checkpoint-status | c0712d39-49c0-4d4d-b956-af10a9447e2d |  | checkpoint | Toilets - clean, washing water
checkpoint-status | 0e96db18-90eb-4d65-9ce7-48c41da9e0d7 |  | checkpoint | Tool /equipment sheds adequate
checkpoint-group | 574cb5bb-6c39-40ec-8e61-4717c1062dcb |  | section | General Site Tidiness and Access ways
checkpoint-status | 3247cb3d-e224-42ef-8f2e-3c2c6abbf71a |  | checkpoint | Clear, safe access to work areas
checkpoint-status | 522ff081-e1e8-4dd4-b327-373fd7f489f8 |  | checkpoint | Stairways and accessways clear
checkpoint-status | 71b598ee-7df4-4fd9-9106-0eaa80c4d82e |  | checkpoint | Hoardings /fence and gates secure
checkpoint-status | f8bb9ec3-0a27-42b7-8c7d-69808a380f37 |  | checkpoint | Loose materials secure from wind
checkpoint-group | f47b75bc-37ef-473c-96ad-55739de4372d |  | section | Personal Safety Equipment
checkpoint-status | 0c44faac-52cc-4997-bd1b-5c880087bdb6 |  | checkpoint | Signage displayed and legible
checkpoint-status | ec5fa986-483f-4122-83cb-869d3a30cfb3 |  | checkpoint | Hardhats being worn
checkpoint-status | 4738906a-0435-489a-8c29-2be6afce7611 |  | checkpoint | Correct footwear being worn
checkpoint-status | 410714e3-d442-47ae-b397-eec95a6b7ddf |  | checkpoint | Glasses /ear muffs /vests /masks used
checkpoint-group | a5953bc0-c54d-4aa8-828e-0c8857b4eb00 |  | section | First Aid/Fire Prevention
checkpoint-status | a4537ff0-4823-47a7-bf70-613d159a6394 |  | checkpoint | First Aid Box Available
checkpoint-status | 6c2108bc-6754-413b-b996-ac56f9abe33a |  | checkpoint | Accident register
checkpoint-status | 1f50034b-7c10-44c7-beda-5fc4a5eaaebe |  | checkpoint | Fire Extinguishers
boolean | 12bab111-d5d2-4ba9-87f2-979c842a9df6 |  | tickbox | Available
boolean | 61ea2b23-6ac8-44f8-9d40-86c8daf1dd62 |  | tickbox | Current (12mth)
boolean | 3f3e012d-918a-4137-9689-dcced1049dcc |  | tickbox | Sufficient number
checkpoint-status | 7003c4b6-d3b5-44b5-a881-f71fb9cdcee9 |  | checkpoint | Evacuation
boolean | 62e3bbb3-5108-4954-b02d-7071877274bd |  | tickbox | All emergencies incl
boolean | 7aa1d51b-82ee-46ea-a2d8-8922b951f5d1 |  | tickbox | Procedure current
checkpoint-group | 31cdff68-f1c3-4e8e-9d07-af6b4bbc8b08 |  | section | Cranes/hoist/lifting equipment
checkpoint-status | ce35c3ea-e2dc-482c-b65d-3c25bf956d5a |  | checkpoint | Proper lift assessment plan done
checkpoint-status | f21e438d-c1b9-49d9-b203-4cde4e999786 |  | checkpoint | Crane certification current
checkpoint-status | b368f131-2216-47ce-b761-2b0f5433d80e |  | checkpoint | Slings/chains certified
checkpoint-status | a0b75b37-681c-4ddc-9e4f-25b6c0ee60f6 |  | checkpoint | Operator procedures in place
checkpoint-status | 461991cc-5427-47f5-bfda-c762e0a0bed9 |  | checkpoint | Inspections being done
checkpoint-status | 19c565c8-9ab2-4923-95b0-862927cd016f |  | checkpoint | Man cage available
checkpoint-status | 67b30646-32dc-433a-bcc4-f34297c61087 |  | checkpoint | Emergency plan in place
checkpoint-group | ab14824f-8638-48d7-995b-170ef877d7c2 |  | section | Compressed air equipment
checkpoint-status | 944d86f8-8002-4773-a042-0929b48004f1 |  | checkpoint | In good condition
checkpoint-status | 5b7cbbea-ac9a-4fa6-bcce-23718f449d5c |  | checkpoint | Appropriate guards fitted
checkpoint-status | 38df4039-3212-44fe-87e3-0dde4e6a7053 |  | checkpoint | Trained user
checkpoint-group | e808ee6e-1488-43a5-b351-2e3c88637266 |  | section | Excavations
checkpoint-status | b2f52898-2e05-48af-825a-819d408e273c |  | checkpoint | Correctly Shored
checkpoint-group | 741cb6b1-6215-4edb-9b0c-622e8be87a90 |  | section | Welding/gas cutting
checkpoint-status | dfeb3295-bdc5-4e8c-b136-dca18633bec1 |  | checkpoint | Hot work permits being issued
checkpoint-status | 4e6641f3-674a-472a-868e-4c282464bfd4 |  | checkpoint | Fire extinguishers on hand
checkpoint-status | 2f89b361-5e5a-4e87-9947-54529b1b79b2 |  | checkpoint | Operators using PPE
checkpoint-group | 9a7df9be-05a3-4ea2-a6c2-ed1fbf27b60f |  | section | Electrical Equipment
checkpoint-status | d8358f2b-793b-49b4-987b-987dc0a73a4e |  | checkpoint | Main board lockable /weatherproof
checkpoint-status | 07fb4640-a762-42a0-83f3-2e76df4adbb0 |  | checkpoint | Current tagged and damage-free leads
checkpoint-status | 279c8fdf-6f8e-4308-a160-5b72f44288f0 |  | checkpoint | Current tagged plant
checkpoint-status | c4fcdf75-5eea-496e-a7a7-32753ef6faf2 |  | checkpoint | Current tagged lifeguards
checkpoint-status | ac31cbaf-d5b6-4b9f-9747-ccd4d72708fe |  | checkpoint | Leads safely placed
checkpoint-status | c6a035e9-0e83-4e50-8c5f-ec612621c84c |  | checkpoint | Equipment in good condition
checkpoint-status | 6856c804-c8ce-479e-b8e7-8515b2b38884 |  | checkpoint | Appropriate guards on equipment
checkpoint-status | bda1b6bc-8ae3-47ff-ace7-3163934b1b5f |  | checkpoint | Adequate temporary lighting
checkpoint-group | 870089ff-1b5c-4dd9-b121-1bbccfa67e3b |  | section | Chemicals
checkpoint-status | 5814ed60-3d18-4638-80c5-1531b0c526c4 |  | checkpoint | Correctly stored
checkpoint-status | 4e8951b9-22ab-4fd0-ac79-f9648e295331 |  | checkpoint | Safety Data Sheet (SDS) available
checkpoint-status | c01f2940-fffa-4c7f-828e-f93b8990c895 |  | checkpoint | Operators using PPE
checkpoint-group | a1a70fab-1b12-4d9d-8f3d-1a27d3a27e47 |  | section | Tools
checkpoint-status | ec984eff-d9c3-41b5-94bf-fdb762d14e73 |  | checkpoint | PAT tool WoF current and secure
checkpoint-status | a0a443e6-1c1a-4dfa-b2ab-801e030d64b9 |  | checkpoint | Staff trained in tool use (SWPS)
checkpoint-status | 6845f31b-da5c-4635-a50c-b42e91e9e0f9 |  | checkpoint | PAT signage on site
checkpoint-group | c3b2bb8e-9748-4655-8671-997158c24bf9 |  | section | Scaffolding
checkpoint-status | b77f6b1f-3c52-4316-9dc2-063df72c2def |  | checkpoint | Notifiable weekly Scaftag/current
checkpoint-status | 2cbba10e-d6ba-4e7c-a019-42610b899978 |  | checkpoint | Handrails/mid-rails
checkpoint-status | f31ca3d1-cf41-4f9b-bd89-95ee5f7f7e12 |  | checkpoint | Toe boards
checkpoint-status | 445df09b-09f2-4d88-8e53-3dbe050b0d25 |  | checkpoint | Platforms
checkpoint-status | a5ff444a-9766-492e-953e-3b1be399a4ce |  | checkpoint | Ladders/stairs
checkpoint-status | 47b107a2-adfa-436d-a659-143736ffdf82 |  | checkpoint | Base sound
checkpoint-status | d3ce816a-83ff-4d04-b0b9-db37d77685e8 |  | checkpoint | Work platforms clear
checkpoint-status | 04ab4ce4-e2f6-436a-bc81-b20b647d4e92 |  | checkpoint | Platforms trip free
checkpoint-status | a607bbda-2f54-492e-9e7f-d3900b7045fe |  | checkpoint | Planks tied down
checkpoint-status | fb3a81e8-7992-4eb7-9453-2e95fbaab22f |  | checkpoint | Headroom clear
checkpoint-status | 5bbbeedd-dc5e-460c-8547-ef5402efb952 |  | checkpoint | Ties/bracing adequate
checkpoint-group | 50a2a7a7-7379-4a2a-a65c-2a9262e29d21 |  | section | Ladders
checkpoint-status | dd198b5f-9153-4dfb-ac7a-b6b250b8c105 |  | checkpoint | Good condition
checkpoint-status | de6a399a-9e48-4ae9-b2ce-facbd17ff63e |  | checkpoint | Secured top and bottom
checkpoint-status | c93a471c-2d73-4911-abcf-04757bc34fe5 |  | checkpoint | Stays to step ladders
checkpoint-status | a4c61524-44eb-4acf-ba40-f69a45a58011 |  | checkpoint | Working 2 steps down
checkpoint-group | a39707af-b2bf-4f5b-b4eb-5875db7a27c3 |  | section | Fall Hazards
checkpoint-status | c7ef8fcf-1b06-44d6-994a-e1a5c28a3713 |  | checkpoint | Fall Hazards
checkpoint-status | c0e4b024-5b3d-4dd1-bf5d-3a4fe844dd5a |  | checkpoint | Floor openings
checkpoint-status | faf4bc25-3076-48e3-8ae4-d67c06be709b |  | checkpoint | Lift shafts
checkpoint-status | ef8e013e-b61b-4713-a1a2-407d164ede94 |  | checkpoint | Stairs
checklist-flat | e2818b98-e9fd-4202-b6c3-890f6d1e7361 |  | checklist | Date: |  |  |  |  | Yes | Add Tool Box Minutes Phase 3 | 47c70408-48ca-47cb-8914-62d0fe2229b2
checkpoint-status | 998e9160-de6e-40a0-a1e3-7472c093a00e |  | checkpoint | Details Captured
text | 6ef8130e-76aa-44c2-8139-7e1f6ce18a3f |  | textbox | Finish Time:
text | 29ae22f7-1705-47f4-b73f-0607ba296f25 |  | textbox | Start Time:
text | e47873b4-7429-4486-9b51-79ad284b287e |  | textbox | Date of Meeting:
text | ca8641a3-8ace-43b9-99e9-63cbb0997863 |  | textbox | Minutes Taken By:
text | 48dc9fee-59e5-4c20-bd30-1ab9a11fbe9b |  | textbox | Meeting Chaired By:
checkpoint-status | 9262d607-6a3a-4eb1-bdf1-9fb7af8208f5 |  | checkpoint | Attendees - List or take photo
text | fc14572f-c0c6-4bc1-9737-3e9f31b54511 |  | textbox | Absent:
boolean | 928d8190-a1bb-4131-97df-0c1090752d24 |  | tickbox | Aaron Munyard
boolean | 562674ce-019e-4805-a37c-2d8a6004a341 |  | tickbox | Aaron Williams
boolean | 176e0a7a-48b1-4af3-b0ea-d984057f1e83 |  | tickbox | Abdul Salam
boolean | a46e294c-6a58-48ba-8917-1b0889189fa1 |  | tickbox | Adrian Butler
boolean | 123cb153-8003-4e78-a828-a1c1140149ad |  | tickbox | Allister Gordon
boolean | dd25a8dd-647f-4509-abda-adba23af3134 |  | tickbox | Eric Chiang
boolean | 947b1d1c-f7f7-44a3-9f18-a01003c36a64 |  | tickbox | Evan Yaoji
boolean | b5d73ce1-de60-4d8a-88ab-e3221eafc785 |  | tickbox | Jordan Doropoulos
boolean | 0af3631a-6815-4426-a9f5-dd82d670e71a |  | tickbox | Josh Taulu
boolean | 4fac06a4-ef85-4212-8679-a8a9de88e917 |  | tickbox | Matt Frank
boolean | 97befc29-e0bc-44e7-adfd-f13cd68f78c4 |  | tickbox | Michael Bell
boolean | 7d6b2d04-b2f0-4f06-873a-9cd9fe23cd7c |  | tickbox | Peter Armitage
boolean | d15a55d3-f7fa-4bfd-9fd1-26ae70a98e72 |  | tickbox | Ronil Krishna
boolean | 9a5c678f-6bbe-4020-8bc7-cb7da6e72e9e |  | tickbox | Samkit Prajapali
boolean | 03316592-02b5-4bc3-be37-d8cd4bce7252 |  | tickbox | Steve Hallows
boolean | a09d150d-196e-4beb-896b-56c9ecbee194 |  | tickbox | Stewart Gordon
boolean | 5e21bcb5-86f5-4393-95c2-58438e91483a |  | tickbox | Tainui Pompey
boolean | 4e9a8a64-c59c-4193-b579-505dc1157b58 |  | tickbox | Tim Ryan
boolean | 9ee1a3ba-e4c9-4b30-95eb-56c84aa42f89 |  | tickbox | Levi Hancock
boolean | 3238a0b3-ae95-4679-9f08-a3f4d07bf264 |  | tickbox | Derek Sinclair
boolean | 83551149-3da4-4d8e-acc3-6c2298bcaef1 |  | tickbox | Gordon Pirrie
boolean | b0ad041b-8512-4288-8865-9d4da18c7f25 |  | tickbox | Prashneel Padayachi
boolean | 7ca75a11-9b10-4fb5-a737-04d6434bc6b1 |  | tickbox | Shanil Kumar
boolean | 5470104d-4b81-47ea-bc65-766309503950 |  | tickbox | Joe Scheepers
boolean | c4e0eac3-d276-43a2-8b4f-f3c71ec081f6 |  | tickbox | Jayden Hemingson
boolean | 4699d71e-866c-4cc3-bfea-57d73f19c016 |  | tickbox | Zelijko Jasarevic
boolean | 54c8177a-410b-46c3-bb07-df6a46bdf86b |  | tickbox | Ronald Swann
boolean | 6124a19d-4100-42ae-90cb-b8451fa0952e |  | tickbox | Cameron Gardener
boolean | e141663e-d10a-4457-b111-deacb0d26971 |  | tickbox | Josh Howe
checkpoint-status | b9790e6a-dd32-482e-b402-35131c311d94 |  | checkpoint | Reviewed Last week's minutes:
text | 338e44df-36d4-474e-91fa-831a12212a79 |  | textbox | Discussion:
text | bfdcd226-403f-41c0-a9f6-9ef39b96d066 |  | textbox | Next Meeting Scheduled For:
text | 8e167a2a-b855-4b86-b070-77a75438dab1 |  | textbox | Open Floor Discussion:
checklist-flat | 30ca2a6b-0be3-4136-8074-7a0128ddca4d |  | checklist | Distribution Board |  |  |  |  | Yes | Distribution Board Checklist | 711b99c0-0bdd-4a58-93ec-ddcdb05c0683
checkpoint-status | e7a3c330-e227-4c5b-bd39-e75a648f21b6 |  | checkpoint | Meter Neutral connected
checkpoint-status | fa947bbf-fe2e-456b-9621-0705f9d44422 |  | checkpoint | Circuit Chart Completed
checkpoint-status | 6f0117d9-d719-46f0-a2d1-230ad7408caf |  | checkpoint | Blanks Fitted
checkpoint-status | 517b751a-e24f-460f-93e5-427a402926e3 |  | checkpoint | Core ID's fitted
checkpoint-status | 53ebca7e-5ae9-4aef-a328-cc2ef4d13b40 |  | checkpoint | DB clear from swarf
checkpoint-status | 869c47c0-019f-438e-b6bf-4c01d7ef717a |  | checkpoint | Cables neatly loomed
checkpoint-status | 3937d9e8-4ae6-40d8-a96a-02957afb14c8 |  | checkpoint | Meter installed
checkpoint-status | 3c1c63ff-3743-44fb-bcba-c2d4a3bdf044 |  | checkpoint | Ripple Relay installed
checklist-flat | 7c6d1049-87b4-4579-89f9-cfb7db1e2c39 |  | checklist | Date: |  |  |  |  | Yes | Add Tool Box Minuted Pier B | 74efc88c-f62f-4ead-a2b4-b81388799b97
checkpoint-status | 156ed77b-f2b9-448d-8ca9-9db1b7781f66 |  | checkpoint | Details Captured
text | 6ef8130e-76aa-44c2-8139-7e1f6ce18a3f |  | textbox | Finish Time:
text | 29ae22f7-1705-47f4-b73f-0607ba296f25 |  | textbox | Start Time:
text | e47873b4-7429-4486-9b51-79ad284b287e |  | textbox | Date of Meeting:
text | ca8641a3-8ace-43b9-99e9-63cbb0997863 |  | textbox | Minutes Taken By:
text | 48dc9fee-59e5-4c20-bd30-1ab9a11fbe9b |  | textbox | Meeting Chaired By:
checkpoint-status | 6b7a3402-b2f6-4f66-a94c-3c4f650ca358 |  | checkpoint | Attendees - List or take photo
text | fc14572f-c0c6-4bc1-9737-3e9f31b54511 |  | textbox | Absent:
boolean | 928d8190-a1bb-4131-97df-0c1090752d24 |  | tickbox | Caleb James-Kefu
boolean | 562674ce-019e-4805-a37c-2d8a6004a341 |  | tickbox | Chris Edwards
boolean | 176e0a7a-48b1-4af3-b0ea-d984057f1e83 |  | tickbox | Craig Tedesco
boolean | a46e294c-6a58-48ba-8917-1b0889189fa1 |  | tickbox | Grant Jolly
boolean | 123cb153-8003-4e78-a828-a1c1140149ad |  | tickbox | Josef Laskaj
boolean | dd25a8dd-647f-4509-abda-adba23af3134 |  | tickbox | Joshua Otukolo
boolean | 947b1d1c-f7f7-44a3-9f18-a01003c36a64 |  | tickbox | Marcus Sagemuller
boolean | b5d73ce1-de60-4d8a-88ab-e3221eafc785 |  | tickbox | Marlon Taracatac
boolean | 0af3631a-6815-4426-a9f5-dd82d670e71a |  | tickbox | Philip Cheer
boolean | 4fac06a4-ef85-4212-8679-a8a9de88e917 |  | tickbox | Taniela Puleanga
boolean | 97befc29-e0bc-44e7-adfd-f13cd68f78c4 |  | tickbox | Tupou Charlie
boolean | 7d6b2d04-b2f0-4f06-873a-9cd9fe23cd7c |  | tickbox | Tony Hemmingson
boolean | d15a55d3-f7fa-4bfd-9fd1-26ae70a98e72 |  | tickbox | Kieran Leonard-Baird
boolean | 9a5c678f-6bbe-4020-8bc7-cb7da6e72e9e |  | tickbox | David Hemmingson
boolean | 03316592-02b5-4bc3-be37-d8cd4bce7252 |  | tickbox | Salendra Prasad
boolean | a09d150d-196e-4beb-896b-56c9ecbee194 |  | tickbox | Peter Seu
boolean | 5e21bcb5-86f5-4393-95c2-58438e91483a |  | tickbox | TK Davis-Brooking
boolean | 4e9a8a64-c59c-4193-b579-505dc1157b58 |  | tickbox | Jason-Lee Wood
boolean | 9ee1a3ba-e4c9-4b30-95eb-56c84aa42f89 |  | tickbox | James Palmer
checkpoint-status | b262a167-84d7-4f68-94d3-e0a8c3ab0d27 |  | checkpoint | Reviewed Last week's minutes:
text | 338e44df-36d4-474e-91fa-831a12212a79 |  | textbox | Discussion:
text | bfdcd226-403f-41c0-a9f6-9ef39b96d066 |  | textbox | Next Meeting Scheduled For:
text | 8e167a2a-b855-4b86-b070-77a75438dab1 |  | textbox | Open Floor Discussion:
checklist-flat | 8b5b4909-d5ad-4184-9ac2-253217003643 |  | checklist | Date - |  |  |  |  | Yes | Add Indicent Template | 94e63dfb-4709-4df0-8789-f760df51eab2
checkpoint-no-status | e33ad682-4250-4077-b640-28fec5de2fb6 |  | checkpoint | Near Miss/Incident Location:
text | 73f2c6b5-5abc-4d82-9ca5-0ac9bb54941c |  | textbox | Location
text | a5ee09b1-62d5-474c-8e1c-86b3fc1317b9 |  | textbox | Date:
text | 93f2c6b5-5abc-4d82-9ca5-0ac9bb54941c |  | textbox | Time:
text | a9912357-efd1-425e-9561-e1e73ef80361 |  | textbox | Personnel Involved:
checkpoint-status | f18d86f7-c5cc-4a47-94d8-acf2887f908e |  | checkpoint | Description of Incident & all Information Recoreded
checkpoint-status | aa331d07-20c6-4fc8-a3c1-165f1889cba7 |  | checkpoint | Medical attention required/received
checklist-flat | 604aa608-649b-455d-96c6-6f84924917cb |  | checklist | First Fix Checklist |  |  |  |  | Yes | First Fix Checklist | 9d160600-e866-4130-86ac-38114b56ac89
checkpoint-status | 583221b8-b6d0-4108-8a3b-9b1736e20f5d |  | checkpoint | Issued construction drawing set - Comment date:
checkpoint-status | 7eff59ab-e25c-405e-867e-2cc2dbe5721a |  | checkpoint | All nogs in place
checkpoint-status | b0dcc57c-b105-4e00-95f9-04f4fa775a29 |  | checkpoint | All fire rated flush boxes installed
checkpoint-status | 0a22a0d4-17d2-4c6a-acbf-1a59bc5b897f |  | checkpoint | All fire/sound pads installed
checkpoint-status | c296a6a3-4e01-4ef6-8bca-8c7174fb32ef |  | checkpoint | All flush boxes to non rated wall installed
checkpoint-status | 5b394258-d0a6-44e4-ad82-53d68eb4976a |  | checkpoint | All light fitting nogs installed
checkpoint-status | c856905f-4333-443d-95c6-c017f85be9eb |  | checkpoint | All lighting circuit run
checkpoint-status | a3944d84-dcc7-4774-ae70-80c84fe89f3a |  | checkpoint | All power circuit run
checkpoint-status | a213abb3-0eda-474b-86ca-bc7875118932 |  | checkpoint | All fire rating completed
checkpoint-status | 107a7a93-9cdc-41ee-b23e-4467e3a97c89 |  | checkpoint | Kitchen Layout Confirmed
checkpoint-status | 73e04e4c-ceaa-4c3b-9745-b894eadb5727 |  | checkpoint | Switchboards and Mains Cable Installed
checklist-flat | ec40468c-df5b-4d43-a03b-6f92eb4263de |  | checklist | Date - |  |  |  |  | Yes | Add Near Miss Template | b1d82635-31d8-4e28-90c4-dbea04d7ab6c
checkpoint-no-status | 5c4a47d6-8794-4692-8bd2-6978840eec51 |  | checkpoint | Near Miss/Incident Location:
text | 73f2c6b5-5abc-4d82-9ca5-0ac9bb54941c |  | textbox | Location
text | a5ee09b1-62d5-474c-8e1c-86b3fc1317b9 |  | textbox | Date:
text | 93f2c6b5-5abc-4d82-9ca5-0ac9bb54941c |  | textbox | Time:
text | a9912357-efd1-425e-9561-e1e73ef80361 |  | textbox | Personnel Involved:
checkpoint-status | aff1ee24-22fd-4574-81a0-344717e1419e |  | checkpoint | Description of Incident & all Information Recoreded
checklist-flat | cbfa2a7e-2106-4969-a652-adb9815f8f94 |  | checklist | Penetrations |  |  |  |  | Yes | Add Penetrations Bulk Checklist | bd1eb7c0-f05c-429d-8386-5d718bd3391e
checkpoint-status | bffebf4e-ffbf-4fae-b7de-94c1e5ea23dd |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 34dc4a0d-eb74-4dd0-9f32-7a46d8b6f3c6 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 33fd6db4-1ce6-478c-aaef-6a63f8910bd9 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 430a7acc-8dbd-4f46-ad4d-706859126793 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | dc622331-1af2-4872-8394-8c639266272f |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | f8e995c5-a075-4db8-ac41-14e9f6f52e55 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 1e46250b-fb1c-4dbe-a75b-b4a8685f466e |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 186ddd47-b458-420e-8d3e-7e866df333a1 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 48745da1-ee2a-4671-92ea-99e75a07fdf8 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 8f285eca-1326-486a-88c5-c72fdd461ccf |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 5b933240-9a78-4fc4-b45b-2cda86f7a3b7 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | a264796c-88cd-405d-99c1-af97634ccc3e |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 5677d571-4961-4278-a5ab-cd073c91f8ed |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 5913dea8-dccd-410c-9bad-7ab86061446d |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | af3584b9-6dbf-45c0-b7b0-18dd80184452 |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checkpoint-status | 2d33a921-c3d5-4998-bbda-1f8bb10c41ab |  | checkpoint | Penetration
text | 48b136dc-bb8b-4f84-92fa-c2a910afec0e |  | textbox | Label Number:
select | aa9fcd58-77fc-4537-b808-399555d85b7f |  | dropdown | Penetration Type: | Bunch of cables,Cable,Flush box
boolean | 7809af14-0595-4ae4-b5ed-a46a3bb4d280 |  | tickbox | Sealant
boolean | 51120ea4-ac86-4456-a05f-33f850a6ac8b |  | tickbox | Flush Box
boolean | 8d18f195-8ca4-4f77-a2ac-7af0e2d3ea3d |  | tickbox | Other: (comment)
checklist-sectioned | ed94ec40-e6d0-4bae-9171-0e1c90322b7c |  | checklist | checklist |  |  |  |  | Yes | Duct Checklist | cf6de913-a1dc-4467-b0fe-9ce475396b26
checkpoint-group | 35b8ec4c-c09d-47f0-a547-be47f60f1df5 |  | section | 150mm Ducts
checkpoint-status | 6fd49623-cda8-44db-859a-1f33f5801ad4 |  | checkpoint | HV
text | 24eb2424-3e60-443d-9cc4-aa6db307dad1 |  | textbox | Amount
checkpoint-status | 2e8c7bef-94b8-49da-a179-170fa1db434b |  | checkpoint | PWR
text | 6713c750-5766-49b3-8d23-92116138e9cd |  | textbox | Amount
checkpoint-status | 35f4b7a0-a1d5-446d-8d80-4cb2171681ca |  | checkpoint | Future EV Charge
text | b688d1b7-4e75-42b4-88a0-c65942bb5ca7 |  | textbox | Amount
checkpoint-group | f98fec1f-bdea-49ac-a3aa-bf5b1e73247a |  | section | 100mm Ducts
checkpoint-status | d2d1ab51-b4ff-4652-9329-71edcd201b4d |  | checkpoint | PWR
text | 6aa53b8c-b333-40f9-afe2-3519c7e81671 |  | textbox | Amount
checkpoint-status | b28b6190-c07c-4bbc-bef1-9e121f2c4226 |  | checkpoint | Tele
text | f8a60ca1-970d-4207-97ac-761e89418aeb |  | textbox | Amount
checkpoint-status | 87a2b471-55cf-4a75-8955-5896657b4aa6 |  | checkpoint | SL
text | 037bab98-e4c9-422c-a752-fc756094ca6a |  | textbox | Amount
checkpoint-group | 6f652651-1323-4886-ac8f-e73c32749ce1 |  | section | 50mm Ducts
checkpoint-status | 8a646215-a9b4-4514-9821-af644716535a |  | checkpoint | PWR
text | 5e478de7-6265-4dc3-b38a-8e5921728cd2 |  | textbox | Amount
checkpoint-status | 12cd6243-bdf4-4f1c-96cb-0a4e186bd81f |  | checkpoint | Tele
text | 2f578085-16a5-4797-8ab4-a1644459c9d4 |  | textbox | Amount
checkpoint-status | d4f36c1d-93de-42cd-98e7-f187299743cb |  | checkpoint | SL
text | 1d03ca57-68f5-437b-ad42-09368b195351 |  | textbox | Amount
checkpoint-group | bcd953f6-36b2-45b7-bec7-90f5b432bcd9 |  | section | 32mm Ducts
checkpoint-status | 6caa50c2-99c7-4417-845b-0c3c7dfef468 |  | checkpoint | PWR
text | 8a1ecfbc-53f4-4f69-86d8-5b0614242e10 |  | textbox | Amount
checkpoint-status | f0bda0a8-a0cc-41bc-a7c2-613ac05a52aa |  | checkpoint | Tele
text | ef381653-ac24-49bb-9b67-7f89ebf68717 |  | textbox | Amount
checkpoint-status | dd12a9a5-7648-4632-a0c0-34aedb15319a |  | checkpoint | SL
text | 9b82b76f-5569-4702-9f08-cfca80aa294f |  | textbox | Amount
checkpoint-group | afc4ab4f-b80d-4cac-9e6c-c9e76ba4ac2b |  | section | 25mm Ducts
checkpoint-status | e3e0098e-9eeb-4e18-b8f1-5f53c7b7ae50 |  | checkpoint | PWR
text | 6061b81d-1ec0-4bc6-b781-004c2bcffc81 |  | textbox | Amount
checkpoint-status | 78a334b0-f3a2-4668-8193-9134541a4b13 |  | checkpoint | Tele
text | 30081223-9dd1-4ad8-bc6b-d73f04160a74 |  | textbox | Amount
checkpoint-status | 0e789555-f1ce-4e66-b5b7-03128b58ab2b |  | checkpoint | SL
text | 3d301590-39d1-4948-9d27-459ba977c615 |  | textbox | Amount
checklist-sectioned | a614d5cb-05a9-4a77-b5bb-d28b819cbd4c |  | checklist | Week Starting: |  |  |  |  | Yes | Weekly Site Inspection | d98c27a9-c5e5-4343-82c9-ec95520cd0d4
checkpoint-group | 9e9d5383-ab2e-4eda-b983-b48b9d22e8fe |  | section | Details
checkpoint-status | 148bfa32-0928-48bd-ab88-0b6bb1651854 |  | checkpoint | Details Complete
text | 8b03cbae-c408-4ae9-a756-cca7018dea83 |  | textbox | Site/Location :
text | 8ff362f0-afb9-45ca-87d4-347265a7e11e |  | textbox | Name of Inspector :
checkpoint-group | 046c7eb0-6486-4af7-9e2b-762c7fdad297 |  | section | Site Control
checkpoint-status | 5200c03a-4aee-4a3c-92fb-d7f1777949fa |  | checkpoint | Hazard Board and signage up-to-date
checkpoint-status | 8b3f8130-ac46-41e8-8029-abf6b8da2402 |  | checkpoint | Environmental plan - issues
text | cae0f94e-0878-4302-855f-50626b9940cc |  | textbox | Toolbox talk last date:
checkpoint-status | 6a93379c-6b77-478a-a3bd-af41eee81a39 |  | checkpoint | Safety inductions for all on-site
checkpoint-status | cc40f5b2-489a-4039-9427-fcf8cc368b10 |  | checkpoint | Safety notice board current
checkpoint-group | 6677365e-4041-4d2b-a0e8-bfe05d9778bd |  | section | Site Facilities
checkpoint-status | fbd2e379-1549-424a-ae19-5608bb57e5b1 |  | checkpoint | Offices clean, adequate & good lighting
checkpoint-status | e5579190-7f95-4bfb-81e4-5eba6c1c96b2 |  | checkpoint | Smoko sheds - clean, portable water
checkpoint-status | 929e5b74-be1d-47ed-805b-df89ef12bb71 |  | checkpoint | Toilets - clean, washing water
checkpoint-status | 93216768-3944-48d5-a027-c71a69fb157a |  | checkpoint | Tool /equipment sheds adequate
checkpoint-group | 79230f64-257f-461c-9d7c-756611f0b0bf |  | section | General Site Tidiness and Access ways
checkpoint-status | 6b63a4ab-3682-41af-9623-10da60fbb6ad |  | checkpoint | Clear, safe access to work areas
checkpoint-status | a2367632-27d4-4814-8707-d9370c892485 |  | checkpoint | Stairways and accessways clear
checkpoint-status | 5edce698-3288-49d0-a823-dcf443e3079d |  | checkpoint | Hoardings /fence and gates secure
checkpoint-status | 2301a0e3-074c-431f-8d2f-7a5fe3f61fcf |  | checkpoint | Loose materials secure from wind
checkpoint-group | 9174d633-4657-40dd-9690-95826b5cc355 |  | section | Personal Safety Equipment
checkpoint-status | 83402c85-3194-431f-b9ec-c3382024e6a2 |  | checkpoint | Signage displayed and legible
checkpoint-status | 45178a10-f820-4f30-843c-885cc5786a1c |  | checkpoint | Hardhats being worn
checkpoint-status | 44e2502d-6850-49b7-be65-017d814b5c3d |  | checkpoint | Correct footwear being worn
checkpoint-status | 1296d37d-da4f-4d75-8d1e-8023ddf70d67 |  | checkpoint | Glasses /ear muffs /vests /masks used
checkpoint-group | 0175cbe2-c72e-4eac-a659-89d944c37826 |  | section | First Aid/Fire Prevention
checkpoint-status | 0113165e-7bf6-43b6-94ac-b6e38ac7b068 |  | checkpoint | First Aid Box Available
checkpoint-status | f0d476f9-cfb0-4b9c-9b3f-1e530f8369f3 |  | checkpoint | Accident register
checkpoint-status | 6db1b51d-721f-47f1-ba6f-cd9207df54d7 |  | checkpoint | Fire Extinguishers
boolean | 12bab111-d5d2-4ba9-87f2-979c842a9df6 |  | tickbox | Available
boolean | 61ea2b23-6ac8-44f8-9d40-86c8daf1dd62 |  | tickbox | Current (12mth)
boolean | 3f3e012d-918a-4137-9689-dcced1049dcc |  | tickbox | Sufficient number
checkpoint-status | 4be45193-69c5-4c9d-993a-992f817471a1 |  | checkpoint | Evacuation
boolean | 62e3bbb3-5108-4954-b02d-7071877274bd |  | tickbox | All emergencies incl
boolean | 7aa1d51b-82ee-46ea-a2d8-8922b951f5d1 |  | tickbox | Procedure current
checkpoint-group | 8e342104-28d6-47dd-8493-1d82c9da9e01 |  | section | Cranes/hoist/lifting equipment
checkpoint-status | cc1eb99f-5b82-423e-8653-3e39ebfa118c |  | checkpoint | Proper lift assessment plan done
checkpoint-status | 738a57fb-d366-4320-bedd-ced85467a761 |  | checkpoint | Crane certification current
checkpoint-status | ecc12cfc-ebae-45cd-ac72-24490fb81133 |  | checkpoint | Slings/chains certified
checkpoint-status | 82091cb2-4ea1-4506-850c-80e2438515f6 |  | checkpoint | Operator procedures in place
checkpoint-status | f172e44c-f122-456c-ab6c-19c4495874c1 |  | checkpoint | Inspections being done
checkpoint-status | 82934dcb-d034-4075-af19-715e8eec5b24 |  | checkpoint | Man cage available
checkpoint-status | 49936696-83e0-4a84-995d-d8190b40336a |  | checkpoint | Emergency plan in place
checkpoint-group | 9d15072b-c790-423e-9dea-18ca0ece9dc5 |  | section | Compressed air equipment
checkpoint-status | cac4c369-5b39-4bdc-b12e-f11cb8cdfb7d |  | checkpoint | In good condition
checkpoint-status | abaf4830-6a6a-4b53-ae37-aee53292fb23 |  | checkpoint | Appropriate guards fitted
checkpoint-status | 99c3263f-6047-4c5a-a9af-90bdf8a98330 |  | checkpoint | Trained user
checkpoint-group | 741c52fb-0cde-4ae8-b517-d5957242b21f |  | section | Excavations
checkpoint-status | b03f72ca-d076-486c-a14c-0b240517c0b2 |  | checkpoint | Correctly Shored
checkpoint-group | 49c3e293-5fd0-460e-9e18-539bd3537c49 |  | section | Welding/gas cutting
checkpoint-status | 91cf84cd-2420-4ba7-a676-a1ac7f10f012 |  | checkpoint | Hot work permits being issued
checkpoint-status | f3d89f32-7d66-418c-8877-48ad8ec62e60 |  | checkpoint | Fire extinguishers on hand
checkpoint-status | 832de9a7-c5ef-4bd5-99b5-30a17af1e2c6 |  | checkpoint | Operators using PPE
checkpoint-group | ec8e7a6f-8f3f-4140-8ac5-78b66e1b4cc4 |  | section | Electrical Equipment
checkpoint-status | 598edee0-2c56-4f0b-84cc-5ff510a816fd |  | checkpoint | Main board lockable /weatherproof
checkpoint-status | 8c3b8d00-4be8-405f-8f31-2004103fa70a |  | checkpoint | Current tagged and damage-free leads
checkpoint-status | fe1bd71d-374b-4000-89e1-c74164e0c115 |  | checkpoint | Current tagged plant
checkpoint-status | 4bd36e5a-59c4-47fc-9c13-68c19311d0c2 |  | checkpoint | Current tagged lifeguards
checkpoint-status | 777ff0a1-f59c-40c0-84d6-2403d9ee4fb0 |  | checkpoint | Leads safely placed
checkpoint-status | 8f633661-6cba-4c86-850d-fe6bab5046fa |  | checkpoint | Equipment in good condition
checkpoint-status | ff6e95a0-b280-4d42-a172-2ef253427c95 |  | checkpoint | Appropriate guards on equipment
checkpoint-status | 313a305c-70bf-4123-af1f-bc43b9280aed |  | checkpoint | Adequate temporary lighting
checkpoint-group | bb0db4a2-71c9-4d3a-9656-071c8be4a607 |  | section | Chemicals
checkpoint-status | 9df96039-c1ec-47ab-93cd-70e61f4c4781 |  | checkpoint | Correctly stored
checkpoint-status | c2947c74-a561-4316-bcbd-7b5a68a3a07f |  | checkpoint | Safety Data Sheet (SDS) available
checkpoint-status | e5f0606b-cb0b-4e2e-a1bc-1fd42c778ce2 |  | checkpoint | Operators using PPE
checkpoint-group | 4e65b9dd-c629-49c5-be1e-d9861784b37a |  | section | Tools
checkpoint-status | e3721904-8c11-4f7b-a072-97dcacc16b0a |  | checkpoint | PAT tool WoF current and secure
checkpoint-status | 41c50366-8463-44e0-901f-3a53de84ac22 |  | checkpoint | Staff trained in tool use (SWPS)
checkpoint-status | 5bca4d7d-4742-4d14-a36f-9d3afb2fd5d1 |  | checkpoint | PAT signage on site
checkpoint-group | 1adc55d1-1e1d-4d11-9fe6-290b634eb10f |  | section | Scaffolding
checkpoint-status | e9f2ebf1-0235-49e2-bb56-28f29f64da51 |  | checkpoint | Notifiable weekly Scaftag/current
checkpoint-status | bf3cd4a3-22e8-4d52-91a4-8b9bd5edc05f |  | checkpoint | Handrails/mid-rails
checkpoint-status | 3263a439-778c-424c-9b5c-bfcfb237b315 |  | checkpoint | Toe boards
checkpoint-status | cb171a0c-5d9e-4757-a61d-21d9affcb581 |  | checkpoint | Platforms
checkpoint-status | b716f382-7165-4ef6-9ecd-187531ef7654 |  | checkpoint | Ladders/stairs
checkpoint-status | e218bfff-2191-430b-a0dd-41721dac2374 |  | checkpoint | Base sound
checkpoint-status | 6945fdf8-9b12-445d-9485-cfce2d6e715b |  | checkpoint | Work platforms clear
checkpoint-status | a0b71fcc-bb8f-47be-bbec-094aefe74f62 |  | checkpoint | Platforms trip free
checkpoint-status | 2bbd8bd4-f67f-4236-84a2-294516c65091 |  | checkpoint | Planks tied down
checkpoint-status | 11eca20a-054c-4846-b3bb-71271de95373 |  | checkpoint | Headroom clear
checkpoint-status | 6c435fd2-ee76-4a05-b2ee-4dbd95ae66f7 |  | checkpoint | Ties/bracing adequate
checkpoint-group | 19fb209f-8f65-40b7-b8a4-ff45519902ee |  | section | Ladders
checkpoint-status | 89608743-ae93-4c28-8940-1519919629a1 |  | checkpoint | Good condition
checkpoint-status | 721e917b-d3b9-4188-b0b3-cb5a26b088c3 |  | checkpoint | Secured top and bottom
checkpoint-status | a087cf32-95b4-4f2e-a6e4-6fa097bad74d |  | checkpoint | Stays to step ladders
checkpoint-status | 4e617942-a02b-45f6-9e69-6a8f9349315b |  | checkpoint | Working 2 steps down
checkpoint-group | 6082fd85-4e87-4914-bf63-369815750ee6 |  | section | Fall Hazards
checkpoint-status | f810cfd2-e015-47fd-a86f-8732fbdd9ab6 |  | checkpoint | Fall Hazards
checkpoint-status | a4192c0c-d93d-4c2e-a6a0-89f9007f31d4 |  | checkpoint | Floor openings
checkpoint-status | 67ba285c-525e-4dab-b39a-46044415021d |  | checkpoint | Lift shafts
checkpoint-status | 99295c95-9704-46c1-a1e6-91813fe85511 |  | checkpoint | Stairs
checklist-flat | 009197fb-ff79-4366-b57e-f190bd654631 |  | checklist | Week: |  |  |  |  | Yes | H&S - Weekly Toolbox Talks | e2586052-1fa6-48b8-80b1-63f9a102807e
checkpoint-status | 59213167-c8f2-4d40-8a55-55c79401f49d |  | checkpoint | Details of the meeting
text | 270de89c-e235-5105-93ed-e6659724758f |  | textbox | Start Time
text | 24638776-1f13-5d6f-9b67-6bf8cd5a7fff |  | textbox | Finish Time
text | c8e80372-aa9c-582d-97ac-a4a4bdd5cfcf |  | textbox | Attended by
text | 1d80e013-cd9e-5ccc-a844-5903aad7de84 |  | textbox | Sent to
text | 9d9c5a50-0399-5ac8-99bd-1d316a6b9dca |  | textbox | Absent
label | 3d978e97-eeee-5510-bde3-76d995b30ba1 |  | note | Minutes taken by - Allister
label | de3a8fc0-64d9-5ba8-9431-1c55c34501cb |  | note | Meeting chaired by - Allister
checkpoint-status | 0af55982-9668-4b43-bbe4-9badb27c9bbf |  | checkpoint | Incidents/Actions
checkpoint-status | 7981a730-e397-4487-85cd-dcc184e057b6 |  | checkpoint | Health & Safety
checkpoint-status | b76292d3-60e9-4abe-8bef-ba64947c3bbb |  | checkpoint | Hazards & Controls
label | 450cfd2e-1b7e-5918-adac-3e050b07cae6 |  | note | Please select relevant hazard and control, or list others
boolean | 56044bec-b151-558f-9613-12806e70d071 |  | tickbox | Hazard - EWP
boolean | f6426bf5-4598-57c4-90bc-ea3647271143 |  | tickbox | Control - Have a spotter; Cordon area off below
boolean | 29e2aa6b-fe85-5cd0-a4b9-45fa2b287093 |  | tickbox | Hazard - Live Power
boolean | 9b616b2f-0550-548d-b1e6-1cd587ae71b0 |  | tickbox | Control - Isolate where possible; Test - (Prove-Test-Prove)
boolean | 791a05cf-5f01-5449-8d1d-e9546afef2ae |  | tickbox | Hazard - Objects dropping from above
boolean | 5cb3cdb0-7299-5fc9-be9e-e22f2cfea7fa |  | tickbox | Control - Codon off area; Be aware of works above
boolean | 7164f602-4c60-5c34-b471-d30118818ee6 |  | tickbox | Hazard - Cranes working above
boolean | ef69b882-4102-5dcb-8db5-c3c8aafe0471 |  | tickbox | Control - Look up; Do not enter lift areas during lifts; Follow Dog-Mens instructions
boolean | d0da6cc7-1164-57be-aa2d-c02f687b2722 |  | tickbox | Hazard - Noise
boolean | aef3af71-d815-5e87-ac45-553d4f502494 |  | tickbox | Control - PPE - Earmuffs/Plugs
boolean | aaa00ee0-a79c-509d-8b6f-302ff3f6665f |  | tickbox | Hazard - Dust
boolean | 7356fe49-6f30-524b-9a8b-06b7f3490841 |  | tickbox | Control - PPE - Dustmaks/Respirator
boolean | 04a2c7a0-5e35-5d4b-893a-0ee63a88492c |  | tickbox | Hazard - Trip Hazards
boolean | ae6dd122-1ad2-5e9b-a244-ed0a9bfb6e8d |  | tickbox | Control - Be aware; Clean up after yourself; Report
text | 8d4e119d-d99b-5933-aaf9-5492de4dd618 |  | textbox | List others:
checkpoint-status | 172f6275-68fd-414c-a041-d540d33b9b1f |  | checkpoint | General Discussion
checkpoint-status | 20f0f56c-a25d-4d24-a0fd-6c83e1448cb5 |  | checkpoint | Actions to be taken
checkpoint-no-status | d9ae6d0a-738d-4e60-ad03-a6ddfc43548d |  | checkpoint | Next meeting scheduled for
checklist-flat | c6c7b58b-d737-45f0-ba89-021d5431afd9 |  | checklist | Demolition |  |  |  |  | Yes | Demolition Checklist | f19e0557-7170-452c-8a7f-ca781bd05a41
checkpoint-status | f7caf00a-cd92-456d-8c64-586d5490253d |  | checkpoint | Isolate and remove existing light fitting
checkpoint-status | 7a5813a4-37cf-442c-9437-46e9a92c0010 |  | checkpoint | Strip Out Cabling
checkpoint-status | cb4789cb-181e-4355-ae74-a69c5f0aab84 |  | checkpoint | Label Live existing
checkpoint-status | 90cd0cd6-771f-449d-8237-a3637985c4e7 |  | checkpoint | Isolation sign off sheets updated
checkpoint-status | 98817a51-fdf0-4d35-ac61-79f132157f81 |  | checkpoint | Remove exisiting cabling
checkpoint-status | f5c155fc-58ce-40f7-b7b5-68c27a888a15 |  | checkpoint | Re support remaining live cables