## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | Distribution Board | 05996cbf-429f-4e24-9a19-5390e61a9e67
checkpoint-status |  |  | checkpoint | Main switchboard (63 Amps)
checkpoint-status |  |  | checkpoint | Number of circuit breakers (20 Amps)
checkpoint-status |  |  | checkpoint | Number of RCD
checkpoint-status |  |  | checkpoint | Loop link completed
checkpoint-status |  |  | checkpoint | Earth tag done
checkpoint-status |  |  | checkpoint | Switchboard labelling done
checkpoint-status |  |  | checkpoint | Switchboard cover installed
checklist-flat |  |  | checklist | Lighting Circuits Second Fix |  |  |  |  | Yes | Lighting Circuits Second Fix | 12b302a6-d9d4-4d1c-b414-928f1dfec528
checkpoint-status |  |  | checkpoint | Correct light type installed
checkpoint-status |  |  | checkpoint | Correct number installed
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Local switching installed
checkpoint-status |  |  | checkpoint | Sensor installed
checkpoint-status |  |  | checkpoint | Emergency lighting type installed
checklist-flat |  |  | checklist | Power Circuit First Fix |  |  |  |  | Yes | Power Circuit First Fix | 1843649f-cbfb-4a34-97df-a6f0159a6577
checkpoint-status |  |  | checkpoint | Cable schedule
checkpoint-status |  |  | checkpoint | Cable size correct
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Position on elevations confirmed
checkpoint-status |  |  | checkpoint | Droppers / Starters wired
checkpoint-status |  |  | checkpoint | TV locations wired
checklist-flat |  |  | checklist | Submains |  |  |  |  | Yes | Submains | 29e838cb-7674-46f0-8bda-dc1e67c4df97
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | Distribution Board | 3c8c8f08-e7c4-4fa9-8c34-7de37f91853d
checkpoint-status |  |  | checkpoint | Location and height correct
checkpoint-status |  |  | checkpoint | Number of feeds in the board
text | 18ff3add-db3c-5fe5-8355-ae2eb52d5f45 |  | textbox | No:
checkpoint-status |  |  | checkpoint | Number of bonding
text | 75a4116b-e68f-5cea-811a-5fb9da2b2fb9 |  | textbox | No:
checkpoint-status |  |  | checkpoint | Mains cables in
checkpoint-status |  |  | checkpoint | Earth cables in
checklist-flat |  |  | checklist | Floor Penetrations |  |  |  |  | Yes | Floor Penetrations | 529774db-ed37-41cd-9052-59ec90f3608e
checkpoint-status |  |  | checkpoint | Penetration/chase marked as per plan
checkpoint-status |  |  | checkpoint | Depth/width correct for conduit/floor box
checklist-flat |  |  | checklist | Structural Earth Bonding |  |  |  |  | Yes | Structural Earth Bonding | 576223a6-1346-4615-9649-8763ec0087bd
checkpoint-status |  |  | checkpoint | Cable type - Earth rebarcon cable
checkpoint-status |  |  | checkpoint | Type of connection - Exothermic connection
checkpoint-status |  |  | checkpoint | Location of connection with a stainless steel stubs
checkpoint-status |  |  | checkpoint | Comply with structural Earth bonding as per AS/NZS 3000
checklist-flat |  |  | checklist | Lighting Circuits First Fix |  |  |  |  | Yes | Lighting Circuits First Fix | 94ec2d9a-cb17-41a2-914c-73f844028c2b
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Emergency lighting cabelled
checkpoint-status |  |  | checkpoint | Number of fittings correct
checkpoint-status |  |  | checkpoint | Local switch wire installed
checkpoint-status |  |  | checkpoint | Sensor control wire installed
checkpoint-status |  |  | checkpoint | Cabinet lighting confirmed / cabled
checkpoint-status |  |  | checkpoint | Lighting controls cabled
checklist-flat |  |  | checklist | Flush Boxes |  |  |  |  | Yes | Flush Boxes | 9751ad34-fe7c-48e2-8874-7b89f39d95d5
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Correct height
checklist-flat |  |  | checklist | Data First Fix |  |  |  |  | Yes | Data First Fix | 9e9516f3-e1f1-43db-8c23-7a99eb23f458
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Cables to floor box
checkpoint-status |  |  | checkpoint | Data for TV locations
checkpoint-status |  |  | checkpoint | WAP locations wired
checklist-flat |  |  | checklist | Body Protection Second Fix |  |  |  |  | Yes | Body Protection Second Fix | 9f0e62bc-acd1-4e93-a8ee-18431aebe927
checkpoint-status |  |  | checkpoint | RCD/Outlet labeling
checkpoint-status |  |  | checkpoint | Earthing terminated
checklist-flat |  |  | checklist | Body Protection First Fix |  |  |  |  | Yes | Body Protection First Fix | a124c5bc-60d1-482c-b855-8da3fe7fd09a
checkpoint-status |  |  | checkpoint | RCD cabling installed correctly
checkpoint-status |  |  | checkpoint | Earthing to in ceiling services
checkpoint-status |  |  | checkpoint | Earthing to benchtops / Taps
checklist-flat |  |  | checklist | Power Circuit Second Fix |  |  |  |  | Yes | Power Circuit Second Fix | a29fe42b-8c92-458c-9d6b-67960f4b6182
checkpoint-status |  |  | checkpoint | Outlets installed, level and labelled
checkpoint-status |  |  | checkpoint | RCD outlets correct rating for space 10ma/30ma
checkpoint-status |  |  | checkpoint | Starters installed
checkpoint-status |  |  | checkpoint | Kitchen outlets/isolators/hw kits
checkpoint-status |  |  | checkpoint | Floor boxes fit off
checklist-flat |  |  | checklist | Cable Ladder |  |  |  |  | Yes | Cable Ladder | a719870f-3e3e-4a21-a318-7f7f151c614b
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable ladder bonded
checklist-flat |  |  | checklist | Mains |  |  |  |  | Yes | Mains | aeaf328b-c084-4bd7-b786-7b2d1b9058b4
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | MSB |  |  |  |  | Yes | MSB | b7868491-971b-4bf4-8a99-2f79b85b6584
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Polarity correct
checkpoint-status |  |  | checkpoint | Test all cables
checkpoint-status |  |  | checkpoint | All labels installed
checkpoint-status |  |  | checkpoint | Test sheets complete
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | ROI
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | Distribution Board | d31c3459-e0e1-40ed-adb1-ee5496f357e6
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Labelling
checklist-flat |  |  | checklist | Cable Tray |  |  |  |  | Yes | Cable Tray | d4620034-9c21-43ec-ab87-1ffc9e3379c9
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable tray bonded
checklist-flat |  |  | checklist | Catenaries |  |  |  |  | Yes | Catenaries | d7ea5c0d-9e99-4c3a-a741-5cc17b2617cd
checkpoint-status |  |  | checkpoint | Supported correctly
checkpoint-status |  |  | checkpoint | Correct locations
checklist-flat |  |  | checklist | Cable Basket |  |  |  |  | Yes | Cable Basket | df9177e0-9a48-4955-9256-867e0fe54851
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable basket bonded
checklist-flat |  |  | checklist | External Works |  |  |  |  | Yes | External Works | e30fa3e1-7676-456e-ad27-e70fadf2be1a
checkpoint-status |  |  | checkpoint | Location confirmed
checkpoint-status |  |  | checkpoint | Duct correct
checkpoint-status |  |  | checkpoint | Draw tape
checkpoint-status |  |  | checkpoint | Cages set to height