## Structure
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Instruction to CONQA | Checklist Name
Site QA
Building 2
Tier 3: External Works | prepopulate | External Works
Structural Earth Bonding
Tier 4: Structural Earth Bonding 1 | prepopulate | Structural Earth Bonding
Tier 4: Structural Earth Bonding 2 | prepopulate | Structural Earth Bonding
Mains
Tier 4: Mains Earthing | prepopulate | Mains Earthing
Tier 4: Mains | prepopulate | Mains
First Fix
Basement
Tier 5: MSSB | prepopulate | MSB
Tier 5: Cable Tray | prepopulate | Cable Tray
Cabling
Tier 6: Lighting | prepopulate | Lighting Circuits First Fix
Tier 6: Power | prepopulate | Power Circuit First Fix
Tier 5: Distribution Board | prepopulate | Distribution Board
Ground Floor
Tier 5: Cable Tray | prepopulate | Cable Tray
Tier 5: Floor Distribution Board | prepopulate | Distribution Board - Floor
L101
Tier 6: Flush Boxes | prepopulate | Flush Boxes
Cabling
Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
Tier 7: Power | prepopulate | Power Circuit First Fix | CONQA: PLEASE REPEAT FOR EVERY ROOM
Tier 6: Distribution Board | prepopulate | Distribution Board
L102
L103
J101
J102
J103
K101
K102
K103
K104
K105
K106
K107
K108
K109
K110
Level 1
Tier 5: Cable Tray | prepopulate | Cable Tray
Tier 5: Floor Distribution Board | prepopulate | Distribution Board - Floor
L201
Tier 6: Flush Boxes | prepopulate | Flush Boxes
Cabling
Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
Tier 7: Power | prepopulate | Power Circuit First Fix | CONQA: PLEASE REPEAT FOR EVERY ROOM
Tier 5: L202; Tier 6: Distribution Board | prepopulate | Distribution Board
L203
J201
J202
J203
K201
K202
K203
K204
K205
K206
K207
K208
K209
K210
Level 2
Tier 5: Cable Tray | prepopulate | Cable Tray
Tier 5: Floor Distribution Board | prepopulate | Distribution Board - Floor
L301
Tier 6: Flush Boxes | prepopulate | Flush Boxes
Cabling
Tier 7: Lighting | prepopulate | Lighting Circuits First Fix
Tier 7: Power | prepopulate | Power Circuit First Fix | CONQA: PLEASE REPEAT FOR EVERY ROOM
Tier 6: Distribution Board | prepopulate | Distribution Board
L302
L303
J301
J302
J303
K301
K302
K303
K304
K305
K306
K307
K308
K309
K310
Second Fix
Basement
Cabling
Tier 6: Lighting | prepopulate | Lighting Circuits Second Fix
Tier 6: Power | prepopulate | Power Circuit Second Fix
Ground Floor
L101
Cabling
Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix | CONQA: PLEASE REPEAT FOR EVERY ROOM
Tier 7: Power | prepopulate | Power Circuit Second Fix
L102
L103
J101
J102
J103
K101
K102
K103
K104
K105
K106
K107
K108
K109
K110
Level 1
L201
Cabling
Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix | CONQA: PLEASE REPEAT FOR EVERY ROOM
Tier 7: Power | prepopulate | Power Circuit Second Fix
L202
L203
J201
J202
J203
K201
K202
K203
K204
K205
K206
K207
K208
K209
K210
Level 2
L301
Cabling
Tier 7: Lighting | prepopulate | Lighting Circuits Second Fix | CONQA: PLEASE REPEAT FOR EVERY ROOM
Tier 7: Power | prepopulate | Power Circuit Second Fix
L302
L303
J301
J302
J303
K301
K302
K303
K304
K305
K306
K307
K308
K309
K310

## Checklists
type | name | values
checklist-flat | External Works
checkpoint | Location confirmed
checkpoint | Duct correct
checkpoint | Draw tape
checkpoint | Cages set to height
checklist-flat | Flush Boxes
checkpoint | Correct location
checkpoint | Correct height
checklist-flat | Floor Penetrations
checkpoint | Penetration/chase marked as per plan
checkpoint | Depth/width correct for conduit/floor box
checklist-flat | Power Circuit Second Fix
checkpoint | Outlets installed, level and labelled
checkpoint | RCD outlets correct rating for space 10ma/30ma
checkpoint | Starters installed
checkpoint | Kitchen outlets/isolators/hw kits
checkpoint | Floor boxes fit off
checklist-flat | Cable Tray
checkpoint | Installed correct location
checkpoint | Installed correct height
checkpoint | Provided enough support
checkpoint | Cable tray bonded
checklist-flat | Power Circuit First Fix
checkpoint | Cable schedule
checkpoint | Cable size correct
checkpoint | Cabling to correct location as per plan
checkpoint | Position on elevations confirmed
checkpoint | Droppers / Starters wired
checkpoint | TV locations wired
checklist-flat | Mains
checkpoint | Cable type correct
checkpoint | Correct size confirmed
checkpoint | Length of tails
checkpoint | Lugs correct size / hole size
checklist-flat | Lighting Circuits First Fix
checkpoint | Cabling to correct location as per plan
checkpoint | Emergency lighting cabelled
checkpoint | Number of fittings correct
checkpoint | Local switch wire installed
checkpoint | Sensor control wire installed
checkpoint | Cabinet lighting confirmed / cabled
checkpoint | Lighting controls cabled
checklist-flat | Distribution Board
checkpoint | Location and height correct
checkpoint | Number of feeds in the board
textbox | No:
checkpoint | Number of bonding
textbox | No:
checkpoint | Mains cables in
checkpoint | Earth cables in
checklist-flat | Cable Ladder
checkpoint | Installed correct location
checkpoint | Provided enough support
checkpoint | Cable ladder bonded
checklist-flat | Catenaries
checkpoint | Supported correctly
checkpoint | Correct locations
checklist-flat | Submains
checkpoint | Correct size confirmed
checkpoint | Length of tails
checkpoint | Lugs correct size / hole size
checklist-flat | Lighting Circuits Second Fix
checkpoint | Correct light type installed
checkpoint | Correct number installed
checkpoint | Correct location
checkpoint | Local switching installed
checkpoint | Sensor installed
checkpoint | Emergency lighting type installed
checklist-flat | Body Protection First Fix
checkpoint | RCD cabling installed correctly
checkpoint | Earthing to in ceiling services
checkpoint | Earthing to benchtops / Taps
checklist-flat | MSB
checkpoint | Switchboard securly fastened
checkpoint | Switcboard bonded
checkpoint | Teminals correctly crimped
checkpoint | Lugs heat shrinked
checkpoint | Lugs torqued
checkpoint | Polarity correct
checkpoint | Test all cables
checkpoint | All labels installed
checkpoint | Test sheets complete
checkpoint | COC complete
checkpoint | ROI
checklist-flat | Cable Basket
checkpoint | Installed correct location
checkpoint | Installed correct height
checkpoint | Provided enough support
checkpoint | Cable basket bonded
checklist-flat | Distribution Board - Floor
checkpoint | Main switchboard (63 Amps)
checkpoint | Number of circuit breakers (20 Amps)
checkpoint | Number of RCD
checkpoint | Loop link completed
checkpoint | Earth tag done
checkpoint | Switchboard labelling done
checkpoint | Switchboard cover installed
checklist-flat | Body Protection Second Fix
checkpoint | RCD/Outlet labeling
checkpoint | Earthing terminated
checklist-flat | Data First Fix
checkpoint | Cabling to correct location as per plan
checkpoint | Cables to floor box
checkpoint | Data for TV locations
checkpoint | WAP locations wired
checklist-flat | Structural Earth Bonding
checkpoint | Cable type - Earth rebarcon cable
checkpoint | Type of connection - Exothermic connection
checkpoint | Location of connection with a stainless steel stubs
checkpoint | Comply with structural Earth bonding as per AS/NZS 3000
checklist-flat | Mains Earthing
checkpoint | Cable size correct
checkpoint | Location correct
checkpoint | Earth tagged
checkpoint | Main earthing conductor dimension at correct depth
checkpoint | Tobby box installed correctly, covered and secured
checkpoint | Earth clamps checked