## struct
resource | resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
|  | step |  |  | Tier 1: Site QA
|  | step |  |  | Tier 2: WP3
|  | step |  |  | Tier 3: WESTERN CAPRARK
|  | step |  |  | Tier 4: UNDERGROUNDS
ITP No. 29 Installion of Electrical & Communication Pits |  | checklist |  |  | Tier 5: PIT INSTALLATION
ITR No. 33 Installing Underground Services (Electrical) |  | checklist |  |  | Tier 5: ELECTRICAL CONDUIT INSTALL
ITR No. 33C Installing Underground Services (Comms) |  | checklist |  |  | Tier 5: COMMUNICATION CONDUIT INSTALL
ITR No. 34 Installing Light Pole Cages |  | checklist |  |  | Tier 5: LIGHT POLE FOOTINGS
|  | step |  |  | Tier 4: ROUGH IN
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: FIT OFF
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: COMMISSIONING
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 3: INTEGRITY BUILDING
|  | step |  |  | Tier 4: UNDERGROUNDS
ITP No. 29 Installion of Electrical & Communication Pits |  | checklist |  |  | Tier 5: PIT INSTALLATION
ITR No. 33 Installing Underground Services (Electrical) |  | checklist |  |  | Tier 5: ELECTRICAL CONDUIT INSTALL
ITR No. 33C Installing Underground Services (Comms) |  | checklist |  |  | Tier 5: COMMUNICATION CONDUIT INSTALL
ITR No. 34 Installing Light Pole Cages |  | checklist |  |  | Tier 5: LIGHT POLE FOOTINGS
|  | step |  |  | Tier 4: ROUGH IN
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: FIT OFF
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: COMMISSIONING
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 3: HORSE AREA 1
|  | step |  |  | Tier 4: TEMP BOARDS
ITP No. 19 Installation of Temporary Power Board | ITP No. 20 Decommission Temporary Power Board | folder-with-checklists |  |  | Tier 5: INSTALLATION OF TEMP BOARDS
|  | step |  |  | Tier 4: TEMP LIGHTING
ITP No. 14 Construction Wiring, Installation, Test and Tag & Removal |  | checklist |  |  | Tier 5: INSTALLATION OF TEMP LIGHTS
|  | step |  |  | Tier 4: IN SLAB CONDUITS
ITR No. 09 In Slab Conduits |  | checklist |  |  | Tier 5: IN-SLAB CONDUITS INSTALLATION
|  | step |  |  | Tier 4: CABLE TRAY
ITR No. 10 Cable Tray Installation |  | checklist |  |  | Tier 5: INSTALLATION OF CABLE TRAY
|  | step |  |  | Tier 4: ROUGH IN
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: FIT OFF
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: COMMISSIONING
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 3: HORSE AREA 2
|  | step |  |  | Tier 4: TEMP BOARDS
ITP No. 19 Installation of Temporary Power Board | ITP No. 20 Decommission Temporary Power Board | folder-with-checklists |  |  | Tier 5: INSTALLATION OF TEMP BOARDS
|  | step |  |  | Tier 4: TEMP LIGHTING
ITP No. 14 Construction Wiring, Installation, Test and Tag & Removal |  | checklist |  |  | Tier 5: INSTALLATION OF TEMP LIGHTS
|  | step |  |  | Tier 4: IN SLAB CONDUITS
ITR No. 09 In Slab Conduits |  | checklist |  |  | Tier 5: IN-SLAB CONDUITS INSTALLATION
|  | step |  |  | Tier 4: CABLE TRAY
ITR No. 10 Cable Tray Installation |  | checklist |  |  | Tier 5: INSTALLATION OF CABLE TRAY
|  | step |  |  | Tier 4: ROUGH IN
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: FIT OFF
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: COMMISSIONING
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 3: JOCKEY AREA/MOUNTING YARD
|  | step |  |  | Tier 4: TEMP BOARDS
ITP No. 19 Installation of Temporary Power Board | ITP No. 20 Decommission Temporary Power Board | folder-with-checklists |  |  | Tier 5: INSTALLATION OF TEMP BOARDS
|  | step |  |  | Tier 4: TEMP LIGHTING
ITP No. 14 Construction Wiring, Installation, Test and Tag & Removal |  | checklist |  |  | Tier 5: INSTALLATION OF TEMP LIGHTS
|  | step |  |  | Tier 4: IN SLAB CONDUITS
ITR No. 09 In Slab Conduits |  | checklist |  |  | Tier 5: IN-SLAB CONDUITS INSTALLATION
|  | step |  |  | Tier 4: CABLE TRAY
ITR No. 10 Cable Tray Installation |  | checklist |  |  | Tier 5: INSTALLATION OF CABLE TRAY
|  | step |  |  | Tier 4: ROUGH IN
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: FIT OFF
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: COMMISSIONING
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 3: WESTERN EVENT DECK
|  | step |  |  | Tier 4: UNDERGROUNDS
ITP No. 29 Installion of Electrical & Communication Pits |  | checklist |  |  | Tier 5: PIT INSTALLATION
ITR No. 33 Installing Underground Services (Electrical) |  | checklist |  |  | Tier 5: ELECTRICAL CONDUIT INSTALL
ITR No. 33C Installing Underground Services (Comms) |  | checklist |  |  | Tier 5: COMMUNICATION CONDUIT INSTALL
ITR No. 34 Installing Light Pole Cages |  | checklist |  |  | Tier 5: LIGHT POLE FOOTINGS
|  | step |  |  | Tier 4: ROUGH IN
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: FIT OFF
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: COMMISSIONING
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 2: WP4
|  | step |  |  | Tier 3: TEMP BOARDS/TEMP LIGHTING
|  | step |  |  | Tier 4: GROUND
ITP No. 19 Installation of Temporary Power Board | ITP No. 20 Decommission Temporary Power Board | folder-with-checklists |  |  | Tier 5: INSTALLATION OF TEMP BOARDS
ITP No. 14 Construction Wiring, Installation, Test and Tag & Removal |  | checklist |  |  | Tier 5: INSTALLATION OF TEMP LIGHTING
|  | step |  |  | Tier 4: LEVEL 1
ITP No. 19 Installation of Temporary Power Board | ITP No. 20 Decommission Temporary Power Board | folder-with-checklists |  |  | Tier 5: INSTALLATION OF TEMP BOARDS
ITP No. 14 Construction Wiring, Installation, Test and Tag & Removal |  | checklist |  |  | Tier 5: INSTALLATION OF TEMP LIGHTING
|  | step |  |  | Tier 4: LEVEL 2
ITP No. 19 Installation of Temporary Power Board | ITP No. 20 Decommission Temporary Power Board | folder-with-checklists |  |  | Tier 5: INSTALLATION OF TEMP BOARDS
ITP No. 14 Construction Wiring, Installation, Test and Tag & Removal |  | checklist |  |  | Tier 5: INSTALLATION OF TEMP LIGHTING
|  | step |  |  | Tier 3: IN SLAB CONDUITS
|  | step |  |  | Tier 4: GROUND
ITR No. 09 In Slab Conduits |  | checklist |  |  | Tier 5: IN-SLAB CONDUITS INSTALLATION
|  | step |  |  | Tier 4: LEVEL 1
ITR No. 09 In Slab Conduits |  | checklist |  |  | Tier 5: IN-SLAB CONDUITS INSTALLATION
|  | step |  |  | Tier 4: LEVEL 2
ITR No. 09 In Slab Conduits |  | checklist |  |  | Tier 5: IN-SLAB CONDUITS INSTALLATION
|  | step |  |  | Tier 3: CABLE TRAY
|  | step |  |  | Tier 4: GROUND
ITR No. 10 Cable Tray Installation |  | checklist |  |  | Tier 5: INSTALLATION OF CABLE TRAY
|  | step |  |  | Tier 4: LEVEL 1
ITR No. 10 Cable Tray Installation |  | checklist |  |  | Tier 5: INSTALLATION OF CABLE TRAY
|  | step |  |  | Tier 4: LEVEL 2
ITR No. 10 Cable Tray Installation |  | checklist |  |  | Tier 5: INSTALLATION OF CABLE TRAY
|  | step |  |  | Tier 3: ROUGH IN
|  | step |  |  | Tier 4: GROUND
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: LEVEL 1
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 4: LEVEL 2
ITR No. 14 Mains and Sub Mains |  | checklist |  |  | Tier 5: MAINS/SUBMAINS
ITR No. 05 Rough in |  | checklist |  |  | Tier 5: LIGHT & POWER ROUGH IN
ITP No. 07 Structured Cabling Rough In |  | checklist |  |  | Tier 5: STRUCTURED CABLING ROUGH IN
|  | step |  |  | Tier 3: FIT OFF
|  | step |  |  | Tier 4: GROUND
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: LEVEL 1
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 4: LEVEL 2
ITR No. 16 Switchboard Installation and Terminate Submains |  | checklist |  |  | Tier 5: SWITCHBOARD FIT-OFF
ITR No. 18 Light and Power Fit Off |  | checklist |  |  | Tier 5: LIGHT & POWER FIT-OFF
ITP No. 08 STRUCTURED CABLING FIT OFF |  | checklist |  |  | Tier 5: STRUCTURED CABLING FIT-OFF
|  | step |  |  | Tier 3: COMMISSIONING
|  | step |  |  | Tier 4: GROUND
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 4: LEVEL 1
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 4: LEVEL 2
ITR No. 12 Switchboard Commissioning |  | checklist |  |  | Tier 5: SWITCHBOARD COMMISSIONING
ITR No. 41 Field Commissioning |  | checklist |  |  | Tier 5: LIGHT & POWER COMMISSIONING
ITP No. 09 STRUCTURED CABLING TESTING CERTIFIED SYSTEM |  | checklist |  |  | Tier 5: STRUCTURED CABLING COMMISSIONING
|  | step |  |  | Tier 1: Pre Start
|  | step |  |  | Tier 2: April 23
|  | step |  |  | Tier 2: May 23
|  | step |  |  | Tier 2: June 23
|  | step |  |  | Tier 2: July 23
|  | step |  |  | Tier 2: August 23
|  | step |  |  | Tier 2: September 23
|  | step |  |  | Tier 2: October 23
|  | step |  |  | Tier 2: November 23
|  | step |  |  | Tier 2: December 23
|  | step |  |  | Tier 2: January 24
|  | step |  |  | Tier 2: February 24
|  | step |  |  | Tier 2: March 24
|  | step |  |  | Tier 2: April 24
|  | step |  |  | Tier 1: Toolbox Meeting
|  | step |  |  | Tier 2: April 23
|  | step |  |  | Tier 2: May 23
|  | step |  |  | Tier 2: June 23
|  | step |  |  | Tier 2: July 23
|  | step |  |  | Tier 2: August 23
|  | step |  |  | Tier 2: September 23
|  | step |  |  | Tier 2: October 23
|  | step |  |  | Tier 2: November 23
|  | step |  |  | Tier 2: December 23
|  | step |  |  | Tier 2: January 24
|  | step |  |  | Tier 2: February 24
|  | step |  |  | Tier 2: March 24
|  | step |  |  | Tier 2: April 24
|  | step |  |  | Tier 1: Site Induction