## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | Precast Panel QA |  |  |  |  | Yes | Precast Panel QA | ae173283-3bb1-429b-a192-d0e66cb329ec
checkpoint-group |  |  | section | Precast Element Details
checkpoint-status |  |  | checkpoint | Concrete Details Complete
text | 29b685a4-b2ca-5865-ae28-b9de55542027 |  | textbox | Concrete Volume
text | 72ab005e-1f06-5dd2-a4fa-80ee4645535d |  | textbox | Concrete Strength
text | ac325a80-8ae6-5d54-bb51-836e2d19cd0c |  | textbox | Enter Drawing Revision Number
text | 08147af9-41b7-510e-9cce-fffb5489465f |  | textbox | Cast Date
text | b25203a2-ee5d-5a74-8710-3f0812decb36 |  | textbox | Admixture Required
checkpoint-group |  |  | section | Formwork Set Up Checks
checkpoint-status |  |  | checkpoint | Length/Width/Thickness/Cutouts/Diagonals
checkpoint-status |  |  | checkpoint | Edge Details & Rebates
checkpoint-status |  |  | checkpoint | Inserts on MF (Weld plates, RB's, TIM's, Penetrations, DB Bottoms)
checkpoint-status |  |  | checkpoint | MF roughening's
checkpoint-status |  |  | checkpoint | Sides Straight & Magnets Fastened
checkpoint-status |  |  | checkpoint | Mould Face Clean
checkpoint-group |  |  | section | Prepour Checks
checkpoint-status |  |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status |  |  | checkpoint | Reinforcing details checked/highlighted off against shop drawing (Bar sizes, grades and spacings)
checkpoint-status |  |  | checkpoint | Check covers on all sides, MF and TF
checkpoint-status |  |  | checkpoint | There is sufficient cover to rebates around openings or weatherproofing details
checkpoint-status |  |  | checkpoint | Starters (Size, Grade, Setout and Length)
checkpoint-status |  |  | checkpoint | Inserts on TF (Weld plates, RB's, TIM's, Penetrations, DB's, Rebates)
checkpoint-status |  |  | checkpoint | Lifters
checkpoint-status |  |  | checkpoint | Tie wire Trimmed
checkpoint-status |  |  | checkpoint | Panel fully clean
checkpoint-status |  |  | checkpoint | General Photos Attached
checkpoint-status |  |  | checkpoint | Shop Drawing Checked Off (attach photo)
checkpoint-group |  |  | section | Demould Inspection
checkpoint-status |  |  | checkpoint | Demould Inspection complete
checkpoint-group |  |  | section | Loading Out
checkpoint-status |  |  | checkpoint | Photo take of Panel on Truck
checkpoint-status |  |  | checkpoint | No remedial work required on site
checkpoint-group |  |  | section | Test Results, Certificates and Documentation
checkpoint-status |  |  | checkpoint | Upload reinforcing detail sheets
checkpoint-status |  |  | checkpoint | Concrete Docket Attached
checkpoint-status |  |  | checkpoint | Upload Concrete test results
checkpoint-status |  |  | checkpoint | Upload Photo of Reinforcing Cast # Tracking
checkpoint-status |  |  | checkpoint | Upload Lift Designs
checklist-flat |  |  | checklist | Job Details Checklist |  |  |  |  | Yes | Job Details Checklist | e59ac992-cda2-41e2-8f25-8a84e04f2aa0
checkpoint-status |  |  | checkpoint | Project details entered below
text | 21c8c041-89fe-5274-af97-b5d5a9e68606 |  | textbox | Job File Number
text | 4198035a-d7a6-5044-ad48-d363dba96c19 |  | textbox | Project Name
text | 503ba8e7-bfd5-5c84-a186-54f79f1dd545 |  | textbox | Site Address
text | 9363f014-18d2-5ebe-b8db-32e1843ef696 |  | textbox | Main Contractor
text | 6ee7687e-b9a5-54f1-92c1-62c6b0107b40 |  | textbox | Main Contractor POC
text | 9d734618-dd53-51c4-a55b-0296f1f6f014 |  | textbox | Structural Engineer
text | c08d6841-dfd7-5df9-8a23-a153f0d7b2ed |  | textbox | Architect