## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Drain down and fill up of sprinkler system
section | Details
checkpoint | Isolate FIP & ASE
checkpoint | Drain down sprinkler system
checkpoint | Isolate sprinkler zones in alarm and De-isolate FIP & ASE
checkpoint | On completion of works check that there are no open ends and everything is plugged off ready for water.
checkpoint | Isolate FIP & ASE
checkpoint | Fill up sprinkler system
checkpoint | Once system is full ensure everything has been put back to normal – ie; pumps, sprinklers, ASE & FIP all back online
checkpoint | Any further comments; ie, something stuck in alarm, any additional information.