## Project Structure
Folder Structure |  |  |  |  | Checklists
Site QA
Rough-in
Basement
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-B1-GYM-01 | Fan Coil Unit
|  |  |  | FCU-B1-GYM-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-B1-YOGA-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-B1-MP-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-B1-LAUNDRY-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-B1-LAUNDRY-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-MSB-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-COMMS-01 | Same as FCU-B1-GYM-01
Fans
|  |  |  | OAF-B1-01 | Fan Installation
|  |  |  | OAF-B1-02 | Same as OAF-B1-01
|  |  |  | OAF-B1-03 | Same as OAF-B1-01
|  |  |  | OAF-B1-04 | Same as OAF-B1-01
|  |  |  | OAF-B1-DRYER | Same as OAF-B1-01
|  |  |  | EAF-B1-01 | Same as OAF-B1-01
|  |  |  | EAF-B1-02 | Same as OAF-B1-01
|  |  |  | EAF-B1-DRYER | Same as OAF-B1-01
|  |  |  | LEF-B1-01 | Same as OAF-B1-01
|  |  | BS-B1-01 |  | Pipework
Level 1
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-RE-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-RE-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-RE-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L1-15 | Same as FCU-B1-GYM-01
Fans
|  |  |  | OAF-L1-01 | Same as OAF-B1-01
|  |  |  | OAF-L1-02 | Same as OAF-B1-01
|  |  |  | OAF-L1-03 | Same as OAF-B1-01
|  |  |  | OAF-L1-04 | Same as OAF-B1-01
|  |  |  | OAF-L1-05 | Same as OAF-B1-01
|  |  |  | OAF-L1-RE | Same as OAF-B1-01
|  |  |  | TEF-L1-RE | Same as OAF-B1-01
|  |  |  | TEF-02 | Same as OAF-B1-01
|  |  |  | EAF-L1-RE | Same as OAF-B1-01
|  |  |  | EAF-L1-02 | Same as OAF-B1-01
|  |  |  | EAF-L1-03 | Same as OAF-B1-01
|  |  | BS-L1-01 |  | Same as BS-B1-01
|  |  | BS-L1-02 |  | Same as BS-B1-01
|  |  | BS-L1-03 |  | Same as BS-B1-01
Level 2
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L2-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-25 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-26 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L2-27 | Same as FCU-B1-GYM-01
|  |  |  | FCU-LOUNGE-2.1 | Same as FCU-B1-GYM-01
|  |  |  | FCU-LOUNGE-2.2 | Same as FCU-B1-GYM-01
Fans
|  |  |  | OAF-L2-01 | Same as OAF-B1-01
|  |  |  | TEF-L2-01 | Same as OAF-B1-01
|  |  |  | TEF-L2-02 | Same as OAF-B1-01
|  |  |  | TEF-L2-03 | Same as OAF-B1-01
|  |  |  | TEF-L2-04 | Same as OAF-B1-01
|  |  |  | TEF-L2-05 | Same as OAF-B1-01
|  |  |  | TEF-L2-06 | Same as OAF-B1-01
|  |  |  | TEF-L2-07 | Same as OAF-B1-01
|  |  |  | TEF-L2-08 | Same as OAF-B1-01
|  |  |  | TEF-L2-09 | Same as OAF-B1-01
|  |  |  | TEF-L2-10 | Same as OAF-B1-01
|  |  |  | TEF-L2-11 | Same as OAF-B1-01
|  |  |  | TEF-L2-12 | Same as OAF-B1-01
|  |  |  | TEF-L2-13 | Same as OAF-B1-01
|  |  |  | TEF-L2-14 | Same as OAF-B1-01
|  |  |  | TEF-L2-15 | Same as OAF-B1-01
|  |  |  | TEF-L2-16 | Same as OAF-B1-01
|  |  |  | TEF-L2-17 | Same as OAF-B1-01
|  |  |  | TEF-L2-18 | Same as OAF-B1-01
|  |  |  | TEF-L2-19 | Same as OAF-B1-01
|  |  |  | TEF-L2-20 | Same as OAF-B1-01
|  |  |  | TEF-L2-21 | Same as OAF-B1-01
|  |  |  | TEF-L2-22 | Same as OAF-B1-01
|  |  |  | TEF-L2-23 | Same as OAF-B1-01
|  |  |  | TEF-L2-24 | Same as OAF-B1-01
|  |  |  | TEF-L2-25 | Same as OAF-B1-01
|  |  |  | TEF-L2-26 | Same as OAF-B1-01
|  |  |  | TEF-L2-27 | Same as OAF-B1-01
CU's
|  |  |  | CU-L2-01 | Condenser
|  |  |  | CU-L2-02 | Same as CU-L2-01
|  |  |  | CU-L2-03 | Same as CU-L2-01
|  |  |  | CU-L2-04 | Same as CU-L2-01
|  |  |  | CU-L2-05 | Same as CU-L2-01
|  |  |  | CU-L3-01 | Same as CU-L2-01
|  |  |  | CU-L3-02 | Same as CU-L2-01
|  |  |  | CU-L3-03 | Same as CU-L2-01
|  |  |  | CU-L3-04 | Same as CU-L2-01
|  |  |  | CU-L3-05 | Same as CU-L2-01
|  |  |  | CU-L4-01 | Same as CU-L2-01
|  |  |  | CU-L4-02 | Same as CU-L2-01
|  |  |  | CU-L4-03 | Same as CU-L2-01
|  |  |  | CU-L4-04 | Same as CU-L2-01
|  |  |  | CU-L5-01 | Same as CU-L2-01
|  |  |  | CU-L5-02 | Same as CU-L2-01
|  |  |  | CU-L5-03 | Same as CU-L2-01
|  |  |  | CU-L6-01 | Same as CU-L2-01
|  |  |  | CU-L6-02 | Same as CU-L2-01
|  |  |  | CU-L6-03 | Same as CU-L2-01
|  |  |  | CU-L7-01 | Same as CU-L2-01
|  |  |  | CU-L7-02 | Same as CU-L2-01
|  |  |  | CU-L7-03 | Same as CU-L2-01
|  |  |  | CU-Retail | Same as CU-L2-01
|  |  |  | CU-Retail | Same as CU-L2-01
|  |  |  | CU-COMMS/MSB | Same as CU-L2-01
|  |  | BS-L2-01 |  | Same as BS-B1-01
|  |  | BS-L2-02 |  | Same as BS-B1-01
|  |  | BS-L2-03 |  | Same as BS-B1-01
|  |  | BS-L2-04 |  | Same as BS-B1-01
Level 3
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L3-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-25 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-26 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L3-27 | Same as FCU-B1-GYM-01
|  |  |  | FCU-LOUNGE-L3-01 | Same as FCU-B1-GYM-01
Fans
|  |  |  | OAF-L3-01 | Same as OAF-B1-01
|  |  |  | TEF-L3-01 | Same as OAF-B1-01
|  |  |  | TEF-L3-02 | Same as OAF-B1-01
|  |  |  | TEF-L3-03 | Same as OAF-B1-01
|  |  |  | TEF-L3-04 | Same as OAF-B1-01
|  |  |  | TEF-L3-05 | Same as OAF-B1-01
|  |  |  | TEF-L3-06 | Same as OAF-B1-01
|  |  |  | TEF-L3-07 | Same as OAF-B1-01
|  |  |  | TEF-L3-08 | Same as OAF-B1-01
|  |  |  | TEF-L3-09 | Same as OAF-B1-01
|  |  |  | TEF-L3-10 | Same as OAF-B1-01
|  |  |  | TEF-L3-11 | Same as OAF-B1-01
|  |  |  | TEF-L3-12 | Same as OAF-B1-01
|  |  |  | TEF-L3-13 | Same as OAF-B1-01
|  |  |  | TEF-L3-14 | Same as OAF-B1-01
|  |  |  | TEF-L3-15 | Same as OAF-B1-01
|  |  |  | TEF-L3-16 | Same as OAF-B1-01
|  |  |  | TEF-L3-17 | Same as OAF-B1-01
|  |  |  | TEF-L3-18 | Same as OAF-B1-01
|  |  |  | TEF-L3-19 | Same as OAF-B1-01
|  |  |  | TEF-L3-20 | Same as OAF-B1-01
|  |  |  | TEF-L3-21 | Same as OAF-B1-01
|  |  |  | TEF-L3-22 | Same as OAF-B1-01
|  |  |  | TEF-L3-23 | Same as OAF-B1-01
|  |  |  | TEF-L3-24 | Same as OAF-B1-01
|  |  |  | TEF-L3-25 | Same as OAF-B1-01
|  |  |  | TEF-L3-26 | Same as OAF-B1-01
|  |  |  | TEF-L3-27 | Same as OAF-B1-01
|  |  | BS-L3-01 |  | Same as BS-B1-01
|  |  | BS-L3-02 |  | Same as BS-B1-01
|  |  | BS-L3-03 |  | Same as BS-B1-01
|  |  | BS-L3-04 |  | Same as BS-B1-01
|  |  | BS-L3-05 |  | Same as BS-B1-01
Level 4
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L4-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L4-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | OAF-L4-01 | Same as OAF-B1-01
|  |  |  | OAF-L4-02 | Same as OAF-B1-01
|  |  |  | OAF-L4-03 | Same as OAF-B1-01
|  |  |  | TEF-L4-01 | Same as OAF-B1-01
|  |  |  | TEF-L4-02 | Same as OAF-B1-01
|  |  |  | TEF-L4-03 | Same as OAF-B1-01
|  |  |  | TEF-L4-04 | Same as OAF-B1-01
|  |  |  | TEF-L4-05 | Same as OAF-B1-01
|  |  |  | TEF-L4-06 | Same as OAF-B1-01
|  |  |  | TEF-L4-07 | Same as OAF-B1-01
|  |  |  | TEF-L4-08 | Same as OAF-B1-01
|  |  |  | TEF-L4-09 | Same as OAF-B1-01
|  |  |  | TEF-L4-10 | Same as OAF-B1-01
|  |  |  | TEF-L4-11 | Same as OAF-B1-01
|  |  |  | TEF-L4-12 | Same as OAF-B1-01
|  |  |  | TEF-L4-13 | Same as OAF-B1-01
|  |  |  | TEF-L4-14 | Same as OAF-B1-01
|  |  |  | TEF-L4-15 | Same as OAF-B1-01
|  |  | BS-L4-01 |  | Same as BS-B1-01
|  |  | BS-L4-02 |  | Same as BS-B1-01
|  |  | BS-L4-03 |  | Same as BS-B1-01
|  |  | BS-L4-04 |  | Same as BS-B1-01
Level 5
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L5-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L5-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L5-01 | Same as OAF-B1-01
|  |  |  | TEF-L5-02 | Same as OAF-B1-01
|  |  |  | TEF-L5-03 | Same as OAF-B1-01
|  |  |  | TEF-L5-04 | Same as OAF-B1-01
|  |  |  | TEF-L5-05 | Same as OAF-B1-01
|  |  |  | TEF-L5-06 | Same as OAF-B1-01
|  |  |  | TEF-L5-07 | Same as OAF-B1-01
|  |  |  | TEF-L5-08 | Same as OAF-B1-01
|  |  |  | TEF-L5-09 | Same as OAF-B1-01
|  |  |  | TEF-L5-10 | Same as OAF-B1-01
|  |  |  | TEF-L5-11 | Same as OAF-B1-01
|  |  |  | TEF-L5-12 | Same as OAF-B1-01
|  |  |  | TEF-L5-13 | Same as OAF-B1-01
|  |  |  | TEF-L5-14 | Same as OAF-B1-01
|  |  |  | TEF-L5-15 | Same as OAF-B1-01
|  |  |  | TEF-L5-16 | Same as OAF-B1-01
|  |  |  | TEF-L5-17 | Same as OAF-B1-01
|  |  |  | TEF-L5-18 | Same as OAF-B1-01
|  |  |  | TEF-L5-19 | Same as OAF-B1-01
|  |  |  | TEF-L5-20 | Same as OAF-B1-01
|  |  |  | TEF-L5-21 | Same as OAF-B1-01
|  |  |  | TEF-L5-22 | Same as OAF-B1-01
|  |  |  | TEF-L5-23 | Same as OAF-B1-01
|  |  |  | TEF-L5-24 | Same as OAF-B1-01
|  |  |  | TEF-L5-25 | Same as OAF-B1-01
|  |  | BS-L5-01 |  | Same as BS-B1-01
|  |  | BS-L5-02 |  | Same as BS-B1-01
|  |  | BS-L5-03 |  | Same as BS-B1-01
|  |  | BS-L5-04 |  | Same as BS-B1-01
Level 6
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L6-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L6-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L6-01 | Same as OAF-B1-01
|  |  |  | TEF-L6-02 | Same as OAF-B1-01
|  |  |  | TEF-L6-03 | Same as OAF-B1-01
|  |  |  | TEF-L6-04 | Same as OAF-B1-01
|  |  |  | TEF-L6-05 | Same as OAF-B1-01
|  |  |  | TEF-L6-06 | Same as OAF-B1-01
|  |  |  | TEF-L6-07 | Same as OAF-B1-01
|  |  |  | TEF-L6-08 | Same as OAF-B1-01
|  |  |  | TEF-L6-09 | Same as OAF-B1-01
|  |  |  | TEF-L6-10 | Same as OAF-B1-01
|  |  |  | TEF-L6-11 | Same as OAF-B1-01
|  |  |  | TEF-L6-12 | Same as OAF-B1-01
|  |  |  | TEF-L6-13 | Same as OAF-B1-01
|  |  |  | TEF-L6-14 | Same as OAF-B1-01
|  |  |  | TEF-L6-15 | Same as OAF-B1-01
|  |  |  | TEF-L6-16 | Same as OAF-B1-01
|  |  |  | TEF-L6-17 | Same as OAF-B1-01
|  |  |  | TEF-L6-18 | Same as OAF-B1-01
|  |  |  | TEF-L6-19 | Same as OAF-B1-01
|  |  |  | TEF-L6-20 | Same as OAF-B1-01
|  |  |  | TEF-L6-21 | Same as OAF-B1-01
|  |  |  | TEF-L6-22 | Same as OAF-B1-01
|  |  |  | TEF-L6-23 | Same as OAF-B1-01
|  |  |  | TEF-L6-24 | Same as OAF-B1-01
|  |  |  | TEF-L6-25 | Same as OAF-B1-01
|  |  | BS-L6-01 |  | Same as BS-B1-01
|  |  | BS-L6-02 |  | Same as BS-B1-01
|  |  | BS-L6-03 |  | Same as BS-B1-01
|  |  | BS-L6-04 |  | Same as BS-B1-01
Level 7
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L7-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L7-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L7-01 | Same as OAF-B1-01
|  |  |  | TEF-L7-02 | Same as OAF-B1-01
|  |  |  | TEF-L7-03 | Same as OAF-B1-01
|  |  |  | TEF-L7-04 | Same as OAF-B1-01
|  |  |  | TEF-L7-05 | Same as OAF-B1-01
|  |  |  | TEF-L7-06 | Same as OAF-B1-01
|  |  |  | TEF-L7-07 | Same as OAF-B1-01
|  |  |  | TEF-L7-08 | Same as OAF-B1-01
|  |  |  | TEF-L7-09 | Same as OAF-B1-01
|  |  |  | TEF-L7-10 | Same as OAF-B1-01
|  |  |  | TEF-L7-11 | Same as OAF-B1-01
|  |  |  | TEF-L7-12 | Same as OAF-B1-01
|  |  |  | TEF-L7-13 | Same as OAF-B1-01
|  |  |  | TEF-L7-14 | Same as OAF-B1-01
|  |  |  | TEF-L7-15 | Same as OAF-B1-01
|  |  |  | TEF-L7-16 | Same as OAF-B1-01
|  |  |  | TEF-L7-17 | Same as OAF-B1-01
|  |  |  | TEF-L7-18 | Same as OAF-B1-01
|  |  |  | TEF-L7-19 | Same as OAF-B1-01
|  |  |  | TEF-L7-20 | Same as OAF-B1-01
|  |  |  | TEF-L7-21 | Same as OAF-B1-01
|  |  |  | TEF-L7-22 | Same as OAF-B1-01
|  |  |  | TEF-L7-23 | Same as OAF-B1-01
|  |  |  | TEF-L7-24 | Same as OAF-B1-01
|  |  |  | TEF-L7-25 | Same as OAF-B1-01
|  |  | BS-L7-01 |  | Same as BS-B1-01
|  |  | BS-L7-02 |  | Same as BS-B1-01
|  |  | BS-L7-03 |  | Same as BS-B1-01
|  |  | BS-L7-04 |  | Same as BS-B1-01
Level 8
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L8-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L8-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L8-01 | Same as OAF-B1-01
|  |  |  | TEF-L8-02 | Same as OAF-B1-01
|  |  |  | TEF-L8-03 | Same as OAF-B1-01
|  |  |  | TEF-L8-04 | Same as OAF-B1-01
|  |  |  | TEF-L8-05 | Same as OAF-B1-01
|  |  |  | TEF-L8-06 | Same as OAF-B1-01
|  |  |  | TEF-L8-07 | Same as OAF-B1-01
|  |  |  | TEF-L8-08 | Same as OAF-B1-01
|  |  |  | TEF-L8-09 | Same as OAF-B1-01
|  |  |  | TEF-L8-10 | Same as OAF-B1-01
|  |  |  | TEF-L8-11 | Same as OAF-B1-01
|  |  |  | TEF-L8-12 | Same as OAF-B1-01
|  |  |  | TEF-L8-13 | Same as OAF-B1-01
|  |  |  | TEF-L8-14 | Same as OAF-B1-01
|  |  |  | TEF-L8-15 | Same as OAF-B1-01
|  |  |  | TEF-L8-16 | Same as OAF-B1-01
|  |  |  | TEF-L8-17 | Same as OAF-B1-01
|  |  |  | TEF-L8-18 | Same as OAF-B1-01
|  |  |  | TEF-L8-19 | Same as OAF-B1-01
|  |  |  | TEF-L8-20 | Same as OAF-B1-01
|  |  |  | TEF-L8-21 | Same as OAF-B1-01
|  |  |  | TEF-L8-22 | Same as OAF-B1-01
|  |  |  | TEF-L8-23 | Same as OAF-B1-01
|  |  |  | TEF-L8-24 | Same as OAF-B1-01
|  |  |  | TEF-L8-25 | Same as OAF-B1-01
|  |  | BS-L8-01 |  | Same as BS-B1-01
|  |  | BS-L8-02 |  | Same as BS-B1-01
|  |  | BS-L8-03 |  | Same as BS-B1-01
|  |  | BS-L8-04 |  | Same as BS-B1-01
Level 9
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L9-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L9-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L9-01 | Same as OAF-B1-01
|  |  |  | TEF-L9-02 | Same as OAF-B1-01
|  |  |  | TEF-L9-03 | Same as OAF-B1-01
|  |  |  | TEF-L9-04 | Same as OAF-B1-01
|  |  |  | TEF-L9-05 | Same as OAF-B1-01
|  |  |  | TEF-L9-06 | Same as OAF-B1-01
|  |  |  | TEF-L9-07 | Same as OAF-B1-01
|  |  |  | TEF-L9-08 | Same as OAF-B1-01
|  |  |  | TEF-L9-09 | Same as OAF-B1-01
|  |  |  | TEF-L9-10 | Same as OAF-B1-01
|  |  |  | TEF-L9-11 | Same as OAF-B1-01
|  |  |  | TEF-L9-12 | Same as OAF-B1-01
|  |  |  | TEF-L9-13 | Same as OAF-B1-01
|  |  |  | TEF-L9-14 | Same as OAF-B1-01
|  |  |  | TEF-L9-15 | Same as OAF-B1-01
|  |  |  | TEF-L9-16 | Same as OAF-B1-01
|  |  |  | TEF-L9-17 | Same as OAF-B1-01
|  |  |  | TEF-L9-18 | Same as OAF-B1-01
|  |  |  | TEF-L9-19 | Same as OAF-B1-01
|  |  |  | TEF-L9-20 | Same as OAF-B1-01
|  |  |  | TEF-L9-21 | Same as OAF-B1-01
|  |  |  | TEF-L9-22 | Same as OAF-B1-01
|  |  |  | TEF-L9-23 | Same as OAF-B1-01
|  |  |  | TEF-L9-24 | Same as OAF-B1-01
|  |  |  | TEF-L9-25 | Same as OAF-B1-01
|  |  | BS-L9-01 |  | Same as BS-B1-01
|  |  | BS-L9-02 |  | Same as BS-B1-01
|  |  | BS-L9-03 |  | Same as BS-B1-01
|  |  | BS-L9-04 |  | Same as BS-B1-01
Level 10
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L10-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L10-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L9-01 | Same as OAF-B1-01
|  |  |  | TEF-L9-02 | Same as OAF-B1-01
|  |  |  | TEF-L9-03 | Same as OAF-B1-01
|  |  |  | TEF-L9-04 | Same as OAF-B1-01
|  |  |  | TEF-L9-05 | Same as OAF-B1-01
|  |  |  | TEF-L9-06 | Same as OAF-B1-01
|  |  |  | TEF-L9-07 | Same as OAF-B1-01
|  |  |  | TEF-L9-08 | Same as OAF-B1-01
|  |  |  | TEF-L9-09 | Same as OAF-B1-01
|  |  |  | TEF-L9-10 | Same as OAF-B1-01
|  |  |  | TEF-L9-11 | Same as OAF-B1-01
|  |  |  | TEF-L9-12 | Same as OAF-B1-01
|  |  |  | TEF-L9-13 | Same as OAF-B1-01
|  |  |  | TEF-L9-14 | Same as OAF-B1-01
|  |  |  | TEF-L9-15 | Same as OAF-B1-01
|  |  |  | TEF-L9-16 | Same as OAF-B1-01
|  |  |  | TEF-L9-17 | Same as OAF-B1-01
|  |  |  | TEF-L9-18 | Same as OAF-B1-01
|  |  |  | TEF-L9-19 | Same as OAF-B1-01
|  |  |  | TEF-L9-20 | Same as OAF-B1-01
|  |  |  | TEF-L9-21 | Same as OAF-B1-01
|  |  |  | TEF-L9-22 | Same as OAF-B1-01
|  |  |  | TEF-L9-23 | Same as OAF-B1-01
|  |  |  | TEF-L9-24 | Same as OAF-B1-01
|  |  |  | TEF-L9-25 | Same as OAF-B1-01
|  |  | BS-L10-01 |  | Same as BS-B1-01
|  |  | BS-L10-02 |  | Same as BS-B1-01
|  |  | BS-L10-03 |  | Same as BS-B1-01
|  |  | BS-L10-04 |  | Same as BS-B1-01
Level 11
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L11-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L11-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L11-01 | Same as OAF-B1-01
|  |  |  | TEF-L11-02 | Same as OAF-B1-01
|  |  |  | TEF-L11-03 | Same as OAF-B1-01
|  |  |  | TEF-L11-04 | Same as OAF-B1-01
|  |  |  | TEF-L11-05 | Same as OAF-B1-01
|  |  |  | TEF-L11-06 | Same as OAF-B1-01
|  |  |  | TEF-L11-07 | Same as OAF-B1-01
|  |  |  | TEF-L11-08 | Same as OAF-B1-01
|  |  |  | TEF-L11-09 | Same as OAF-B1-01
|  |  |  | TEF-L11-10 | Same as OAF-B1-01
|  |  |  | TEF-L11-11 | Same as OAF-B1-01
|  |  |  | TEF-L11-12 | Same as OAF-B1-01
|  |  |  | TEF-L11-13 | Same as OAF-B1-01
|  |  |  | TEF-L11-14 | Same as OAF-B1-01
|  |  |  | TEF-L11-15 | Same as OAF-B1-01
|  |  |  | TEF-L11-16 | Same as OAF-B1-01
|  |  |  | TEF-L11-17 | Same as OAF-B1-01
|  |  |  | TEF-L11-18 | Same as OAF-B1-01
|  |  |  | TEF-L11-19 | Same as OAF-B1-01
|  |  |  | TEF-L11-20 | Same as OAF-B1-01
|  |  |  | TEF-L11-21 | Same as OAF-B1-01
|  |  |  | TEF-L11-22 | Same as OAF-B1-01
|  |  |  | TEF-L11-23 | Same as OAF-B1-01
|  |  |  | TEF-L11-24 | Same as OAF-B1-01
|  |  |  | TEF-L11-25 | Same as OAF-B1-01
|  |  | BS-L11-01 |  | Same as BS-B1-01
|  |  | BS-L11-02 |  | Same as BS-B1-01
|  |  | BS-L11-03 |  | Same as BS-B1-01
|  |  | BS-L11-04 |  | Same as BS-B1-01
Level 12
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L12-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L12-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L12-01 | Same as OAF-B1-01
|  |  |  | TEF-L12-02 | Same as OAF-B1-01
|  |  |  | TEF-L12-03 | Same as OAF-B1-01
|  |  |  | TEF-L12-04 | Same as OAF-B1-01
|  |  |  | TEF-L12-05 | Same as OAF-B1-01
|  |  |  | TEF-L12-06 | Same as OAF-B1-01
|  |  |  | TEF-L12-07 | Same as OAF-B1-01
|  |  |  | TEF-L12-08 | Same as OAF-B1-01
|  |  |  | TEF-L12-09 | Same as OAF-B1-01
|  |  |  | TEF-L12-10 | Same as OAF-B1-01
|  |  |  | TEF-L12-11 | Same as OAF-B1-01
|  |  |  | TEF-L12-12 | Same as OAF-B1-01
|  |  |  | TEF-L12-13 | Same as OAF-B1-01
|  |  |  | TEF-L12-14 | Same as OAF-B1-01
|  |  |  | TEF-L12-15 | Same as OAF-B1-01
|  |  |  | TEF-L12-16 | Same as OAF-B1-01
|  |  |  | TEF-L12-17 | Same as OAF-B1-01
|  |  |  | TEF-L12-18 | Same as OAF-B1-01
|  |  |  | TEF-L12-19 | Same as OAF-B1-01
|  |  |  | TEF-L12-20 | Same as OAF-B1-01
|  |  |  | TEF-L12-21 | Same as OAF-B1-01
|  |  |  | TEF-L12-22 | Same as OAF-B1-01
|  |  |  | TEF-L12-23 | Same as OAF-B1-01
|  |  |  | TEF-L12-24 | Same as OAF-B1-01
|  |  |  | TEF-L12-25 | Same as OAF-B1-01
|  |  | BS-L12-01 |  | Same as BS-B1-01
|  |  | BS-L12-02 |  | Same as BS-B1-01
|  |  | BS-L12-03 |  | Same as BS-B1-01
|  |  | BS-L12-04 |  | Same as BS-B1-01
Level 13
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L13-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L13-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L13-01 | Same as OAF-B1-01
|  |  |  | TEF-L13-02 | Same as OAF-B1-01
|  |  |  | TEF-L13-03 | Same as OAF-B1-01
|  |  |  | TEF-L13-04 | Same as OAF-B1-01
|  |  |  | TEF-L13-05 | Same as OAF-B1-01
|  |  |  | TEF-L13-06 | Same as OAF-B1-01
|  |  |  | TEF-L13-07 | Same as OAF-B1-01
|  |  |  | TEF-L13-08 | Same as OAF-B1-01
|  |  |  | TEF-L13-09 | Same as OAF-B1-01
|  |  |  | TEF-L13-10 | Same as OAF-B1-01
|  |  |  | TEF-L13-11 | Same as OAF-B1-01
|  |  |  | TEF-L13-12 | Same as OAF-B1-01
|  |  |  | TEF-L13-13 | Same as OAF-B1-01
|  |  |  | TEF-L13-14 | Same as OAF-B1-01
|  |  |  | TEF-L13-15 | Same as OAF-B1-01
|  |  |  | TEF-L13-16 | Same as OAF-B1-01
|  |  |  | TEF-L13-17 | Same as OAF-B1-01
|  |  |  | TEF-L13-18 | Same as OAF-B1-01
|  |  |  | TEF-L13-19 | Same as OAF-B1-01
|  |  |  | TEF-L13-20 | Same as OAF-B1-01
|  |  |  | TEF-L13-21 | Same as OAF-B1-01
|  |  |  | TEF-L13-22 | Same as OAF-B1-01
|  |  |  | TEF-L13-23 | Same as OAF-B1-01
|  |  |  | TEF-L13-24 | Same as OAF-B1-01
|  |  |  | TEF-L13-25 | Same as OAF-B1-01
|  |  | BS-L13-01 |  | Same as BS-B1-01
|  |  | BS-L13-02 |  | Same as BS-B1-01
|  |  | BS-L13-03 |  | Same as BS-B1-01
|  |  | BS-L13-04 |  | Same as BS-B1-01
Level 14
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L14-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L14-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L14-01 | Same as OAF-B1-01
|  |  |  | TEF-L14-02 | Same as OAF-B1-01
|  |  |  | TEF-L14-03 | Same as OAF-B1-01
|  |  |  | TEF-L14-04 | Same as OAF-B1-01
|  |  |  | TEF-L14-05 | Same as OAF-B1-01
|  |  |  | TEF-L14-06 | Same as OAF-B1-01
|  |  |  | TEF-L14-07 | Same as OAF-B1-01
|  |  |  | TEF-L14-08 | Same as OAF-B1-01
|  |  |  | TEF-L14-09 | Same as OAF-B1-01
|  |  |  | TEF-L14-10 | Same as OAF-B1-01
|  |  |  | TEF-L14-11 | Same as OAF-B1-01
|  |  |  | TEF-L14-12 | Same as OAF-B1-01
|  |  |  | TEF-L14-13 | Same as OAF-B1-01
|  |  |  | TEF-L14-14 | Same as OAF-B1-01
|  |  |  | TEF-L14-15 | Same as OAF-B1-01
|  |  |  | TEF-L14-16 | Same as OAF-B1-01
|  |  |  | TEF-L14-17 | Same as OAF-B1-01
|  |  |  | TEF-L14-18 | Same as OAF-B1-01
|  |  |  | TEF-L14-19 | Same as OAF-B1-01
|  |  |  | TEF-L14-20 | Same as OAF-B1-01
|  |  |  | TEF-L14-21 | Same as OAF-B1-01
|  |  |  | TEF-L14-22 | Same as OAF-B1-01
|  |  |  | TEF-L14-23 | Same as OAF-B1-01
|  |  |  | TEF-L14-24 | Same as OAF-B1-01
|  |  |  | TEF-L14-25 | Same as OAF-B1-01
|  |  | BS-L14-01 |  | Same as BS-B1-01
|  |  | BS-L14-02 |  | Same as BS-B1-01
|  |  | BS-L14-03 |  | Same as BS-B1-01
|  |  | BS-L14-04 |  | Same as BS-B1-01
Level 15
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L15-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L15-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L15-01 | Same as OAF-B1-01
|  |  |  | TEF-L15-02 | Same as OAF-B1-01
|  |  |  | TEF-L15-03 | Same as OAF-B1-01
|  |  |  | TEF-L15-04 | Same as OAF-B1-01
|  |  |  | TEF-L15-05 | Same as OAF-B1-01
|  |  |  | TEF-L15-06 | Same as OAF-B1-01
|  |  |  | TEF-L15-07 | Same as OAF-B1-01
|  |  |  | TEF-L15-08 | Same as OAF-B1-01
|  |  |  | TEF-L15-09 | Same as OAF-B1-01
|  |  |  | TEF-L15-10 | Same as OAF-B1-01
|  |  |  | TEF-L15-11 | Same as OAF-B1-01
|  |  |  | TEF-L15-12 | Same as OAF-B1-01
|  |  |  | TEF-L15-13 | Same as OAF-B1-01
|  |  |  | TEF-L15-14 | Same as OAF-B1-01
|  |  |  | TEF-L15-15 | Same as OAF-B1-01
|  |  |  | TEF-L15-16 | Same as OAF-B1-01
|  |  |  | TEF-L15-17 | Same as OAF-B1-01
|  |  |  | TEF-L15-18 | Same as OAF-B1-01
|  |  |  | TEF-L15-19 | Same as OAF-B1-01
|  |  |  | TEF-L15-20 | Same as OAF-B1-01
|  |  |  | TEF-L15-21 | Same as OAF-B1-01
|  |  |  | TEF-L15-22 | Same as OAF-B1-01
|  |  |  | TEF-L15-23 | Same as OAF-B1-01
|  |  |  | TEF-L15-24 | Same as OAF-B1-01
|  |  |  | TEF-L15-25 | Same as OAF-B1-01
|  |  | BS-L15-01 |  | Same as BS-B1-01
|  |  | BS-L15-02 |  | Same as BS-B1-01
|  |  | BS-L15-03 |  | Same as BS-B1-01
|  |  | BS-L15-04 |  | Same as BS-B1-01
Level 16
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L16-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L16-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L16-01 | Same as OAF-B1-01
|  |  |  | TEF-L16-02 | Same as OAF-B1-01
|  |  |  | TEF-L16-03 | Same as OAF-B1-01
|  |  |  | TEF-L16-04 | Same as OAF-B1-01
|  |  |  | TEF-L16-05 | Same as OAF-B1-01
|  |  |  | TEF-L16-06 | Same as OAF-B1-01
|  |  |  | TEF-L16-07 | Same as OAF-B1-01
|  |  |  | TEF-L16-08 | Same as OAF-B1-01
|  |  |  | TEF-L16-09 | Same as OAF-B1-01
|  |  |  | TEF-L16-10 | Same as OAF-B1-01
|  |  |  | TEF-L16-11 | Same as OAF-B1-01
|  |  |  | TEF-L16-12 | Same as OAF-B1-01
|  |  |  | TEF-L16-13 | Same as OAF-B1-01
|  |  |  | TEF-L16-14 | Same as OAF-B1-01
|  |  |  | TEF-L16-15 | Same as OAF-B1-01
|  |  |  | TEF-L16-16 | Same as OAF-B1-01
|  |  |  | TEF-L16-17 | Same as OAF-B1-01
|  |  |  | TEF-L16-18 | Same as OAF-B1-01
|  |  |  | TEF-L16-19 | Same as OAF-B1-01
|  |  |  | TEF-L16-20 | Same as OAF-B1-01
|  |  |  | TEF-L16-21 | Same as OAF-B1-01
|  |  |  | TEF-L16-22 | Same as OAF-B1-01
|  |  |  | TEF-L16-23 | Same as OAF-B1-01
|  |  |  | TEF-L16-24 | Same as OAF-B1-01
|  |  |  | TEF-L16-25 | Same as OAF-B1-01
|  |  | BS-L16-01 |  | Same as BS-B1-01
|  |  | BS-L16-02 |  | Same as BS-B1-01
|  |  | BS-L16-03 |  | Same as BS-B1-01
|  |  | BS-L16-04 |  | Same as BS-B1-01
Level 17
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L17-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L17-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L17-01 | Same as OAF-B1-01
|  |  |  | TEF-L17-02 | Same as OAF-B1-01
|  |  |  | TEF-L17-03 | Same as OAF-B1-01
|  |  |  | TEF-L17-04 | Same as OAF-B1-01
|  |  |  | TEF-L17-05 | Same as OAF-B1-01
|  |  |  | TEF-L17-06 | Same as OAF-B1-01
|  |  |  | TEF-L17-07 | Same as OAF-B1-01
|  |  |  | TEF-L17-08 | Same as OAF-B1-01
|  |  |  | TEF-L17-09 | Same as OAF-B1-01
|  |  |  | TEF-L17-10 | Same as OAF-B1-01
|  |  |  | TEF-L17-11 | Same as OAF-B1-01
|  |  |  | TEF-L17-12 | Same as OAF-B1-01
|  |  |  | TEF-L17-13 | Same as OAF-B1-01
|  |  |  | TEF-L17-14 | Same as OAF-B1-01
|  |  |  | TEF-L17-15 | Same as OAF-B1-01
|  |  |  | TEF-L17-16 | Same as OAF-B1-01
|  |  |  | TEF-L17-17 | Same as OAF-B1-01
|  |  |  | TEF-L17-18 | Same as OAF-B1-01
|  |  |  | TEF-L17-19 | Same as OAF-B1-01
|  |  |  | TEF-L17-20 | Same as OAF-B1-01
|  |  |  | TEF-L17-21 | Same as OAF-B1-01
|  |  |  | TEF-L17-22 | Same as OAF-B1-01
|  |  |  | TEF-L17-23 | Same as OAF-B1-01
|  |  |  | TEF-L17-24 | Same as OAF-B1-01
|  |  |  | TEF-L17-25 | Same as OAF-B1-01
|  |  | BS-L17-01 |  | Same as BS-B1-01
|  |  | BS-L17-02 |  | Same as BS-B1-01
|  |  | BS-L17-03 |  | Same as BS-B1-01
|  |  | BS-L17-04 |  | Same as BS-B1-01
Level 18
|  |  | Pipework |  | Pipework
|  |  | Ductwork |  | Ductwork
|  |  | Electrical Wiring |  | Electrical Wiring
|  |  | Insulation |  | Insulation
|  |  | Fire Dampers |  | Fire Dampers
|  |  | Access Panel |  | Access Panel
FCU's
|  |  |  | FCU-L18-01 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-02 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-03 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-04 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-05 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-06 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-07 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-08 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-09 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-10 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-11 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-12 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-13 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-14 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-15 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-16 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-17 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-18 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-19 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-20 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-21 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-22 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-23 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-24 | Same as FCU-B1-GYM-01
|  |  |  | FCU-L18-25 | Same as FCU-B1-GYM-01
Fans
|  |  |  | TEF-L18-01 | Same as OAF-B1-01
|  |  |  | TEF-L18-02 | Same as OAF-B1-01
|  |  |  | TEF-L18-03 | Same as OAF-B1-01
|  |  |  | TEF-L18-04 | Same as OAF-B1-01
|  |  |  | TEF-L18-05 | Same as OAF-B1-01
|  |  |  | TEF-L18-06 | Same as OAF-B1-01
|  |  |  | TEF-L18-07 | Same as OAF-B1-01
|  |  |  | TEF-L18-08 | Same as OAF-B1-01
|  |  |  | TEF-L18-09 | Same as OAF-B1-01
|  |  |  | TEF-L18-10 | Same as OAF-B1-01
|  |  |  | TEF-L18-11 | Same as OAF-B1-01
|  |  |  | TEF-L18-12 | Same as OAF-B1-01
|  |  |  | TEF-L18-13 | Same as OAF-B1-01
|  |  |  | TEF-L18-14 | Same as OAF-B1-01
|  |  |  | TEF-L18-15 | Same as OAF-B1-01
|  |  |  | TEF-L18-16 | Same as OAF-B1-01
|  |  |  | TEF-L18-17 | Same as OAF-B1-01
|  |  |  | TEF-L18-18 | Same as OAF-B1-01
|  |  |  | TEF-L18-19 | Same as OAF-B1-01
|  |  |  | TEF-L18-20 | Same as OAF-B1-01
|  |  |  | TEF-L18-21 | Same as OAF-B1-01
|  |  |  | TEF-L18-22 | Same as OAF-B1-01
|  |  |  | TEF-L18-23 | Same as OAF-B1-01
|  |  |  | TEF-L18-24 | Same as OAF-B1-01
|  |  |  | TEF-L18-25 | Same as OAF-B1-01
|  |  | BS-L18-01 |  | Same as BS-B1-01
|  |  | BS-L18-02 |  | Same as BS-B1-01
|  |  | BS-L18-03 |  | Same as BS-B1-01
|  |  | BS-L18-04 |  | Same as BS-B1-01
Roof
|  |  | CU-L1-01 |  | Same as CU-L2-01
|  |  | CU-L8-01 |  | Same as CU-L2-01
|  |  | CU-L8-02 |  | Same as CU-L2-01
|  |  | CU-L8-03 |  | Same as CU-L2-01
|  |  | CU-L9-01 |  | Same as CU-L2-01
|  |  | CU-L9-02 |  | Same as CU-L2-01
|  |  | CU-L9-03 |  | Same as CU-L2-01
|  |  | CU-L10-01 |  | Same as CU-L2-01
|  |  | CU-L10-02 |  | Same as CU-L2-01
|  |  | CU-L10-03 |  | Same as CU-L2-01
|  |  | CU-L11-01 |  | Same as CU-L2-01
|  |  | CU-L11-02 |  | Same as CU-L2-01
|  |  | CU-L11-03 |  | Same as CU-L2-01
|  |  | CU-L12-01 |  | Same as CU-L2-01
|  |  | CU-L12-02 |  | Same as CU-L2-01
|  |  | CU-L12-03 |  | Same as CU-L2-01
|  |  | CU-L13-01 |  | Same as CU-L2-01
|  |  | CU-L13-02 |  | Same as CU-L2-01
|  |  | CU-L13-03 |  | Same as CU-L2-01
|  |  | CU-L14-01 |  | Same as CU-L2-01
|  |  | CU-L14-02 |  | Same as CU-L2-01
|  |  | CU-L14-03 |  | Same as CU-L2-01
|  |  | CU-L15-01 |  | Same as CU-L2-01
|  |  | CU-L15-02 |  | Same as CU-L2-01
|  |  | CU-L15-03 |  | Same as CU-L2-01
|  |  | CU-L16-01 |  | Same as CU-L2-01
|  |  | CU-L16-02 |  | Same as CU-L2-01
|  |  | CU-L16-03 |  | Same as CU-L2-01
|  |  | CU-L17-01 |  | Same as CU-L2-01
|  |  | CU-L17-02 |  | Same as CU-L2-01
|  |  | CU-L17-03 |  | Same as CU-L2-01
|  |  | CU-L18-01 |  | Same as CU-L2-01
|  |  | CU-L18-02 |  | Same as CU-L2-01
|  |  | CU-L18-03 |  | Same as CU-L2-01
| Fit Off | Basement
|  |  | S1 |  | Flexible Duct
Suspension and Fixings
Louvres, Grilles & Diffusers
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | S8 |  | Same as S1
|  |  | R14 |  | Same as S1
|  |  | S9 |  | Same as S1
|  |  | S10 |  | Same as S1
|  |  | R13 |  | Same as S1
|  |  | S11 |  | Same as S1
|  |  | R8 |  | Same as S1
|  |  | S12 |  | Same as S1
|  |  | S13 |  | Same as S1
|  |  | S14 |  | Same as S1
|  |  | S15 |  | Same as S1
|  |  | R10 |  | Same as S1
|  |  | S16 |  | Same as S1
|  |  | S17 |  | Same as S1
|  |  | S18 |  | Same as S1
|  |  | S19 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | R2 |  | Same as S1
|  |  | R3 |  | Same as S1
|  |  | R4 |  | Same as S1
|  |  | R5 |  | Same as S1
|  |  | R6 |  | Same as S1
|  |  | R7 |  | Same as S1
|  |  | R9 |  | Same as S1
|  |  | R11 |  | Same as S1
|  |  | R12 |  | Same as S1
|  |  | E1 |  | Same as S1
|  |  | E2 |  | Same as S1
|  |  | E3 |  | Same as S1
|  |  | E4 |  | Same as S1
|  |  | E5 |  | Same as S1
|  | Level 1 | S1 |  | Same as S1
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | S8 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | R2 |  | Same as S1
|  |  | R3 |  | Same as S1
|  |  | E1 |  | Same as S1
|  |  | E2 |  | Same as S1
|  |  | E3 |  | Same as S1
|  |  | T1 |  | Same as S1
|  |  | T2 |  | Same as S1
|  |  | T3 |  | Same as S1
|  |  | T4 |  | Same as S1
|  |  | T5 |  | Same as S1
|  |  | L1 |  | Same as S1
|  |  | L2 |  | Same as S1
|  |  | L3 |  | Same as S1
|  |  | L4 |  | Same as S1
|  |  | L5 |  | Same as S1
|  |  | L6 |  | Same as S1
|  |  | L7 |  | Same as S1
|  |  | L8 |  | Same as S1
|  |  | L9 |  | Same as S1
|  |  | L10 |  | Same as S1
|  |  | L11 |  | Same as S1
|  |  | L12 |  | Same as S1
|  |  | L13 |  | Same as S1
|  |  | L14 |  | Same as S1
|  | Level 2 | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
|  |  | L5 |  | Same as S1
|  |  | L6 |  | Same as S1
|  |  | L7 |  | Same as S1
|  |  | L9 |  | Same as S1
|  |  | MSSB-L2-01 |  | Mech Switchboard Installation
Level 3
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
|  |  | L4 |  | Same as S1
|  |  | L5 |  | Same as S1
|  |  | L6 |  | Same as S1
|  |  | L7 |  | Same as S1
Level 4
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | S8 |  | Same as S1
|  |  | S9 |  | Same as S1
|  |  | S10 |  | Same as S1
|  |  | S11 |  | Same as S1
|  |  | S12 |  | Same as S1
|  |  | S13 |  | Same as S1
|  |  | S14 |  | Same as S1
|  |  | S15 |  | Same as S1
|  |  | R2 |  | Same as S1
|  |  | S16 |  | Same as S1
|  |  | S17 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | R3 |  | Same as S1
|  |  | E2 |  | Same as S1
|  |  | E3 |  | Same as S1
|  |  | L4 |  | Same as S1
|  |  | L5 |  | Same as S1
|  |  | L6 |  | Same as S1
|  |  | L8 |  | Same as S1
|  |  | L9 |  | Same as S1
Level 5
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 6
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 7
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 8
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 9
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 10
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 11
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 12
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 13
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 14
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 15
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 16
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 17
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Level 18
|  |  | S2 |  | Same as S1
|  |  | S3 |  | Same as S1
|  |  | S4 |  | Same as S1
|  |  | S5 |  | Same as S1
|  |  | S6 |  | Same as S1
|  |  | S7 |  | Same as S1
|  |  | R1 |  | Same as S1
|  |  | E2 |  | Same as S1
Roof
|  |  | MSSB-R-01 |  | Same as MSSB-2-01
|  |  | MSSB-E-R-01 |  | Same as MSSB-2-01

## Checklists
type | name | values
checklist | Ductwork
checkpoint | Ductwork is made to specification
checkpoint | Duct joints are correct as per specification
checkpoint | Duct corners and joints sealed as per specification
checkpoint | Duct hangers as per specification
checkpoint | Ductwork installed as per design drawings: - check size - check height - check position
checkpoint | No physical damage to ductwork
checkpoint | Duct is clean inside
checkpoint | Volume dampers accessible and operative
checkpoint | Access panels fitted where required and of enough size.
type | name
checklist | Insulation
checkpoint | Internal insulation installed: - perforated metal e.g.
checkpoint | No internal damage, tear, dirt on insulation etc.
type | name
checklist | Turning Vanes
checkpoint | Turning vanes fitted in accordance with design documentation
type | name
checklist | Flexible Duct
checkpoint | Flexible duct spigot damper quadrants accessible and operative
checkpoint | Flexible duct damper left open when installed
checkpoint | Flexible duct installed in accordance with design documentation
checkpoint | Check flexible duct supports
checkpoint | Check flexible duct is not kinked, not squashed, excessive lengths reduced, not over stretched etc.
checkpoint | Confirm flexible connections to equipment (fans) are glued, stapled and clamped but not taut.
checkpoint | Confirm general maintenance access is available
checkpoint | Confirm other trades have not altered installation.
type | name
checklist | Pipework
checkpoint | Pipework material as per design specifications
checkpoint | Pipework class, grade, gauge & joints as per specification
checkpoint | Pipework bends, fittings & supports as per specification
checkpoint | Check joining of pipework with relation to junctions of dissimilar metals
checkpoint | Carry out testing
checkpoint | Check expansion and contraction joints have been fitted
checkpoint | Confirm drain valves and dirt legs are fitted
checkpoint | Confirm building penetrations are sleeved and sealed as per specification
checkpoint | Confirm valves and other fittings supplied and installed in accordance with design documentation
checkpoint | Confirm general maintenance access is available to valve locations.
checkpoint | Insulation of all pipe work is complete
checkpoint | Insulation material is as per specification
checkpoint | Confirm there is no damage to insulation
type | name
checklist | Electrical Wiring
checkpoint | Installed in accordance with design documentation
checkpoint | Termination of cables in accordance with design specification
checkpoint | Cable sizes & routes confirmed
checkpoint | Fire rating requirements confirmed (MIMS cable)
checkpoint | Adequate cable support confirmed (trays if necessary)
checkpoint | Cable separation confirmed
checkpoint | Cables isolated from sharp edges, pipes and the like.
checkpoint | Conduits used in exposed cable locations.
checkpoint | Cable ties as per wiring standards
checkpoint | Metal ties used for MIMS wiring.
checkpoint | Location of termination points confirmed
type | name
checklist | Fan Coil Unit
checkpoint | Unit model number in accordance with design specification & correctly labelled
checkpoint | Unit is complete with fan, coil, electric heater, filter plenum and the like.
checkpoint | Unit installed in accordance with design specifications
checkpoint | Piping connections sealed to avoid entry of contaminants
checkpoint | Drain connection fitted to unit
checkpoint | Access panels provided in casing
checkpoint | Electrical terminal box is fitted to the unit.
checkpoint | Fan and motor vibration isolated from casing.
checkpoint | The unit internally acoustically lined and insulated
checkpoint | The unit is sufficiently braced to prevent drumming.
checkpoint | Ductwork connected to unit via flexible connections where applicable.
checkpoint | Flow and return pipework to the unit have been piped correctly
checkpoint | Adequate access to unit access panels.
checkpoint | Unit is fixed to the slab or other purpose-built support by means of rubber in shear isolators
checkpoint | Unit mounting points adjustable to allow for levelling of unit.
type | name
checklist | Volume Dampers
checkpoint | Volume dampers fitted in accordance with design documentation & labelled
checkpoint | Damper complete and operational.
checkpoint | Damper construction as per Specification.
checkpoint | Damper of a neat and tidy appearance.
checkpoint | Damper blade seals fitted.
checkpoint | Rattles, fluttering or slack movement.
checkpoint | Linkage connected to all blades.
checkpoint | Open and closed positions clearly and permanently marked on quadrant.
checkpoint | Once installed, damper suitably supported.
checkpoint | Quadrant located in accessible position.
checkpoint | Motorised Dampers, damper motor located in accessible position.
checkpoint | Damper motor rigidly mounted so as to prevent flexing or distortion of ductwork during operation.
checkpoint | Where one damper motor is used for two dampers, use linkages which allow either damper to be adjusted independently.
type | name
checklist | Fire Dampers
checkpoint | Check rating, location and positioning of dampers
checkpoint | Vessels have correct passes.
checkpoint | Insulation and sheathing in accordance with Specification.
checkpoint | Factory inspection tests and Certificates provided.
checkpoint | Spring mounts supplied, as selected by manufacturer in accordance with Specification.
checkpoint | Electrical Schematic provided and checked by electrical/controls Subcontractors.
checkpoint | Cables installed in a manner that will not obstruct future removal of compressors, motors, etc.
type | name
checklist | Switchboards Installed
checkpoint | No loose or untidy wiring
checkpoint | Cable covers & control covers are fitted
checkpoint | Interior light is operational & interior is clean
checkpoint | Circuits are identified.
checkpoint | Fuse sizes correspond with design requirements.
checkpoint | Correct labelling including wire numbers.
type | name
checklist | Timer
checkpoint | Supply and install timer in accordance with design documentation
checkpoint | Position in accordance with design requirements
type | name
checklist | Ventilation Equipment
checkpoint | Samples of fittings & equipment data approved
checkpoint | Layout and locations confirmed
checkpoint | Insulation & Acoustic criteria determined
type | name
checklist | Suspension and Fixings
checkpoint | Hangers to be fixed to the vertical section of the purlin / C section not drilled through bottom
checkpoint | Where hangers to be fixed to the suspended slab: - Check for services location, prior to drilling/fixing - Check for post tension cables/ducting location, prior to drilling/fixing
type | name
checklist | Condenser
checkpoint | Equipment Schedules verifying qty, make & model
checkpoint | Layout and locations confirmed
checkpoint | Power capacity verified
checklist | PAC Unit
checkpoint | Equipment Schedules verifying qty, make & model
checkpoint | Layout and locations confirmed
checkpoint | Power capacity verified
type | name
checklist | Mech Switchboard Installation
checkpoint | Submains provided
checkpoint | Service cabling installed and ready for termination
type | name
checklist | Internal Equipment Fit off
checkpoint | Samples of fittings & equipment submitted and approved
checkpoint | Layout and locations confirmed
checkpoint | Pre-construction finishes completed
checkpoint | Power supply termination points available
type | name
checklist | Undercut Doors
checkpoint | Check doors nominated on workshop drawings have been undercut
type | name
checklist | Amenities Extraction Fans
checkpoint | Disabled fan runs on light sensor and remains on for 10 minutes after light turns off
type | name
checklist | Filters
checkpoint | Filter frames and channel slides sealed airtight to airflow
type | name
checklist | Ceiling Diffusers
checkpoint | Egg-crate grille diffuser, round, half chevrons, 4-way diffusers etc. cut into ceiling with adequate support around frame
type | name
checklist | Louvres, Grilles & Diffusers
checkpoint | Check louvres & grilles have been manufactured to correct opening size and colour
checkpoint | Door grilles to be anodised aluminium finish
checkpoint | Brickwork grilles to be anodised aluminium finish
checkpoint | Grilles and louvres plumb with adequate fixings
checkpoint | Outlets delivered to site in individual protective wrapping Outlets labelled.
checkpoint | Outlets constructed in a neat and tidy manner, no sharp edges, misaligned blades etc.
checkpoint | Outlets as per spec, color as per spec
checkpoint | Outlets same to sample submitted.
checkpoint | Outlet mounted with fully concealed fixings & installation not askew with surroundings
checkpoint | Opposed blade damper fitted to outlet, where specified.
checkpoint | Outlet flanges sufficiently covering penetration and irregularities in surrounds.
checkpoint | Air cushion box fitted.
checkpoint | Internal finishes painted matt black if visible.
checkpoint | Outlet not damaged.
checkpoint | Air cushion box supported as per Specification.
checkpoint | Louvres to be anodised aluminium finish in brickwork
checkpoint | Grilles to match finished colour where installed in wall cladding
checkpoint | Door grilles to be anodised aluminium finish
type | name
checklist | Building Penetrations
checkpoint | Building penetrations are flashed or sealed as per specification:
checkpoint | Acoustic treatment
checkpoint | Maintaining fire integrity
checkpoint | Airtight sealing of all penetrations
checkpoint | Trimming where required
type | name
checklist | Testing & Commission
checkpoint | Equipment installed and fitted off
checkpoint | All equipment tested & commissioned
checkpoint | Consultant sign off of installation
type | name
checklist | Final Inspection
checkpoint | Installation and Manufacturers Certification provided
checkpoint | Obtain certificate of compliance for installation from appropriate authority.
checkpoint | Fire trip witness test
checkpoint | Operation of essential services
checkpoint | Car-park ventilation via FIP
checkpoint | Shut down of equipment via smoke detector
checkpoint | Witness air flow test for random bade building systems including apartment air conditioning and ventilation
type | name
checklist | Work Delays
checkpoint | Area accessible and ready for work - Any delays please comment and add photos
type | name
checklist | Fan Installation
checkpoint | Ensure equipment is not damaged.
checkpoint | Are drawings on site the latest issue
checkpoint | Identify and install the fan in the right location.
checkpoint | Is the fan labelled
checkpoint | Have anti-vibration mounts been installed
checkpoint | Is the fan securely installed
checkpoint | Is the impeller free to move
checkpoint | Has VSD been installed if required
checkpoint | Have the manufacturer’s installation instructions been followed
checkpoint | Are screws, nuts and bolts fixed
checkpoint | Are access panels provided
checkpoint | Is ductwork including spigots complete
checkpoint | Are ducts clean and free of debris on the inside
checkpoint | Has rubbish been removed
checkpoint | Store all materials that are not being used.
checkpoint | Mark alterations and sizes on final locations for records.
type | name
checklist | AHU Installation
checkpoint | Ensure that the AHU’s are not damaged after delivery.
checkpoint | Are drawings on site the latest issue
checkpoint | Identify and install the AHU in the right location.
checkpoint | Label the AHU clearly.
checkpoint | Install anti-vibration mounts
checkpoint | Ensure that the AHU is securely installed.
checkpoint | Is the impeller free to move
checkpoint | Install VSD if required
checkpoint | Follow the manufacturer’s installation instructions.
checkpoint | Fix all the screws, nuts and bolts.
checkpoint | Have access panels been provided
checkpoint | Has ductwork been completed
checkpoint | Make sure that the pipe is clean inside and free of debris.
checkpoint | Remove all rubbish.
checkpoint | Store all materials not being used.
checkpoint | Mark alterations and sizes on final locations for records.
checkpoint | Mechanical Services Consultant Inspection
holdpoint | Hold Point
checkpoint | Inspection upon Rough ins
checkpoint | Inspection prior to sheeting
checkpoint | Inspection upon progression of every 3 levels or subject to site progression
checkpoint | Inspection of Equipment operation – testing and witness
checkpoint | Installation and Manufacturers Certification provided
checkpoint | Obtain certificate of compliance for installation from appropriate authority.
checkpoint | Fire trip witness test
checkpoint | Operation of essential services
checkpoint | Car-park ventilation via FIP
checkpoint | Shut down of equipment via smoke detector
checkpoint | Witness air flow test for random bade building systems including apartment air conditioning and ventilation
checkpoint | Marking and Labelling
checklist | Site Risk Assessment
checkpoint | Assess all risks relating to the site and document accordingly e.g. gas location, power lines, access and the like
checklist | Site Induction
checkpoint | All works related personnel to be site inducted prior to commencing on site
checklist | SWMS
checkpoint | All works related personnel have contributed to, read and signed the relevant SWMS prior to commencing on site.
checklist | Documentation
checkpoint | Ensure current revision of design drawings and specifications
checklist | Scope of Works
checkpoint | Check scope of works & ensure all documents are current revision
checkpoint | Cooling/heating capacity established
checkpoint | Work by others
checkpoint | Check for 3 phase requirements
checkpoint | Coordination with other trades
checklist | Shop Drawings
checkpoint | Mechanical Shop drawing submitted and approved
checklist | Access Panel
checkpoint | A/P available
checkpoint | A/P located close to equipment