## Stage 5 - B03
PROJECT BREAKDOWN
Aquacraft - Riccarton Park
Project Build QA
Stage 5 - B03
|  |  | Basement |  |  |  |  | *completed
Waste water pipes
B03 - Level G
[5 empty] | Area A |  | Pre-populate | F - S - Underslab plumbing
[5 empty] | Area B |  | Pre-populate | F - S - Underslab plumbing
B03 - Level 1
[5 empty] | Area A |  | Pre-populate | F - S - Underslab plumbing
[5 empty] | Area B |  | Pre-populate | F - S - Underslab plumbing
B03 - Level 2
[5 empty] | Area A |  | Pre-populate | F - S - Underslab plumbing
[5 empty] | Area B |  | Pre-populate | F - S - Underslab plumbing
Collars Installation - Insitu Pipes
B03 - Level G
[5 empty] | Area A |  | Pre-populate | Service Penetration Install
[5 empty] | Area B |  | Pre-populate | Service Penetration Install
B03 - Level 1
[5 empty] | Area A |  | Pre-populate | Service Penetration Install
[5 empty] | Area B |  | Pre-populate | Service Penetration Install
B03 - Level 2
[5 empty] | Area A |  | Pre-populate | Service Penetration Install
[5 empty] | Area B |  | Pre-populate | Service Penetration Install
First Fix
B03 - Level B
Area A
[6 empty] | Lobby | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Services Room | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Smoke Lobby | Pre-populate | PRE-S - First Fix - Plumbing
B03 - Level G
Area A
[6 empty] | Corridor - Grids 2-3 & B-E | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartment - IA G20 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartment - IA G21 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartment - IA G22 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartment - IA G23 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartment - IA G24 | Pre-populate | PRE-S - First Fix - Plumbing
Area B
[6 empty] | Corridor - Grids 2-3 & E-G+ | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA G25 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA G26 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA G27 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA G28 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA G29 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA G30 | Pre-populate | PRE-S - First Fix - Plumbing
B03 - Level 1
Area A
[6 empty] | Corridor - Grids 2-3 & B-E | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 120 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 121 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 122 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 123 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 124 | Pre-populate | PRE-S - First Fix - Plumbing
Area B
[6 empty] | Corridor - Grids 2-3 & E-G+ | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 125 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 126 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 127 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 128 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 129 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 130 | Pre-populate | PRE-S - First Fix - Plumbing
B03 - Level 2
Area A
[6 empty] | Corridor - Grids 2-3 & B-E | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 220 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 221 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 222 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 223 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 224 | Pre-populate | PRE-S - First Fix - Plumbing
Area B
[6 empty] | Apartments - IA 225 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 226 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 227 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 228 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 229 | Pre-populate | PRE-S - First Fix - Plumbing
[6 empty] | Apartments - IA 230 | Pre-populate | PRE-S - First Fix - Plumbing
Second Fix
B03 - Level B
Area A
[6 empty] | Lobby | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Services Room | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Smoke Lobby | Pre-populate | POST - S - Plumbing Second Fix
B03 - Level G
Area A
[6 empty] | Corridor - Grids 2-3 & B-E | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartment - IA G20 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartment - IA G21 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartment - IA G22 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartment - IA G23 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartment - IA G24 | Pre-populate | POST - S - Plumbing Second Fix
Area B
[6 empty] | Corridor - Grids 2-3 & E-G+ | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA G25 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA G26 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA G27 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA G28 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA G29 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA G30 | Pre-populate | POST - S - Plumbing Second Fix
B03 - Level 1
Area A
[6 empty] | Corridor - Grids 2-3 & B-E | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 120 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 121 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 122 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 123 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 124 | Pre-populate | POST - S - Plumbing Second Fix
Area B
[6 empty] | Corridor - Grids 2-3 & E-G+ | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 125 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 126 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 127 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 128 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 129 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 130 | Pre-populate | POST - S - Plumbing Second Fix
B03 - Level 2
Area A
[6 empty] | Corridor - Grids 2-3 & B-E | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 220 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 221 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 222 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 223 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 224 | Pre-populate | POST - S - Plumbing Second Fix
Area B
[6 empty] | Apartments - IA 225 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 226 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 227 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 228 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 229 | Pre-populate | POST - S - Plumbing Second Fix
[6 empty] | Apartments - IA 230 | Pre-populate | POST - S - Plumbing Second Fix
| Compliance Folder | [5 empty] | Pre-populate | CST - S - Completion Documents

## Checklist
Type | Name | Values
checklist | CST - S - Completion Documents
Checkpoint | All relevant Compliance Documentation completed and attached above
bool | Any Additional Compliance Documentation - Completed and Attached
label | Do not select "Pass" HERE until all requirements have been marked as "Yes" & attached or you have selected "N/A"
holdpoint | Request Signoff
Type | Name | Values
checklist | F - S - Underslab plumbing
checkpoint | Correct gradient of the pipework achieved
checkpoint | Pipe wrapped/protected and acceptable
checkpoint | Flood test completed and acceptable
checkpoint | Pipe capped and acceptable
checkpoint | All underfloor plumbing works installed as per specifications
Type | Name | Values
checklist | PRE-S - First Fix - Plumbing
checkpoint | Hot water supply lines run the shortest
checkpoint | Specifed Waste pipework is Acoustic and acceptable
checkpoint | Penetrations through fire cells are fire protected
checkpoint | All joint brackets or reinforcment installed, if required
checkpoint | Nog's and fixings are installed for water closet, shower, hot water cylinder and etc.
checkpoint | Penetrations through building paper are trade sealed
checkpoint | Hot water ring main is thermally lagged
checkpoint | All pipework clipped neatly and tidy
checkpoint | All pipework secured/siliconed
checkpoint | Floor Waste Gully Flanged is recessed into flooring and installed
checkpoint | Water tested to 1500kpa and loop not effect lining
checkpoint | Checked for dripson water and waste piping
checkpoint | Soil and waste piping hydrostatic test (Flood test)
checkpoint | Test plug & Gauge removed from pipe system
checkpoint | Fire penetration schedule is completed
checkpoint | Flange and all through installed pipework flood tested
checkpoint | Plumbing First Fix completed and acceptable and area clean and tidy for next trade
holdpoint | Raise remedial/ Request signoff
Type | Name | Values
checklist | POST - S - Plumbing Second Fix
section | Preinstall QA
checkpoint | Permission to begin work obtained
checkpoint | Drawings correct issue and construction set
checkpoint | Area is left clean and tidy and and work can begin
checkpoint | Fit-off materials match schedule or drawings
checkpoint | Setout/min clearances as per specification
checkpoint | Water pipework maintained test throughout
checkpoint | No debris in floor wastes or subs
section | Water Supplies
checkpoint | Toilet full flush and half flush working as required. Visual check for leaks on pan cone and close coupled coonection
checkpoint | Vanity basin mixer working to required flow rate and overflow able to keep up with floor rate from mixer
checkpoint | Sink overflow able to keep up with flow rate mixer
checkpoint | Dishwasher commissioned
checkpoint | Showers - Mixer working to required flow rate and shower hoses fitted with non-returns
section | Hot water cylinder
checkpoint | Trap installed on tray if required
checkpoint | HWC relief lines have 25mm clearance
checkpoint | Restraints installed
checkpoint | Hot water set to Min 60°
checkpoint | Tempering valve set to required tempreture
checkpoint | Timber blocks installed
section | Finishing
checkpoint | Flanges installed on all pipework penetrations
checkpoint | All soil pipes are connected to saitary sewer
checkpoint | No crossovers, hot on left and cold on right on all mixers
checkpoint | All fixtures are siliconed down and splash sealed
checkpoint | Hose taps are complete with vacuum breakers
checkpoint | Area is left clean and tidy
checkpoint | Work is 100% completed to required specifications
holdpoint | Raise remedial/ Request signoff
type | name | values
Checklist | Service Penetration Install
checkpoint | Penetration points located as-per plan
checkpoint | Correct cast in collars installed
checkpoint | Locations checked and accurate
holdpoint | Request Sign off