## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 101b32ab-e2ab-414d-9eed-33d0a9a2e546 |  | checklist | Stormwater- Pipeline Installation Checklist |  |  |  |  | Yes | Stormwater- Pipeline Installation Checklist | 01011d26-13cd-4a0d-bbf6-13bb4933e1dd
checkpoint-group | b349d6f5-947b-431a-a717-d801abbe5126 |  | section | Pipe Laying
checkpoint-status | 08a658d4-5a8d-42ed-9a9c-9d47941137fc |  | checkpoint | Latest consented drawings
text | c8f4595b-bd6e-5017-9efd-50fb25c040d6 |  | text | Drawing Ref No.
checkpoint-status | 24ee594d-6bee-4a90-82e4-eb735ba286f4 |  | checkpoint | Setout completed checked and accurate
checkpoint-status | 2c475056-8e82-428f-ad54-f5f0e6587454 |  | checkpoint | Excavation Accurate - Location & Depth
checkpoint-status | 5bef8f9e-9aa0-4a8e-892a-8d130735b345 |  | checkpoint | Ground Conditions Checked & Acceptable
checkpoint-status | 5016369c-8c1d-425d-883e-232c6a24bef9 |  | checkpoint | Bedding depth and material correct
checkpoint-status | 656eb6a0-6b3d-469e-909b-1669f447c76d |  | checkpoint | Correct pipe laid to specified level and grade (all joints sealed correctly as specified)
text | 9071df58-5ad0-5438-b718-60eb3172667e |  | text | Start Invert
text | bfc87ab7-f326-5ebc-b988-1d3b70ee9a10 |  | text | Finish Invert
text | fc4b73ef-3576-54ae-8225-77a51af1f2c2 |  | text | Grade of Pre-Line %
text | 484171a1-0cbc-5c3b-b387-ad03958e2ed7 |  | text | Product Type
checkpoint-status | a94c4882-0982-4a37-ae32-03f3b42d5a4d |  | checkpoint | Connections to manholes complete and approved
checkpoint-status | dafbbe22-f37e-4978-b78d-1b6328a683b0 |  | checkpoint | All Downpipes have been checked, installed and approved
text | dba07fe4-b0d6-50e3-aca0-28e59942a85a |  | text | How many installed?
boolean | 003c3c26-7028-5b64-bbfd-8e3598d403ec |  | bool | Location confirmed
boolean | 43c32b04-96bf-5a09-956c-2b7bebe1b0a4 |  | bool | Heights are correct
boolean | e4bdb7a1-b922-54e7-a8d0-6672cf6fe8ee |  | bool | Caps are secure
checkpoint-status | 536f6ac6-0d50-4870-a89f-2860a11c7bbc |  | checkpoint | All Cess Pits have been checked, installed and approved
text | f37fab03-d7cf-5163-9023-ca9f189ef9b0 |  | text | How many installed?
boolean | 66cc9169-f0fd-554f-a78b-9a3dababbd60 |  | bool | Location confirmed
boolean | b35beda9-f32d-59cc-acce-fa0b573a4855 |  | bool | Heights are correct
boolean | 0f773313-e5ad-5840-94b5-e9454a67b0bd |  | bool | Caps are secure
checkpoint-status | c497fb21-bbd9-4e74-9c62-5da4f2ba8ae4 |  | checkpoint | Pipe Laying Completed
button | 6d3ee70e-9d20-5420-aa7a-c267086a0976 | DataPoint is missing 'button' values | button | Laid by
boolean | faa9ac63-8f13-51d6-8a97-dbf3f50a4712 |  | bool | Bedding Sound
boolean | aa30bf9f-992d-5755-bf53-bd4828b15837 |  | bool | Soil Removed
boolean | f76e1986-59eb-557e-82e4-a40374a6f22c |  | bool | Trench Compacted
boolean | 2b2f38f1-5b04-5a33-8dd1-3758ef5e4c80 |  | bool | Hard Filled
checkpoint-status | da03d8c9-eac9-41aa-b68d-38bcb3a27ffc |  | checkpoint | Install Tests completed, reviewed & approved
text | e7f1509b-472c-5a27-8f1f-0bd33f493d9c |  | text | Local Authority Inspection Passed
text | f3c5adf6-da76-53a5-9024-be384d4cc18b |  | text | Name of inspector
text | 427a5f6d-b927-553a-be6f-145c961ea91a |  | text | Date
checkpoint-status | 71216308-ed7a-44b6-b457-9bcf03bc64b4 |  | checkpoint | Area of Work Inspection Completed & Sign Off
text | aecefc3b-320a-575a-88db-4c3bb0c3d50d |  | text | Sign Off By
text | 95b545b1-1a2e-5334-9168-9c248580ff3b |  | text | Acknowledgement of checklist by
text | b1e4e0d7-b9d7-51db-aa59-1f5725454f42 |  | text | Foreman
checkpoint-group | cbb01d02-3c18-40e7-b511-5c921561f2cd |  | section | Backfill
checkpoint-status | ee1065eb-867a-4f67-b1d0-3b3395a3e8b0 |  | checkpoint | Backfill methodology and material confirmed
checkpoint-status | 3de32cf0-7acb-49d4-99a1-56edcf381c31 |  | checkpoint | Any formwork/ debris removed from area
checkpoint-status | d2bec5c6-fa48-4b76-a543-ef8a24ab952b |  | checkpoint | Any waterproofing/ drainage / service requirements completed and inspected
checkpoint-status | 27ac3a37-fe65-406d-a664-e62f4cbb76f8 |  | checkpoint | Approval given to commence backfill - attach any other relevant inspections and observations closed out
checkpoint-status | 0d642f76-699b-4d12-9876-768e49ce016f |  | checkpoint | General photos and observations during backfill
checkpoint-status | 33e0ea79-5e7e-4b6d-a844-18c363364443 |  | checkpoint | Backfill completed correctly and heights checked/ correct
checklist-flat | a1bf1b4f-21ea-4c0f-8bbe-65da944fb552 |  | checklist | Cesspit Installation |  |  |  |  | Yes | Cesspit Installation | 050068af-f8f0-4e37-bff6-de2580dba030
checkpoint-status | 78f5bf5d-cd8e-4b94-bec0-739b8f2e2d8a |  | checkpoint | Setout & position checked and confirmed
checkpoint-status | 1b6b65a1-1ce0-4d2c-bd64-3ee59b158ea5 |  | checkpoint | Cesspit installed as per standards
checkpoint-status | 365fd7d1-f853-442d-9247-ee4b84cdad94 |  | checkpoint | All inlets & outlets sealed & epoxied
checkpoint-status | 7ce8c89a-e35f-4b75-8fc1-4458471f86ae |  | checkpoint | All cut pipes epoxied
checkpoint-status | 7ec7915b-c7cc-4df8-9800-8fe3277ee575 |  | checkpoint | Grate & Lentil set to Kerb line
checkpoint-status | 74acf79f-51c2-467c-b925-9ad28d473754 |  | checkpoint | Cesspit cleaned of all Debris
checkpoint-status | 5e33c4ed-9cee-4ae4-a554-b3e96857a596 |  | checkpoint | Concrete Apron installed (if required)
checkpoint-status | e024e5ed-f515-4a22-aaf1-732ff91abeae |  | checkpoint | Frame & Grate alignment checked
checkpoint-status | 43002c21-180d-4296-acfb-14ea024e427b |  | checkpoint | Minimum sump depth checked
checkpoint-status | c347c583-ecc4-4153-9e35-5e1163abf8f0 |  | checkpoint | Captive Grates installed (if required)
checkpoint-status | 239da4f0-d2ee-48a4-bcad-2a3650cd56b0 |  | checkpoint | Cesspit complete & ready for sign off
checklist-flat | 673a7a47-7569-42b3-a7a5-137c48b012f9 |  | checklist | Connection Checklist |  |  |  |  | Yes | Connection Checklist | 1d118a43-8769-4fbf-8976-1d5413c1045f
checkpoint-status | e3808833-dca7-4af7-bc9b-33511158ea6c |  | checkpoint | Approval given to connect
checkpoint-status | e84304b1-427c-461b-bc27-63fd34a0872a |  | checkpoint | Heights confirmed - Invert level
checkpoint-status | cf4d708e-1368-45a4-aa8e-2061b7090834 |  | checkpoint | General comments & photos during installation
checkpoint-status | 2947ead6-6207-4e83-b872-0f7036638260 |  | checkpoint | Connection completed
checklist-sectioned | 42bc1e0a-0d81-4ec7-9903-453d2cf5f191 |  | checklist | Drainage - Manhole Install Checklist |  |  |  |  | Yes | Drainage - Manhole Install Checklist | 3e49375b-1bd9-42fe-8f01-b7810c1c4923
checkpoint-group | 7044f8cd-d812-44ef-8b8c-5d840bd27bfb |  | section | Manhole Install
checkpoint-status | 9178e835-3d49-490c-8c77-2f677cb2628a |  | checkpoint | Latest consented drawings
text | 27baa9bb-3ca0-508a-afc0-8ccdd199a941 |  | text | Drawing Ref No.
checkpoint-status | b89fa46e-2469-4936-b097-c47691d1da76 |  | checkpoint | Setout Completed checked and accurate
checkpoint-status | a76c90fb-3907-441f-ae6c-3d205de9dd95 |  | checkpoint | Excavation Accurate - Location & Depth
checkpoint-status | 22c4e031-18fa-4fef-8fa0-bedac4800871 |  | checkpoint | Ground conditions checked & acceptable
checkpoint-status | e123fd66-e359-49fe-903a-b663eb2a94fb |  | checkpoint | Bedding depth and material correct & compacted
checkpoint-status | 5da4c849-2ef2-4d2c-93b2-25a4bb999631 |  | checkpoint | Correct manhole installed to specified height and sitting level
checkpoint-status | fbdb9bc8-5443-4865-936b-aa78895643a2 |  | checkpoint | Manhole Risers Installed (if applicable)
checkpoint-status | 4d571174-6e96-40a7-afd7-9528ada899f4 |  | checkpoint | Joints & connections correctly sealed as specified
checkpoint-status | 61c4b469-b49d-4cf9-bfea-5c153f82621d |  | checkpoint | Manhole benching completed and acceptable
checkpoint-status | 140ae232-fd9f-40f1-959e-fb840781d62c |  | checkpoint | Concrete Lid Installed and sitting appropriately
checkpoint-status | b64cfe2b-c91e-488c-b2e0-603aebad83aa |  | checkpoint | Cast Iron Lid Installed and sitting flush
checkpoint-status | f92f6e5a-9b86-4025-a5c3-a0c01ae6dccd |  | checkpoint | Sign Off on Completed Work (Council etc)
checkpoint-group | 0346dc62-a430-48cc-ac8a-c7cb96dc9a81 |  | section | Backfill
checkpoint-status | 1f2f6308-152d-4e41-a89f-483272704a89 |  | checkpoint | Backfill methodology and material confirmed
checkpoint-status | 83c60a46-9cb9-4811-a6ff-dbd7a0b2ea67 |  | checkpoint | Any formwork/ debris removed from area
checkpoint-status | d16d8687-5190-45fe-8b68-f91f5f6ed109 |  | checkpoint | Any waterproofing/ drainage / service requirements completed and inspected
checkpoint-status | 3c8af2c5-dd95-4382-923b-025fe6b7a6d3 |  | checkpoint | Approval given to commence backfill - attach any other relevant inspections and observations closed out
checkpoint-status | ec73869c-cfa4-4be3-93a9-542a5d9ca7cf |  | checkpoint | General photos and observations during backfill
checkpoint-status | cf433906-ed66-4b17-a32d-ccb112cc4df4 |  | checkpoint | Backfill completed correctly and heights checked/ correct
checklist-flat | 6b97757b-d812-4150-9a63-6eb22d11bfcd |  | checklist | Pressure Test |  |  |  |  | Yes | Pressure Test | 4501dd3c-60bc-489d-83f1-228bde29e8c5
checkpoint-status | c155111b-ba46-4c06-b66b-929cc8bfbbef |  | checkpoint | Pressure Test
text | 2cd3a47c-e8bb-5281-8254-b6f77e990110 |  | text | Test Media(Water/Gas)
text | 0f4f6a8c-decd-5f1d-a185-bb4f1860cbaa |  | text | Working Pressure
text | abac6107-e9da-52cb-84fe-0c76cf149962 |  | text | Test Pressure(PSI/Kpa)
text | 222bbc3b-de15-5ff2-b45d-0e7527565037 |  | text | Duration of Test (mins)
checkpoint-status | 3cbdb504-3c5b-46b4-b8d5-90edf9cd637c |  | checkpoint | The above systems have been installed and pressure tested
text | 28d5a742-95c7-57c7-9d8f-e386e5a056df |  | text | Witness Name & Company
text | c0e2db88-6ab7-5a4e-935d-1ebb481d7175 |  | text | Bassett Representative
checklist-sectioned | 1b217629-bbb2-407a-ac8d-227fd9ce3007 |  | checklist | Watermain- Pipeline Installation Checklist |  |  |  |  | Yes | Watermain- Pipeline Installation Checklist | 8ea32e17-b60c-4829-8b76-77aa29866adf
checkpoint-group | e89f2821-d634-4e56-b6bf-02b83271cc9e |  | section | Pipe Laying
checkpoint-status | bedecc5b-a1f8-4d55-9a31-b13e36c2d5b7 |  | checkpoint | Latest consented drawings
checkpoint-status | 84efaec0-8bc9-4654-b54c-b6dffb448711 |  | checkpoint | Drawing Ref No.
checkpoint-status | db5be829-b101-4fd0-9b5e-733031cd62c8 |  | checkpoint | Setout completed checked and accurate
checkpoint-status | 110162e7-2a2a-4556-97df-597c0c70ef7e |  | checkpoint | Excavation Accurate - Location & Depth
checkpoint-status | 8baf308a-1956-4a52-8b23-d47df9f0d918 |  | checkpoint | Ground Conditions Checked & Acceptable
checkpoint-status | ec9ca9af-0847-4dc5-9a7d-234b6aa685be |  | checkpoint | Bedding depth and material correct
checkpoint-status | 06e1876f-d907-4ccb-af6f-e19604f076ec |  | checkpoint | Correct pipe laid to specified level and grade (all joints sealed correctly as specified)
checkpoint-status | 6a89e781-8583-4ea7-a067-b2077d9f3a33 |  | checkpoint | Start Invert
checkpoint-status | d58b4d5c-0971-4dd4-bc3f-04ed8b062b1c |  | checkpoint | Finish Invert
checkpoint-status | 1dfe8cba-4242-4eb1-a316-c6a3c3e8968c |  | checkpoint | Grade of Pre-Line %
checkpoint-status | 832e0dec-a922-49d6-b089-f47918fec2da |  | checkpoint | Product Type
checkpoint-status | 3962d03a-d8dd-4ba3-9293-5bcfb1f958d1 |  | checkpoint | Install Tests completed, reviewed & approved
checkpoint-status | 40129354-f377-4826-adaf-1d8b016f0675 |  | checkpoint | Local Authority Inspection Passed
checkpoint-status | 9b72a156-71bc-46f6-9325-65c1b52ad960 |  | checkpoint | Name of inspector
checkpoint-status | 38adcf2e-219b-459b-a759-42717b52b1e0 |  | checkpoint | Date
checkpoint-status | 36399b22-4c7a-4e90-930a-bca613e22335 |  | checkpoint | Pipe Laying Completed
checkpoint-status | eb7fecb9-5d23-4978-a0a0-007e17ebf462 |  | checkpoint | Laid by
checkpoint-status | b3435042-afc3-4668-bd9c-6954a085bca4 |  | checkpoint | Bedding Sound
checkpoint-status | 8776a558-9984-47c4-b1d7-3068cfeb29ee |  | checkpoint | Soil Removed
checkpoint-status | 58d592d7-c660-491f-a86e-698ca89d1333 |  | checkpoint | Trench Compacted
checkpoint-status | ec22e816-8df1-4fe7-aa2d-5cdcd59aac81 |  | checkpoint | Hard Filled
checkpoint-status | ffbd1adc-9e02-4ad9-b4fd-5bafb05c4b0b |  | checkpoint | Connections to manholes complete and approved
checkpoint-status | f34be860-80fb-403d-bd3b-81930a3ee517 |  | checkpoint | Air Test Complete
checkpoint-status | 12767b5d-dd53-495d-968e-8580e5108141 |  | checkpoint | Area of Work Inspection Completed & Sign Off
checkpoint-status | 9e1be416-dcc5-49e7-90b2-267bbcbcbd00 |  | checkpoint | Sign Off By
checkpoint-status | 59086263-823e-4d20-ab6a-fc12c3931c97 |  | checkpoint | Acknowledgement of checklist by
checkpoint-status | 70031be4-2e1f-4ff7-9cc5-627bee02db77 |  | checkpoint | Foreman
checkpoint-group | 5341aff2-2684-4603-b230-72db147e4379 |  | section | Backfill
checkpoint-status | 1e41220a-f5a8-40ef-9198-1db61dfd1567 |  | checkpoint | Backfill methodology and material confirmed
checkpoint-status | 85463bd6-04c5-44f5-8609-319501d891fa |  | checkpoint | Any formwork/ debris removed from area
checkpoint-status | 72cbd692-1271-47c0-b641-2d6e02d6e6a1 |  | checkpoint | Any waterproofing/ drainage / service requirements completed and inspected
checkpoint-status | 4f6cd84e-dc00-4fed-9c71-5d13d6952027 |  | checkpoint | Approval given to commence backfill - attach any other relevant inspections and observations closed out
checkpoint-status | 1a47f96e-230b-462a-896c-5e5e58dbd2e8 |  | checkpoint | General photos and observations during backfill
checkpoint-status | 88b4ac5a-8a79-41b9-bb05-3d0663576982 |  | checkpoint | Backfill completed correctly and heights checked/ correct
checklist-sectioned | 32d1abe5-32f5-49a7-8ade-3f0cef92c53b |  | checklist | Weekly Safety Inspection |  |  |  |  | Yes | Weekly Safety Inspection | b40843cd-27db-4bf2-a10e-03c99b61ab6b
checkpoint-group | b2c9b715-b260-4218-85f7-11c429e34ef9 |  | section | Site Control
checkpoint-status | f5eb9f05-0a11-4c69-b7d3-b612dd655331 |  | checkpoint | Hazard board and signage up-to-date
checkpoint-status | 8aed1b52-c9d2-4fb8-aa05-30fb8daafc10 |  | checkpoint | Environmental plan - issues
text | d6990443-6df4-57c1-a321-0d27fd93cf0d |  | text | Toolbox meeting last date
checkpoint-status | bea03fc4-05c0-43b1-9889-709720f00d1e |  | checkpoint | Safety inductions for all on site
checkpoint-status | 8585d0a5-39a8-48dc-a542-c5506efe571f |  | checkpoint | Safety notice board current
checkpoint-group | dd2779ce-5dd2-4bb7-828e-0abba18b70cf |  | section | Site Facilities
checkpoint-status | aadbaa56-98ca-45aa-ad42-3ea85f53fa9e |  | checkpoint | Offices-Clean, adequate and good lighting
checkpoint-status | bc6a102b-8f1d-45b1-939b-4ac9062808a6 |  | checkpoint | Smoko sheds-clean portable water
checkpoint-status | 3bbfded5-aec1-49c6-bab7-6414b0356e42 |  | checkpoint | Toilets-Clean, Washing water
checkpoint-status | d9b581b5-43fd-4aa1-ba5c-6c3a144c1c97 |  | checkpoint | Tool/equipment sheds adequate
checkpoint-group | 5ed1c65c-d7bf-4ee5-975d-640aee4c5963 |  | section | General Site Tidiness and Access ways
checkpoint-status | 55e76432-0394-4416-b807-4ee65bd83d6a |  | checkpoint | Clear access to work areas
checkpoint-status | fc24591b-9fe5-4576-82ab-c62d9f99d88c |  | checkpoint | Stairways and access ways clear
checkpoint-status | 2b10484e-28a5-4417-af6b-ce0801d333cd |  | checkpoint | Hoardings/fence and gates secure
checkpoint-status | 2e722553-a593-4b47-8ce9-ab1705c5d50c |  | checkpoint | Loose materials secure from wind
checkpoint-group | 7b4dce89-8534-4eaf-a3a5-21e6a3a9cfce |  | section | Personal Safety Equipment
checkpoint-status | d4022292-9bbf-4719-8ac9-87b072018d20 |  | checkpoint | Signage displayed and legible
checkpoint-status | d6e66d57-799c-4978-9bb1-f1e7409a909e |  | checkpoint | Hardhats being worn
checkpoint-status | 146ec6db-782a-4d54-b461-34fadf793384 |  | checkpoint | Correct footwear being worn
checkpoint-status | e81027d1-2c4f-4842-97a4-0896565fedd4 |  | checkpoint | Glasses/ear muffs/vests/ masks used
checkpoint-group | a0447d0f-a4d4-4e55-870d-cd9d1e959b23 |  | section | First Aid/Fire Prevention
checkpoint-status | 2908d6bd-24fb-4b2e-8511-39a69bf25795 |  | checkpoint | First Aid Box available and current
checkpoint-status | 59190061-773b-457f-8397-84f626c8263f |  | checkpoint | Accident Register
checkpoint-status | c165bf6f-bd99-4a5c-84e6-a04a33313b1d |  | checkpoint | Fire Extinguishers
label | 32a72701-5253-5296-aa9a-fad82a42ba12 |  | label | Available
label | ab06cc57-885d-52fa-b2d6-0f436542ab1a |  | label | Current(12mth)
label | b9cfaf03-9335-5def-a757-e4232d87f56f |  | label | Sufficient
checkpoint-status | ef3a9a45-6af9-4ccd-ae1d-a4a46daaa242 |  | checkpoint | Evacuation
label | 3fdf961c-5b35-53d8-bcf4-20fb16776027 |  | label | Procedure Current
label | 560b67c5-d8be-59ec-8b34-20076f3e7747 |  | label | All emergencies Incl.
checkpoint-group | 80d4fbe7-58d9-4d59-a162-01549ce74083 |  | section | Cranes/Hoist/Lifting equipment
checkpoint-status | f5cb5a75-ea2b-4ea7-abc2-43685f91c7f1 |  | checkpoint | Proper lift assessment plan done
checkpoint-status | 7d92c13f-5a95-48b2-966a-97ed6b4c6659 |  | checkpoint | Crane Certification current
checkpoint-status | f72ee8cc-221e-4fe0-8d9e-e84555e5f637 |  | checkpoint | Slings/Chains Certified
checkpoint-status | a32de997-cbc3-4129-af04-bdb2ab322125 |  | checkpoint | Operator procedures in place
checkpoint-status | 5494b5b3-05a3-4d0a-8ecf-ea6a4f22152d |  | checkpoint | Inspections being done
checkpoint-status | 04343c47-9f5e-42ce-8b4b-f8144001262f |  | checkpoint | Man cage available
checkpoint-status | d1b31c2f-3983-47f9-8ce4-6f12089f59cb |  | checkpoint | Emergency plan in place
checkpoint-group | 10bf3d5c-53da-4879-823d-2589938b72d3 |  | section | Compressed Air Equipment
checkpoint-status | d67ba8a9-db52-4e89-82ad-264440c8732f |  | checkpoint | In good condition
checkpoint-status | 1e05e9f7-0b44-405f-938e-6ee41d01ef85 |  | checkpoint | Appropriate guards fitted
checkpoint-status | b918b22c-7b3e-41b1-a233-1f0b88827e8d |  | checkpoint | Trained User
checkpoint-status | 1ff8956b-6f18-4ebc-b51c-d52b050400c2 |  | checkpoint | Excavations Correctly shored
checkpoint-group | df4b1906-0784-40f9-b33c-de809882ccb5 |  | section | Welding/Gas Cutting
checkpoint-status | 1291c23f-ba55-465b-8cec-acab63b98626 |  | checkpoint | Hot works permits being issued
checkpoint-status | 908faf7a-33c7-46b4-bbc4-c0afecffbb94 |  | checkpoint | Fire extinguishers on hand
checkpoint-status | 810f94cb-4f7e-466c-aba9-59a6ac7e4340 |  | checkpoint | Operators using PPE
checkpoint-group | cdad0aa5-d04d-446e-9071-594cf59b591f |  | section | Electrical Equipment
checkpoint-status | bee40293-e1bd-4387-b49d-eaac8021eae7 |  | checkpoint | Main board lockable/weatherproof
checkpoint-status | 81e1f88f-9e18-496c-9917-4f662f517e84 |  | checkpoint | Current tagged and damage free leads
checkpoint-status | 05303374-49d2-4c69-830f-cd7f8dce49ec |  | checkpoint | Current tagged plant
checkpoint-status | 45646162-a95b-4aa6-9ad6-86c0bf369c78 |  | checkpoint | Current tagged Lifeguards
checkpoint-status | 02f6faef-b23e-4f97-bfb9-96bd30ed863b |  | checkpoint | Leads safely placed
checkpoint-status | 3cb9697c-31c6-402a-abf5-40a5557fbbac |  | checkpoint | Equipment in good condition
checkpoint-status | 360a79c8-7cb3-4b00-a01b-2166b8c41b35 |  | checkpoint | Appropriate guards on equipment
checkpoint-status | 8d3cbce2-496a-4f94-b2b1-5d3486273eae |  | checkpoint | Adequate temporary lighting
checkpoint-group | 52a79f60-5712-4474-9225-416d099d7c4c |  | section | Chemicals
checkpoint-status | d537c81e-1f03-45e8-9218-c8c6740ac9c9 |  | checkpoint | Correctly Stored
checkpoint-status | e2951944-c861-41ce-8841-b0dfb0b20e17 |  | checkpoint | MSDS available
checkpoint-status | 852a4d41-2c35-422a-82ae-0727b9b406df |  | checkpoint | Operators using PPE
checkpoint-group | ee967a17-63e5-4667-96e6-6ada0502a312 |  | section | Tools
checkpoint-status | dafed004-f7c7-4d90-a249-4d8bbf0628ad |  | checkpoint | PAT tool WOF current and secure
checkpoint-status | 31954882-cd90-4e51-88bb-b37fcae72cbd |  | checkpoint | Staff trained in tool use (SWPS)
checkpoint-status | f3a0eea9-49f5-45ab-84cd-1d9dc9854191 |  | checkpoint | PAT signage on site
checkpoint-group | 1267fba0-2988-47c3-b437-ce3cc35088fa |  | section | Scaffolding
checkpoint-status | d72dba6b-d36b-4769-8d49-a49741f3c1ce |  | checkpoint | Notifiable weekly Scaftag/current
checkpoint-status | 8b5a192f-2c60-4841-8041-21ef1b4a7939 |  | checkpoint | Handrails/mid-rails
checkpoint-status | d6fc5df3-22af-429c-89a0-720c99e970ea |  | checkpoint | Toe boards
checkpoint-status | 1de2c770-af05-4eba-a4ee-3c2a3a59349c |  | checkpoint | Platforms
checkpoint-status | bd150061-f6b0-476d-bcec-9817b2ec9306 |  | checkpoint | Ladders/stairs
checkpoint-status | 741c3aa9-00cc-44e7-87bf-9b543ef50367 |  | checkpoint | Base sound
checkpoint-status | 9782b184-a716-46ab-bcc0-823831d116ef |  | checkpoint | Work platforms clear
checkpoint-status | 3306cebf-2304-4cc3-bbfa-b470181e59ae |  | checkpoint | Platforms trip free
checkpoint-status | 85426586-fdf7-45e4-a58a-4bb5534c49f5 |  | checkpoint | Planks tied down
checkpoint-status | 6a7ffe9a-87e6-453f-8eac-794b97a3f8d5 |  | checkpoint | Headroom clear
checkpoint-status | b4db7f24-f449-4112-9f77-4ec7fd4c94ed |  | checkpoint | Ties/bracing adequate
checkpoint-group | 25d9f1f6-a2f7-42c1-a766-b0bdb609a747 |  | section | Ladders
checkpoint-status | c489e96a-4076-487a-b7ee-0e0ce3840fc0 |  | checkpoint | Good Condition
checkpoint-status | db921f4f-6122-4470-802c-b741ba13eaeb |  | checkpoint | Secured top and bottom
checkpoint-status | bd51c500-3d34-42ad-8f45-b6119c87e807 |  | checkpoint | Stays to step ladders
checkpoint-status | f5fea9de-81ca-4fad-9fde-65a5bc0f8989 |  | checkpoint | Working 2 Steps down
checkpoint-group | c675b84d-e757-4465-b386-e19f83d1a169 |  | section | Fall Hazards
checkpoint-status | 5e2cd551-aa97-4032-821b-cdcaf3e1733b |  | checkpoint | Floor edges
checkpoint-status | a8e09cb2-3536-4853-8c8b-4982502524fc |  | checkpoint | Floor openings
checkpoint-status | 861161bb-2726-4b59-82bc-ebc7337aea6f |  | checkpoint | Lift shafts
checkpoint-status | a5e72984-db60-4e07-82cc-2b8f904dd529 |  | checkpoint | Stairs
checklist-flat | b091d1cd-ae69-47ed-9f15-45c137ec6a76 |  | checklist | CCTV & As Built checklists |  |  |  |  | Yes | CCTV & As Built | c8929d15-7b4b-4f76-bc78-bc9e2b89eaa7
checkpoint-status | 57d78f80-34a7-40da-89e0-497ad0b8e787 |  | checkpoint | CCTV complete (results recorded)
checkpoint-status | 40419d1e-f156-4473-a99f-241926b9ab49 |  | checkpoint | As built plans complete (results recorded)
checklist-flat | da58fb60-4656-45a5-8441-bce7a4049f46 |  | checklist | Photos |  |  |  |  | Yes | Add Photos | e7688782-3668-4a85-9765-e185a3c97576
checkpoint-no-status | bf0b5ebe-6c1f-42fa-bed7-66da0711afbb |  | checkpoint | Attach Photos
checklist-sectioned | ffa60102-91b0-4283-a0e8-e3c3c6474d76 |  | checklist | Services Trench Checklist |  |  |  |  | Yes | Services Trench Checklist | f4179f66-36c7-464f-b431-6acb4edf526c
checkpoint-group | 33456d72-5472-4a2c-9095-6d92b9ac3d0a |  | section | Trench Excavation
checkpoint-status | 4b51ce1e-5efa-4e44-b0f8-e96e93fb5fdc |  | checkpoint | Latest consented drawings
text | 1a0dd4f2-f777-5949-bd70-3d48240e4670 |  | text | Drawing Ref No.
text | b4becba9-d008-5b5d-8ccf-0ef6a2025702 |  | text | Trench type
checkpoint-status | 1ff19bc5-b75d-4a8d-bdde-c6bab2e8744d |  | checkpoint | Setout completed checked and accurate
checkpoint-status | 71991c62-f5f2-47af-9ddd-47102b049d19 |  | checkpoint | Excavation Accurate - Location & Depth
checkpoint-status | d5f64b36-134c-464b-8acd-1796454b037f |  | checkpoint | Ground Conditions Checked & Acceptable
checkpoint-status | f1cc7bf4-1640-48f8-96f6-de2ec9ecc8fd |  | checkpoint | Bedding depth and material correct
checkpoint-status | b1bd4ad5-d69c-4dfc-be28-dcda32e8ff59 |  | checkpoint | Approval given to commence backfill - attach any other relevant inspections and observations closedout
boolean | f8eef565-cbcd-5529-8258-8c5d4a2c74ea |  | bool | Bedding Sound
boolean | d6ab46ad-dd3f-5d8c-9353-d9dc75471378 |  | bool | Soil Removed
boolean | a29c1ac3-188c-54a0-a851-46fc96d41436 |  | bool | Trench Compacted
boolean | 73c2d4e1-d230-56cf-b909-87eaebd2814a |  | bool | Hard Filled
checkpoint-status | 6619417a-4f6b-4957-ad41-4724d4b6d77a |  | checkpoint | Area of Work Inspection Completed & Sign Off
text | dfd5c19e-bfb3-56cb-88e7-c5b7fb306ef1 |  | text | Sign Off By
text | 65946c95-0ce1-550d-ac5f-aff98edfd509 |  | text | Acknowledgement of checklist by
text | 2d8ed139-6e4f-5f93-8315-0e67abbee554 |  | text | Foreman
checkpoint-group | 286891f7-251b-4299-924b-3b0699bfb82c |  | section | Backfill
checkpoint-status | bde31b08-15f6-47df-b80b-95ecefb2cc36 |  | checkpoint | Backfill methodology and material confirmed
checkpoint-status | 56ff7294-8d04-4dd0-a544-06d39a26a6ed |  | checkpoint | Any formwork/ debris removed from area
checkpoint-status | 19d87243-f3ed-4b98-909f-270b879a4852 |  | checkpoint | Any waterproofing/ drainage / service requirements completed and inspected
checkpoint-status | 3a2a06aa-5753-4e0f-acb2-4b17d4e734e8 |  | checkpoint | Approval given to commence backfill - attach any other relevant inspections and observations closed out
checkpoint-status | dd98a5b4-3760-4ffe-9eb3-1a3a8d4f5bd3 |  | checkpoint | General photos and observations during backfill
checkpoint-status | b1de31dc-d54a-4a01-91ed-af2c78801462 |  | checkpoint | Backfill completed correctly and heights checked/ correct