## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | ff43493a-62af-4b60-8517-b9b495b9659a |  | checklist | Bathroom Second Fix Plumbing |  |  |  |  | Yes | Bathroom Second Fix Plumbing | 01da8b16-8deb-44d1-b951-aea900a124f8
checkpoint-status | 03646d19-b346-40f8-9b4c-779a256c69dd |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | 38f0b4b6-3150-44ea-a6a3-cb950396b1fa |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | a4458858-35b1-4857-8b3e-b9b446dbe670 |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | ad9ce5ff-df59-467c-8c75-168ded61bf4d |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | cf232166-75f4-4410-bf0c-9f4996df8c75 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | 27cf2b85-b678-4cb8-8884-98ef1041b5b3 |  | checkpoint | Check Traps For Leaks
checkpoint-status | 75b60272-6e84-49b9-b535-b4417bbcc685 |  | checkpoint | Check Cisterns For Leaks
checkpoint-status | cf09a031-d82e-49e4-93ed-495eda6ed3e7 |  | checkpoint | Check cisterns flushing correctly
checkpoint-status | 0064067f-3df8-4f3c-9852-e5f9dc38df93 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 946181e2-b9ca-4873-be9c-0fff722ead24 |  | checkpoint | Test TPR on HWC and safetray drains away & airgap
checkpoint-status | 9731c0cf-f2bd-4f03-94f3-9d2ad883db21 |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | efe84630-c04a-494c-8365-c5d36e6d5ac7 |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | 7a46d4a6-31bd-48b2-b239-7ac256e90386 |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | cf42a6ae-4d69-48a3-b1b4-9d2ab4a4d4e0 |  | checkpoint | Check FWG & Shower wastes are clean & clear
checkpoint-status | bd8eb99e-e296-40a0-b768-ff14a6c0ed7d |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | 4ae12156-2a3b-40b5-8456-abc6320404bc |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | a91878fb-9f43-461e-bbc8-b6a22f2afb84 |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | f484411c-dfc1-4d80-9404-481a712b3b4a |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | f7ef5396-ffc0-48ec-bb72-afd591747afe |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 0c99ca78-94f3-4a92-9bb4-5f0a9320a7f2 |  | checkpoint | Temperature set point
checkpoint-status | 1b20427d-b194-4370-a5f1-dafc83103bf7 |  | checkpoint | Installers name & date works completed
text | 719a5ac3-6fdf-50c0-a089-ef3a46bf87cb |  | textbox | Installers name
text | 6ac1d854-ced7-52b4-a914-a5177c34c11b |  | textbox | Date:
checkpoint-status | 6597d138-9c35-4426-b4df-0ca2106348d9 |  | checkpoint | Tested by & date
text | 7837df71-81aa-5b13-a976-6e3e0962de2b |  | textbox | Tested by:
text | e3dc8a42-704e-5dd5-8ac7-3febf3e888d6 |  | textbox | Date tested:
checkpoint-status | 12407da5-9e20-402b-a134-d69eb1fff9a6 |  | checkpoint | Council inspector sign off and date
checklist-flat | ec47bf43-2917-4469-b955-9064516fa015 |  | checklist | Kitchen 1st fix |  |  |  |  | Yes | Kitchen 1st fix | 0c82a62c-c7be-48d0-88e4-e0a622f5ab76
checkpoint-status | d0b386e5-593b-4a90-abf0-38e4ae6c260d |  | checkpoint | Cold water pipework installed
checkpoint-status | 5185cae2-90c7-47b4-affd-f0e1a180a157 |  | checkpoint | Hot water pipework installed
checkpoint-status | 344a5afa-bdd4-43ff-9edb-ac55e362df06 |  | checkpoint | Thermal lagging complete
checkpoint-status | 98229355-93c3-4e4d-841d-a80e9baf946d |  | checkpoint | Wingback and waste correct setout
checkpoint-status | 2b1c093b-83ad-4f36-9c5c-6b62c8fb8a60 |  | checkpoint | HWC waste installed
checkpoint-status | 17e44ef4-96f0-49cf-81b6-39eb0841096e |  | checkpoint | Floor waste installed
checkpoint-status | 2a75a5ad-669e-483d-ad84-73958016be75 |  | checkpoint | Waste pipes installed
checkpoint-status | 4dde3af1-ab3b-432f-810b-4a0da71dce7c |  | checkpoint | All pipework clipped and siliconed where it runs through walls
checkpoint-status | ae98f11e-de79-47ed-9235-b1be6fcf13da |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 5d7ead70-a031-4f1b-8a34-033fef4398d9 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | 6bb6cc99-8963-4a92-8db5-213cea905ef5 |  | checkpoint | All pipework pressure tested
checkpoint-status | 79e08e74-80d6-45a5-ac8e-4d61e19f778a |  | checkpoint | Check no 1st fix clashes with 2nd fix fixing screws
checkpoint-status | eae61ae8-c2fc-4448-bb44-b478f707d599 |  | checkpoint | Check all nogs are installed
checkpoint-status | 275fce94-f8ee-48a1-bc8d-6a689725a3e2 |  | checkpoint | Installers name & date works completed
text | 7c53ac4a-9de9-583c-aeee-f950e6b177bd |  | textbox | Installers name
text | fe6b0472-aa21-521b-ab18-53008d15dcf2 |  | textbox | Date:
checkpoint-status | ad59c15f-0bf3-4d9e-81f7-db59357046c1 |  | checkpoint | Tested by & date
text | e5538ce9-01f3-51a1-8f0a-44d966f67d20 |  | textbox | Tested by:
text | 93bee82b-a858-5343-b4c6-c404456b66e0 |  | textbox | Date tested:
checkpoint-status | e0faa076-c874-4284-b71c-ebd2910c4fef |  | checkpoint | Council inspector sign off and date
checklist-sectioned | b844b8c1-1349-45f8-8a1f-0f78c96630a0 |  | checklist | Core Water |  |  |  |  | Yes | Core Water | 1e832494-2b46-496c-bea1-b754415bb6d6
checkpoint-group | 0ee18ec1-3fd5-4e05-9431-889d583b9dda |  | section | Cold water main
checkpoint-status | 940348d1-5b10-4e86-9d63-734d865d0dd3 |  | checkpoint | Connections brazed correctly
checkpoint-status | f4de116f-de62-412b-82a0-68b80868e973 |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 4bcf65f4-ec60-49d8-8d00-440989f217d9 |  | checkpoint | Valves fitted correctly
checkpoint-group | 9147a03e-b977-4965-90d5-7308cf9bac1d |  | section | Hot water main
checkpoint-status | 964ed43c-29a8-47f4-97fa-d54a3195efc6 |  | checkpoint | Connections welded correctly
checkpoint-status | 38ee51bb-d4c5-4340-968b-f025cb49cde4 |  | checkpoint | Clip spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 6bacfb6b-a0c4-46f3-8881-8cb1992808a6 |  | checkpoint | Expansion allowed for
checkpoint-status | 30205e96-33a5-48b7-bf72-2a80724c4b7a |  | checkpoint | Lagging installed and neat
checkpoint-status | aa134d40-6935-466a-960f-32802ff07fd2 |  | checkpoint | Valves fitted correctly
checkpoint-group | d27f8f87-d163-4538-8c43-41ce3ecbec1a |  | section | General
checkpoint-status | be8ff9ba-bd38-4d09-888d-785eca02c12b |  | checkpoint | Open ends of riser capped for testing
checkpoint-status | e21327c2-c8f7-45d6-8ce6-572f935cb204 |  | checkpoint | Checked for cross over's
checkpoint-status | 17fabdda-871d-4947-b10c-5fa5d112d7c6 |  | checkpoint | Tidy work areas
checkpoint-status | 78508479-5328-4322-8edf-caa7c7dd409e |  | checkpoint | Allowance for expansion
checkpoint-status | 4d82b739-2de7-4ca5-a620-1338e0b9480c |  | checkpoint | Pressure test to 1500kpa for 30mins
checkpoint-status | 5e2326c4-ee73-4166-bfcf-6427aa767228 |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | 1839a927-b329-4b3b-80c7-88378a98bdec |  | checkpoint | Seismic bracing for pipework longitude and latitude
checkpoint-status | 723a0bd1-beaa-4df4-949f-1c212bcee27e |  | checkpoint | Lateral labelling of pipework backflow devices fitted
checkpoint-status | 66c567c3-349f-4c3a-b401-cf1066cd72bf |  | checkpoint | Pre Line Inspection Passed
checkpoint-status | f2918d30-9f78-4904-8413-d1ae76a6931d |  | checkpoint | Installers name & date works completed
text | 5d04e062-bc71-50bc-8b5e-6c5824732008 |  | textbox | Installers name
text | 919acd21-40ca-513d-ad4a-33d21dbeb75c |  | textbox | Date:
checkpoint-status | 8b1ee7c3-de2e-4989-ab76-74017e93c1ca |  | checkpoint | Tested by & date
text | a8cfcfcb-a0fe-553e-9d2b-d349393317cd |  | textbox | Tested by:
text | e1549f45-c80a-57ee-ab0b-7316a99e3ad9 |  | textbox | Date tested:
checkpoint-status | 053e3dfc-a7ca-4937-be99-099c1f66648d |  | checkpoint | Council inspector sign off and date
checklist-flat | 1b8d793c-b6cb-4c15-8c6c-e956f5c78f90 |  | checklist | Underslab |  |  |  |  | Yes | Underslab | 2231080d-9c3c-4731-a664-fc69d2b05b59
checkpoint-status | e0fa1dff-c421-439f-be66-9277faba6164 |  | checkpoint | Area ready for works
checkpoint-status | 8b760f08-afc5-4d1f-b025-3d620bbf2e2c |  | checkpoint | Dimensioned Slab Set Out Drawings
checkpoint-status | d9fb94f1-08d5-4090-bcb0-d31c6908efc1 |  | checkpoint | Minimum Or More Fall Achieved on Slab Piping
checkpoint-status | 959ac8f9-b924-4046-a943-10f09ac2dc59 |  | checkpoint | Under Slab Piping In Slab
checkpoint-status | 825a9246-5103-4c29-8304-5f4953de8584 |  | checkpoint | Called For Underslab Inspection To Be Booked
checkpoint-status | b6cc6b98-ebc2-445b-9d51-b643ab6aada8 |  | checkpoint | Mains Water Supply In Slab
checkpoint-status | 8211386e-98c3-4a1c-bd9d-4c1e3aa5dc00 |  | checkpoint | Water Supplies installed incoming / island bench
checkpoint-status | c0e12c96-62dc-4a70-8e69-24dc98cc4fcd |  | checkpoint | Gas supply
checkpoint-status | 030c6ecb-1263-405d-845b-0dfd64baefd6 |  | checkpoint | Test Plug Removed From Pipe System by:
checkpoint-status | 4453ffc2-05a3-4012-b1bc-0d0d1d9d9b1f |  | checkpoint | As-Built Drawings
checkpoint-status | 59f2b810-a7ed-4243-b43a-3c499c74ccf1 |  | checkpoint | 25mm Protection Around Pipes Penetrating Slab
checkpoint-status | eb252de4-44cc-4b4d-b449-42dcdaa6383b |  | checkpoint | All Measurements Double Checked
checkpoint-status | d296faf7-7e7f-4fb3-8be1-08faa03ad126 |  | checkpoint | Boxing For Shower Wastes
checkpoint-status | 58cab4d4-df35-4366-8abb-fa890924fc82 |  | checkpoint | Lagging and trace wire to greasy wastes
checkpoint-status | 8a4f5b51-5183-4016-8cfa-246c8b2d00b2 |  | checkpoint | Haunching & Bedding
checkpoint-status | 9dd1f433-993a-4d5f-a5e9-a0bc6e8cca50 |  | checkpoint | Concrete Under Gully
checkpoint-status | 610b6c13-381b-4e6b-b54b-ff9b70d41d37 |  | checkpoint | Drawing Number And Revision
checkpoint-status | 78831a88-ce88-46b2-8456-6402b8c15edd |  | checkpoint | As built drawing complete
checkpoint-status | 51ed878b-cd2b-4e22-8348-af82d3d4efc5 |  | checkpoint | All upstands capped
checkpoint-status | 86190adc-763d-4425-976d-683b5009d3cf |  | checkpoint | Installers name & date works completed
text | 19f1c382-7c3a-54eb-92e0-7932d98254c0 |  | textbox | Installers name
text | e19dd97c-eeed-5a6d-8def-66b393ff7bb6 |  | textbox | Date:
checkpoint-status | 2d5d3b4e-1fe2-48cf-8c33-3db7cc168e17 |  | checkpoint | Tested by & date
text | 901a4d95-5187-5562-bd07-6909d900850f |  | textbox | Tested by:
text | fc0d330c-d69c-5f34-97df-1cf93c60e107 |  | textbox | Date tested:
checkpoint-status | 9ce4f380-a1dc-4b03-8a7e-f6b7dad10647 |  | checkpoint | Council inspector sign off and date
checklist-flat | 833f2f31-05cd-467a-b12b-0d8d9bda7ad8 |  | checklist | Classroom 1st fix |  |  |  |  | Yes | Classroom 1st fix | 3d6dce9e-17e3-406e-9107-e6691afd001d
checkpoint-status | 125e1563-1bf6-447e-b094-28fd50f07211 |  | checkpoint | Cold water pipework installed
checkpoint-status | 940f5db0-51de-4920-b2ed-5600086d10c2 |  | checkpoint | Hot water pipework installed
checkpoint-status | b3d0fccc-bd89-437d-ae2c-f69907fcbfb3 |  | checkpoint | Thermal lagging complete
checkpoint-status | afaa0c3d-5426-499a-a308-38f849ed0aa8 |  | checkpoint | Wingback and waste correct setout
checkpoint-status | f7ab97b2-bb48-4435-a40a-4f9278202bbc |  | checkpoint | Gas pipework installed
checkpoint-status | 7cbd5d6f-0d11-46b5-977b-de175ae8fca2 |  | checkpoint | Gas Guards installed
checkpoint-status | debd055b-1475-4a8a-844b-cc0c089cdf3a |  | checkpoint | All pipework clipped and siliconed where it runs through walls
checkpoint-status | 57b912d6-e59c-439b-9109-ca31d718afa0 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 354cf64c-f634-4a91-89b4-4d6c291e3605 |  | checkpoint | Tempering valve installed
checkpoint-status | 33a4211e-8ce0-4330-9db4-538dabe559a2 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | fd37b730-6ca1-405c-b28f-17ebb30ff1a2 |  | checkpoint | All pipework pressure tested
checkpoint-status | bac15d51-7f1b-427c-8dea-59e672624ed1 |  | checkpoint | Check no 1st fix clashes with 2nd fix fixing screws
checkpoint-status | a512aaf9-0b27-4ab4-a2e2-d6ee2d110173 |  | checkpoint | Check all nogs are installed
checkpoint-status | ca57ec2b-ba28-4c63-b3c2-362b5c365e48 |  | checkpoint | Installers name & date works completed
text | b8013479-984e-5dae-a105-e619aa1ebe7a |  | textbox | Installers name
text | 7810d5c9-fbfb-5a7d-a0d9-daf5026fdb53 |  | textbox | Date:
checkpoint-status | 20504aff-aff4-417b-a3fe-9ea80073dffd |  | checkpoint | Tested by & date
text | 44b86dea-581b-5c6b-8ae0-149bd146f5dc |  | textbox | Tested by:
text | 26ba1d03-320c-5ef8-b8d3-2d9415b6b82f |  | textbox | Date tested:
checkpoint-status | a77ae1f3-4b30-4762-becf-9890c4a378b6 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | e9579fb0-ebbc-4f6b-bfa1-ff2550cf640f |  | checklist | SS or SW pump QA |  |  |  |  | Yes | SS or SW pump QA | 3f43299e-2c7f-4499-ba6c-a734b8f1c891
checkpoint-group | 3e048329-f964-4e84-9617-d8483c4d2675 |  | section | Pumpset mainfold
checkpoint-status | 379ac952-58a6-4487-bd1b-6b5a370e2d41 |  | checkpoint | Connections welded correctly
checkpoint-status | 3796ea35-5405-4ee8-b11c-3267625529f3 |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 6ee45313-8eae-4c05-a398-44e7c6b4b670 |  | checkpoint | Valves fitted correctly
checkpoint-status | 994c204a-cf78-4d38-abf9-8e380a93f050 |  | checkpoint | Line strainer fitted between pump & tank
checkpoint-group | 1befe5d2-bb63-4d1f-bd12-5014dfc4fc7a |  | section | Pumps
checkpoint-status | 812a7f6c-7627-45d0-8a51-f39408f9af67 |  | checkpoint | Pump 1 Startup KPA
checkpoint-status | e9ad2cdb-2004-458f-b5e2-b97c1212cb30 |  | checkpoint | Pump 1 kick out pressure KPA
checkpoint-status | ab1f0953-f1eb-4f64-8230-b62334798303 |  | checkpoint | Pump 2 Startup KPA
checkpoint-status | 220ebd28-e211-41d5-b39e-5a1488818305 |  | checkpoint | Pump 2 kick out pressure KPA
checkpoint-status | 200ceca5-ae6a-43a2-8c67-fe8dd7f5c647 |  | checkpoint | Pressure vessell pressure
checkpoint-group | 6bde6894-462b-44f1-8242-4ca52de5349f |  | section | General
checkpoint-status | c7b61a86-69e1-416b-81fc-f6e990a9cafb |  | checkpoint | Mains water change over
checkpoint-status | fec5daac-9b26-402d-b792-f599558f4209 |  | checkpoint | Flow test pump
checkpoint-status | e8205c00-116a-4e87-9003-710b619ff0b7 |  | checkpoint | Pressure tests pipework
checkpoint-status | d934e034-32f4-47e4-a006-d5ea97181b8f |  | checkpoint | Visual check (for leaks from valves, tees, saddles, etc)
checkpoint-status | cb4b44ed-560f-4d1c-93e4-f673a5366c47 |  | checkpoint | Non return valves fitted
checkpoint-status | b2026ce1-7e6f-47cc-81a4-1d421d62b1cc |  | checkpoint | Installers name & date works completed
text | 12d11108-09bf-5875-b8d3-4128f0d3552d |  | textbox | Installers name
text | d55a3c89-16aa-5534-87ec-9e3340180094 |  | textbox | Date:
checkpoint-status | 8aaea4bf-cc55-4ef7-b413-2c6eec416817 |  | checkpoint | Tested by & date
text | 49b55316-df81-5b66-ae80-c352ec5e8c34 |  | textbox | Tested by:
text | 460b2730-21b1-5e43-a755-9e6edb561170 |  | textbox | Date tested:
checkpoint-status | dbeabef4-278a-47d4-acc7-02ae35f984b7 |  | checkpoint | Council inspector sign off and date
checklist-flat | 4bd8fcc0-2176-4163-b9e3-e47395ed0a5a |  | checklist | Kitchen 2nd fix |  |  |  |  | Yes | Kitchen 2nd fix | 49ce03d4-985c-42b7-80c7-bd5ff723c49c
checkpoint-status | 1cba9b6e-29a7-4c50-823b-3dcf0fff252f |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | e5b67a73-c756-4d5c-bf83-33b38896b073 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | 4e50c0a7-32bd-402d-ad7a-9adede284995 |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | ba3c156d-1fca-4cea-99e6-d7fd9f4f67d2 |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | cbb68255-464f-418a-b90c-9d3096848178 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | 9ae6fed7-2ea3-4986-89b8-c311ff779fdc |  | checkpoint | Check Traps For Leaks
checkpoint-status | f58e2837-2a7f-4d5c-a300-66dda1a7382f |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | b70bac75-4d53-409e-be1c-f57577767553 |  | checkpoint | Test TPR on HWC and safetray drains away & airgap
checkpoint-status | 7ce3addc-95e8-4f6c-9b9f-054bb04b1d10 |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | 85568a8f-84b9-41ac-a292-32143fa0ef0c |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | 09e3ba8e-dc96-49e7-9d2c-73e6cb72cf66 |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | 5f6e9a44-f5ce-430f-9d8e-0f79e67d68d8 |  | checkpoint | Check FWG are clean & clear
checkpoint-status | 348bb87c-5df6-4758-a531-e1cd6c516326 |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | 3f178ccb-3296-4f45-88d7-c2f1988db346 |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | 190ff2b8-5a2c-43b0-88fc-74234b7e26b8 |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | dc232868-ae1f-461e-80a7-71f4e4ec7e2b |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | 22e6862d-05cf-412d-8699-dc74ae0b99d1 |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | 2e6ccf88-508f-4f61-808a-aee908604349 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 437169f3-9722-4f4c-8198-88873320f7e1 |  | checkpoint | Temperature set point
checkpoint-status | 8cd4124d-a83e-42c2-b812-bf8925cfd204 |  | checkpoint | Installers name & date works completed
text | d3348c7b-e46b-529c-8d80-e489af1722a2 |  | textbox | Installers name
text | df3b9097-cf6f-5711-b22b-411eb781f999 |  | textbox | Date:
checkpoint-status | d96994a9-da81-4bc6-9a4b-5b555e1560f9 |  | checkpoint | Tested by & date
text | 79dc76a5-dbe3-50bb-9a49-d07174b73e1d |  | textbox | Tested by:
text | 459e55f6-5856-5c9c-83b4-e9149889be57 |  | textbox | Date tested:
checkpoint-status | b82a6681-0617-483f-ab73-16a013dc4d93 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 4e934e29-f534-4341-8051-bea68a8b7ba8 |  | checklist | First Fix Plumbing - Including HWC |  |  |  |  | Yes | First Fix Plumbing - Including HWC | 54afe637-58b6-4ac0-85b4-f52d60ec9385
checkpoint-group | a314fad5-3133-4aea-9f40-ef99cf74f01c |  | section | Bathroom
checkpoint-status | 95abdda7-cdcf-40d0-80ac-4606851d3733 |  | checkpoint | W.C Supply
checkpoint-status | 062f32e9-eeb4-45b9-8b8a-83603bdf61b5 |  | checkpoint | Shower waste
checkpoint-status | ef40833d-2ba0-4469-a366-1e00cf08fff7 |  | checkpoint | Shower mixer/check depth
checkpoint-status | 2f8cd923-ce70-4c8f-b52a-e54585d8f903 |  | checkpoint | Toilet waste
checkpoint-status | 9f6836d4-4a3d-4636-9a01-e31f5b80d963 |  | checkpoint | Vanity Waste
checkpoint-status | 3a408b14-1f52-4a24-b195-db3e718f59c6 |  | checkpoint | Vanity Wingbacks
checkpoint-status | a4c40f6c-c5ba-421d-9e73-f858d7579fab |  | checkpoint | Vanity, shower, toilet nogs
checkpoint-status | ee52f652-0290-4dba-909c-55fe535d1180 |  | checkpoint | Bath mixer where applicable
checkpoint-group | eb6d9575-256c-4b66-8301-0d9bbbdfde7b |  | section | Laundry
checkpoint-status | 3606114c-308e-4a63-a92c-701cc4b3d5d8 |  | checkpoint | Hot and cold water
checkpoint-status | 7c94457a-e4ff-4082-82d0-4d43f525babb |  | checkpoint | Waste pipe
checkpoint-group | c15e760d-f409-4b49-a85a-812524c1f5f1 |  | section | Kitchen
checkpoint-status | 9a91452c-6353-4e86-8bf1-6d517fecb739 |  | checkpoint | Hot and cold water
checkpoint-status | ff959cb8-6858-4b9b-8fc2-6b1a502357e4 |  | checkpoint | Waste pipe
checkpoint-group | 959d6dd7-ac81-44e7-aa52-38f5eba72f40 |  | section | Balcony
checkpoint-status | 6a1b4b90-90e7-4fcd-9799-cd264a95f5d0 |  | checkpoint | Balcony drains & pipework installed/correct screws in flange
checkpoint-status | 643a5a78-c505-4c64-9b66-130812e96718 |  | checkpoint | Correct screws in flange
checkpoint-group | a4af16a4-3f1e-4cc4-b1fe-bd9e7a851e06 |  | section | General
checkpoint-status | bf74197b-0f0e-4968-bd52-aa429d994201 |  | checkpoint | Pipe Work Clipped
checkpoint-status | f3eaca51-ec99-47ad-8050-e44a22b07d13 |  | checkpoint | HWC water feeds
checkpoint-status | 4add19e5-fe81-4c09-86c1-0048de111412 |  | checkpoint | HWC waste
checkpoint-status | 7413024a-12ea-4466-b44a-e9a06d28ec6f |  | checkpoint | HWC nogs for strapping
checkpoint-status | ccc42423-d11d-43cc-a8a1-7c51b5f3ff3c |  | checkpoint | Pipe Work Siliconed
checkpoint-status | fffab21b-e544-44c8-8a95-69e187fa82af |  | checkpoint | Capped Off
checkpoint-status | b4a4c4cd-d0a3-4701-9945-adddd779a4f3 |  | checkpoint | Check for Crossovers
checkpoint-status | 5a90f50c-6336-4289-b7da-4674497ee2cb |  | checkpoint | Double check all sefont of fixtures
checkpoint-status | 3a147434-5bbd-4589-805d-c7417506a207 |  | checkpoint | Acoustic lagging where required
checkpoint-status | d3dfcb19-df58-4733-a7cc-f598d98ee016 |  | checkpoint | Thermal lagging to hotpipes where required
checkpoint-status | 853d90ec-0c03-4c7b-9fdb-5b6fc893ed5f |  | checkpoint | Floor waste flange fitted
checkpoint-status | b0ce1159-6626-44c0-a8d1-5186cb36f32a |  | checkpoint | Pressure Test 1500 KPA
checkpoint-status | 97a5fc42-e163-46b7-a423-c6b52fd214a4 |  | checkpoint | Installers name & date works completed
text | 984540d7-b700-52a9-bb59-3013e62212c9 |  | textbox | Installers name
text | 834d8803-93cf-5238-93e7-f875a9d0d6c4 |  | textbox | Date:
checkpoint-status | 2f813dad-2883-430f-94c6-4374461aee35 |  | checkpoint | Tested by & date
text | 5541441b-2dd4-5402-a326-9e7debd8b561 |  | textbox | Tested by:
text | cab9dec8-519d-55b6-82aa-60bcf181015a |  | textbox | Date tested:
checkpoint-status | 4f8b1ee9-c225-4e7b-b9ab-de3a520c3fea |  | checkpoint | Council inspector sign off and date
checklist-flat | c89d404a-9e7f-47e3-8100-82237313be5c |  | checklist | Second Fix Plumbing -Apartment no HWC |  |  |  |  | Yes | Second Fix Plumbing -Apartment no HWC | 57602a4f-a426-4fcb-a336-0e9db2add923
checkpoint-status | c78a3848-8c83-41e3-98bc-e02bd14249e2 |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | 982b77df-e335-4a55-b326-a63b7376646d |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | 2295a79a-216b-456e-a98e-b64aa4a0f823 |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | edae9759-b225-4432-b3a6-af92ade5ec73 |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | a863b9ad-d7aa-4a9f-998d-e30316e30087 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | 848e7570-4428-438f-983f-a55fc6b205b3 |  | checkpoint | Check Traps For Leaks
checkpoint-status | dc967123-4eee-40ec-af58-e3f936f3fa71 |  | checkpoint | Check Cisterns For Leaks
checkpoint-status | e9d30888-ebad-4053-9098-4c5bb0a323cf |  | checkpoint | Check cisterns flushing correctly
checkpoint-status | e90b8242-a566-4b49-a75a-5be7cd5c6f34 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | b4aa4f19-7ae6-4609-b6ec-4396951831f7 |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | 51d0b0e2-66ff-49b4-973b-88ccce29ae38 |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | 39217124-9e09-4eeb-b97f-5700b8859d71 |  | checkpoint | Check FWG & Shower wastes are clean & clear
checkpoint-status | feb385a8-7c4c-4a7d-bb02-c66972e51f62 |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | a3d64397-2743-462b-b4bf-719d8214269b |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | ce80813f-f267-4fac-9b81-24c9a14bd033 |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | ddc4d73d-016e-43de-b990-bdfe2e043fcc |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | c7c92a7a-b89e-4932-a6a1-c799efcc13a9 |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | 92886d63-600b-4db5-b335-06fa30bd9b9e |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 2d578f8f-5439-4046-98d1-910182d96120 |  | checkpoint | Temperature set point
checkpoint-status | 5141897b-5d6c-408a-a55d-cddfc18ad5f4 |  | checkpoint | Downpipe & overflow cover installed on balcony
checkpoint-status | 65787105-722c-4aa7-95b9-6eb4a585ea42 |  | checkpoint | Correct screws on balcony drain
checkpoint-status | a3838660-c4f9-4e07-a129-e9bac9d70df1 |  | checkpoint | Installers name & date works completed
text | 6f8dab29-cf84-5675-b171-15698bfa81a8 |  | textbox | Installers name
text | 08542d7c-260d-58f8-a0dd-cd7746bf8bce |  | textbox | Date:
checkpoint-status | 95ac189f-d42f-4cd4-9297-55d4d5c87432 |  | checkpoint | Tested by & date
text | d4a8dc81-5569-508c-9b82-57d234c6fd04 |  | textbox | Tested by:
text | 95506948-7c0e-50c5-ab03-45ecb070251e |  | textbox | Date tested:
checkpoint-status | e9090784-4719-4bb5-840b-aed037462896 |  | checkpoint | Council inspector sign off and date
checklist-flat | a33f55b8-1576-40a6-b89c-57641ef123c8 |  | checklist | Commercial Kitchen 1st fix |  |  |  |  | Yes | Commercial Kitchen 1st fix | 64b1c0f4-c03d-45b5-8824-803699ed8ab5
checkpoint-status | 09c16c0f-0feb-4664-89c5-a02122d3a20a |  | checkpoint | Cold water pipework installed
checkpoint-status | 1473850f-ab50-4a39-b20c-4ca2e1ea238e |  | checkpoint | Hot water pipework installed
checkpoint-status | 876fbe7d-21ff-4fab-9476-b908b38b4104 |  | checkpoint | Thermal lagging complete
checkpoint-status | 2b779df7-2765-490e-9f75-e9d28bd78248 |  | checkpoint | Wingback and waste correct setout
checkpoint-status | f26f7468-0d56-4163-bd53-4df754addd96 |  | checkpoint | Gas pipework install
checkpoint-status | 97e5264d-978f-475c-81c9-ff5bc16c6704 |  | checkpoint | Gas solenoid & Emergency stop
checkpoint-status | b5516602-2af4-4505-9a98-814b883be267 |  | checkpoint | Waste pipes installed / High Temp wastes.
checkpoint-status | ca0e9463-a042-44d6-b5a8-6e4a390b5309 |  | checkpoint | All pipework clipped and siliconed where it runs through walls
checkpoint-status | 135e7f20-1e65-4e8c-a963-4d71ec18bf32 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 2a5a9c1e-3d5c-453c-81e6-f6e78fea88f6 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | 281f3f2c-18da-47c2-a9cf-2632b188fc17 |  | checkpoint | All pipework pressure tested
checkpoint-status | b5309fdc-4a3a-4532-a176-bbfc1e87479a |  | checkpoint | Check no 1st fix clashes with 2nd fix fixing screws
checkpoint-status | 2bd0ec95-4a52-4c7c-b9e7-f205e392498d |  | checkpoint | Check all nogs are installed
checkpoint-status | 4ac18071-8ded-40cf-9355-d9c8d223d3e2 |  | checkpoint | Installers name & date works completed
text | 681710a3-b950-56d9-a0fd-0ec942c2c535 |  | textbox | Installers name
text | 9fe45638-064c-558c-b508-e570b42e246f |  | textbox | Date:
checkpoint-status | 69077318-42ae-4f5a-a96f-7238d60fa953 |  | checkpoint | Tested by & date
text | 44c24a86-11d7-591d-939a-a023c75f5532 |  | textbox | Tested by:
text | 2951707f-869f-5bd1-925a-f336c18d7f8f |  | textbox | Date tested:
checkpoint-status | 8b255733-f67f-4766-869d-1278fa9fa0e9 |  | checkpoint | Council inspector sign off and date
checklist-flat | f998f7a0-a780-4399-b0d0-ce38bf5acad4 |  | checklist | First Fix - No HWC |  |  |  |  | Yes | First Fix - No HWC | 6ab21265-52ed-4c3c-9ac8-fde0bc8b1746
checkpoint-status | c068badc-685f-4c1a-894c-b97b65970026 |  | checkpoint | Underslab complete
checkpoint-status | 7c663ef0-b2da-4848-992d-ddc234404dc1 |  | checkpoint | Toilet, shower and basin waste installed and in correct position
checkpoint-status | 20abe78b-e7e4-4dff-af35-13bd5c868699 |  | checkpoint | A/C drain connected
checkpoint-status | 4927a44c-a67b-40ee-a90b-69232b604332 |  | checkpoint | Shower flange installed
checkpoint-status | 22248342-aa27-40c6-8948-22c632ba7531 |  | checkpoint | Water to toilet
checkpoint-status | 3af3157c-7b8f-4f88-8cf4-47f4049c3447 |  | checkpoint | Water run to basin and basin taps installed
checkpoint-status | 15add3d2-5afc-473f-bc4d-f97dd8ff534a |  | checkpoint | Water run to shower and shower mixer installed
checkpoint-status | 304ea343-59be-41d1-b756-f062926ae264 |  | checkpoint | water supply run to shower rose
checkpoint-status | bb28a8fc-6c7c-4896-af06-f078c343c05d |  | checkpoint | All pipework clipped and siliconed where it runs through walls
checkpoint-status | 513fda75-3ea5-4407-89dd-bf04d6c0dbc5 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | cc92f54d-1731-408f-8cac-d815a7b00c17 |  | checkpoint | Thermal lagging to hot pipes where required
checkpoint-status | 4b34a22b-8109-4f0b-b208-2e4636b1f9ea |  | checkpoint | Tempering valve installed
checkpoint-status | 4e604a5d-49c4-4d83-966c-8ba8bf02dfeb |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | e43c925d-e938-4734-9750-9fb6a7c99bd1 |  | checkpoint | Check no 1st fix clashes with 2nd fix fixing screws
checkpoint-status | d6fbf648-81c1-4559-b6ee-497e0834e0c9 |  | checkpoint | Check all nogs are installed
checkpoint-status | 85c27e4d-f52e-4eaf-a1bd-77ef2ce08153 |  | checkpoint | Double check all setouts and heights.
checkpoint-status | ff854cf8-8027-45df-8c76-441b2beb7f46 |  | checkpoint | Installers name & date works completed
text | d7f64a93-06ae-57f7-8dbe-183545033a65 |  | textbox | Installers name
text | 8134f541-d53c-588b-ac55-46ce5affda1c |  | textbox | Date:
checkpoint-status | 26da8a9c-655c-4715-b2cf-2f831d7973fa |  | checkpoint | Tested by & date
text | 5a37d9f7-371f-5bf5-8801-36fbf1e0adad |  | textbox | Tested by:
text | a19bfbaa-9fad-5c59-bc83-d280dd5a5154 |  | textbox | Date tested:
checkpoint-status | 78be0c2b-5ddf-4c73-88e9-c63d5ef4c6cc |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 39a2a8ab-b4ef-4384-a6d4-ddcae760dfa3 |  | checklist | First Fix Plumbing - Apartment no HWC |  |  |  |  | Yes | First Fix Plumbing - Apartment no HWC | 6dbdc36c-0387-448d-96e3-0185a9893012
checkpoint-group | a8c3d928-1746-4569-8d37-5cda04c487c6 |  | section | Bathroom
checkpoint-status | 0d5a6a9f-da88-4ce3-836c-542b4381f7e5 |  | checkpoint | W.C Supply
checkpoint-status | 9622b517-49d4-4f3c-b551-f54323d2e9e6 |  | checkpoint | Shower waste
checkpoint-status | 1509fa54-ac6b-4f82-8ec8-9f19a7172623 |  | checkpoint | Shower mixer/check depth
checkpoint-status | 7b0ec44d-1c04-4ba7-9dd7-ba86ed40578e |  | checkpoint | Toilet waste
checkpoint-status | ddeba0e4-cf79-4138-aee2-5abd03607068 |  | checkpoint | Vanity Waste
checkpoint-status | b795ae0f-7c57-4e5f-bf20-1330ae9f98f7 |  | checkpoint | Vanity Wingbacks
checkpoint-status | 502cf456-580c-418f-a97c-e9cdc99896e7 |  | checkpoint | Vanity, shower, toilet nogs
checkpoint-status | 73e2892e-c4f7-46b0-b2e4-b3b2417b666c |  | checkpoint | Bath mixer where applicable
checkpoint-group | f5e30095-9175-4e40-8b06-d40fa48a0e77 |  | section | Laundry
checkpoint-status | 662df0c5-17cb-40f5-97b6-1851a85d9fe0 |  | checkpoint | Hot and cold water
checkpoint-status | e77ed313-1434-451a-89d2-73f31b2d6e30 |  | checkpoint | Waste pipe
checkpoint-group | 6b732722-df0e-4dab-be1c-0937637b20ae |  | section | Kitchen
checkpoint-status | c2ce05d0-f23a-4dae-9b0f-19a5df62ed19 |  | checkpoint | Hot and cold water
checkpoint-status | 8739ee60-fbe8-4466-ace1-c945be979078 |  | checkpoint | Waste pipe
checkpoint-group | b9010bc3-97c6-410d-9bf8-4ba639dca2f0 |  | section | Balcony
checkpoint-status | 27b279ce-8ffb-4498-abb0-451f5dc3db95 |  | checkpoint | Balcony drains & pipework installed/correct screws in flange
checkpoint-status | 3ee4872a-4c74-4880-b6c9-4a1193c36762 |  | checkpoint | Correct screws in flange
checkpoint-group | 8711a58e-ebb9-4279-a4e3-e67028e4fd62 |  | section | General
checkpoint-status | 47497c33-20a4-4b7d-954f-abc960ef4dba |  | checkpoint | Pipe Work Clipped
checkpoint-status | af0d2cf4-3b5b-4349-b468-ff761d20fc02 |  | checkpoint | Pipe Work Siliconed
checkpoint-status | df2b4d86-b677-4d5b-acd7-94c14d234b1c |  | checkpoint | Capped Off
checkpoint-status | ee2b7559-134c-449a-817c-fd08c8c2699a |  | checkpoint | Check for Crossovers
checkpoint-status | cc5f1007-954f-47a2-abd1-efb59b91ab51 |  | checkpoint | Double check all setont of fixtures
checkpoint-status | 4c0a89d6-3a5d-4b72-bf37-2e60e7c9d21b |  | checkpoint | PRV & water meters installed
checkpoint-status | 779d99cd-e92c-4f15-8348-2f1d572cf653 |  | checkpoint | Acoustic lagging where required
checkpoint-status | 5a3289e1-1ffb-4971-9e44-d73037b6effb |  | checkpoint | Thermal lagging to hotpipes where required
checkpoint-status | 3e4f0a75-964d-4caa-992c-f8e52da19aa4 |  | checkpoint | Floor waste flange fitted
checkpoint-status | 600b882a-2a2a-4636-9e2f-f6d7affa32f3 |  | checkpoint | Pressure Test 1500 KPA
checkpoint-status | 687fa8c9-fe96-494a-8162-4133a7512f0d |  | checkpoint | Installers name & date works completed
text | a86d38f5-1daf-5752-82b0-052607f21bc6 |  | textbox | Installers name
text | e08754d6-4aef-57d4-a9ad-ed9fb8a6eb03 |  | textbox | Date:
checkpoint-status | 4c73622b-0e8d-4313-8562-4d6622dcfcef |  | checkpoint | Tested by & date
text | 4c40110a-0991-5cd3-87d2-37886c0f7ec4 |  | textbox | Tested by:
text | fccdfd7f-5f4d-5c51-b4a6-5e746941caa2 |  | textbox | Date tested:
checkpoint-status | 823ba71a-c1c9-4ed8-aa22-7f6ca257f515 |  | checkpoint | Council inspector sign off and date
checklist-flat | 6f9ccbec-ee7b-4b4a-961a-2d49eee9881f |  | checklist | 2nd fix Plumbing - Including HWC |  |  |  |  | Yes | 2nd fix Plumbing - Including HWC | 6fa52a38-e26d-4b1f-8329-0e5fef0fdd4d
checkpoint-status | 04a1f517-9e42-4932-bf0c-247d502b2ef1 |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | c65c4749-df57-45bf-ac09-73e0209bc763 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | 12cb29d1-a23c-4d3c-806f-2601521330fe |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | e099f7da-6690-4e45-aa5b-e0aec4369910 |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | 6736a69e-3972-428d-97b1-c5f859218850 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | b0b0d962-07f4-408a-af2b-9b2e866fd418 |  | checkpoint | Check Traps For Leaks
checkpoint-status | f8b2674d-3cdb-48ac-b75f-4b5540a5b921 |  | checkpoint | Check Cisterns For Leaks
checkpoint-status | f90cdcb0-bf71-48a9-b6c0-ba0217c686cf |  | checkpoint | Check cisterns flushing correctly
checkpoint-status | abc2dd69-42e0-4161-8039-c15452890226 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 147c473f-d538-4a98-82c3-f99df3ba3bb8 |  | checkpoint | Test TPR on HWC and safetray drains away & airgap
checkpoint-status | 40320a93-62a5-4f8d-955f-197089ed1958 |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | cfda1ea6-644f-45cd-bfd3-45845c8f3083 |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | 084a47ad-7721-4ade-a8db-e57b07562e3f |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | a3ac273e-39bc-4565-8326-22154515e1f1 |  | checkpoint | Check FWG & Shower wastes are clean & clear
checkpoint-status | 02529414-3f13-41f5-84c1-d569e14d6edd |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | b1015278-02f3-45b8-9f3a-6dae5c5568ae |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | be1fea56-b2f2-429f-b438-b056eeb03611 |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | 22b89ded-355e-4d48-9031-b3d4831f3543 |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | ec1717fd-886a-41e8-bd37-f72b071338e2 |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | c5414b0a-30a5-44f0-a245-538a8d4dd029 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 3f3cbf2e-45cb-42ca-8ba1-9da036b3a616 |  | checkpoint | Temperature set point
checkpoint-status | 9cb7b0cb-fa29-4053-8f90-bcebf68697f4 |  | checkpoint | Downpipe & overflow cover installed on balcony
checkpoint-status | d43dcc3b-72bf-4da8-abb5-e41c01759353 |  | checkpoint | Correct screws on balcony drain
checkpoint-status | 6169738b-0f65-4758-83c5-03a6650a0004 |  | checkpoint | Installers name & date works completed
text | 78aca536-6133-5420-98e9-0c1170c0dca6 |  | textbox | Installers name
text | e3b19002-0741-5157-abd2-bec61bcc99b9 |  | textbox | Date:
checkpoint-status | 6a7f61b2-96b8-4afe-a0a3-25cd8d6f1592 |  | checkpoint | Tested by & date
text | 2f4ee347-b139-59f4-bd40-e57db32979c3 |  | textbox | Tested by:
text | 735d4f57-f80c-52f3-ade2-1eb63ed5a0b3 |  | textbox | Date tested:
checkpoint-status | 3cfcd403-5695-4bc9-810c-6732fe5027c1 |  | checkpoint | Council inspector sign off and date
checklist-flat | 36761560-694e-41d1-aadc-2ecd7feaabda |  | checklist | Second Fix - No Hot water cylinder |  |  |  |  | Yes | Second Fix - No Hot water cylinder | 6fe32655-03c0-403d-bff0-4f73444d33a6
checkpoint-status | a246dca3-5591-4bcf-aeb7-804872e493ba |  | checkpoint | Flush all pipework before fitting taps & fittings
checkpoint-status | 8f7cb0ed-5ff4-46d9-925d-5b1f0edf27f1 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | f3b9d7f1-ebf6-4bdc-8e64-0a83d7e7e3bd |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | 6cfcd4e5-a049-4912-933b-8c6db1a4004a |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | 4e39cc9a-7f1e-4fd0-bfcf-47e82b3f74db |  | checkpoint | Check Traps For Leaks
checkpoint-status | 2bd3da3c-89b6-4544-8bb5-6bfa6cd504f9 |  | checkpoint | Check Cisterns are flushing correctly
checkpoint-status | c8655559-670c-45af-aea0-3fed90d59bc5 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 20266c3b-d6c8-4add-b81c-36b117b0478e |  | checkpoint | Check shower waste is clear
checkpoint-status | 0255ab30-328c-4a07-8ddf-2395581ccdfd |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | 20d1256d-7e09-4dbc-8b97-05beb0910939 |  | checkpoint | All Your Rubbish Removed Or In Bins Provided
checkpoint-status | f65c293e-12da-4365-8a48-c2fbae2b019e |  | checkpoint | Check no fixing screws have fit pipes
checkpoint-status | b50142b8-46bb-4b74-a56d-0bade7635987 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 5edf7c4a-1c2b-4c84-9d9c-f003e42c72c9 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | c966f988-ed30-4a4b-884e-0d149c698026 |  | checkpoint | Temperature set point degree 55degC
checkpoint-status | 2cdbba4c-b47f-451e-8a5a-62f802946473 |  | checkpoint | Installers name & date works completed
text | 046a6784-c665-541a-8466-1bd5748ca3a3 |  | textbox | Installers name
text | 92995ace-eecc-5cbf-9686-9c95befce437 |  | textbox | Date:
checkpoint-status | 3536df9a-a988-4421-bb8e-b0fb77b724fa |  | checkpoint | Tested by & date
text | 8bfd50db-db33-51eb-8f36-fc6cb69fe2d4 |  | textbox | Tested by:
text | 1e190862-6a4a-5f01-8d31-5b4c01356edc |  | textbox | Date tested:
checkpoint-status | b8d24425-7833-428b-8328-35d62a8d21a7 |  | checkpoint | Council inspector sign off and date
checklist-flat | 788d2869-ef9c-4e2a-b9b2-5f3e0cb6a396 |  | checklist | Roof |  |  |  |  | Yes | Roof | 7e32faa9-3f54-49a1-ab11-57e82314028a
checkpoint-status | 2c43a9f8-d378-4488-9e34-e65fc73ed442 |  | checkpoint | All vents installed
checkpoint-status | 602eb55c-1dce-4976-8557-6d0fbf6d098b |  | checkpoint | All vermin proofing fitted
checkpoint-status | 1e3c8041-c8bb-4681-ad2e-21c87470796d |  | checkpoint | Hose taps installed
checkpoint-status | 1f5e6f5e-a120-43df-99c7-35f1e32e598b |  | checkpoint | Decktites fitted to vents
checkpoint-status | 070e53d7-53ee-4553-bbf7-e524c12d39d6 |  | checkpoint | All overflows finished
checkpoint-status | b6b9e9ed-6125-4572-b00a-1c79aa054363 |  | checkpoint | All downpipes connected and working
checkpoint-status | 67fa13ad-298f-4a2d-b8a3-cdd7d691a783 |  | checkpoint | All outlet covers fitted/correct screws
checkpoint-status | 6d48298e-7b54-4462-bdf5-54eb52de8f17 |  | checkpoint | All rubbish removed
checkpoint-status | abd6250c-eb44-45b6-aea2-89dcd3ceb059 |  | checkpoint | Check plastic outlets for cracks
checkpoint-status | f0f9134b-5e19-46d2-bdf9-b8095f6465b3 |  | checkpoint | All downpipes clipped
checkpoint-status | fe9c1e08-cd35-427a-b763-f439aa310ea0 |  | checkpoint | Tested by & date
text | e2f570b3-1c43-5ba5-86f8-d40924c6855e |  | textbox | Tested by:
text | c8c49236-d7df-529c-bbe0-abb6530a5bb4 |  | textbox | Date tested:
checkpoint-status | 4e684e27-fbad-4bf9-a882-7d1f8d158814 |  | checkpoint | Council inspector sign off and date
checklist-flat | 5fe2e8ac-ba3c-49b7-92d3-708b95e758f8 |  | checklist | Hotwater Plant, Pumps & Tempering Valves |  |  |  |  | Yes | Hotwater Plant, Pumps & Tempering Valves | 8b610bb5-d491-499f-a08b-717936c24e8d
checkpoint-status | 4f8be6b1-3891-4245-8979-4c90d050dc18 |  | checkpoint | Flush all lines and strainer including rinnais
checkpoint-status | af5605ac-b0ba-4627-bb0b-13075ed7c180 |  | checkpoint | All safety valves installed
checkpoint-status | 237b6683-cfa2-49f9-987a-5f383b338b08 |  | checkpoint | Seismic restraint fitted
checkpoint-status | 263e8894-bb25-4b81-a15d-6e14cbd2405e |  | checkpoint | Check condensate drains from Rennais
checkpoint-status | a840395e-bebb-470a-8b8e-0691c3b69e1d |  | checkpoint | Check All Connectors For Leaks
checkpoint-status | dbc2ce37-5d3a-4fd0-8104-5be409d9f552 |  | checkpoint | Check all valves and connections for leaks
checkpoint-status | b577bb3b-339a-40e6-a13c-6eb75959598d |  | checkpoint | Operate cold water expansion valves / check operation
checkpoint-status | 4259f851-3a66-4752-9afd-4144aa3c9a2f |  | checkpoint | Set limiting valve
checkpoint-status | cf282d67-b42b-4d0b-a19c-cb5340ce224c |  | checkpoint | Test TPR valve
checkpoint-status | 9f11a959-f021-4c79-96eb-e468c8711999 |  | checkpoint | Check for crossovers
checkpoint-status | 9679baf5-80ee-4de9-a619-c94115a8cf7f |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | 2ac83626-982a-4e1e-874e-60d38c3fd2b2 |  | checkpoint | Lagging completed
checkpoint-status | 3437f46c-9704-4522-89fb-479fbffd7deb |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 2ee1a2b9-c80b-416e-8139-76335d2e6ec8 |  | checkpoint | Set tempering valve temperature
checkpoint-status | 84803a13-2ba0-42d4-81c0-ac7ba1a63886 |  | checkpoint | Set Rinnai gas water heaters
checkpoint-status | cda962a3-4c60-4ec0-a71d-b2148d3edcb6 |  | checkpoint | Set thermostat temperature
checkpoint-status | 2fdba5f7-4c3d-46cc-93af-88b4f18ffbbf |  | checkpoint | Set Bleed air from primary pumps
checkpoint-status | a5e42cd0-3bf4-4787-8c74-fd1d1fb4ecf8 |  | checkpoint | Bleed air from circulating pump
checkpoint-status | d95902dc-ddd7-4919-8ea1-142c6ace87b4 |  | checkpoint | Set all return thermostatic balancing valves
checkpoint-status | 7bb90a69-0be7-4c4e-be52-92b23a50f4ae |  | checkpoint | Test gas for soundness & check working pressure
checkpoint-status | 4776c2c1-32fb-48b6-a909-1ebedc8b0afe |  | checkpoint | Water temperature in Hot water cylinders
checkpoint-status | 170fc042-410f-4fca-8c71-b1bf471a2be9 |  | checkpoint | Installers name & date works completed
text | 0ede2a35-5bed-5e6a-950a-f3eec9f15c2d |  | textbox | Installers name
text | a6c068da-a539-5d59-b993-323124ddaa46 |  | textbox | Date:
checkpoint-status | 4094e55c-9943-45e7-9982-4b7a570560e8 |  | checkpoint | Tested by & date
text | 4720d8b7-4b5a-5ae8-8cf9-72cd5aedaac0 |  | textbox | Tested by:
text | 7d78e11d-d015-5dc5-83ec-150550905279 |  | textbox | Date tested:
checkpoint-status | 35bab5b5-b4db-4094-9cc7-b5c01ce3374a |  | checkpoint | Council inspector sign off and date
checklist-flat | 56e3954c-3cb5-4947-bfba-62f1a7c15cde |  | checklist | 1st fix Plumbing - Including HWC |  |  |  |  | Yes | 1st fix Plumbing - Including HWC | 9eeada9f-d829-477d-ab7c-438b481edaf4
checkpoint-status | 446d46c2-0940-43f7-bc64-9f4ce19211b9 |  | checkpoint | Toilet water supply
checkpoint-status | 7fe4f7fb-94b9-4707-af03-0df40b81d9ec |  | checkpoint | Toilet waste
checkpoint-status | 73421427-6802-40bb-883f-264bc397cbf8 |  | checkpoint | Vanity Waste
checkpoint-status | 252365af-b353-4fdb-b314-31419c58c701 |  | checkpoint | Vanity Wingbacks
checkpoint-status | 0bebd871-1e16-4275-a4d0-0774e4429329 |  | checkpoint | Vanity toilet nogs
checkpoint-status | cf6bef10-2769-478d-8354-025ba63b5406 |  | checkpoint | sink water & waste
checkpoint-status | 39e625ea-78b1-41fa-bfd3-4a59404940fb |  | checkpoint | Pipe Work Clipped
checkpoint-status | 5999fbc4-9b67-40c7-9d42-ecd98e142c22 |  | checkpoint | HWC water feeds
checkpoint-status | 9f8be107-4630-4c3c-bdf4-c2edcd52ce5b |  | checkpoint | HWC waste
checkpoint-status | 3d30ead0-58c9-4730-beea-ef1a768ee97b |  | checkpoint | HWC nogs for strapping
checkpoint-status | 849137ab-20e4-40df-b42d-8f46ba6cc464 |  | checkpoint | Pipe Work Siliconed
checkpoint-status | 63f4415d-d91e-4006-8b2e-a02747102e74 |  | checkpoint | Capped Off
checkpoint-status | fc91853c-3708-4a01-89ad-482353cf168c |  | checkpoint | Check for Crossovers
checkpoint-status | 4ce9395f-5c5e-49b7-b2bf-c96830bf178b |  | checkpoint | Double check all set out of fixtures
checkpoint-status | 33531f3c-1645-4177-b4c2-6611326d259e |  | checkpoint | Sanitary vent
checkpoint-status | 96540619-4981-4a85-84b1-306baa40195f |  | checkpoint | Thermal lagging to hotpipes where required
checkpoint-status | 51dc1258-6dff-4f96-a816-b4387917f7d3 |  | checkpoint | Floor waste flange fitted
checkpoint-status | ec53d56b-20f6-4219-93cb-b6d5aebc513d |  | checkpoint | Pressure Test 1500 KPA
checkpoint-status | 2500754f-b621-4252-a0d7-a221b1f091a8 |  | checkpoint | Installers name & date works completed
text | ae53867b-a592-5fad-98c2-24a4ba127032 |  | textbox | Installers name
text | 0b071c32-c884-5341-a7cc-a1bc85a92657 |  | textbox | Date:
checkpoint-status | af37aea2-10b1-4067-a76c-f39c64fd2576 |  | checkpoint | Tested by & date
text | 52e769b4-74f1-5167-b183-ace7fb69bee7 |  | textbox | Tested by:
text | 0c8f14b2-361e-5fec-82af-f9dc09aed5dd |  | textbox | Date tested:
checkpoint-status | 771e26e4-cc56-4d0f-bc23-443394d0edaf |  | checkpoint | Council inspector sign off and date
checklist-flat | 7f4444ce-02b7-4c40-b46e-abacddc166f3 |  | checklist | Classroom 2nd fix |  |  |  |  | Yes | Classroom 2nd fix | 9f10f160-6cd7-42a6-ae87-bb57a04360c0
checkpoint-status | 86441588-0693-41c4-842f-3b3bbe688803 |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | d81f98e1-8fe0-4d1a-8ef5-9c8e56b5a857 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | d1ec4565-a6ab-4bf6-b0a9-a0fa5c436dc6 |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | bbd9a480-ba56-4025-b581-e5fbd3ca5426 |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | e05b5024-f489-499b-a142-8826393fa450 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | cc90cd77-1fd5-4bbd-9965-2d40b8e9246a |  | checkpoint | Check Traps For Leaks
checkpoint-status | a8c56844-7533-45b3-bf67-8a3eafe93d41 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 6a1b4b0f-f09d-4e49-bbfe-572ac5bc93f9 |  | checkpoint | Test TPR on HWC and safetray drains away & airgap
checkpoint-status | 08bfe133-d265-424d-9db7-93a052ac4f7b |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | c5029adf-64df-44ab-a6c1-c13676036cee |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | d57e584b-cc05-4211-829e-9d1df73302fe |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | 30224801-7a3b-41a6-be5a-73d69f80b407 |  | checkpoint | Check FWG are clean & clear
checkpoint-status | b5be501c-33e9-4675-a19a-0d122cb60b88 |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | f25e2b46-1ec4-4ce2-aaf5-b38a888ebcec |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | fc28e3bf-20b6-4d5d-bd2d-61ef725bba10 |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | cda81bfb-5558-40b2-ba4c-7d682c97a3c8 |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | dd46532a-f526-44c3-9cda-85c20b732f44 |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | 4c411012-342a-49ea-ba8b-bd0a78a80290 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 11f4ff42-7ffd-400a-9997-1f1123d913cd |  | checkpoint | Temperature set point
checkpoint-status | f2367bd5-bed5-45dc-8b2c-a0c716b20848 |  | checkpoint | Installers name & date works completed
text | af166dc4-b45e-5614-8cc0-f6fa794eb0ea |  | textbox | Installers name
text | 3f4a9c91-29a1-5735-8907-39e65488a79a |  | textbox | Date:
checkpoint-status | 4499f0dc-5511-4db4-83fa-8431cfcec091 |  | checkpoint | Tested by & date
text | a6e6f6b5-dd2b-5454-b0e5-48208a3fa473 |  | textbox | Tested by:
text | a1359fc2-ef38-5d60-810d-ebee88310fcc |  | textbox | Date tested:
checkpoint-status | cf0a2e49-11e4-4a52-b4dc-6b8f8d94958c |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 1a2067fc-cd3e-4862-b684-ef1ba6a85d0f |  | checklist | Core Water & Gas |  |  |  |  | Yes | Core Water & Gas | a80f4cf9-859f-45d9-a7ee-321fc8e0efe1
checkpoint-group | 82cc9994-c2d8-435a-a9e4-b199c687a6e8 |  | section | Gas Mains
checkpoint-status | 01534242-6412-425a-9be6-2ed6572f2c16 |  | checkpoint | Connection brazed correctly
checkpoint-status | dde21f0c-0e89-4cc8-83b4-b2a5e33d74af |  | checkpoint | horizontal/vertical
checkpoint-status | 5c2df2d1-3214-4134-a7fb-22a650b4d3ad |  | checkpoint | values fitted correctly
checkpoint-status | 22ab3216-d7d6-4080-b767-7308e843c259 |  | checkpoint | Drop test complete
checkpoint-group | 26ba42dd-b96e-4152-9827-aa51e3832ce1 |  | section | Cold water main
checkpoint-status | e32584b8-9140-4b43-993d-4e7955a254e5 |  | checkpoint | Connections brazed correctly
checkpoint-status | 36505080-5f87-45e6-8a2c-a822a0721c13 |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | f0b29ecf-2b8e-4141-9e52-01ba00045d3e |  | checkpoint | Valves fitted correctly
checkpoint-group | b3a6ac6f-dd27-4383-acb1-d505dfda8525 |  | section | Hot water main
checkpoint-status | bfb7d868-9750-459b-96ad-5d654b691069 |  | checkpoint | Connections welded correctly
checkpoint-status | ced03dd5-de11-44f2-b783-a596cc9907af |  | checkpoint | Clip spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 05054ed1-1c27-483d-82e1-67cad499d760 |  | checkpoint | Expansion allowed for
checkpoint-status | 1ce233fd-b443-4331-9678-a9dea9abbb88 |  | checkpoint | Lagging installed and neat
checkpoint-status | 95158b4e-74c1-47d7-876f-1cafc61a0923 |  | checkpoint | Valves fitted correctly
checkpoint-group | 363caf29-da6c-401e-a4b2-427bf8833031 |  | section | General
checkpoint-status | fb4b7cc4-90e7-4815-97f7-db4075569203 |  | checkpoint | Open ends of riser capped for testing
checkpoint-status | 763211f3-9ed9-4aaf-87dd-3d1287aede80 |  | checkpoint | Checked for cross over's
checkpoint-status | 22d486d2-25cc-422b-b5cf-559a562e7750 |  | checkpoint | Tidy work areas
checkpoint-status | ba8f80d3-8625-4c52-bb94-3a732f579326 |  | checkpoint | Pressure test to 1500kpa for 30mins
checkpoint-status | 3060fd2e-984d-4859-8d25-b91be55cfe2b |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | 6e0c45dc-1ae6-412a-b0f0-0691735268c6 |  | checkpoint | Seismic bracing for pipework longitude and latitude
checkpoint-status | 313c9c9f-1bda-4f7d-a1ee-ce1cdbaeeb5d |  | checkpoint | Lateral labelling of pipework backflow devices fitted
checkpoint-status | fc69adc7-f636-4a0c-8fdb-0e5573c5515b |  | checkpoint | Pre Line Inspection Passed
checkpoint-status | 68d1223f-15fe-4554-9dd9-cea00a5a5eaa |  | checkpoint | Installers name & date works completed
text | 53ef97e9-df5d-577e-880f-61960f6dcaeb |  | textbox | Installers name
text | d55f0a81-13ec-5c8c-83e8-d500546d01de |  | textbox | Date:
checkpoint-status | 7abfd25f-43ba-4569-bce5-10f97f233411 |  | checkpoint | Tested by & date
text | 39dba835-69b8-5fbb-837b-ca7bae5fb963 |  | textbox | Tested by:
text | c673cd82-48e9-5b76-9ed4-eefcc91a155c |  | textbox | Date tested:
checkpoint-status | 0e0fd6d1-5388-40fd-a33c-6a421a29cd3b |  | checkpoint | Council inspector sign off and date
checklist-flat | 8c4c81fe-3248-4925-8511-5e6bdf1c9ac8 |  | checklist | Second Fix Plumbing - Including HWC |  |  |  |  | Yes | Second Fix Plumbing - Including HWC | b0423e2c-044f-42f2-a8de-cd8a67f168ba
checkpoint-status | dacd579e-3d20-4166-bbce-28e541aac712 |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | cba12e9f-d335-42a8-8e81-02e95e5a31c0 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | 72357957-18fb-45ea-a37a-49ee5ce6a1e4 |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | d260fb61-427d-419f-9e09-178b5b9f9118 |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | 3f58f74a-f2e3-4406-ad51-804543a1faa5 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | e1c0cadd-9aaf-46cb-8f3d-d586de9ac537 |  | checkpoint | Check Traps For Leaks
checkpoint-status | 7c307402-9cb2-44f7-9c93-ed9249daa954 |  | checkpoint | Check Cisterns For Leaks
checkpoint-status | dece8455-4a59-4a4a-9680-de14035b1f9f |  | checkpoint | Check cisterns flushing correctly
checkpoint-status | 46e6656f-ffd4-4e6b-bd49-56590550d285 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 3bbd6c49-83eb-4dc5-879d-d4a3d4f65cde |  | checkpoint | Test TPR on HWC and safetray drains away & airgap
checkpoint-status | ee11a4cb-241c-4b6a-afd2-2ea37022b2d1 |  | checkpoint | Check HWC For Correct Valve Installation
checkpoint-status | 24dced32-c473-420b-b851-2cc757d6157f |  | checkpoint | Check Restraints & Timber chooks are installed on HWC
checkpoint-status | 60435a88-802b-40e1-a2e9-747829dce69b |  | checkpoint | Element Position on HWC Is In A Serviceable Position
checkpoint-status | 0c0a7950-b3e7-478a-8112-7ccde2b86c54 |  | checkpoint | Check FWG & Shower wastes are clean & clear
checkpoint-status | 3e48e7e9-dbda-4301-97ae-cf54d6cadc43 |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | df0ef685-1161-4c79-a5c8-7303c691d5b1 |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | 1b4ae446-cfa3-4779-87ea-3cf0bed9e79a |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | fb56b4e4-4ccc-41e1-b252-334df0195e98 |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | 07ae82d9-07b7-4bd0-9fde-3ed2c1b32707 |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | 3da7ea41-151c-42e7-8e07-eb90fe00811f |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | e38a51f1-367e-43e3-bd68-2caf1c197ec3 |  | checkpoint | Temperature set point
checkpoint-status | bc68d24c-0e91-4b74-8738-3c01f9c09ab7 |  | checkpoint | Downpipe & overflow cover installed on balcony
checkpoint-status | 4415ecf6-abec-4dd8-8064-ecb981c00d27 |  | checkpoint | Correct screws on balcony drain
checkpoint-status | c379ccfe-0373-4442-af83-40be7b9751fb |  | checkpoint | Installers name & date works completed
text | 829ece6d-97f9-5e32-93b4-4eb417fbe1cb |  | textbox | Installers name
text | eecdf4d7-9db9-58e4-aad0-0482ece927de |  | textbox | Date:
checkpoint-status | 4e139abb-3fc7-4f98-936d-16afdf36d5e8 |  | checkpoint | Tested by & date
text | a5965766-5680-5f3a-88e9-09fcb5aad001 |  | textbox | Tested by:
text | facd0b4f-268f-500f-ad20-41c3aa0c7b13 |  | textbox | Date tested:
checkpoint-status | e9f0fdc9-17c8-4888-9349-5b0b3fe98640 |  | checkpoint | Council inspector sign off and date
checklist-flat | a9a17fcd-f8d7-4127-846b-6841461ab7fe |  | checklist | Commercial Kitchen 2nd fix |  |  |  |  | Yes | Commercial Kitchen 2nd fix | c2bb67c6-3215-4b24-a0e8-8e1214961efb
checkpoint-status | ae8a0914-3624-4296-9744-a27f0abb25d3 |  | checkpoint | Flush all water pipes before connecting fittings
checkpoint-status | 4b01a318-f3de-4c39-a5b7-c580c06a7009 |  | checkpoint | Correct Taps And Fittings Provided
checkpoint-status | f90ee759-c721-4a56-b90c-813ee4c1b93a |  | checkpoint | Silicone Applied To Fixtures Where Required
checkpoint-status | 2d22722f-0da1-4c9b-995a-e08966b19a5f |  | checkpoint | Check All Tap Connectors For Leaks
checkpoint-status | 57454805-114a-4ea5-8168-50a92d337550 |  | checkpoint | Check Screwed Nippling In Walls For Leaks
checkpoint-status | 11eb664a-2f79-406d-b6aa-96b0f1850237 |  | checkpoint | Check Traps For Leaks
checkpoint-status | 996382e0-db3f-4bbb-8c8b-040586eaeb15 |  | checkpoint | Check All Fixtures Function Correctly
checkpoint-status | 07742300-5f9a-4b4e-a95e-4d6f72e17390 |  | checkpoint | High temp wastes installed
checkpoint-status | 27094975-c274-442f-bdae-3d83ed99595a |  | checkpoint | Gas appliances tested
checkpoint-status | d51659e9-d8fa-4329-b893-91fdaf7f9fe7 |  | checkpoint | Check FWG are clean & clear
checkpoint-status | 5e435faf-e99c-43b9-a281-200619831dd3 |  | checkpoint | Check Flanges Have Been Installed Where Required
checkpoint-status | 8640a711-e24d-442b-91b3-f3be8b4ccd1f |  | checkpoint | Check All Soll Pipe Connections Are Connected To Drain
checkpoint-status | 5aba79e4-b864-4fd9-bed6-04eb9dd19213 |  | checkpoint | Kitchen overflow working and no leaks
checkpoint-status | 5c33fd12-b074-49f7-aae8-c36ec5e2261c |  | checkpoint | Picked Up All Left Over Material & Returned to Office
checkpoint-status | 55f01fd7-8498-4066-88e1-ddec68b4670f |  | checkpoint | All your rubbish removed or in bins provided
checkpoint-status | cd65d1b8-1150-4237-829b-2111c15e95b4 |  | checkpoint | Check All Hot/Cold Pipes For Correct Position
checkpoint-status | 1388a8ec-fb76-4db8-9b32-7e6d5218f6a3 |  | checkpoint | Temperature set point
checkpoint-status | 62da57ee-96a7-485f-9785-0822238013e7 |  | checkpoint | Installers name & date works completed
text | 25d1cff6-caeb-5040-b611-87b868366856 |  | textbox | Installers name
text | 8ddcb1ee-14c0-5926-8013-a8646eba2ff5 |  | textbox | Date:
checkpoint-status | b581b5a1-1805-483f-84ea-e123fc7d9db1 |  | checkpoint | Tested by & date
text | 3659ca62-7739-508b-b207-9f7848a1c03c |  | textbox | Tested by:
text | 5fe2eb32-d6d7-584f-80a9-2f21e127baa8 |  | textbox | Date tested:
checkpoint-status | dd28f696-0cf2-46c5-b497-e682fa02f08e |  | checkpoint | Council inspector sign off and date
checklist-flat | 4114b519-725b-4135-959f-07b9856ff405 |  | checklist | Core waste & Stormwater |  |  |  |  | Yes | Core waste & Stormwater | cfdff653-751b-4a48-9422-6aa90d50dbe8
checkpoint-status | ee34a44b-6d14-4df8-be14-46219aa6c24d |  | checkpoint | Waste Pipeout
checkpoint-status | edf1a2e5-a0cd-4efb-8aed-cfe8add4cb5d |  | checkpoint | Vent installed
checkpoint-status | dada37e4-167e-4a51-b3bc-de3bd97cc62d |  | checkpoint | Check sewer hasn't been connected to stormwater.
checkpoint-status | 6ffab9dd-c622-439f-abf3-f46cafc72081 |  | checkpoint | Correct or exceded minimum fall
checkpoint-status | d5410965-046d-42a3-9549-ce76a8245cfe |  | checkpoint | Correct Clipping
checkpoint-status | 4c111fc9-5eda-4f8a-b545-b33b64c115d1 |  | checkpoint | Flood Test in accordance with ASNZ 3500
checkpoint-status | 3ca71de4-e4db-4135-b4c1-ed04bc56e0fd |  | checkpoint | Hydrostatic test Plug Removed By
checkpoint-status | 7d8d1d44-617d-4a14-8e73-bed20f8a027b |  | checkpoint | Inspection Cover Replaced By
checkpoint-status | 4611606b-2963-4c4d-9d24-1276384538d8 |  | checkpoint | Seismic bracing for pipework, longitude & lateral
checkpoint-status | 98ac0a0a-1086-473b-bcb2-d6b79a2a9a21 |  | checkpoint | Pipe labeling
checkpoint-status | afd5f55b-606c-4c9a-9d9d-0502617473f1 |  | checkpoint | Access points for cleaning
checkpoint-status | 0e94e3e3-704a-4235-8cd8-f397ae9ee6f9 |  | checkpoint | Acoustic lagging
checkpoint-status | 28feee4d-e023-456f-84b9-c7d38406cc0c |  | checkpoint | All pipe stubs covered or capped
checkpoint-status | e4330fb6-16d8-4622-b71f-bb8f4566039a |  | checkpoint | Installers name & date works completed
text | ef15c793-abed-578c-84d3-4d84e5cd7d48 |  | textbox | Installers name
text | 276a7c07-bd43-5ca8-a2d9-11c26032235f |  | textbox | Date:
checkpoint-status | 9cbf9627-60ca-45ad-9931-ead365101d94 |  | checkpoint | Tested by & date
text | 02191580-28a3-503b-991a-cd42e6cdcb00 |  | textbox | Tested by:
text | 2579548f-6925-5adb-9d1c-9cc31a8662a3 |  | textbox | Date tested:
checkpoint-status | b3edc260-6f14-4fd3-8e95-8b5e693ceb70 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 81303e82-d3a6-45c3-ae0a-db92f93af493 |  | checklist | Water Pump Commissioning |  |  |  |  | Yes | Water Pump Commissioning | dca68124-829c-4092-867b-81688cad0f94
checkpoint-group | 63ff4fff-c32e-496e-b0fe-2a8889b81847 |  | section | Pump setup
checkpoint-status | 6ce00d2c-1b69-4260-805c-3a69a31c79be |  | checkpoint | Connections welded correctly
checkpoint-status | a7fed0fc-190c-4d26-b945-717655104e15 |  | checkpoint | Clip Spacing to manufacturer's specs horizontal/ vertical
checkpoint-status | 5ef8ac39-4e20-438d-9011-4c1bd2643eb8 |  | checkpoint | Valves fitted correctly
checkpoint-group | 587a7b0a-060b-41fc-9b11-fae700abf011 |  | section | Pumps
checkpoint-status | c025a794-99dc-4e95-a746-61b56d8e7541 |  | checkpoint | Pump 1 Startup level
checkpoint-status | e760f61d-f4e2-4586-80b2-0b21c8569c93 |  | checkpoint | Pump 2 Startup level
checkpoint-status | 326277d0-abf1-494f-bd0d-54fdcfade76a |  | checkpoint | Pump 1 kick out level
checkpoint-status | 09907298-e3b2-457b-a93c-5129003a35cb |  | checkpoint | Pump 2 kick out level
checkpoint-group | 6ac9b0fd-9b77-48e0-8a54-f91afe77b9d4 |  | section | General
checkpoint-status | 6c43ec9d-b5ae-4725-9cae-f6fd6f8b3341 |  | checkpoint | low level alarm test
checkpoint-status | 308ba717-fcc3-4571-a2bd-27d7feff1f98 |  | checkpoint | Tanks clear of debris
checkpoint-status | 51a805d5-fcba-4c37-90c2-f334c643ff88 |  | checkpoint | Low level pump shut off
checkpoint-status | a4acee05-d2fb-4bfd-8281-afae285ebfcf |  | checkpoint | Impeller clear and free
checkpoint-status | 88993704-798a-444a-aa05-4802bc5ea1f6 |  | checkpoint | Installers name & date works completed
text | c12bf776-361f-5b8c-892f-8445b79e1fb3 |  | textbox | Installers name
text | 1902f696-7e67-5508-9a37-9c0492a28280 |  | textbox | Date:
checkpoint-status | 7be2bfc6-ee9d-4719-ae9a-9ee7dd620cbc |  | checkpoint | Tested by & date
text | 3cb721e8-72e4-568a-9d5b-b99693ebadb8 |  | textbox | Tested by:
text | 5d7e1ebc-aa8e-56d1-9aec-70d702bbbb3b |  | textbox | Date tested:
checkpoint-status | 5ab78f53-b68a-4c7a-921c-4a63e127e85d |  | checkpoint | Council inspector sign off and date
checklist-sectioned | 2cd68bf7-6584-403c-92f4-91bde5951036 |  | checklist | In ground Watermains |  |  |  |  | Yes | In ground Watermains | e03333e8-45a6-46db-a932-ab9182736984
checkpoint-group | f556e4ad-c3c8-42d7-9022-e64dcf745113 |  | section | Water mains
checkpoint-status | d45e20a2-8275-49c3-9436-b91f641043bf |  | checkpoint | All fittings scrapped correctly
checkpoint-status | fd0f154e-ba0b-447a-8e9f-8a5959f102db |  | checkpoint | Iso used on fittings
checkpoint-status | 9293b6fd-42a8-442b-848a-026b09c33e08 |  | checkpoint | Valves fitted correctly
checkpoint-status | 651284f1-48ef-4994-89bd-dcfa63914091 |  | checkpoint | Fittings welded & weld indicator has popped out
checkpoint-status | b2ab7299-eb99-4647-a552-70de2a1e79ff |  | checkpoint | Trace wire and ID tape installed
checkpoint-status | 9bfeb18d-9cba-4aa5-92fb-8a8f957a89ae |  | checkpoint | All open ends capped
checkpoint-status | 5a63cd30-459b-4f32-95db-8f8c306d5e3a |  | checkpoint | Pipework bedded correctly
checkpoint-status | dc9a8217-d17c-4f08-9473-d2269649101f |  | checkpoint | Tidy work areas
checkpoint-status | 39c3d75e-e780-48ac-9453-c204e468309d |  | checkpoint | Pressure test pipework
checkpoint-status | 3a26d0a4-cca7-486e-93df-7361ef5487be |  | checkpoint | Visual check (for leeks form valves, tees, saddles, etc)
checkpoint-status | 8a02356d-0f7d-4dbe-8e2c-87b0bead4467 |  | checkpoint | Backfill around pipework with fines
checkpoint-status | a1eb0204-b2e7-4dd9-ba99-95f3d34cfde7 |  | checkpoint | as-built completed and photo
checkpoint-status | 3352710d-9f04-4100-96db-6b398821a0bd |  | checkpoint | Installers name & date works completed
text | 0efa5f77-c265-5168-810c-40b33c66e9cf |  | textbox | Installers name
text | 82e91f6d-f1fb-5f83-bb1f-27382cd4cca6 |  | textbox | Date:
checkpoint-status | a8684985-c26c-4179-a4a4-b3a185d05382 |  | checkpoint | Tested by & date
text | 3e61849b-5171-5220-8603-7c2e3e03d534 |  | textbox | Tested by:
text | e8d359e1-7bce-5374-9acc-f3989a740620 |  | textbox | Date tested:
checkpoint-status | 552fee8c-3d96-4cfd-966b-b690898d4804 |  | checkpoint | Council inspector sign off and date
checklist-flat | 99f7e949-9e69-4a9b-b852-2e650ce22d64 |  | checklist | Syphonic Stormwater |  |  |  |  | Yes | Syphonic Stormwater | e29dd18f-ddca-49f8-994f-6bc213e67fb5
checkpoint-status | ea25695a-a3f6-4bfc-a449-0877ba2987b6 |  | checkpoint | All pipework installed as per design drawings
checkpoint-status | 723be6a2-aea7-45a6-9915-d96f570dbe2e |  | checkpoint | Fittings scrapped and ISO before welding
checkpoint-status | a7e9ed80-3c77-465d-8ad5-f85d2f829287 |  | checkpoint | Correct fittings used
checkpoint-status | 77717c3a-32ac-4b5c-883c-140b5b778b6e |  | checkpoint | Brackets and clips installed as per design
checkpoint-status | 8e8c5f20-5b26-4113-8c20-51b4bb246761 |  | checkpoint | Seismic braces installed as per design
checkpoint-status | cff2c046-1d2c-42c2-ab36-97407ad2644b |  | checkpoint | Outlets installed and syphonic grates installed
checkpoint-status | d7f98b8f-8c8b-469b-83e4-19f1d9e21f59 |  | checkpoint | Overflow outlets fitted with riser fittings
checkpoint-status | 2b49b885-7e23-4bfa-9135-a49fbbbeb850 |  | checkpoint | All rubbish removed and materials back in storage
checkpoint-status | 7329fa67-8d1f-415d-901c-5e87906c707f |  | checkpoint | All pipework flood tested
checkpoint-status | 4bcfd9c6-3c60-4c58-8e41-b39108852b86 |  | checkpoint | Installers name & date works completed
text | 30f2b18d-a15d-5002-82b1-d2969a9226bb |  | textbox | Installers name
text | 9278f472-e1f0-5663-a947-fbdb219748f1 |  | textbox | Date:
checkpoint-status | 5afbd20e-6162-4eaf-afaa-cbbb5dba68ff |  | checkpoint | Tested by & date
text | c79fe195-1fc0-5750-ae86-c895bbd85e9b |  | textbox | Tested by:
text | 9bb46eeb-c5ea-527d-a7bc-9f6d341afb23 |  | textbox | Date tested:
checkpoint-status | 5f498723-be12-4d65-a468-d664b25bc4c1 |  | checkpoint | Council inspector sign off and date
checklist-sectioned | e944d9ec-fe60-45d9-bb86-f1bfe9da9385 |  | checklist | Bathroom First Fix Plumbing |  |  |  |  | Yes | Bathroom First Fix Plumbing | f705576a-2ce6-46a3-be21-0bbd011dc3b7
checkpoint-group | 2aebbba2-9dda-4c35-8dbc-3cb296f61491 |  | section | Bathroom
checkpoint-status | 630e39c2-184a-420b-b596-339aa2519d0e |  | checkpoint | W.C Supply
checkpoint-status | 65678e11-a9f4-4d0f-844b-7dda9ce2b658 |  | checkpoint | Shower waste
checkpoint-status | 77671ee8-cdd4-4a93-97de-2917e9a89dd4 |  | checkpoint | Shower mixer/check depth
checkpoint-status | 2dbedbdd-587d-435c-a63d-e5f74b95c71b |  | checkpoint | Toilet waste
checkpoint-status | ef17ad61-08f6-4bbe-a541-cb36434179df |  | checkpoint | Vanity Waste
checkpoint-status | 86945e65-43da-4bec-bad0-b96e92abc7b3 |  | checkpoint | Vanity Wingbacks
checkpoint-status | 8ef5f659-a546-4a9f-971c-0d32521ce797 |  | checkpoint | Vanity, shower, toilet nogs
checkpoint-group | fe4ee511-0bd0-4989-a417-c45e12695773 |  | section | Cleaner sink
checkpoint-status | 01ab87da-f6f7-46c5-95c7-8e95749ea43e |  | checkpoint | Hot and cold water
checkpoint-status | ee4eb920-d648-4df3-b2f5-4a9f6e85e391 |  | checkpoint | Waste pipe
checkpoint-group | f5c3bd89-b065-41ef-b721-176d1dcc546d |  | section | General
checkpoint-status | 8aebcbe5-9792-4d1c-bc7b-ca79c95abd6a |  | checkpoint | Pipe Work Clipped
checkpoint-status | 62e71dd8-94f7-4968-bc96-f8f9defd8861 |  | checkpoint | HWC water feeds
checkpoint-status | d7aa2afa-e07b-4871-8017-e4e3ec2d3a1a |  | checkpoint | HWC waste
checkpoint-status | 48d6161a-3701-4a9d-b00f-e99a96b3271f |  | checkpoint | HWC nogs for strapping
checkpoint-status | 2e0f9ff2-2a3c-4f68-a3b3-c24c502f29f6 |  | checkpoint | Pipe Work Siliconed
checkpoint-status | 4ce78c34-e80c-4ba9-abe2-a6c3745a14a7 |  | checkpoint | Capped Off
checkpoint-status | 55d86879-b81d-4b0e-8ca3-510c2bd83764 |  | checkpoint | Check for Crossovers
checkpoint-status | 36ba187d-f67e-4746-af77-641ce6e1da38 |  | checkpoint | Double check all sefont of fixtures
checkpoint-status | 07a360f5-ebbe-498e-b7b3-baaa459ffac2 |  | checkpoint | Acoustic lagging where required
checkpoint-status | 8734f194-0993-43cb-8dd0-c97399dad50c |  | checkpoint | Thermal lagging to hotpipes where required
checkpoint-status | df23eb5a-294b-4c3e-9f22-4ddacc12d587 |  | checkpoint | Floor waste flange fitted
checkpoint-status | 4c1919ba-360b-490d-a5ac-2eed3526cc89 |  | checkpoint | Pressure Test 1500 KPA
checkpoint-status | 4869a330-497e-48e5-b81b-ca7fff62d372 |  | checkpoint | Installers name & date works completed
text | 06dedc85-f571-5921-ab7b-7ad396eec1ac |  | textbox | Installers name
text | e2469199-e223-5ada-96cf-cf39f2f76d44 |  | textbox | Date:
checkpoint-status | 8015034a-6393-47f6-b3e5-73c44d4ea502 |  | checkpoint | Tested by & date
text | 35f9ed4e-caa4-5691-b988-ec27b04ad0bf |  | textbox | Tested by:
text | c55bb677-f421-5335-979c-3513c1e13407 |  | textbox | Date tested:
checkpoint-status | 35a69995-5f86-4245-a02e-e8eb51d35256 |  | checkpoint | Council inspector sign off and date