## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | b6aae506-9fe9-45f0-bb75-fca40e37791d |  | checklist | Branch Box |  |  |  |  | Yes | Branch Box | 0462b914-64a9-4b67-bd71-f6b4f4bbac4a
checkpoint-status | b05aef95-f1ce-451d-9c81-9aadcd95b0c2 |  | checkpoint | Model Number correct, vibration mounts installed & unit Labelled
checkpoint-status | 2a07910a-a21d-41ba-a364-d5975384b269 |  | checkpoint | Condensate drain pipework installed w/hose clamps
checkpoint-status | 0b350ff7-f40b-4860-acc6-6bd8f6112b3c |  | checkpoint | Refrigeration pipework installed
checklist-flat | 631fa0b7-71a8-4a78-b06e-61c404463813 |  | checklist | Fan Fit Off |  |  |  |  | Yes | Fan Fit Off | 05493169-1951-4f6b-a4a3-0e2ff8b45485
checkpoint-status | 519d7748-9c6d-4752-8674-630eed99439a |  | checkpoint | Ceiling ring plate fan installed & labelled (If Applicable)
checklist-flat | 3daabb27-ffdb-496e-9a51-3441e1a07042 |  | checklist | Evap Cooler Commissioning |  |  |  |  | Yes | Evap Cooler Commissioning | 06dcab21-50af-4b0a-ab6c-09fe7d8af97b
checkpoint-status | cf9e6ecb-9ef5-4ee2-b161-3f0c59caeb66 |  | checkpoint | Check For Noise And Vibration
checkpoint-status | 6293f595-87d6-485e-8b6f-577ec9389a60 |  | checkpoint | Fill & Drain Valves Operational
checklist-flat | 7a41d945-704e-40fb-bee7-2ad2271fdc7b |  | checklist | Condenser Unit |  |  |  |  | Yes | Condenser Unit | 07d5822e-bd23-47fd-ab47-11e4fc536a6d
checkpoint-status | 35fd5210-b310-4c00-928f-9827e22e2880 |  | checkpoint | Unit installed & labelled
checkpoint-status | afb26995-316b-42c9-8b35-cb472949d11e |  | checkpoint | Drain tray fitted under condenser or drain kit connected
checklist-flat | ed4ae54b-a36f-4dc4-b35d-239446f574fd |  | checklist | Boiler |  |  |  |  | Yes | Boiler | 1df30fe2-923b-40d3-9ea3-7121898c7be0
checkpoint-status | cc5cad80-6ede-4ea1-b6c3-f2d21981db34 |  | checkpoint | Boiler installed & Labelled
checkpoint-status | 0eaba8d6-d46b-4f7d-a78e-ad870bc6cc4c |  | checkpoint | Pipework connected and no leaks
checkpoint-status | d3dfc70d-8eef-4255-ba87-313ffb41c767 |  | checkpoint | Gas connected and leak tested
checkpoint-status | d7a45cd2-b172-42fc-97d0-d990f5a96ad7 |  | checkpoint | Flue installed
checkpoint-status | e07e586b-ab50-4970-a23f-c5d4999d02ac |  | checkpoint | Operation tested
checklist-flat | 4525831d-89a6-42d5-960f-a5e9150eff4e |  | checklist | Expansion Tank |  |  |  |  | Yes | Expansion Tank | 1ff556e0-b8e7-420a-8697-d5258bbd4e9a
checkpoint-status | 25bcd425-3e94-4e87-82f2-c7ba57cddcb0 |  | checkpoint | Expansion tank installed & labelled
checkpoint-status | bd1fb7a0-19e6-4ec0-b5f3-93aac22991b0 |  | checkpoint | Pipework connected and no leaks
checklist-flat | 9e08a34b-42de-44a1-b8e3-068738cc85c8 |  | checklist | Defect |  |  |  |  | Yes | Defect | 274599d8-4bd1-4c1b-85ee-2fdfb8ef5dbd
checkpoint-status | 9fc6682c-eda7-465b-b078-cb2b985db6f9 |  | checkpoint | Defect rectified
checklist-flat | c6bffbb8-9db5-4b19-8266-d7451125b793 |  | checklist | CHW & HHW Pipework |  |  |  |  | Yes | CHW & HHW Pipework | 2834580b-cd40-4281-8366-1583886a07c9
checkpoint-status | e3404e02-8183-42cb-93ce-238c0f9b4e1f |  | checkpoint | Pipework installed as per Shop Drawings & Schematic
checkpoint-status | f667a329-aeac-462d-b28b-a43f071d094d |  | checkpoint | Pipework checked for leaks & Labelled correctly
checklist-flat | 4f6b4c9a-753a-44ca-9b18-e408ec109992 |  | checklist | Cassette Rough In |  |  |  |  | Yes | Cassette Rough In | 29174e7c-ec12-41b9-967c-9ade8fa26d88
checkpoint-status | 3cf5512a-698c-4f0f-b005-9c4efe814eb2 |  | checkpoint | Unit Model Number correct, vibration mounts installed & unit Labelled
checkpoint-status | 47021ffd-6cb3-41a4-8c9e-3342c8264362 |  | checkpoint | Condensate drain, hose clamps
checkpoint-status | 999c2c59-715c-4ff2-bacb-95d56028d3c5 |  | checkpoint | Refrigeration pipework installed
checklist-flat | 402cc51c-1540-46a6-96c9-6ad2bbb408fd |  | checklist | AHU Rough In |  |  |  |  | Yes | AHU Rough In | 2e31ac53-adc7-4792-ae7b-5e66131779cb
checkpoint-status | a08b7878-82fe-4174-975b-875a6b4c3a1b |  | checkpoint | Unit installed & Labelled
checkpoint-status | 58c98616-dc11-4ff4-b5ee-d7b201a15cbd |  | checkpoint | Drain connection installed c/w hose clamps
checkpoint-status | 94ba916b-d872-48e6-9063-f366cd778362 |  | checkpoint | Filters Fitted
checklist-flat | 119c61e4-4ccf-4e10-aed3-32e26ac672bb |  | checklist | Ducted Commissioning |  |  |  |  | Yes | Ducted Commissioning | 2f29c221-a73f-4a3b-9afa-9cc979ae77bd
checkpoint-status | 511c6a7c-7f1d-4962-a6ce-3e37998c65b4 |  | checkpoint | Unit Operational, checked for vibration and noise
checklist-flat | 28a0af41-b9f6-4b8a-9657-1f291a161f36 |  | checklist | ERV Fit Off |  |  |  |  | Yes | ERV Fit Off | 36b3992c-5e13-4010-979c-e839a3a9a922
checkpoint-status | 5eeb4f03-c78d-419d-a0a1-6daca72089b1 |  | checkpoint | Registers Fitted square / aligned
checkpoint-status | 9efd8d04-f8f1-4e9f-892e-41ef52f4ff79 |  | checkpoint | Registers cleaned as required
checkpoint-status | 37058f7f-cad1-4f0a-9746-9d662e6807e7 |  | checkpoint | External Louvres Sealed
checklist-flat | 78b2b758-0f2c-4cb5-995b-e445cb838cd2 |  | checklist | Pumps |  |  |  |  | Yes | Pumps | 49a75430-05b6-467b-a507-96f35e9e7e5f
checkpoint-status | 8da47793-d1de-4af3-9d5e-677263195bdb |  | checkpoint | Pump installed & Labelled
checkpoint-status | 1252a5c1-bad7-4035-96dd-7cb8a9859aac |  | checkpoint | Pipework connected and no leaks
checkpoint-status | bfd75e72-9ac2-40ed-b760-6660928734db |  | checkpoint | Operation tested
checklist-flat | a1c8c367-781c-4537-9822-30468c26e994 |  | checklist | ERV Commissioning |  |  |  |  | Yes | ERV Commissioning | 6b9db57d-7d7c-43dc-8f58-6088f1ed0d2b
checkpoint-status | 5d385930-e7d7-4cfa-9f05-72993400a480 |  | checkpoint | Check For Noise And Vibration
checklist-flat | d6d1b0b3-35e9-47d5-abdb-c2bc14960810 |  | checklist | Radiators (HHW) ROUGH IN |  |  |  |  | Yes | Radiators (HHW) ROUGH IN | 6d74c920-a68e-4573-9494-bef318493939
checkpoint-status | dbe9ad02-7042-421d-93d6-e279018719e3 |  | checkpoint | backing plate installed prior to plaster
checklist-flat | 2fbf836c-fbba-4f0a-bc53-5dd93d7760ae |  | checklist | Project Details |  |  |  |  | Yes | Project Details | 71d6aa99-b7ee-4a1f-a960-11a0549413ce
checkpoint-no-status | 69628dff-57dc-476e-a045-a87fda2731f2 |  | checkpoint | Project Details:
text | 5fa683b0-9936-500c-a8b2-7c9ea058f733 |  | textbox | Project Number:
text | 0dbf039a-dced-561b-b0e0-8b3dd4e2a0c6 |  | textbox | Builder:
text | d3970e57-29ce-5f4d-aa99-8b5fe530c6ad |  | textbox | Project Manager:
checklist-flat | 3b87e733-aa63-44e0-95f4-d492dfd8ca59 |  | checklist | Evap Cooler Fit Off |  |  |  |  | Yes | Evap Cooler Fit Off | 835d1a47-74d4-49cd-9b65-e030c80b0f5e
checkpoint-status | ec23a6ed-6979-47e0-805b-f3b865973685 |  | checkpoint | Registers Fitted square / aligned
checklist-flat | 129551da-0fe2-45e4-b5f5-de5c991e0b4d |  | checklist | Radiators (HHW) Fit Off |  |  |  |  | Yes | Radiators (HHW) Fit Off | 858b7e1c-ee79-445b-9123-e81b5986837e
checkpoint-status | 8ac46519-03b8-4f8a-90c6-8594d0400806 |  | checkpoint | Radiator Installed c/w pipework covers
checkpoint-status | 4fca1d73-7b86-4314-951b-e766723c806d |  | checkpoint | Checked for leaks
checkpoint-status | 2cdeeb4e-f7bf-47a0-b574-3794c3712241 |  | checkpoint | Low temperature cover installed (As Applicable)
checklist-flat | dc607ff9-8e29-4422-affd-e6883a7753d5 |  | checklist | ERV Rough In |  |  |  |  | Yes | ERV Rough In | 8bdc397f-e31e-41f1-ac03-cf121b5be337
checkpoint-status | 5371770b-5061-4d2b-ba18-013c106c93b1 |  | checkpoint | Unit installed & Labelled
checkpoint-status | 3e4b29e2-8091-4ec3-89d0-e0f28d9c1718 |  | checkpoint | Drain connection installed c/w hose clamps
checkpoint-status | b6e0e154-49a4-4acd-a498-fabe93700b65 |  | checkpoint | Filters Fitted
checklist-flat | c5c05fa9-0a63-4a05-839f-202e662bdbc2 |  | checklist | AHU Commissioning |  |  |  |  | Yes | AHU Commissioning | 94858c4d-698e-47e7-ae8d-df93c68899a8
checkpoint-status | 2c94962e-170f-486d-a354-e1b1b0d49baa |  | checkpoint | System Operational
checkpoint-status | fd56fa1e-da87-4229-8c30-c4c733cf2c32 |  | checkpoint | Check For Noise And Vibration
checkpoint-status | 337294a5-fed0-4ecb-8065-7e15d851c80f |  | checkpoint | Drain Tested
checklist-flat | d5060f32-0ebf-4e7b-ac48-4ef71a1b4e9d |  | checklist | Split Fit Off |  |  |  |  | Yes | Split Fit Off | 9e4e52fc-d46a-4016-aa03-08b5e4f7a26b
checkpoint-status | f0ccd06f-9da3-4838-8f78-9e7b4bb9d24c |  | checkpoint | Unit installed Level & labelled, drain/pump checked
checklist-flat | c44ad71a-36f4-49e3-a1cd-2ee2e7d662ec |  | checklist | Ductwork, Dampers, Cushion Boxes & Flex |  |  |  |  | Yes | Ductwork, Dampers, Cushion Boxes & Flex | a78faf7a-871e-4213-a4a4-f891d909d70a
checkpoint-status | fd298fbe-7791-46b6-989f-7f4d62791866 |  | checkpoint | Ductwork installed as per Approved Shop Drawings
checklist-flat | 78b5d9c6-5ca3-44bd-8168-651972f7b57f |  | checklist | Ducted Fit Off |  |  |  |  | Yes | Ducted Fit Off | ac0bc929-2c43-4908-8f6a-7b824e6a5896
checkpoint-status | 3528711e-9bab-4228-b349-602ddf95042e |  | checkpoint | Filters Fitted
checklist-flat | c435f660-a1ea-4c51-b505-695fe59cfc60 |  | checklist | Fan Commissioning |  |  |  |  | Yes | Fan Commissioning | b0088198-0597-4118-99e0-65969b0f7064
checkpoint-status | ca393bef-937d-4bc0-9777-0337193893d8 |  | checkpoint | Fan Operational, checked for vibration and noise
checklist-flat | 0fb10280-c72d-4273-af6e-bcf67a2700ab |  | checklist | As Built Markups (Rough In) |  |  |  |  | Yes | As Built Markups (Rough In) | bbb0a880-cf7b-4757-9cf8-31af4df45891
checkpoint-status | 21ca47a4-0f88-4ccc-afe9-08ca4cb07055 |  | checkpoint | Changes to Shop Drawings have been captured
checkpoint-status | 9a9e3692-3ae9-4721-af52-b3b451e57b1a |  | checkpoint | Photograph markups for changes to As Builts
checklist-flat | 41796113-638a-48f3-9138-3f1c3051a0d9 |  | checklist | Evap Cooler Rough In |  |  |  |  | Yes | Evap Cooler Rough In | bcfa61aa-dd26-4945-8b10-357e9f7ff2c9
checkpoint-status | de857c4b-0758-46be-b052-0fc1c2fdc773 |  | checkpoint | Unit installed Level & Labelled
checkpoint-status | 296bfd00-7ca2-4f15-a463-e0bc02e2a392 |  | checkpoint | Drain to point of discharge installed on grade
checklist-flat | d1f1577d-d5ff-4a61-95ad-4f312b28a58a |  | checklist | Fan Rough In |  |  |  |  | Yes | Fan Rough In | c054ce24-76dc-4955-b3cd-3bfc3b3e053b
checkpoint-status | 85d14e08-a80e-49f1-9ad9-72c42e34d205 |  | checkpoint | Fan Model Number correct, vibration mounts installed & Fan Labelled
checklist-flat | 7c75526e-17c5-4262-b149-fa445317fec8 |  | checklist | New Checklist: |  |  |  |  | Yes | Add New Checklist | c6f4a071-4752-466b-b712-17e050ab035d
checkpoint-status | d0c76bc7-da80-4ba6-bf93-7df22bc7ca4e |  | checkpoint | Attach photos, files and comments as required - pass once complete
checklist-flat | d0fac434-cc05-44f1-9580-ef04812d1f2d |  | checklist | Demo & Decommission |  |  |  |  | Yes | Demo & Decommission | cf1f602b-367c-42b1-88ec-c0f79f1ac57b
checkpoint-status | a742b243-621f-4bc6-ad7b-02b91a7d6c20 |  | checkpoint | Electrical isolated and made safe
checkpoint-status | 67de19de-1d30-4fab-ae1b-286829b4605e |  | checkpoint | All Rubbish Removed Area Clean And Tidy
checklist-flat | 97259cd8-417c-44b8-8371-89a54f65ad71 |  | checklist | Fire Treatment |  |  |  |  | Yes | Fire Treatment | cf9024ca-494b-406d-9adf-de1d8a910275
checkpoint-status | a6f65656-8095-4897-a532-d255c3f6c1b9 |  | checkpoint | All Fire Penetrations sealed with Approved Method
checkpoint-status | 949f1bfc-9f40-4351-b66e-d097259b5e44 |  | checkpoint | Photo to be provided including label
checklist-flat | 3557a017-14bb-4f33-b937-68501f0ae28b |  | checklist | Refrigeration Pipe |  |  |  |  | Yes | Refrigeration Pipe | db6b162c-44eb-44b1-8c9b-0c53a45308d8
checkpoint-status | faca9935-8529-4427-b8c7-166a105171d9 |  | checkpoint | Pipework installed as per Schematic and Shop Drawings
checkpoint-status | 50cf24be-2b28-4fc7-ace3-05ac15199fd0 |  | checkpoint | Actual Pipe Meters Recorded on schematic
checkpoint-status | e9e9892f-ae50-4aea-9635-c48fc8be3670 |  | checkpoint | Pipework Pressure Tested @400 psi
checklist-flat | 4f976e7c-ca2c-4865-bf13-3f63b65c5f79 |  | checklist | Ducted Rough In |  |  |  |  | Yes | Ducted Rough In | e8381b9c-8489-4610-bd4b-c4496f5fdaf4
checkpoint-status | 6690f695-2e00-497e-8c5b-4465897fd578 |  | checkpoint | Unit Model Number correct, vibration mounts installed & unit Labelled
checkpoint-status | 47d02c87-5bb7-49cb-bb1f-ad1bb02552d7 |  | checkpoint | Condensate drain, hose clamps
checkpoint-status | bf3f185d-560e-41e0-a13e-4307f3db9e66 |  | checkpoint | Refrigeration pipework installed
checklist-flat | 07f040eb-d393-451e-b7ee-33ff5c2f4b28 |  | checklist | Split Rough In |  |  |  |  | Yes | Split Rough In | e9737968-143e-4f25-ae14-2a82ed1b3883
checkpoint-status | 1b4beeaa-75f2-41ea-a57a-9072f0d42848 |  | checkpoint | Drain & Pipework roughed in to correct indoor unit location
checkpoint-status | 308270f9-a9fc-4d0d-9d5d-70734e00ed61 |  | checkpoint | Condensate Pump Roughed In If Required including tubing
checklist-flat | 489ac60d-84d1-4d60-960d-6843e5527d5f |  | checklist | Cassette Commissioning |  |  |  |  | Yes | Cassette Commissioning | e9a019f8-77b7-449e-bfc1-9a23dd246fab
checkpoint-status | 5c613682-025a-4843-a1d2-b8357d44d4ed |  | checkpoint | check drain fitted of at tundish
checklist-flat | a21ff065-8793-4780-ba81-b6179d95807f |  | checklist | Cassette Fit Off |  |  |  |  | Yes | Cassette Fit Off | ebfb8762-3c84-47b0-89f0-aee15e900598
checkpoint-status | 14d89db2-ad02-41ce-8809-fce8417f0d45 |  | checkpoint | Fascia fitted and plug loom connected
checklist-flat | aaa2864a-1c2e-44ea-b9ed-de81eceec86a |  | checklist | Split Commissioning |  |  |  |  | Yes | Split Commissioning | fe716f2b-8d2f-4866-837b-1da68718961d
checkpoint-status | 0c5b43ec-3789-4c7a-8dbe-c43aa40c16cf |  | checkpoint | Unit Operating Heat/Cool Fan Operation
checklist-flat | 13c81ec6-473d-429a-80ac-8b824cae89ee |  | checklist | AHU Fit Off |  |  |  |  | Yes | AHU Fit Off | fea984c4-32a3-499c-bf1e-6781210dc020
checkpoint-status | e794a07a-b260-4a44-95d0-e2d3c850a73e |  | checkpoint | Registers Fitted square / aligned
checkpoint-status | 50a93b16-7d42-4e37-a7bb-4fb4c7410be6 |  | checkpoint | Registers cleaned as required
checkpoint-status | 31d971a8-33de-4dde-890b-e58b2144f9b0 |  | checkpoint | External Louvres Sealed