## QA Folder Structure
QA Folder Structure
Site QA
Basements
B4
B3
B2
B1
| Ground |  | Ground Checklist
Office Floors (expanded out below)
|  | 1-36 (EXCEPT FOR 13, 25 and 37) | Office Floors Checklist
Plant Rooms
|  | 13 | Plant Room Checklist
|  | 25 | Plant Room Checklist
|  | 37 | Plant Room Checklist

## ITPs Checklists
type | name | values | prefix | postfix
checklist-flat | Ground Checklist
checkpoint | Ductwork
checkpoint | VAV
checkpoint | FCU
checkpoint | Risers
checklist-flat | Office Floors Checklist
checkpoint | Ductwork
checkpoint | VAV
checkpoint | FCU
checkpoint | Risers (Chilled)
checkpoint | Risers (Hot)
checkpoint | Floor Pipe
checkpoint | Fire Dampers
checkpoint | Control Dampers / VCD
checkpoint | Cushion Boxes
checklist-flat | Plant Room Checklist
checkpoint | Ductwork
checkpoint | Fans
checkpoint | Pipework
checkpoint | Coils
checkpoint | Valves
checkpoint | Pumps
checkpoint | AHU