## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | d7a82e33-8faf-4125-9a44-e0313d503195 |  | checklist | IT Wall Sign Off - Building C |  |  |  |  | Yes | IT Wall Sign Off - Building C | 104c8a22-dba1-43a9-9edc-20202ee312a1
checkpoint-status | d5ca9fce-7b02-4754-aca6-b3cf2276cd7a |  | checkpoint | Enter Level Number Below
text | 3b3ba9c7-808d-58a3-b34f-6f37635890c7 |  | textbox | Enter Level Number
checkpoint-status | bf9ee105-ff6e-49b2-8691-a414b8af3618 |  | checkpoint | Corridor
checkpoint-status | b550bc92-0d20-4b68-99c7-4a657b59ff6c |  | checkpoint | C01 - External wall
checkpoint-status | 84ce6bba-347a-4803-8b90-e94e267da9e5 |  | checkpoint | C01 - C02 IT wall
checkpoint-status | 0644e833-f61d-4d86-a9ed-6d84cf0c5292 |  | checkpoint | C02 - C01
checkpoint-status | 28aa79a1-4807-4bf8-b0e2-5709ba117f9f |  | checkpoint | C02 - C03
checkpoint-status | 51e9f95c-ec2b-408f-8b8b-2ed12ac86954 |  | checkpoint | C03 - External wall
checkpoint-status | 9cbab75c-ba2a-48b7-b984-311fc036beb3 |  | checkpoint | C04 - External Walls
checkpoint-status | d1e71e8c-5d8b-4f41-9537-76a4053125fa |  | checkpoint | C04 - Corridor Wall
checkpoint-status | 9895174d-dbaf-4970-b0cf-e9d6099f978d |  | checkpoint | C05 - Corridor
checkpoint-status | 11200dea-ac85-4036-8523-b661139f45e3 |  | checkpoint | C05 - C06
checkpoint-status | 5b428d78-c965-4143-b5ac-72b5624fcf3c |  | checkpoint | C06 - C05
checkpoint-status | e3d6edd0-6099-4609-b050-ac9437a9b2c5 |  | checkpoint | C06 - Corridor
checkpoint-status | 72b0f35e-49b1-4fa3-a412-789901fe263e |  | checkpoint | C07 - Corridor
checkpoint-status | db53a1d4-74be-4897-92f9-f133e7a6a11e |  | checkpoint | C07 - C08
checkpoint-status | f6fb4025-2d53-4c2c-8001-a84380040575 |  | checkpoint | C08 - C07
checkpoint-status | 0e7723e1-d4f8-4542-9672-daad7150a257 |  | checkpoint | C08 - C09
checkpoint-status | 2b3c2a08-e9c1-4cc7-90d9-db3bf13c37af |  | checkpoint | C09 - C10
checkpoint-status | 3b7cb65c-07b0-4dad-887e-21612c2b2ea1 |  | checkpoint | C10 - External
checklist-flat | 48c4b65a-4f53-464e-9149-5879389709c5 |  | checklist | Balcony Checklist |  |  |  |  | Yes | Balcony Checklist | 177e6355-0af8-438b-b29d-c7fcaffb1da9
checkpoint-status | e54636ff-d8a5-42fa-9b64-ce1912235f22 |  | checkpoint | Allthrough Installed
checkpoint-status | b6e4e104-d1a8-427a-9812-b5fe759203af |  | checkpoint | Overflow Flange Installed
checkpoint-status | d9419ddf-2450-4bdc-9753-95e2953daed3 |  | checkpoint | Downpipe Flange Installed
checklist-flat | 619bf68c-900e-4948-a231-836c9c379b6d |  | checklist | 1x Shower Tray |  |  |  |  | Yes | Shower Tray Checklist | 1ad82f2a-cb3d-4dcd-acd2-a3fd68f84b8c
checkpoint-status | af6d868c-b147-4939-b4a4-d48fe0a0f830 |  | checkpoint | Shower Tray Installed Level
checkpoint-status | a536019a-9dcc-4cb3-8db2-e7cf37a32197 |  | checkpoint | Flood Test Shower Tray
checklist-flat | 849a8b24-ce07-4570-9ca6-0990786a4071 |  | checklist | Downpipes + Decks Checklist |  |  |  |  | Yes | Downpipes + Decks Checklist | 1c1bb882-9b49-471b-a0a8-7e46fec8bba4
checkpoint-status | 909195df-268a-4595-b3a0-f7fe0c700a96 |  | checkpoint | Flanges Installed
checkpoint-status | 282a81ac-fa55-4f52-b0c6-3a5bbdfb8a4c |  | checkpoint | Domes Installed
checkpoint-status | 388dbcf3-edf0-43c5-891c-495512c83ff8 |  | checkpoint | All Through Installed
checklist-flat | f4f6fc31-19dd-43ef-933a-c1b734edaf80 |  | checklist | Drainage Checklist |  |  |  |  | Yes | Drainage Checklist | 1c9d15f4-4bc6-4385-bd9f-ad30ad0a2af9
checkpoint-status | 651f078e-2908-4d03-8b0a-4f4c3cd97ff9 |  | checkpoint | Is Pipe Sitting On Bedding
checkpoint-status | ead80da9-79fe-4a1d-98ce-abd8e9803ad6 |  | checkpoint | Is Pipe Installed To Correct Falls On Plan
checkpoint-status | a656ab68-ee73-43e6-bcd7-c02fd299cce2 |  | checkpoint | Has Pipe Been Photographed For Q + A
checkpoint-status | 8a87e12f-9483-4c21-911f-589f50651833 |  | checkpoint | Is Pipe Free From Debree
checkpoint-status | 0ba3b8aa-5638-43da-bbbd-f9041a1e2a67 |  | checkpoint | Has Fines Been Installed On Top Of Pipe
checklist-flat | 7345d253-b369-4231-a6b8-1dacf43aa2cf |  | checklist | Pressure Testing Checklist |  |  |  |  | Yes | Pressure Testing Checklist | 3f4fe86a-b195-456d-9cd2-94d4c1f891fb
checkpoint-status | 6898f06f-a5e5-4c2b-867c-e96a176947cd |  | checkpoint | Pump Up To 1500kpa Minimum
checkpoint-status | b8a4204a-d304-4c1e-9748-c3ae1e60e21d |  | checkpoint | Take Photos Of Testing
checklist-flat | d43f33d2-d0e4-40e6-a736-2eacaf635fc7 |  | checklist | Underslung Pvc |  |  |  |  | Yes | Underslung Pvc | 52e16184-28ae-4c2b-9bde-3a36d165823e
checkpoint-status | 445d3ea4-5057-4736-a414-c02c58ea0cc1 |  | checkpoint | Pvc installed To Correct Gradient
checkpoint-status | 36e2ca15-3d02-49de-80a9-0e71fb8d044f |  | checkpoint | Flood Tested (Add Photos Of Test)
checkpoint-status | 0dd35e70-10de-4e2b-ba0b-2cced9c3bf7d |  | checkpoint | Take Photos Of Testing
checklist-flat | 533c6923-0848-4e02-88e6-397a1eb53cb2 |  | checklist | Water Stacks Checklist |  |  |  |  | Yes | Water Stacks Checklist | 646accbc-040a-4e65-80c9-1308617425b6
checkpoint-status | 0dde815c-27ee-4ac9-a2eb-e343d11c3978 |  | checkpoint | Tested To 1500Kpa
checkpoint-status | 58eace80-941f-40d9-8a65-9c70abf27f9a |  | checkpoint | Pipe Labels Attached
checkpoint-status | eaf7aacb-1d61-4d90-ae04-61203b613a98 |  | checkpoint | Lagging Of Hot Pipes
checkpoint-status | 5e484664-0f30-4cc7-a8e8-8a80297253bb |  | checkpoint | Water To Be Kept In Pipes To Avoid Corrosion
checklist-flat | adb8f582-d5cb-478a-adb6-5217d18bb980 |  | checklist | Toilet Checklist |  |  |  |  | Yes | Toilet Checklist | 6e80b5d7-41fb-449b-b52d-1b1c8274d51c
checkpoint-status | 29df5c09-f04c-412d-8145-98bb03dcf4b0 |  | checkpoint | Wingback Installed To Correct Height
checkpoint-status | 30095c7b-359d-4ce9-b585-2c31812fb344 |  | checkpoint | Waste Installed Correct Distance From Wall
checklist-flat | 328352ac-5f00-4230-98ef-8be954457a74 |  | checklist | IT Wall Sign Off - Building A |  |  |  |  | Yes | IT Wall Sign Off - Building A | 6f916cf2-a669-41bc-be70-0070e161e752
checkpoint-status | a3724a2e-e0b8-4c72-9169-73ffe3fbcbbd |  | checkpoint | Enter Level Number Below
text | 24b83be6-2011-5076-a3f6-8e12ca13832a |  | textbox | Enter Level Number
checkpoint-status | b5b56971-a311-40b6-bef1-372c5e55768d |  | checkpoint | Corridor
checkpoint-status | c8e1ccba-81aa-4b1d-8368-f4f6dfc01848 |  | checkpoint | A01 - Internal wall
checkpoint-status | 308986dc-06f7-4353-baaf-991e7172cd33 |  | checkpoint | A01 - A02 IT Wall
checkpoint-status | e9c1da61-bea3-4970-b63b-f2c9895968fb |  | checkpoint | A02 - A01 IT Wall
checkpoint-status | 9c6877a3-ffbb-463c-904a-3f902ddd2f12 |  | checkpoint | A02 - A03 - IT Wall
checkpoint-status | 5dea4c8c-1c81-48f2-8837-8b8d4a6d3df4 |  | checkpoint | A03 - A02 IT Wall
checkpoint-status | 6100de12-d7ab-455f-960a-473ce88dad1a |  | checkpoint | A03 - A04 IT Wall
checkpoint-status | ab5e2c9a-1f8a-4c54-a031-3c796cf85815 |  | checkpoint | A04 - A03 IT Wall
checkpoint-status | 3129c763-a1fb-4282-994c-fb9770ada9e8 |  | checkpoint | A05 - Internal wall
checkpoint-status | 54312ae1-dc0b-454e-8220-5c11a1ab7b1f |  | checkpoint | A05 - Corridor Wall
checkpoint-status | 6325053e-4f29-4d0c-ba25-bcf8ca28fe32 |  | checkpoint | A06 - Internal wall
checkpoint-status | 8381af34-5984-42f4-a8a4-e37c80af0ffa |  | checkpoint | A06 - Corridoor wall
checkpoint-status | 515898f2-6e7c-40c7-8a52-78d72f017ddf |  | checkpoint | A06 - A07
checkpoint-status | 4d5feeae-f9c6-49c7-bc80-4840f2f4c5c6 |  | checkpoint | A067 - A06 Internal wall
checkpoint-status | 4e71f03d-8f56-4b6a-aabe-babae1d6b21f |  | checkpoint | A07 - External
checkpoint-status | 883d124a-2b2a-46c2-b1d0-3e115bb8fdbc |  | checkpoint | Signed Off
checklist-flat | 5b6eabe5-f75e-41f5-8124-808153b27987 |  | checklist | Shower Checklist |  |  |  |  | Yes | Shower Checklist | 709b606a-5b87-49bb-a5b1-efc210e2abff
checkpoint-status | a0b78d06-d2d3-4ee2-b731-b5a752da6efe |  | checkpoint | Mixer Sticking Out The Correct Length
checkpoint-status | aac67d91-da38-40f6-8536-96d36e9f5a52 |  | checkpoint | Mixer Wingback Above 1700 To Prevent Backflow
checklist-flat | b1b3c24d-0bd4-42a5-83d4-206d2c5f8127 |  | checklist | Kitchen Checklist |  |  |  |  | Yes | Kitchen Checklist | 79dd1ce4-a833-4054-aa41-5c6e8d08df9e
checkpoint-status | a5d0a97a-00b4-4b87-b100-f80f73dc9f94 |  | checkpoint | Hot And Cold Water Installed Correct Height
checkpoint-status | 4fcaf376-e68a-4469-bd25-71b66a8d00d1 |  | checkpoint | Waste Installed Correct Height
checkpoint-status | c28dd12a-c103-417e-b40c-2cd52a360d63 |  | checkpoint | Check Hot And Cold For Crossover
checkpoint-status | 0018e5c7-06d7-4c12-9da1-c3985b84e25a |  | checkpoint | Tested To 1500Kpa
checklist-flat | 11543626-1290-4c74-8521-54bc0795233a |  | checklist | Photos |  |  |  |  | Yes | Photos | 8cfcb66b-36c9-4735-9cb2-e4241cb88a3d
checkpoint-status | 6472444d-74f1-46f1-8572-9e0bb83b02ac |  | checkpoint | Attach Photos
checklist-flat | b763d11d-bddc-42ff-a5f3-4b794ac19a62 |  | checklist | Accessible Shower Bathroom Checklist |  |  |  |  | Yes | Accessible Shower Bathroom Checklist | 9ab640b8-548e-432a-b3d9-a91addfb4588
checkpoint-status | 86f649ab-e7fd-41f8-8932-b20453bf925c |  | checkpoint | Set-Out Meets Code
checkpoint-status | 0094cab6-48fc-4ecc-8cb3-8de97a560acd |  | checkpoint | Silicone To Prevent Water Hammer
checkpoint-status | 3fe06f16-8a92-47a9-97da-59fada43ebae |  | checkpoint | Test To 1500Kpa
checklist-flat | 8fd01df4-a642-414b-960c-e66ecbcf9adc |  | checklist | Stormwater Checklist |  |  |  |  | Yes | Stormwater Checklist | c5baa702-de69-461e-bbae-83c6f4d022c7
checkpoint-status | b73f88d4-3d9c-4d60-9a18-d29159296f90 |  | checkpoint | Relevant Pipework Lagged
checkpoint-status | c7d697d1-4d1e-4341-bce6-0d3135be73b1 |  | checkpoint | Lagging Tape Around Joints
checkpoint-status | fd4992d6-3164-4d1a-96f2-bb59296d0938 |  | checkpoint | Blue Strapping And Buckles Every 1 Metre
checkpoint-status | 8738860a-7660-4fc3-a69e-970b22164607 |  | checkpoint | Pipe Labels After Lagging
checkpoint-status | 129ac7cd-c339-4803-8b14-6af74b07b258 |  | checkpoint | Pipe Tested For Leaks
checklist-flat | 8fad42ea-c087-45e5-8f0a-6a81235a8278 |  | checklist | 1x Shower |  |  |  |  | Yes | Shower Checklist V2 | c6c3a697-2b04-4653-b352-fe28a7d62a9f
checkpoint-status | 5e4f63c3-2e57-45e2-a8be-eea745e650b7 |  | checkpoint | Nogs for all Fixing
checkpoint-status | 6f151b07-9952-43c4-a40f-23b984149451 |  | checkpoint | Check plan to confirm Heights
checkpoint-status | 68fe6b24-9c68-492e-9608-51c6275bdc6c |  | checkpoint | Check Water Hammering, Silicone Pipes
checkpoint-status | d8e264e4-0766-40f9-a392-1b087d210a65 |  | checkpoint | Test All Pipework To 1500 Kpa
checkpoint-status | c508fb13-cb14-4996-9915-0909a0cbc56d |  | checkpoint | Mixer Sticking Out The Correct Length
checkpoint-status | 08cd0745-6b43-42c1-ad16-427f2e3525a9 |  | checkpoint | Mixer Wingback Above 1700 To Prevent Backflow
checklist-flat | 7d4f27c3-56eb-4cd0-8482-543a49c36fc1 |  | checklist | Hot Water Cylinder Checklist |  |  |  |  | Yes | Hot Water Cylinder Checklist | d0f3ae0b-8393-4a8d-bbab-1457b558526c
checkpoint-status | 79b3a5e8-cad2-47d9-94bd-e1cea070da3c |  | checkpoint | Cold Feed With Isolator
checkpoint-status | 004993e0-9409-4f82-8f62-d3791ebc848c |  | checkpoint | Hot And Cold Installed
checkpoint-status | b3f24069-9b91-4747-8a72-dd6bf17f7fba |  | checkpoint | Tundish In
checkpoint-status | 8d006408-4940-43e3-9c7f-70ea25a3dc7e |  | checkpoint | Has Nogs Been Installed For Seismics
checkpoint-status | 75e18426-e2ed-4bc8-a2e2-5d3ffd3b4728 |  | checkpoint | Correct Positioning & Heights
checklist-flat | 722e5748-8143-452d-ac6c-061269681862 |  | checklist | Stacks + Vents Checklist |  |  |  |  | Yes | Stacks + Vents Checklist | e253660e-e445-4d55-8e5b-e01fbf4a3097
checkpoint-status | 4a01d7bc-c7d0-4bf6-ade6-cf68bb43ad04 |  | checkpoint | Inspection Junction Installed For Testing
checkpoint-status | c80d9e8b-c36d-41fe-9f29-5e70bc8e59d7 |  | checkpoint | Pipe Labels Installed
checkpoint-status | e42c6ad1-a0b9-44ab-affa-b6a7579d5f61 |  | checkpoint | Mid Level Supports
checkpoint-status | 4fc84db3-4309-410c-96aa-bce5d038ac77 |  | checkpoint | Write On Test Cap Date Of Test
checklist-flat | e23fc1a1-0c87-4c6a-82a4-ac7c772c6293 |  | checklist | Gas Checklist |  |  |  |  | Yes | Gas Checklist | ed2b6394-9896-43d4-9956-0750d83f4775
checkpoint-status | 0dc273c9-5418-427e-8867-6706ed132302 |  | checkpoint | Pipe Tested To 7Kpa
checkpoint-status | 266f9f43-4394-4c82-80ef-918f6941c8a3 |  | checkpoint | Pipe Clearly Labelled Gas
checklist-flat | 05e6fb97-f3ed-45ef-9ae7-b4e9e8eeac42 |  | checklist | IT Wall Sign Off - Building B |  |  |  |  | Yes | IT Wall Sign Off - Building B | f12f35c6-03a9-4acc-80ee-811eaa90c986
checkpoint-status | a5e3f0a7-8652-4557-8e21-b0570678d599 |  | checkpoint | Enter Level Number Below
text | 16427da0-e22e-53ea-9fbf-86d7f1e2e9aa |  | textbox | Enter Level Number
checkpoint-status | 59f20815-fbcd-4489-96cc-0177e8f39b58 |  | checkpoint | Corridor
checkpoint-status | af6a3715-5b15-4d94-bb66-8c235beedcbc |  | checkpoint | B01 - Internal wall
checkpoint-status | 6894fc53-b2df-491e-b2d2-f6864ac6e238 |  | checkpoint | B02 - Internal wall
checkpoint-status | db0ed4e0-821a-4c1d-a1f3-9ee19f6bbbb9 |  | checkpoint | B03 - Corridor Wall
checkpoint-status | 28b6e592-dcd1-4310-8684-edf18e3fe3d4 |  | checkpoint | B03 - Internal - Corridoor Wall
checkpoint-status | 6d686ded-e6c6-4f35-b1c2-d8073a0b17b9 |  | checkpoint | B03 - B04 Wall
checkpoint-status | 9c255a1a-fa81-4e91-b3a3-02bbd4ae6e7a |  | checkpoint | B04 - B03 Wall
checkpoint-status | 4a6e71c5-3b5e-4820-aa6c-97f871426455 |  | checkpoint | B04 - Corridor Wall
checkpoint-status | 91b4f286-a392-4402-93a9-783112c7e8b0 |  | checkpoint | B05 - Corridor Wall
checkpoint-status | f28cd6c5-2538-4a8c-9f56-98e8b8ffec27 |  | checkpoint | B05 - Internal wall
checkpoint-status | 4d1588e7-5101-4752-9357-07e243505919 |  | checkpoint | B06 - Internal wall
checkpoint-status | 3725b1b4-bb75-47f6-b43e-0890c2cb1b3b |  | checkpoint | B07 - Internal wall
checkpoint-status | de722607-523b-40dc-965c-f98e8b44dd3d |  | checkpoint | B07 - B08
checkpoint-status | cc2bfaef-998f-45dc-aa60-d8dd333dc98c |  | checkpoint | B08 - B09
checkpoint-status | be0e6068-1091-431f-9c8d-e09e7b64ff03 |  | checkpoint | B09 - B10
checkpoint-status | b25cdb76-e099-4842-b761-4954a3d7a356 |  | checkpoint | B10 - External
checkpoint-status | ce245970-3786-42e8-92df-7bce36876085 |  | checkpoint | Signed Off
checklist-flat | d14dde39-fe80-4c3a-94ff-3426238db449 |  | checklist | Acoustic Lagging Checklist |  |  |  |  | Yes | Acoustic Lagging Checklist | f72dc3cd-c65a-4a6a-85f2-6a818564ccda
checkpoint-status | 6ad5ee92-fdb5-4f69-96e2-72b6901c9333 |  | checkpoint | Relevant Pipework Lagged
checkpoint-status | dd95dc1f-d111-447f-9485-b785e17e7baa |  | checkpoint | Lagging Tape Around Joints
checkpoint-status | ad07a535-0256-46be-b10b-7be7281150ed |  | checkpoint | Blue Strapping And Buckles Every 1 Metre
checkpoint-status | 76c12f58-befe-4a56-82df-95ecff431ca4 |  | checkpoint | Pipe Labels After Lagging
checklist-flat | 70e3239e-9e2e-43e0-97c3-b948180dcb3f |  | checklist | First Fix Checklist |  |  |  |  | Yes | First Fix Checklist | fca65cde-b3c8-4903-aa72-bc130f011ec9
checkpoint-status | 21d6822e-ad46-4938-bcfc-c640532b50ce |  | checkpoint | Nogging For All Fixtures
checkpoint-status | c3213eac-d36c-4e77-8805-82302587a52e |  | checkpoint | Check Plan To Confirm Heights And Centres
checkpoint-status | 260f1c28-0b12-4d2d-b212-0a7c9de02998 |  | checkpoint | Check Water Hammer, Silicone Pipes
checkpoint-status | 94186be5-207a-4ba6-b0ea-cfb236620055 |  | checkpoint | Acoustic Lagging
checkpoint-status | df10e485-8891-4330-ad2a-412848ecbf4c |  | checkpoint | Test All Pipework To 1500Kpa