## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 6b2f830b-080d-4c73-8d59-4ac4776d101a |  | checklist | Second Fix Checklist |  |  |  |  | Yes | Second Fix Checklist | 0ee21dd6-a947-4438-ae0e-fa822c165bf8
checkpoint-status | 6bdb4618-4ddf-4e02-be2a-630742055030 |  | checkpoint | Fixture Tested
checkpoint-status | daa1a404-9b05-4b71-8a07-ee761fd1a376 |  | checkpoint | Silicone To Finish
checklist-flat | 7c90cae3-3249-405c-98b3-b878a2e1dc61 |  | checklist | Hot Water Cylinder |  |  |  |  | Yes | Hot Water Cylinder Checklist | 2722a473-4b46-4266-9a2a-fd7500a1a626
checkpoint-status | 247b346b-0dc1-42a9-b9c8-8f39685e9e66 |  | checkpoint | Cold Feed With Isolator
checkpoint-status | aff1f263-44e5-41f8-b9ec-20042e46933c |  | checkpoint | Hot And Cold Installed
checkpoint-status | 6aa4a9b4-5699-4096-8dac-0a7d0b962bf1 |  | checkpoint | Non Potable With Isolator
checkpoint-status | 37916157-f0a1-44ca-bc84-ba771707bea8 |  | checkpoint | Tundish In
checkpoint-status | 0ab2a048-9c26-4d3c-b0eb-7132bdfde5e6 |  | checkpoint | Has Nogs Been Installed For Seismics
checkpoint-status | 2612a8cf-d3c6-449f-b83c-0e87d1ec6f1e |  | checkpoint | Lagging Done Correctly
checkpoint-status | ea67dee1-224f-41f0-8767-d3e3022fa608 |  | checkpoint | Silicone Any Holes In Timber
checkpoint-status | b3d8e183-197d-413e-97f2-acd49ae5189e |  | checkpoint | Correct Positioning & Heights
checkpoint-status | e92a9906-4b92-4665-b3de-2b16c369c9f8 |  | checkpoint | Testing Of All Pipework To 1500Kpa
checklist-flat | 1f8b2037-351c-4868-9033-999bbbc5d1a4 |  | checklist | General First Fix |  |  |  |  | Yes | General First Fix Checklist | 408e8d42-e4ec-41a6-bb79-3082b39d1e93
checkpoint-status | 8dad551c-65be-4c2d-bfac-2dbd5771a62d |  | checkpoint | Nogging For All Fixtures
checkpoint-status | 5db1fa6c-5e76-4eeb-a87a-5b0b0b4b4b59 |  | checkpoint | Trace Hot And Cold For Cross-over
checkpoint-status | 1a7d5b16-12f7-4129-a003-4830d52db263 |  | checkpoint | Lag All Hot Pipes
checkpoint-status | 4a932b0c-5439-4ea1-8501-675d19d076c3 |  | checkpoint | Silicone Any Pipework Passing Through Timber
checkpoint-status | f4dc733f-d303-4ea6-acc6-6c290bd7dab6 |  | checkpoint | Check Plan To Confirm Heights And Centres
checkpoint-status | 493f296a-56dc-43b1-ba02-4c02be8a0cd0 |  | checkpoint | Test All Pipework To 1500Kpa
checklist-flat | 625a9ee3-cc36-4a7b-a46e-3dc6dd385425 |  | checklist | Accessible |  |  |  |  | Yes | Accessible Checklist | 45ae102b-3a0c-4e6a-84a5-53a49fd2b6bd
checkpoint-status | dc7bb846-b45f-4b50-94fd-fb50ecaebdf5 |  | checkpoint | Nogs For Handrails
checkpoint-status | 29972d05-d98d-44e4-8d29-dcbf8ca6bb17 |  | checkpoint | Room Is Correct length And Width
checkpoint-status | 77269487-c968-4691-9371-ef81dd59a147 |  | checkpoint | Nogs For Toilet Backrest
checkpoint-status | e13e2d67-25ef-40d3-83f9-8d555bc6e3d5 |  | checkpoint | Hot Pipes Lagged
checkpoint-status | 31ed67e8-77e3-4732-8580-1091c0dadb71 |  | checkpoint | Silicone Timber Holes
checkpoint-status | 34847d79-16d8-48dd-801e-38e763566956 |  | checkpoint | Test To 1500Kpa
checklist-flat | 46ca9f8c-cff5-4951-ba8d-cabd3ae94c0d |  | checklist | H&S - COVID 19 - Visitor Checklist |  |  |  |  | Yes | H&S - COVID 19 - Visitor Checklist | 53af8bab-c061-4719-8222-2affa5ea995c
checkpoint-status | 7cb79d9c-b925-4982-bebd-907b32a40151 |  | checkpoint | I declare that I do not have any flu-like symptoms and I am fit for work
text | da02a707-ff86-5189-824a-af84590afe9c |  | textbox | Company/Person Visiting
text | a46382dd-04cd-51e6-a751-aec32900245a |  | textbox | How did you travel to work
text | e4edead7-e505-5c52-b32a-30e0fe942b3f |  | textbox | People you travelled to work with
text | e03b87f1-b7b1-5f31-b226-9e9d5e75c48f |  | textbox | Contact number
text | 1c3eeedc-6fdc-5221-81cc-32fdeb1429f6 |  | textbox | Time in
text | 62e706ef-f4a2-55eb-a94e-d35e4dae2f64 |  | textbox | Time Out
checklist-flat | 2aa7f11c-06e0-4272-9065-f8c087eba600 |  | checklist | Accessible Shower Bathroom |  |  |  |  | Yes | Accessible Shower Bathroom Checklist | 8467a545-f9b3-4f3e-be97-3a546ae73562
checkpoint-status | c8204daa-6a1f-4271-9602-9b20033a882d |  | checkpoint | Room Is 1900 x 2100 Minimum
checkpoint-status | 633e8cf1-63ae-40bc-8768-407883e7b5a3 |  | checkpoint | Nogs For Toilet Backrest
checkpoint-status | 9cd76c4e-cbd7-4c28-a350-989a8d6e9028 |  | checkpoint | Nogs For Shower Curtain
checkpoint-status | faa68709-f92c-4502-a4b5-f3ddb4850868 |  | checkpoint | Nogs For Shower Handrail
checkpoint-status | 5f2b8d5f-8df2-4456-ad86-2dd42e6ea4b9 |  | checkpoint | Nogs For Toilet Handrail
checkpoint-status | 1b212386-8935-4ab9-ae3d-d636bf9541eb |  | checkpoint | Hot Pipes Lagged
checkpoint-status | 0d6b0731-0e1e-4db8-bc75-6ed49fa5a4d1 |  | checkpoint | Silicone Holes In Timber
checkpoint-status | 98ada39b-070e-4c91-be1b-647e40ce6d75 |  | checkpoint | Test To 1500Kpa
checklist-flat | 1398443e-ec41-44a0-8b6b-5e2516ad3b1c |  | checklist | Shower |  |  |  |  | Yes | Shower Checklist | 96f2511b-bee0-4620-b7b7-dc9ba3563876
checkpoint-status | 2560ff64-c1c8-48b1-bee1-ffac27d4ec71 |  | checkpoint | Mixer Sticking Out The Correct Length
checkpoint-status | 8256adb7-cfbc-471b-8614-c0cc584f0096 |  | checkpoint | Mixer Wingback Above 1700 To Prevent Backflow
checkpoint-status | a6296df1-07cf-45b8-81b5-349237330b26 |  | checkpoint | Nogs For Shower Doors
checkpoint-status | 7e5dfb6c-f308-4107-88bf-7a9ed17fc2df |  | checkpoint | Nogs For Shower Rail
checkpoint-status | 58a1f4b4-0d0b-414e-b1d3-f5cd3bc484f9 |  | checkpoint | Mixer Is 250 Past Door
checkpoint-status | 1a5f3d66-da7e-4d9b-93bc-37a13905b54e |  | checkpoint | Handrail Is Centre Of Shower
checklist-flat | 3e7274c5-bd4f-452c-89cf-a63cff945161 |  | checklist | H&S - COVID 19 - Daily Prestart |  |  |  |  | Yes | H&S - COVID 19 - Daily Prestart | c294ea85-4a64-442b-a350-f6561b4b105b
checkpoint-status | b9e45994-d13a-402d-aae7-8accad888cf9 |  | checkpoint | Does anyone in your team show or have they experienced symptoms of COVID-19 since the previous day
checkpoint-status | 59e9e65f-6cd5-40a9-b5f6-4bc6a546059c |  | checkpoint | Have you talked to your team about COVID-19 and how it can spread in the workplace
text | 5a9f247e-792a-5265-a204-4137cfa221ea |  | textbox | List of Attendees
checkpoint-status | a4ffb3cb-917e-4180-a70d-3c6630dbe1c1 |  | checkpoint | Did anybody travel to work with another person or by public transport
text | 15507c52-9f24-5ab3-b6ad-dea4d8c24df6 |  | textbox | List of people who travelled by public transport or with others
checkpoint-status | fe0934ae-528f-4890-b2de-85851031a7b1 |  | checkpoint | Have you discussed personal hygiene expectations with the team
label | 3a46681c-d004-5077-ab03-ae242c2c5211 |  | note | Washing Clothes , Washing Hands , Cleaning The Shed, Etc
checkpoint-status | d5951648-519c-4620-9879-c7c87e11c866 |  | checkpoint | Have you discussed with team members the PPE requirements for the day
label | 561f28f7-16a7-5b8b-9fb3-57030691b508 |  | note | Wear A Mask, Wear Gloves, Use Disposable Gloves Cleaning Shed, Avoid Touching Face, Etc
checkpoint-status | 361f9b3e-7fa1-41c6-9ab3-a01fa06a5d2a |  | checkpoint | Have tools been cleaned since the previous day?
checkpoint-status | 536866ad-0677-4d9c-901b-cc50dae7f9e0 |  | checkpoint | Tool cleaning expectations for the day has been discussed
label | 3f7135e3-52f8-551c-a1ec-2eccca63a2f7 |  | note | Don’t Share Tools, Wash Hands After Handling Tools If Being Shared.
checkpoint-status | 67b43db3-f3c3-4179-89b6-ecf5e5e87272 |  | checkpoint | Discussed end of day procedure
boolean | 984e7348-e3ec-5373-bf5c-f195941f29b1 |  | tickbox | Sign Out
boolean | 13b40cfd-3139-5644-9c45-9fb8fd767783 |  | tickbox | Dispose of any PPE safely
boolean | 24e869c5-372f-584a-a811-844e658fedfa |  | tickbox | Wash hands thoroughly
boolean | 2463fded-ca02-50ed-a262-4b385fa3df35 |  | tickbox | Clean tools after work