## QA Folder Structure
QA Folder Structure |  |  |  | Checklists
Site QA
Data Hall 1
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 2
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 3
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 4
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 5
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 6
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 7
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 8
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Data Hall 9
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
Office 1
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
Office 2
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
Office 2B
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
Office 3
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
Roof
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Industrial Water | Industrial Water Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist

## Checklists
type | name | values | prefix | postfix | usage count | user addable
checklist-flat | Sanitary drainage Checklist
checkpoint | Drainage
bool | Pipework has approved gradient
bool | Provision for expansion provided
bool | Appropriate fitting used in appropriate manner
bool | Pipe protection/lagging applied
bool | Venting requirements met
checkpoint | Pipe clip hanger - Pipe work has appropriate supports and spacings
checkpoint | Material approved and pipe installed to correct size
checkpoint | Alignment - restricted zone has been met
checkpoint | Approved labelling and identification applied
checkpoint | Approved jointing methods used
checkpoint | Penetrations correctly sealed
checkpoint | Fire stop retro collars sealed using approved sealant
checkpoint | Seismic bracing installed to comply with seismic certification
checkpoint | Water Test complete
checklist-flat | DCW Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection/seperation between other services
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test
checklist-flat | Industrial Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.
checklist-flat | Rain Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.
checklist-flat | Hot Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.