## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | e997beb6-f01b-4891-ac3d-685f4d184f8c |  | checklist | Wall/Ceiling - GIB Stopping |  |  |  |  | Yes | Wall/Ceiling - GIB Stopping | 25595762-be18-45af-af9c-5a650ee98b29
checkpoint-status | aeb47ad9-dea1-4201-99e9-07cc5e2f060f |  | checkpoint | Area ready for GIB stopping
checkpoint-status | bb5816d8-3bb4-48ab-8507-9167ccadffa7 |  | checkpoint | Correct stopping product and applied correctly
checkpoint-status | fa46c63d-f24e-4715-9360-b7004a25eebf |  | checkpoint | Square stopping, slimlines and joints checked and acceptable
checkpoint-status | e47b3aac-01ac-4151-b072-43ec1354e707 |  | checkpoint | Adequate drying time between applications & no visible bubbling
checkpoint-status | c2b1c29b-07f4-4a77-a658-fc8d5070c99e |  | checkpoint | GIB Stopping Ceiling completed correctly within specified tolerance, checked and approved
checklist-flat | 057166a0-657d-4ebd-84d2-0f79982a47fd |  | checklist | Carpentry - Steel Stud |  |  |  |  | Yes | Carpentry - Steel Stud | 708bec6c-7b03-4a50-bfc7-93fc9e4d95e5
checkpoint-status | 47bdc257-3f6a-4287-a923-6bcbe766c9b5 |  | checkpoint | Area ready for Steel Stud install
checkpoint-status | 6331e66b-3351-4977-9ce0-2e3924bc30f9 |  | checkpoint | Dimensions / locations checked and accurate
checkpoint-status | 6f7b47e2-1f61-423a-a781-62d4d7a294d6 |  | checkpoint | All the Deflection head track installed as per Seismic drawings spec
checkpoint-status | 29056b46-ca5c-446b-a530-6dfa7833dcaf |  | checkpoint | All the Deflection floor track installed as per Seismic drawings spec
checkpoint-status | 4f84ffef-fd45-4d6e-94cf-009b02ed8e71 |  | checkpoint | All the Deflection stud installed as per Seismic drawings spec
checkpoint-status | 52515fb1-2ef5-4f7b-ba39-cb90de0a4a19 |  | checkpoint | All frames are square, straight and level
checkpoint-status | 4883488b-d318-4dfe-b836-b0a2c5721e24 |  | checkpoint | Fixings are correct
checkpoint-status | 788f65ec-c1f8-4f81-b908-ab5975cde1a0 |  | checkpoint | Any bracing requirements installed
checkpoint-status | baae8a68-3f78-4ce0-8b73-dc7b247be940 |  | checkpoint | Fire rating elements installed as per spec
checkpoint-status | c5c80fbf-0e10-455e-a79f-136a9ffd18de |  | checkpoint | Nogs / service nogs installed correctly as per plan
checkpoint-status | 34daeadc-04f4-4e3e-afdd-26cf259f05a3 |  | checkpoint | All Steel Stud completed correctly within tolerance in area
checklist-flat | d2a2fc85-5b28-45b9-bef8-bf27d95e7427 |  | checklist | Carpentry - Internal Framing |  |  |  |  | Yes | Carpentry - Internal Framing | a0c49b87-269f-4fc2-9f43-3c8da95d0e52
checkpoint-status | 86715712-876c-428d-9113-03adb9ff3312 |  | checkpoint | Plans / Specs followed and correct type of timber used
checkpoint-status | be1f7ca2-88bc-4314-bc6b-56e88bde7e04 |  | checkpoint | Check for location
checkpoint-status | 710f7540-fc95-4919-ac0e-9566cafe5895 |  | checkpoint | Bolted at correct centres (please indicate)
checkpoint-status | 1ca1d2a5-3629-42ff-b342-09a5a563357a |  | checkpoint | Studs installed (Plumb)
checkpoint-status | 2ab5d3f1-114f-447c-9c5a-9f43d5fd295b |  | checkpoint | Nogs installed (Level)
checkpoint-status | 98060d0e-f49f-490d-a2a5-9291ce28c0a0 |  | checkpoint | Correct centres (please indicate)
checkpoint-status | 8fab6eca-2b19-4a47-9983-758897c7928a |  | checkpoint | Check for Straight
checkpoint-status | e26c030e-8884-4314-95da-5a7f5076c61d |  | checkpoint | Check for Level
checkpoint-status | d1321887-5e7b-4671-ab10-c5158c4d7658 |  | checkpoint | Seismic/Engineer details apply
checklist-flat | aba6d51b-dfb1-4181-b3fe-8c6e7b83b2d0 |  | checklist | Ceiling - Ceiling Grid |  |  |  |  | Yes | Ceiling - Ceiling Grid | e0e7f608-e8a5-4ca2-9ae3-4be8a2772ea4
checkpoint-status | 4938725d-2526-4538-b23e-e66937d4467d |  | checkpoint | Substrate correct (nogging installed if required)
checkpoint-status | b6714508-aeec-47fc-8a6b-c635c1f3a473 |  | checkpoint | Ceiling Grid installed level and to correct heights
checkpoint-status | 51f20a93-86f3-44ad-b728-9d059632d29e |  | checkpoint | Correct fixings and number of fixings
checkpoint-status | 44131623-32f4-44d6-a686-b8b7f5e04e65 |  | checkpoint | Member centres correct
checkpoint-status | 3b11863d-07e6-4b3c-8954-472e87a53a3e |  | checkpoint | Correct Clips installed
checkpoint-status | d143f986-edea-411f-b0a5-8607fb4344d6 |  | checkpoint | Earth strap installed
checkpoint-status | 6708b8ea-219f-449d-a19b-06532ace4019 |  | checkpoint | Hatches openings trimmed out and installed
checkpoint-status | f09419e0-1522-488c-8409-84361969d5b6 |  | checkpoint | Bulkheads installed plumb/level/square
checkpoint-status | 032e8439-5968-4a58-bb31-66facc806169 |  | checkpoint | Ceiling Grid completed correctly, checked & reviewed - as per specification
checklist-flat | 64dd2310-59e0-45b0-bbb7-b5884f6ef2c3 |  | checklist | Wall/Ceiling - GIB Lining |  |  |  |  | Yes | Wall/Ceiling - GIB Lining | e6046dee-03ed-4b97-a7d5-6bcea1424250
checkpoint-status | 524c36e1-28e2-4583-b871-6cf3eca74834 |  | checkpoint | Area ready for GIB install
checkpoint-status | e9f1cb07-1a7b-492b-8124-51892fac1151 |  | checkpoint | Correct lining checked and approved and area specifics checked
checkpoint-status | ecb21c77-be74-4998-9168-3c7452eccfd7 |  | checkpoint | Correct fixings used and installed at correct centres
checkpoint-status | 6f0a52df-eefb-430a-8c5c-7c75b6d6fcbc |  | checkpoint | Sealant applied as per spec
checkpoint-status | bd1f79cf-b8c8-4a26-b166-0aa5c00227e1 |  | checkpoint | Any bracing elements completed to design specification
checkpoint-status | fdd36e39-a501-43f3-949c-4afd86eddc12 |  | checkpoint | GIB Lining completed correctly within specified tolerance, checked and approved