## Breakdown
PBI Height Safety (Kevin Hickman - Riccarton Park)
Site QA
Stage 5 - B03
Grid A-B
Pitched Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Pitched Roof B
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Grid B-C
Pitched Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Pitched Roof B
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Grid C-D
Pitched Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Grid D-E
Flat Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Grid E-F
Pitched Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Pitched Roof B
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Grid F-G
Pitched Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Flat Roof B
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Grid G-H
Pitched Roof A
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Pitched Roof B
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Flat Roof C
[5 empty] | Line Installation |  | Pre-populate | FC - S - Anchor Points - Static line installation
[5 empty] | Anchor Points |  | Pre-populate | FC - S - Anchor Points - Anchor Point Installation
Compliance Documentation
|  |  |  | Stage 5 - B03 |  | Pre-populate | CST - S - Completion Documents

## Checklists
Type | Name | Value
checklist-flat | FC - S - Anchor Points - Static line installation
checkpoint | Line tensioner and indicator checked and acceptable. Attachment to end stanchion secured. Lock in pin cir-clip secured. Tension indicator disc can be rotated manually. Swaged cable termination secured, no evidence of slipping. All locknuts and fixings secured. No visible damage to unit/structure.
checkpoint | Anchorage cable installation checked and acceptable. No cuts or frays to cable. Cable correctly tensioned and not touching the roof deck. Securely attached to end stanchions. No visible damage.
checkpoint | System traveller checked and acceptable. Slide latch operates freely. Gap between tongue & shuttle inner casing when closed and latched with karabiner, 5mm maximum. Karabiner fits securely when slide latch closed. Karabiner gate lock device operates securely. No visible damage to unit.
checkpoint | Static line installation completed and acceptable
Type | Name | Value
checklist-flat | FC - S - Anchor Points - Anchor Point Installation
checkpoint | Roof structure condition checked and acceptable. No rust or corrosion on roof, purlins or structure.
checkpoint | Positioning and installation of the plinth is correct and acceptable
checkpoint | Roof substrade is checked and acceptable and no visible damages.
checkpoint | Anchor plate alignment is correct. Fixing holes are aligned with fall of roof
checkpoint | Minimum of 2 toggles are installed. Toggles deployed fully at 90° to threaded bar and confirmed.
checkpoint | Anchor plate cover is installed.
checkpoint | Dome screws and anchor plate screws fixed to structure. Steel/ timber: 14 gauge tek screw and minimum of 4 screw fixings per anchor (2 holes), sealant and Neoprene washer installed. Sea spray zoning requires the screws to be stainless steel
checkpoint | Anchor ID label fixed on to anchor plate with all information noted - Installer info, Limitations of use, Last certification date, Next recertification date and Rated for single person use (15kN)
checkpoint | Anchor point installation completed and acceptable
Type | Name | Value
checklist-flat | CST - S - Completion Documents
checkpoint | All relevant Compliance Documentation completed and attached above
button | Any Additional Compliance Documentation (Required under Section C and by Consultants) - Completed and Attached
label | Do not select "Pass" HERE until all requirements have been marked as "Yes" & attached or you have selected "N/A"
holdpoint | Request Signoff