## Breakdown
Keith Park (Reoco) | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5
B07
Foundation
|  |  | Manhole |  |  | pre-populate | ST - S - Concrete Reinforcing
|  |  | Lift Pit |  |  | pre-populate | ST - S - Concrete Reinforcing
Structure
Basement
|  |  |  | Slab Area 1 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 2 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 3 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Stich Joints |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Concrete Columns |  | pre-populate | ST - S - Concrete Reinforcing
Ground Floor
|  |  |  | Slab Area 1 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 2 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 3 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Stich Joints |  | pre-populate | ST - S - Concrete Reinforcing
Level 1
|  |  |  | Slab Area 1 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 2 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Stich Joints |  | pre-populate | ST - S - Concrete Reinforcing
Level 2
|  |  |  | Slab Area 1 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 2 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Stich Joints |  | pre-populate | ST - S - Concrete Reinforcing
Level 3
|  |  |  | Slab Area 1 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 2 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Stich Joints |  | pre-populate | ST - S - Concrete Reinforcing
Level 4
|  |  |  | Slab Area 1 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Slab Area 2 |  | pre-populate | ST - S - Concrete Reinforcing
|  |  |  | Insitu Stich Joints |  | pre-populate | ST - S - Concrete Reinforcing

## Checklist
Type | Name
checklist-flat | ST - S - Concrete Reinforcing
checkpoint | Size and type correct to specification
checkpoint | Reinforcing spacing and location correct
checkpoint | Specified covers checked/correct
checkpoint | Splice laps checked/correct
checkpoint | All couplers installed correctly (if reid bar couplers have been used, has epconC8 epoxy been used as specified)
bool | Appointment with the engineers confirmed (Enter date & time of the appointment)
bool | Reidbar – coupler and flange nut installations are inspected by the MV Engineer
checkpoint | IMBMS couplers testing carried out for Village Podiums in the form of tensile testing in accordance with NZS3101.1.2006 and results acceptable
checkpoint | All starter bars are installed correctly (location, size and spacing )
checkpoint | Any additional items installed/ completed (trimmer bars etc) and excess reinforcing removed
checkpoint | Welding certificates sited and attached
checkpoint | Mill certificate reviewed, attached and approved
checkpoint | Reinforcing installed correctly to specification and ready for concrete to be placed
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS